# Submission ID #: 60234

# Scriptwriter Name: Anthony Iannazzi

# Project Page Link: http://www.jove.com/files_upload.php?src=18371418

# Title: Analysis of Hematopoietic Stem Progenitor Cell Metabolism

# Authors and Affiliations:

# Giorgia Scapin1,2,3, Marie C. Goulard1,2,3, Priyanka R. Dharampuriya1,2,3, Jennifer L. Cillis1,2,3, Dhvanit I. Shah1,2,3

# 1Nationwide Children’s Hospital, Columbus, OH, USA

# 2The Ohio State University College of Medicine, Columbus, OH, USA

# 3The Ohio State University Comprehensive Cancer Center, Columbus, OH, USA

# Corresponding Author:

# Dhvanit I. Shah			dhvanit.shah@nationwidechildrens.org

# Email Addresses for Co-authors:

# giorgia.scapin@nationwidechildrens.org

# marie.goulard@nationwidechildrens.org

# priya228@gmail.com

# jennifer.cillis@nationwidechildrens.org

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)  No

2. Does your protocol include software usage? (Y/N) Yes

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot.

Steps: 2.2, 3.1, 3.2, 3.10, 4.2, 4.5

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document.

3.1, 3.2

5. Will the filming need to take place in multiple locations? (Y/N) Yes, the laboratory and the tissue culture room.

If yes, how far apart are the locations? They are next door to each other.

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Giorgia Scapin: Metabolic changes in hematopoietic stem and progenitor cells allow them to transition from their quiescent state to a differentiation state to sustain demands of the blood formation. Alteration in metabolic plasticity of hematopoietic stem and progenitor cells leads to hematologic disorders [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Giorgia Scapin: Our protocol will help measure the metabolic regulation and the health of hematopoietic stem and progenitor cells during blood development and diseases [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Marie Goulard: Analysis of the mitochondrial respiration and glycolysis of hematopoietic stem and progenitor cells is difficult as they are fragile and rare population [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Marie Goulard: Our optimized protocol allows the isolation of a higher amount of hematopoietic stem and progenitor cells from murine bone marrow, improves their viability during incubation, facilitates extracellular flux analyses of non-adherent HSPCs, and provides optimized injection parameters for drugs targeting oxidative phosphorylation as well as glycolytic pathways [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

Ethics title card:

  - This protocol was approved by Animal Care and Use Committee (IACUC) of Nationwide Children’s Hospital.

# Section - Protocol

- Preparation of Reagents on the Day Prior to the Assay

  - To begin this procedure, fill the wells of the utility plate and the chambers around the wells with sterile water [1]. Submerge the sensor cartridge into the utility plate, making sure that the sensors are completely covered by water [2].

    - Talent approaches the lab bench and fills the wells of the utility plate and the chambers around the wells with sterile water.

    - Talent submerges the sensor cartridge into the utility plate.

  - Then, place the cartridge – submerged in the utility plate – in a non-CO2 incubator at 37 degrees Celsius, and incubate overnight [1].

# Videographer: This is one of the most important steps for viewers to see.

    - Talent places the cartridge into an incubator.

  - In a class 2 biosafety cabinet, add 40 microliters of commercially available 0.01 percent PLL solution to each well of the assay plate [1-TXT]. Cover the assay plate with the lid provided in the kit and incubate the closed plate at room temperature under the hood for 1 hour [2].

    - Talent, in a biosafety cabinet, adds PLL solution to each well of the assay plate. TEXT: PLL: Poly-L-lysine.

    - Talent covers the assay with the lid and sets it aside to incubate – in the hood – at room temperature.

  - After this, use a sterile vacuum-based aspirator to remove the excess solution and air-dry the plate under the hood [1].

    - Talent uses a sterile vacuum-based aspirator to remove the excess solution.

- Day of the Assay

  - To harvest mononucleated murine bone marrow cells, add 5 milliliters of density gradient medium to a 15 milliliter conical tube [1]. Slowly add 5 milliliters of the bone marrow cell suspension making sure that the cells remain as a layer above the density gradient medium [2].

# Videographer: This is one of the most important steps for viewers to see, and one of the most difficult to perform.

    - Talent adds density gradient medium to a conical tube.

    - Talent slowly adds bone marrow cell suspension to the conical tube.

  - Centrifuge at 500 x g and at room temperature for 30 minutes, making sure that the centrifuge is at the lowest possible acceleration [1-TXT]. Harvest the middle interface of mononucleated cells into a fresh 15 milliliter tube [2].

# Videographer: This is one of the most important steps for viewers to see, and one of the most difficult to perform.

    - Talent places the tube into a centrifuge, closes the centrifuge lid, and turns the centrifuge on. TEXT: Do not use a brake.

    - Talent harvests the middle interface of mononucleated cells.

  - Then, wash the cells with 5 milliliters of 1x PBS containing 2 percent FBS [1]. Centrifuge at 500 x g and at 4 degrees Celsius for 5 minutes [2]. Remove the supernatant and re-suspend the cells in 300 microliters of 1x PBS containing 2 percent FBS [3].

    - Talent washes with cells with PBS (+2% FBS).

    - Talent places the tube into a centrifuge, closes the centrifuge lid, and turns the centrifuge on.

    - Talent re-suspends the cells in PBS (+2% FBS).

  - Next, aliquot 10 microliters of the cell suspension for unstained or single-colored control in a FACS tube [1].

    - Talent takes an aliquot of the cell suspension and transfers it into a FACS tube.

  - To harvest LSK HSPCs from mononucleated murine bone marrow cells, add 15 microliters of biotin-antibody cocktail to 300 microliters of mononucleated bone marrow cells [1]. Place the tubes in an ice bucket, positioned on a shaker in a refrigerator, to incubate at 4 degrees Celsius with agitation for 30 minutes [2].

    - Talent adds biotin-antibody cocktail to the mononucleated bone marrow cells.

    - Talent places the cocktail/cell mixture into an ice bucket, on a shaker, in a refrigerator.

  - Then, add 10 milliliters of pre-chilled 1x PBS containing 2 percent FBS to the cells [1]. Centrifuge at 500 x g and at 4 degrees Celsius for 5 minutes [2]. Discard the supernatant and re-suspend the cell pellet in 400 microliters of 1x PBS containing 2 percent FBS [3].

    - Talent adds chilled PBS (+2% FBS) to the cells.

    - Talent places the tube into a centrifuge, closes the centrifuge lid, and turns the centrifuge on.

    - Talent re-suspends the cell pellet in PBS (+2% FBS).

  - Briefly vortex the anti-biotin microbeads before use [1]. Add 80 microliters of the microbeads to each sample and mix well [2]. Incubate for an additional 20 minutes at 4 degrees Celsius with agitation [3].

    - Talent vortexes the anti-biotin microbeads.

    - Talent adds the microbeads to a sample and mixes.

    - Talent places the cocktail/cell mixture into a refrigerator with agitation.

  - After this, add 10 milliliters of pre-chilled PBS containing 2 percent FBS to the cells [1]. Centrifuge the tube at 500 x g and at 4 degrees Celsius for 5 minutes [2]. Discard the supernatant and re-suspend the cell pellet in 1 milliliter of 1x PBS containing 2 percent FBS [3].

    - Talent adds chilled PBS (+2% FBS) to the cells.

    - Talent places the tube into a centrifuge, closes the centrifuge lid, and turns the centrifuge on.

    - Talent re-suspends the cell pellet in PBS (+2% FBS).

  - Store the cell suspension at 4 degrees Celsius while setting up the magnetic separation unit [1]. Place a column in the magnetic field for the magnetic assisted cell sorting separator at 4 degrees Celsius [2-TXT]. Prepare the column for magnetic separation by rinsing it with 3 milliliters of 1x PBS containing 2 percent FBS under gravity flow at 4 degrees Celsius [3].

    - Talent places the cell suspension into a refrigerator (or onto ice).

    - Talent places a column into the magnetic field for the magnetic assisted cell sorting separator. TEXT: MACS: Magnetic assisted cell sorting.

    - Talent rinses the column with PBS (+2% FBS).

  - Add the cell suspension to the pre-wet column at 4 degrees Celsius [1]. All the cells to pass through the column at 4 degrees Celsius and collect the effluent in a 15 milliliter conical tube [2].

# Videographer: This is one of the most important steps for viewers to see.

    - Talent adds the cell suspension to the column.

    - Talent collets the effluent in a conical tube.

  - Next, wash the column with 3 milliliters of 1x PBS with 2 percent FBS at 4 degrees Celsius. Repeat this wash three times [1], collect the flow through, and keep it at 4 degrees Celsius [2].

    - Talent washes the column with PBS (+2% FBS).

    - Talent collects the flow through from the column.

  - Centrifuge the conical tube containing the flow-through at 500 x g and at 4 degrees Celsius for 5 minutes [1]. Discard the supernatant and re-suspend the cells in 0.5 milliliters of 1x PBS with 2 percent FBS [2] and transfer this suspension to a FACS tube [3].

    - Talent places the tube into a centrifuge, closes the centrifuge lid, and turns the centrifuge on.

    - Talent re-suspends the cells in PBS (+2% FBS).

    - Talent transfers the cell suspension to a FACS tube.

  - Then, add 24 microliters of the LSK antibody cocktail to each 10 million cells [1-TXT]. Cover the tube with foil [2] and incubate in the dark at 4 degrees Celsius with agitation for 1 hour [3].

    - Talent adds the LSK antibody cocktail to the cells. TEXT: See text for the composition of the antibody cocktail.

    - Talent covers the tube with foil.

    - Talent places the tube into a refrigerator with agitation.

  - After this, add 3 milliliters of 1x PBS with 2 percent FBS to the FACS tube [1]. Centrifuge at 500 x g and at 4 degrees Celsius for 5 minutes [2]. Discard the supernatant and re-suspend the antibody-labelled cells in 1 milliliter of 1x PBS containing 2 percent FBS [3].

    - Talent adds PBS (+2% FBS) to the FACS tube.

    - Talent places the tube into a centrifuge, closes the centrifuge lid, and turns the centrifuge on.

    - Talent re-suspends the cells in PBS (+2% FBS).

  - Just before sorting, add 1 microliter of 1 milligram per milliliter propidium iodide to the cell suspension [1] and use a 40 micrometer strainer to filter the contents of the FACS tube [2].

    - Talent adds propidium iodide to the cell suspension.

    - Talent filters the contents of the FACS tube with a strainer.

- Mitochondrial Respiration and Glycolysis Assays of LSK HSPCs

  - First, centrifuge the collected LSK cells at 500 x g and at room temperature for 5 minutes [1]. Discard the supernatant and re-suspend the cells in complete media to a final concentration of at least 70,000 cells per 40 microliters [2].

    - Talent places the tube into a centrifuge, closes the centrifuge lid, and turns the centrifuge on.

    - Talent re-suspends the cells in complete media.

  - Seed 40 microliters of this cell suspension into the wells of the PLL-coated 8-well plate, making sure to leave all of the corner wells empty [1]. Centrifuge the plate at 450 x g and at room temperature for 1 minute [2-TXT]. Use an inverted microscope to ensure the cells are attached to the bottom of the wells [3].

# Videographer: This is one of the most important steps for viewers to see.

    - Talent seeds the cell suspension into the wells of the PLL-coated plate (leaving the corners empty).

    - Talent places the plate into a centrifuge, closes the centrifuge lid, and turns the centrifuge on. TEXT: Do not apply the brake.

    - Talent, at an inverted microscope, checks the cell attachment on the bottom of the wells.

  - After this, add 135 microliters of complete media to the cells in each well, bringing the final volume of each well to 175 microliters [1]. Add 175 microliters of complete media to the two corners of the plate as blanks [2].

    - Talent adds complete media to the cells in each well.

    - Talent adds complete media to the corners of the plate.

  - Incubate the cells in a non-CO2 incubator at 37 degrees Celsius for 2 hours [1]. Then, set up a program for the analyzer to add drugs to each well of the plate as outlined in Table 2 and Table 3 of the text protocol [2].

    - Talent places the plate into an incubator.

    - Talent, at the analyzer, sets up the program.

  - For the mitochondrial stress test, retrieve the sensor cartridge in the utility plate from the incubator [1] and load its ports such that each well has a final concentration of 2 micromolar oligomycin, 1.5 micromolar FCCP, and 0.5 micromolar of either rotenone and antimycin A as needed [2-TXT].

# Videographer: This is one of the most important steps for viewers to see.

    - Talent retrieves the sensor cartridge in the utility plate from the incubator.

    - Talent loads the sensor cartridge’s ports as described. TEXT: Follow the dilution metrics in Table 4.

  - Remove the lid from the sensor cartridge, and place it on the instrument tray [1]. Begin the calibration process, which will take 20 minutes [2].

    - Talent removes the lid from the cartridge and places it on the instrument tray.

    - Talent begins the calibration process. Any action taken in this process (or the calibration process itself) can be filmed for this shot.

  - When the calibration is complete, remove the utility plate and substitute it with the assay plate containing the LSK cells [1]. Press Continue to start the previously set program [2]. When the program is complete, retrieve the data and analyze it [3].

    - Talent removes the utility plate and substitute it with the assay plate.

    - Talent presses Continue to start the program.

    - Talent analyzes the data. Any action taken during the analysis can be filmed for this shot.

# Section – Results

- Results: Analysis of Hematopoietic Stem Progenitor Cell Metabolism

  - In this study, a maximum amount of viable murine LSK HSPCs are isolated, and their glycolysis and mitochondrial metabolism is measured with an extracellular flux analyzer [1]. Although extracellular flux analysis is traditionally used for adherent cells, this method makes LSK HSPCs adherent to PLL coated wells  which allows for measurement of the extracellular flux, and thus metabolic health of LSK HSPCs [2].

    - LAB MEDIA: Figure 1.

    - LAB MEDIA: Figure 1.

  - In order to measure the mitochondrial respiration – through the oxygen consumption rate – and glycolysis – through the extracellular acidification rate – in basal and stressed conditions [1], drugs that interfere with glycolysis and mitochondrial respiration are injected sequentially [2].

    - LAB MEDIA: Figure 2. Video Editor: Show only Figure 2A and Figure 2B.

    - LAB MEDIA: Figure 2. Video Editor: Still show only Figure 2A and Figure 2B.

  - As expected, the basal level of the extracellular acidification rate [1] is higher for LSK HSPCs cultured in glucose and pyruvate positive media [2] compared to those cultured in negative media [3].

    - LAB MEDIA: Figure 2. Video Editor: Show only Figure 2C.

    - LAB MEDIA: Figure 2. Video Editor: Still show only Figure 2C. Emphasize the data set for Glucose/Pyruvate+ Media (the blue data set) between the vertical axis and the first dotted line (the glucose dotted line).

    - LAB MEDIA: Figure 2. Video Editor: Still show only Figure 2C. Emphasize the data set for Glucose/Pyruvate- Media (the red data set) between the vertical axis and the first dotted line (the glucose dotted line).

  - The injection with glucose did not change the extracellular acidification rate for the cells cultured in the positive media [1], but it boosted the glycolysis of cells in negative media [2]. However, the basal level of these cells still remained lower than the positive group [3].

    - LAB MEDIA: Figure 2. Video Editor: Still show only Figure 2C. Emphasize the data set for Glucose/Pyruvate+ Media (the blue data set) between the left-most dotted line (the glucose dotted line) and middle dotted line (the oligomycin dotted line).

    - LAB MEDIA: Figure 2. Video Editor: Still show only Figure 2C. Emphasize the data set for Glucose/Pyruvate- Media (the red data set) between the left-most dotted line (the glucose dotted line) and middle dotted line (the oligomycin dotted line).

    - LAB MEDIA: Figure 2. Video Editor: Still show only Figure 2C. Hold the emphasis from 5.4.2.

  - The injection with oligomycin activated the glycolysis at its maximum level in the positive group [1] but did not affect the negative group [2]. The injection with the glucose analogue 2-DG returned the extracellular acidification rate to non-glycolytic levels [3].

    - LAB MEDIA: Figure 2. Video Editor: Still show only Figure 2C. Emphasize the data set for Glucose/Pyruvate+ Media (the blue data set) between the middle dotted line (the oligomycin dotted line) and the right-most dotted line (the 2-DG dotted line).

    - LAB MEDIA: Figure 2. Video Editor: Still show only Figure 2C. Emphasize the data set for Glucose/Pyruvate- Media (the red data set) between the middle dotted line (the oligomycin dotted line) and the right-most dotted line (the 2-DG dotted line).

    - LAB MEDIA: Figure 2. Video Editor: Still show only Figure 2C. Emphasize both data sets to the right of the right-most dotted line (the 2-DG dotted line).

  - For the mitochondrial stress test, the injection of oligomycin hyperpolarized the mitochondrial membrane, preventing more proton pumping through the ETC complexes, and thus reducing the rate of mitochondrial respiration [2].

    - LAB MEDIA: Figure 2. Video Editor: Show only Figure 2D.

    - LAB MEDIA: Figure 2. Video Editor: Still show only Figure 2D. Emphasize the data set between the left-most dotted line (the oligomycin dotted line) and the middle dotted line (the FCCP dotted line).

  - The injection of FCCP pushes the oxygen consumption rate to their maximum as cells try to recover the mitochondrial membrane potential [1]. The injection with two other Electron Transport Chain inhibitors causes mitochondrial respiration to completely stop, and thus the oxygen consumption rate reverted to its minimum level [2].

    - LAB MEDIA: Figure 2. Video Editor: Still show only Figure 2D. Emphasize the data set between the middle dotted line (the FCCP dotted line) and the right-most dotted line (the R/A dotted line).

    - LAB MEDIA: Figure 2. Video Editor: Still show only Figure 2D. Emphasize the data set after the right-most dotted line (the R/A dotted line).

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Marie Goulard: Please avoid the use of red cell lysis buffer for the mononuclear cell isolation. We recommend the Ficoll gradient separation to prevent clump formation and reduce the loss of LSK [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

    - B-roll suggestion: Shots from 3.1 and 3.2.

  - Giorgia Scapin: Using our optimized method, we can measure mitochondrial respiration and glycolysis of rare and fragile hematopoietic stem progenitor cells and study how metabolic cues regulate normal and malignant hematopoiesis [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.