# Submission ID #: 60237

# Scriptwriter Name: Qingyun Ping

# Project Page Link: https://www.jove.com/account/file-uploader?src=18372333

# Title: Solid Phase 11C-Methylation, Purification and Formulation for the Production of PET Tracers

# Authors and Affiliations: Thomas A. Singleton1*, Mehdi Boudjemeline1*, Robert Hopewell1, Dean Jolly1, Hussein Bdair1, Alexey Kostikov1,2

1McConnell Brain Imaging Centre, Montreal Neurological Institute, McGill University, Montreal, QC, Canada

2Department of Neurology and Neurosurgery, McGill University, Montreal, QC, Canada

*These authors contributed equally.

# Corresponding Author:

# Alexey Kostikov

# alexey.kostikov@mcgill.ca

# Email addresses for Co-authors:

# thomas.singleton@mcgill.ca

# mehdi.boudjemeline.chum@ssss.gouv.qc.ca

# robert.hopewell@mcgill.ca

# dean.jolly@mcgill.ca

# hussein.bdair@mail.mcgill.ca

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N): N

2. Does your protocol include software usage? (Y/N): Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

Step 3.2. Application of precursor on tC18

Step 4.1. Assembling the manifold step 1

Step 4.2. Assembling the manifold step 2

Step 4.3. Assembling the manifold step 3

Step 5.8. Eluting [11C]PiB into a sterile vial

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Step 3.2. Application of precursor on tC18

Step 5.8. Eluting [11C]PiB into a sterile vial

5. Will the filming need to take place in multiple locations? (Y/N): N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Alexey Kostikov: Carbon-11 is one of the most commonly used radioisotopes in Positron Emission Tomography because of its abundance in organic molecules and short half-life of 20 minutes. In this video we show an efficient carbon-11 radiolabeling technique to produce PET tracers using solid phase extraction cartridges [1].

    - INTERVIEW

  - Alexey Kostikov: Compared to conventional methods, cartridge-based technique obviates the use of preparative HPLC, shortens the radiosynthesis time, improves synthesis reliability, simplifies the automation process and facilitates compliance with the Good Manufacturing Practice (GMP) [1].

    - INTERVIEW

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Thomas A. Singleton: Cartridge-based technique is demonstrated here on the example of the radiosynthesis of [11C]PiB, a PET tracer for in vivo imaging of amyloid plaques in the brains of patients suffering from the Alzheimer’s disease [1].

    - INTERVIEW

  - Thomas A. Singleton: Recently, we applied the “3-in-1” technique for the radiolabeling of [11C]ABP688, a PET tracer for the imaging of metabotropic glutamate receptors type 5 (mGlu5) and other carbon-11 labeled tracers [1].

    - INTERVIEW

# Section - Protocol

- Preparation of Buffers and Eluents

  - Combine 450 milliliters of 0.2 molar solution of acetic acid with 50 milliliters of 0.2 molar solution of sodium acetate to prepare the acetate buffer at pH 3.7 as buffer 1 [1-TXT]. Verify the pH of the buffer with pH strips or a pH meter [2].

    - Talent combines two buffers. TEXT: buffer 1

    - Talent tests pH.

  - Then, combine 12.5 milliliters of absolute ethanol with 87.5 milliliters of acetate buffer in a 100-milliliter bottle to make 12.5% aqueous ethanol solution as wash 1 [1-TXT]. Combine 15 milliliters of absolute ethanol with 85 milliliters of acetate buffer in a 100-milliliter bottle to make 15% aqueous ethanol solution as wash 2 [2-TXT].

    - Talent combines ethanol and buffer 1. TEXT: wash 1

    - Talent combines ethanol and buffer 1. TEXT: wash 2

  - Combine 5 milliliters of absolute ethanol with 5 milliliters of acetate buffer to make 50% aqueous ethanol solution as final eluent [1-TXT], and draw 2.5 milliliters of this solution into a 10-milliliter syringe [2].

    - Talent combines ethanol and buffer 1. TEXT: final eluent

    - Talent draws up solution into a syringe.

- Application of the Precursor to the Cartridge

  - To precondition the tC18 (pronounce as T-C-eighteen) cartridge, from the female end, use a syringe to pass 10 milliliters of water followed by 5 milliliters of acetone through the cartridge [1]. Dry the cartridge with a stream of nitrogen at 50 milliliters per minute for 1 minute [2].

    - Talent passes two solutions through the cartridge.

    - Talent dries the cartridge with nitrogen gas.

  - In an eppendorf tube, dissolve 2 milligrams of the precursor 6-OH-BTA-0 (pronounce as six-O-H-B-T-A-zero) in 1 milliliter of anhydrous acetone [1]. Holding a Luer-tip 250-microliter precision glass syringe downwards, withdraw 100 microliters of the precursor solution, and then 50 microliters of air cushion [2]. Remove the needle and tap the syringe to make sure the air cushion is above the solution in a syringe.

    - CU: Talent dissolves compound into solvent.

    - CU: Talent withdraws air and solution. Focus on the solution in the syringe.

    - [Added shot] Talent removes the needle and taps the syringe

  - Apply the precursor solution on the tC18 cartridge from the female end by slowly pushing the plunger all the way down. Do not push the air any further [1].

    - Talent adds solution into the cartridge. Important Step

- Setting up the Manifold for Automated Synthesis

  - Secure and assemble the standard 5-port disposable manifold on the synthesis module [1-TXT]. Port 1 has two positions. Connect the horizontal inlet to the automated dispenser fitted with a 20-milliliter syringe. Connect the vertical inlet to the bottle with wash 1 [2].

    - Shot of the 5-port manifold. TEXT: Use acetone-resistant manifolds!

    - Talent connects port 1 with two inlets. Important Step

  - Connect the output of the module which produces [11C]CH3OTf (pronounce as C-eleven-methyl-triflate) to port 2 of the manifold [1]. Install the tC18 cartridge loaded with precursor 6-OH-BTA-0 between ports 3 and 4 [2].

    - Talent connects output to port 2. Important Step

    - Talent connects cartridge between ports 3 and 4.

  - Port 5 has two positions. Connect the horizontal outlet to the waste bottle and the vertical outlet to the sterile vial for tracer collection via the sterile filter [1].

    - Talent connects two outlets of the port 5. Important Step

- Radiosynthesis of [11C]PiB

  - In the lead-shielded hot cell, use a teflon line to deliver [11C]CH3OTf (pronounce as C-eleven-methyl-triflate) into the manifold through port 2 and pass it through the loaded tC18 cartridge at 20 milliliters per minute output flow [1]. The [11C]CH3OTf module regulates the flow via ports 3 and 4 and into the waste bottle [2-LM].

    - SCREEN: Talent starts the program. Show screen capture video 1. Author comment: The screen capture videos were filmed by the videographer as we were unable to use the screen capture software.

    - Figure 2A – Video editor: emphasize ports 3 and 4, and the waste bottle.

  - Once all the radioactivity has been transferred and trapped in the tC18 cartridge as monitored by the radioactivity detector [1], stop the flow of gas by closing port 2 [2]. Let the cartridge sit for 2 minutes to complete the reaction [3].

    - SCREEN: Show screen capture video 2.

    - Shot of the cartridge.

  - Then, through port 1 [1], withdraw 19 milliliters of wash 1 solution from the 100-milliliter bottle into the dispenser syringe [2-LM] at 100 milliliters per minute [3].

    - SCREEN: Show screen capture video 3.

    - Figure 2B

    - Shot of the dispenser moving upwards.

  - Dispense 18.5 milliliters of wash 1 solution from the dispenser through the tC18 cartridge via ports 3 and 4 and [1] into the waste bottle at 50 milliliters per minute [2-LM]. Ensure the absence of air bubbles in the manifold as they might diminish the separation efficiency [3].

    - SCREEN: Show screen capture video 4.

    - Figure 2C

    - Shot of the dispenser moving downwards.

  - Repeat the withdrawing and dispensing four times, with 18.5 milliliters of wash 1 solution each time, and total volume of 92.5 milliliters passing through tC18 [1-LM].

    - Figure 2B&C – Video editor: show Figure 2B&C at the same time, with B on top of C.

  - Switch the input line on port 1 from wash 1 to wash 2 [1]. Repeat the withdrawing and dispensing three times, with 18.5 milliliters of wash 2 solution each time, and total volume of 55.5 milliliters passing through tC18 [2-LM].

    - Talent switches the input line.

    - Figure 2B&C – Video editor: show Figure 2B&C at the same time, with B on top of C.

  - Toggle valve 5 towards the final vial [1-LM]. Disconnect the line from the dispenser and connect it to the 10-milliliter syringe containing 2.5 milliliters of the final eluent solution and 7.5 milliliters of air [2].

    - SCREEN: Show screen capture video 5

    - Figure 2D

    - Talent adjusts the connection.

  - Holding the syringe downwards, manually push the final eluent solution followed by the air through the tC18 cartridge via ports 3 and 4 and into the sterile vial for tracer collection via the sterile filter [1].

    - Talent pushes the syringe, with view of the collection. Important Step

  - Switch the syringe to the one containing 10 milliliters of the sterile phosphate buffer and push the entire volume through the tC18 cartridge into the sterile vial [1]. Disconnect the syringe and flush the line with 10 milliliters of air using the same syringe [2]. Using 1-milliliter syringe, withdraw samples for pre-release quality control procedures, bacterial endotoxin test and sterility test.

    - Talent switches the syringe, and pushes buffer through cartridge.

    - Talent flushes the line with air.

    - [Added shot]: Talent withdraws solution from the vial and distributes between two Eppendorf vials and one sterile vial.

    - [Added shot]: Talent closes the lid of the lead pot and picks it up to carry to the quality control lab.

- Quality Control Procedures

  - To perform pre-release quality control procedures, first determine the radiochemical identity, radiochemical purity, chemical purity and molar activity of the tracer by an analytical HPLC system equipped with UV, radioactivity detectors, and a reversed-phase column [1].

    - [Added shot]: talent withdraws sample from the Eppendorf in the lead pot shown in 5.9.3 and 5.9.4

    - Talent operates on HPLC machine.

  - Determine the retention times of 6-OH-BTA-0 (pronounce as XX six-Oh-H-B-T-A-zero) and 6-OH-BTA-1 (pronounce as six-Oh-H-B-T-A-one) and calibrate the instrument to quantify the content of each compound [1].

    - SCREEN: Talent shows the retention times of the two compounds.

  - Determine the residual solvent content by the analytical gas chromatography system equipped with a capillary column [1]. Determine the retention times of acetone and ethanol and calibrate the instrument to quantify the content of each solvent [2].

    - Talent operates on the GC.

    - SCREEN: Talent shows the retention times of acetone and ethanol.

# Section – Results

- Results: Radiosynthesis of [11C]PiB

  - This study performed the radiosynthesis of [11C]PiB (pronounce as C-eleven-pib) by 11C-methylation of 6-OH-BTA-0 (pronounce as six-Oh-H-B-T-A-zero) precursor with [11C]CH3OTf (pronounce as C-eleven-methyl-triflate) [1].

    - Figure 1

  - Quality control analytical HPLC of [11C]PiB (pronounce as C-eleven-pib) shows the radiochemical purity was 98.0% [1].

    - Figure 3 – Emphasize Figure 3A and the big peak.

  - The retention times of 6-OH-BTA-0, precursor, and 6-OH-BTA-1 (pronounce as six-Oh-H-B-T-A-zero), tracer peak, on the UV chromatogram were 3.6 and 5.9 minutes, respectively. The analysis of the UV trace [1] shows residual precursor concentration below the acceptable limit of 1.3 micrograms [2] and the absence of other non-radioactive impurities [3].

    - Figure 3 – Emphasize Figure 3B.

    - Figure 3 – Emphasize Figure 3B, and emphasize the peak which the first arrow indicates.

  - This indicates the radiochemical and chemical purity of the tracer is acceptable for clinical PET studies [1].

    - Figure 3 – Emphasize Figure 3A, and emphasize the big peak.

  - Increasing the 6-OH-BTA-0 (pronounce as six-Oh-H-B-T-A-zero) precursor amount from 0.1 milligrams to 0.3 milligrams improved the radiochemical yield from 18.1% to 32.1%, at the expense of a slightly higher amount of the precursor in the final product [1].

    - Figure 4

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Thomas A. Singleton: This technique should be applicable to other systems with a suitable difference in polarity between the precursor and radiolabeled product [1].

    - INTERVIEW

  - Thomas A. Singleton: All manipulations involving radioactive isotopes must be performed in a lead-shielded hot cell by personnel with adequate training to work with radioactive materials [1].

    - INTERVIEW