## Página1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Equipments
683 Small Animal Ventilator | Harvard Apparatus, Inc. | 55-0000
Anesthesia Assembly | BRASMED | COLIBRI
Barber Clippers | Mundial | HC-SERIES
Dental Drill | Norgen | B07-201-M1KG
Homeothermic Heating Pad and Monitor | Harvard Apparatus, Inc. | 50-7212
Marmoset Stereotaxic Frame | Narishige Scientific Instrument Lab | SR-6C-HT
Patient Monitor and Pulse Oximeter | Bionet Co., Ltd | BM3
Stereotaxic Micromanipulator | Narishige Scientific Instrument Lab | SM-15R
Surgical Microscope | Opto | SM PLUS IBZ
Instruments
Allis tissue forceps | Sklar | 36-2275
Alm Retractor, rounded point, 4x4 teeth | Rhosse | RH11078
Angled McPherson Forceps | Oftalmologiabr | 11301A
Curved Surgial Scissors | Harvard Apparatus, Inc. | 72-8422
Curved Tissue Forceps | Sklar | 47-1186
Delicate Dissection forceps | WPI | WP5015
Dental Drill Bit | Microdont | ISO.806.314.001.524.010
Essring Tissue Forceps | Sklar | 19-2460
FG 1/4 Dental Drill Bit | Microdont | ISO.700.314.001.006.005
Halsey Needle Holder | WPI | 15926-G
Halstead Mosquito forceps | WPI | 503724-12
Hemostatic Forceps, Straight | Sklar | 17-1260
Jewler Forceps | Sklar | 66-7436
McPherson-Vannas Optathalmic microscissor, 3 mm point | Argos Instrumental | ARGOS-4004
Pereosteal Raspatory | Golgran | 38-1
Scalpal Handle | Harvard Apparatus, Inc. | 72-8354
Screwdrivers | Eurotool | SCR-830.00
Sodering Iron | Hikari | 21K006
Surgical Scissor | Harvard Apparatus, Inc. | 72-8400
Toothed forceps | WPI | 501266-G
Disposables/Single Use
1 ml sterile syringe with 26 G needle | Descarpack | 7898283812785
130 cm x 140 cm surgical field, presterilized | ProtDesc | 7898467276344
24G Needle, presterilized | Descarpack | 7898283812846
50 cm x 50 cm surgical field, presterilized | Esterili-med | 110100236
Cotton Tipped Probes, Presterilized | Jiangsu Suyun Medical Materials Co. LTD | 23007
Cotton tipped Qutips | Higie Topp | 7898095296063
Electrode Array |  |  | Home made
Endotracheal tube without cuff, internal diameter 2.0 mm, outer diameter 2.9 mm | Solidor | 7898913077201
Tinned copper wire, 0.15 mm diameter
M1.4x3 Stainless steel screws | USMICROSCREW | M14-30M-SS-P
Medical Tape | Missner | 7896544910102
Nylon surgical sutures | Shalon | N540CTI25
Scalpal Blade, presterilized | AdvantiVe | 1037
solder | Kester | SN63PB37
Sterile Saline 0.9% | Isofarma | 7898361700041
Sterile Surgical Gloves | Maxitex | 7898949349051
Sterile Surgical Gown | ProtDesc | 7898467281208
Surgical Gauze, 15 cm x 26 cm presterilized | Héika | 7898488470315
Gelfoam | Pfizer
Drugs/Chemicals
0.25mg/ml Atropine | Isofarma
10% Lidocaine Spray | Produtos Químicos Farmacêuticos Ltda. | 7896676405644
2.5% Enrofloxacino veterinary antibiotic | Chemitec | 0137-02
Dexametasona Veterinary Anti inflammatory | MSD | R06177091A-00-15
Hydrogen Peroxide | Farmax | 7896902211537
Isoflourane | BioChimico | 7897406113068
Jet Acrylic polymerization solution | Artigos Odontológicos Clássico
Jet Auto Polymerizing Acrylic | Artigos Odontológicos Clássico
Ketamine 10% | Syntec
Lidocaine and Phenylephrine 1.8 ml local anesthetic | SS White | 7892525041049
Povidone-Iodine solutiom | Farmax | 7896902234093
Riohex 2% surgical Soap | Rioquímica | 7897780209418
Silver Paint | SPI Supplies | 05002-AB
Tramadol chloride 50 mg/ml | União Química | 7896006245452
Refresh gel (polyacrylic acid) | Allergan