Korkut Uygun, PhD	                                                                                     51 Blossom Street

Associate Professor of Surgery, HMS                                                                        Boston, Massachusetts 02114

Director, Cell Resource Core, MGH	             tel: 617-371-4881

Deputy Director of Research, Shriners Hospital-Boston	              fax: 617-573-9471

Dr. Phillip Steindel
Review Editor 
JoVE
											July 15, 2019
Dear Dr. Steindel,

Thank you for providing us with the opportunity to submit our revised manuscript to JoVE. We express our gratitude to both the Editorial Board members and the external referees for their thoughtful comments and compliments.

I am pleased to inform you that we believe we were able to address all comments and questions received. Accordingly, we are happy to resubmit our revised manuscript to be reconsidered for publication by JoVE. Please do not hesitate to contact us if you require further information. We look forward to your review of our submission.

Detailed responses to each comment are provided below.

Sincerely,

Korkut Uygun, Ph.D

Editorial comments:

General:
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

We carefully reviewed are manuscript and ensured there are no spelling or grammar issues.

2. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please limit the use of commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents.For example: Parafilm, Percoll

We removed the commercial product names and symbols from the protocol and referenced them in the table of materials.

Protocol:
1. For each protocol step, please ensure you answer the “how” question, i.e., how is the step performed? Alternatively, add references to published material specifying how to perform the protocol action. If revisions cause a step to have more than 2-3 actions and 4 sentences per step, please split into separate steps or substeps.

To inform the reader how specific steps are performed, we added additional information for every non-trivial step in the protocol throughout the manuscript. In addition, we strongly believe the video will provide additionally clarification.

Specific Protocol steps:
1. 1.1.1: What size filter?

We used a 0.22 um filter. We added this information to the manuscript.

2. 1.2.5: How do you sterilize?

We autoclaved the mixing needle assembly. We added this information to the manuscript.

3. 1.3.1: Where do hepatocytes come from? If they come directly from humans or animals, please include an ethics statement before the numbered protocol steps, indicating that the protocol follows the guidelines of your institution’s human research ethics committee or its animal care guidelines.

We added the following statement to the start of protocol: “Ensure that the cells destined for preservation are acquired according to protocols approved by your institution’s human research ethics or animal care and use committees. The primary hepatocyte isolations for this protocol were performed by the Cell Resource Core (CRC) at Massachusetts General Hospital, Boston, Massachusetts, USA. The animal protocol (#2011N000111) was approved by the Institutional Animal Care and Use Committee (IACUC) of Massachusetts General Hospital.”

Figures:
1. Please cite Figure 1 outside of the legends section.

We cited Figure 1 in the corresponding steps in the protocol.

2. Figures 2 and 3: Please include the statistical test used.

We added the used statistical tests to the caption of Figures 2 and 3.

Table of Materials:	
1. Please ensure the Table of Materials has information on all materials and equipment used, especially those mentioned in the Protocol. Please remove trademark (™) and registered (®) symbols from the Table and Materials.

We apologize for the incomplete Table of Materials. We carefully listed all equipment and materials mentioned in the protocol. Also, we removed the trademark and registered symbols as requested. 


Comments of Reviewer #1: 	
This work proposed an approach for bulk droplet vitrification of primary hepatocyte cells. This method leverages rapid osmotic dehydration to concentrate a low pre-incubated intracellular CPA concentration in the cells. The process is performed in a fluidic device and integrated with a syringe pump, which can continuously generate large sized droplets that are vitrified in liquid nitrogen afterwards. There are several concerns from this reviewer that need to be addressed before this paper could be considered further.

We thank the reviewer for the time and efforts in reviewing our manuscript. We value the feedback on our article and addressed each of your comments below.

General comments:
1. The design is based on the syringe and syringe pump; thus the efficiency and throughput may be limited. For example, refilling, contamination...

Droplet vitrification has been investigated in efforts to reduce the preincubated CPA concentration that is required to enable vitrification. Although sometimes referred to as “high throughput”, the typical processing rates are in the range of microliters per minute. For example, Dimirci et al 2007 report 0.14nl droplets at a rate of 1000 droplets/s which results in a throughput of 8.4µl per minute1. This is three to four orders of magnitude lower than the 4 ml/min throughput of bulk droplet vitrification, which we regard highly more efficient as existing methods. However, this does not imply – and in that aspect we agree with the reviewer – that efficiency cannot be further improved. Our motivation behind the publication of this protocol is that we like to encourage others to use and especially improve upon bulk droplet vitrification. For example, larger syringes could be explored, two syringe pumps could be alternated for simultaneous refilling and processing, or the CPA pre-incubation step could be performed continuously using similar mixing devises as in the mixing needle.

We agree with the reviewer’s comment that contamination is an important consideration when using an open method such as droplet vitrification. To prevent contamination, we used our sterile equipment in a laminar flow cell culture hood. Although the liquid nitrogen used was not sterile, we did not encounter any contamination issues which would been revealed during long term cultures that we performed after preservation. If required, liquid nitrogen can be sterilized by radiation or filtering2. Additionally, the system may be completely closed with a lid on the liquid nitrogen Dewar that has a chimney connected to the mixing needle. We added this important information as a note to step 1.2.6 of the protocol and to the discussion.

2. If using a different type of cell (e.g. human hepatocytes), the viability of cells and the CPA concentration in cells in this approach is hard to be guaranteed as the short loading time…

We agree with the reviewer that the successful use of other cell types cannot be guaranteed as suggested in step 1.3.1 of the protocol. We removed the use of primary human hepatocytes from this step and confined this protocol to the use of primary rat hepatocytes.

3. According to the section 1.3, the CPA (e.g. DMSO) was already added into cells suspension before using fluidic device, but the authors did not mention it in the abstract and introduction.

We completely acknowledge the reviewer’s comment that pre-incubation step with CPAs – to add the relatively lower concentration of DMSO and EG into the cell – is an essential step in bulk droplet vitrification. However, this was mentioned in both the abstract as well as in the introduction. “This novel method leverages rapid osmotic dehydration to concentrate a low pre-incubated intracellular CPA concentration directly ahead of vitrification”. To emphasize that DMSO and EG were used in this pre-incubation step we added this information to the introduction.

4. For bulk droplet vitrification, the authors should refer the literature below. The cooling rate, collection and contamination problems have been well investigated in this paper: High-throughput non-contact vitrification of cell-laden droplets based on cell printing. Scientific reports 5 (2015): 17928.

We thank the reviewer for pointing out that we omitted to cite and mention this important work of Shi et al. We added this reference to the introduction section where we introduce droplet vitrification approaches. Also, in the revised manuscript, we mention this reference in the discussion of potential contamination issues. This truly is an elegant approach in the way it completely overcomes potential contamination issues. However, we would like to point out that the method describes an 8 x 8 arrays of 0.2 µl to 3 x 3 arrays of 5 µl droplets that are printed on a 3 x 3 cm surface which results in a batchwise processing volume of merely 13 to 45 µl which may limit throughput in the order of milliliters.

Specific comments:	
1. Abstract, line 39-41, "However, pre-incubation with high concentrations of cryoprotectant agents (CPA) and extremely fast cooling rates are required to achieve glass transition while avoiding injurious ice formation." This statement is not accurate. Very high concentration CPA do not need extremely fast cooling rate. For example, VS55.

We acknowledge the reviewer’s comment that this statement was not accurate. The sentence now reads as “However, extremely fast cooling rates are required to achieve transition of pure water into the glass state, while avoiding injurious ice formation. Although pre-incubation with cryoprotective agents (CPA) can reduce the critical cooling rate of biological samples, high CPA concentrations are generally needed to enable vitrification.”

2. Introduction, line 64, not "glass", should be "glass state or amorphous solid".

We changed “glass” into “glass state”.

3. Introduction, line 65, "cooled near instantaneously", not a scientific statement, please give the specific number, and it does exist in the previous literatures.

We added the specific cooling rate as stated in the review of critical cooling rates by Hopkins et al 2012.3

4. Protocol 1.1.1, line 106, please give the specification of constituents in the "University of Wisconsin solution (UW)".

We added the exact composition of UW as a note to step 1.1.1.

5. Protocol 3.2.3, line 175, please specify the "beads".

We revised the word “beads” to vitrified hepatocyte droplets throughout the manuscript.

6. Representative results, line 196, please specify the "classic cryopreservation using the most optimized slow freezing protocol reported in literature." Or give the specific reference.

We apologize for the lack of proper context and references. This section now reads as: “Freshly isolated primary hepatocytes of five different rat livers were used for a direct comparison of bulk droplet vitrification to classic cryopreservation using a protocol  conform the most optimized slow-freezing protocols reported in literature4, 5. In short, the hepatocytes were suspended in UW supplemented with bovine serum albumin (2.2 mg/ml), glucose (333 mM) and DMSO (10% v/v) and frozen using a controlled rate freezer. After storage at -196°C the samples were thawed in a warm water bath. After all ice melted, the DMSO was directly diluted while the glucose concentration was gradually lowered during multiple steps to reduce osmotic injury. The exact protocol can be found in detail elsewhere6.

7. Representative results, line 200, "be stored for decades without loss of viability". Where is the evidence?

Accompanied with an appropriate reference this sentence now reads as: “Although shorter preservation times were tested for practical considerations, it should be noted that primary hepatocytes can be stored at -196°C for years without loss of viability4”.

Figures:
Figure 1, the scale bars are need to be added, and Figure 1A is not clear to see the details;

We replaced the photo of Figure 1A and added scale bars. Please note that we deliberately did not include a scale bar in Figure 1E because of the photo’s skewed perspective.

Figure 2, why there is a such large range in Figure 2B on "Cryopreserved"?

Inconsistency is one of the drawbacks of conventional hepatocyte cryopreservation by slow freezing. In hepatocyte cryopreservation literature it is common to find error bars in the range of 20 to 30 %4, 7, 8. Please note that the whiskers of the boxplot are min to max values with a range of 26% while most error bars in literature are often SD or SEM and which are typically smaller than min to max error bars. We believe that one important reason for this inconsistency is that during the freezing process the samples are first supercooled before the supercooled state brakes down and the samples freeze. Breakdown of the supercooled state is a stochastic event which causes inconsistency. Although the controlled rate freezing program includes a fast dip and rise in temperature intended to cause ice nucleation, the actual temperature at which this happens, as well as the time it takes for the samples to freeze varies considerably from sample to sample based on our (non-published) data.

Figure 3, the legend bar is needed.

The error bars are defined as standard deviation (SD) which is mentioned in the caption

Comments of Reviewer #2:

Manuscript Summary:
Overall this manuscript is well-written, with only minor copy-edit needed. The described procedure is generally easy to follow. The procedure itself is quite an important improvement for hepatocyte preservation and is likely to be adopted by others, which makes the current manuscript a highly desirable contribution to the field.

Thank you for your review and kind remarks. Please find our response to each of your comments below.

Major Concerns:	
1. The use of the term 'devitrification' is confusing, as it generally refers to the process of conversion of the glassy state to a crystalline phase during rewarming, a very undesirable event. The authors would be better served to simply use 'rewarming' in its place.

We acknowledge the reviewer’s comment and replaced “devitrification” with rewarming throughout the manuscript to avoid confusion.

2. It would be helpful to have a sketch of the conical tube/ filter assembly, together with the liquid nitrogen level. Does the funnel fit snugly into the opening of the conical tube or is it much smaller and loose in the container? It's not clear how this assembly is inserted and the vessel filled without overspill. Is liq N2 added after it is inserted in place in order to fill the conical tube? The bead collection process is also a little muddling. During collection, how is the assembly lifted out and the beads collected without loss/spilling, if the liquid nitrogen level is 1 cm below the top of the funnel? A diagram would make this much simpler to follow. Is the handling all done with the user wearing Cryo gloves? Are tongs used?

As suggested, we added a sketch of the conical tube and funnel assembly that shows the liquid nitrogen level.

Although the tip of the funnel fits loosely in the conical tube, the gap (approximately 1 mm) is small enough to keep the two components aligned. The density of these components is higher than liquid nitrogen and therefore they “sink” to the bottom of the dewar. The curvature of the bottom of the dewar keeps the conical centered. The outer edge of the funnel fits loosely (also approximately 1 mm gap) in the LN dewar which keep the assembly upright and centered.

The funnel is first inserted in the conical tube and both are slowly pressed down in the liquid filled dewar using large forceps (we added this information to the protocol). During this, the buoyancy of the air-filled conical presses it upwards and therefore keeps the funnel inserted in the conical tube. As soon as the edge of the conical tube is pushed below the LN level, the conical tube fills with LN that flows through the 1mm gap between the funnel and the conical tube’s wall. When the conical tube is filled, the conical tube and funnel assembly slowly sink down until the conical tube rests on the bottom of the dewar. The conical shape of the funnel keeps everything vertical and centered during this process.

To collect the vitrified droplets, the funnel is first taken out with forceps. After removing the funnel, the conical slightly tips over but stays upright as it leans against the wall of the dewar. The conical tube is easily collected from the liquid nitrogen using the same forceps. We added this information to step 2.1.2.

We strongly believe that all these practical questions of the reviewer will be perfectly answered and demonstrated in the video. Exactly these specifics about the protocol motivated us to publish the protocol in JoVE because a short video tells more than a thousand words.

3. Use of the engineered lid for cryogenic storage is not clear - please provide a diagram. This step is nothing more than just puncturing the lid of a conical tube and wrapping it with a flexible film.

We changed our wording in step 2.1.1 aiming not to confuse the reader with “creating a valve”. Also, we added photos to provide clarity as requested. We believe that the video will completely elucidate this step.

Minor Concerns:
line 108 missing 'of'
line 109 capitalization inconsistent with previous usage
line 117 seems garbled 
line 210 should be 'synthetic function' not 'synthetic hepatocyte' (i.e. change the word order)

We have revised the manuscript to incorporate all the minor concerns above.

Comments of Reviewer #3:

Manuscript Summary:	
The article by de Vries et al., describes a protocol for bulk processing of samples before vitrification in liquid nitrogen.

Major Concerns:	
I have no major scientific concerns. However, some sentences should be reworded. Furthermore, I do not see a reference to Figure 1 in the text and specific examples should be given for the CPAs in questions and the rates of freezing the author refers to. How slow is slow freezing? How fast is fast freezing?

We thank the reviewers for the thoughtful comments and constructive feedback. We added appropriate values for the cooling rates in the introduction. For example, slow freezing is typically in the order of 1 °C/min while vitrification of pure water requires cooling rates in the order of one million degree Celsius per second. Also, we added references to Figure 1 in the protocol.

Minor Concerns:
1) Lines 32-33: 'using low pre-incubated intracellular cryoprotectant agent concentrations'. Try not to use strings of modifiers for a given noun. You have four modifiers; a rule of thumb is limiting modifiers to two words. This sentence would read better as:' by using cryoprotectant agents at low concentrations during a preincubation step'.

We thank the reviewer for this comment and the general advice which will improve English writing in future.  We reworded the string of modifiers.

2) Line 38: slow-freezing cryopreservation I would add a hyphen or reword to cryopreservation at rates below XXX C/min ( I think you need to define 'slow').

We added the hyphen as suggested throughout the manuscript. Also, we defined slow freezing (see first comment)

3) Line 57: Why multiple? Isn't DMSO enough? In case you need multiple, which ones are you referring to?

For best results, a combination with DMSO glucose and albumin is used. We added this information to the manuscript.

4) Line 68: Please be specific. You need to state the CPA in question. A concentration of 40% DMSO would certainly be toxic while ethylene glycol, sucrose, and 1,2-propanediol are less toxic.

As suggested we now specifically state “40% v/v DMSO”.

5) Line 86: 'low pre-incubated intracellular CPA concentration'. See #1.

We reworded the string of modifiers.

6) Line 91: 'loaded' not 'laden'.

We corrected the grammatical error accordingly.

7) Lines 95-96: 'long-term post preservation viability'. See #1. We reworded the string of modifiers. 8) Line 107: to a mixture OF…

Step 1.1.1 was reworded to address comment 4 of Reviewer #1.

9) Lines 105-244: Read carefully through the protocol part and remove capital letters from chemical names, verbs, etc. (e.g. Sucrose, Vitrification solution, 1. Bulk Droplet vitrification).

As suggested, we replaced the capital letters from chemical names and other inappropriate words.

10) Line 203: 'trypan blue exclusion membrane integrity testing'. See #1.

We reworded the string of modifiers.

11) Line 204: What is the 'most optimized protocol in literature'. Provide the CPA combination and reference.

This issue was also raised by reviewer 1. This section now reads as: “Freshly isolated primary hepatocytes of five different rat livers were used for a direct comparison of bulk droplet vitrification to classic cryopreservation using a protocol  conform the most optimized slow-freezing protocols reported in literature4, 5. In short, the hepatocytes were suspended in UW supplemented with bovine serum albumin (2.2 mg/ml), glucose (333 mM) and DMSO (10% v/v) and frozen using a controlled rate freezer. After storage at -196°C the samples were thawed in a warm water bath. After all ice melted, the DMSO was directly diluted while the glucose concentration was gradually lowered during multiple steps to reduce osmotic injury. The exact protocol can be found in detail elsewhere6.

12) Lines 247-248: How do you know reduced viability was due to ice formation and not cumulative osmotic stress?

We acknowledge the reviewer’s comment and we admit that we formally don’t know this.  The freezing process itself also results in osmotic imbalances because solutes are excluded from the growing ice lattice. Therefore, osmotic injury and freezing injury are very hard to distinguish. To address the reviewer’s comment we reworded this sentence to “Cryopreservation of hepatocytes by slow-freezing results in reduced viability and metabolic function.”

13) Line 250: how 'high' is 'high'?

We rephrased this sentence from “However, extremely fast cooling rates and pre-incubation with high CPA concentrations are required.” to “However, pre-incubation with CPAs are required to lower the critical cooling rate”.

14) Lines 251-251: do not capitalize Bulk Droplet Vitrification.

We changed the capitals from Bulk Droplet Vitrification throughout.

References

1.	Demirci, U., Montesano, G. Cell encapsulating droplet vitrification. Lab on a Chip. 7 (11), 1428, doi: 10.1039/b705809h (2007).

2.	Parmegiani, L., Accorsi, A., Cognigni, G.E., Bernardi, S., Troilo, E., Filicori, M. Sterilization of liquid nitrogen with ultraviolet irradiation for safe vitrification of human oocytes or embryos. Fertility and Sterility. 94 (4), 1525–1528, doi: 10.1016/j.fertnstert.2009.05.089 (2010).

3.	Hopkins, J.B., Badeau, R., Warkentin, M., Thorne, R.E. Effect of common cryoprotectants on critical warming rates and ice formation in aqueous solutions. Cryobiology. 65 (3), 169–178, doi: 10.1016/j.cryobiol.2012.05.010 (2012).

4.	Terry, C., Dhawan, A., Mitry, R.R., Lehec, S.C., Hughes, R.D. Optimization of the cryopreservation and thawing protocol for human hepatocytes for use in cell transplantation. Liver Transplantation. 16 (2), 229–237, doi: 10.1002/lt.21983 (2010).

5.	Stéphenne, X., Najimi, M., Sokal, E.M. Hepatocyte cryopreservation: is it time to change the strategy? World Journal of Gastroenterology. 16 (1), 1–14 (2010).

6.	de Vries, R.J. et al. Bulk Droplet Vitrification: An Approach to Improve Large-Scale Hepatocyte Cryopreservation Outcome. Langmuir. doi: 10.1021/acs.langmuir.8b02831 (2019).

7.	Saliem, M. Improved cryopreservation of human hepatocytes using a new xeno free cryoprotectant solution. World Journal of Hepatology. 4 (5), 176, doi: 10.4254/wjh.v4.i5.176 (2012).

8.	Jitraruch, S. et al. Cryopreservation of Hepatocyte Microbeads for Clinical Transplantation. Cell Transplantation. 26 (8), 1341–1354, doi: 10.1177/0963689717720050 (2017).