Screenshot Summary

- 60251_screenshot_1

- 3.3.2.1 (Open Scan and Scout Control System and create output directory.) 00:00-00:11

- 3.3.2.2 (Select recipe template.) 00:12-00:16

- 3.3.2.3 (Navigate to the Scout tab and Set acquisition parameters within Acquisition tab and wait for approval.) 00:17-00:42

- 3.3.2.4 (Align sample within FOV and check image quality.) 00:43-00:52

- 3.3.2.5 (Navigate to the Scan tab and finish setting acquisition parameters within Basic tab. Choose the automatic reconstruction option.) 00:53-01:20

- 3.3.3.6 (Navigate to the Scan tab and start the acquisition.) 01:21-01:30

- 60251_screenshot_2

- 3.4.1.1 (Open the TXM3DViewer and load your acquired data set.) 00:00-00:09

- 3.4.1.2 (Adjust contrast enhancement for individual CT slices and 3D volume.) 00:10-00:28

- 3.4.1.3 (Select desired ROI, choose center of ROI in all planes and check selected 3D volume.) 00:29-00:48

- 60251_screenshot_3

- 3.4.2.1 (Open the Technical Procedure: Scout and Scan for High Resolution Interior Tomographies pdf file and scroll to the end of the document – Interior Tomography Calculator.) 00:00-00:11

- 3.4.2.2 (Fill in the blank positions to calculate the new axis position for the high-resolution scan.) 00:12-00:14