## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
50 mL centrifuge tube by Falcon | VWR | 734-0453
Avizo Fire 8.1 | Thermo Fisher Scientific
Bal-Tec CPD 030 | Bal-Tec AG |  | CO2 as drying agent
Carbon dioxide cylinder with standpipe | Linde | 3700113 | 10 kg, short
Cellulose tissue paper | VWR | 115-0600
Desiccator by Duran | VWR | SCOT247826954
Disposable safety scalpel by Aesculap | VWR | AESCBA210
Eosin Y disodium salt | Sigma-Aldrich | E4382 | certified by Biological Stain Commission
Ethanol absolute by Baker Analyzed | VWR | 80252500
Forceps, by USBECK Laborgeräte | VWR | 232-0096
Formaldehyde solution, 37% | Carl Roth | CP10.2 | acid-free, stabilized with ~10% MeOH
Glacial acetic acid | Alfa Aesar | 36289.AP
Microcentrifuge tubes by Eppendorf | VWR | 211-2120 | safe-lock, 2.0 ml
nanofocus X-ray source as part of the nanoCT scanner | Excillum |  | high-flux nanofocus X-ray transmission tube(2); there are commercially availble nanoCT systems available(5,6)
Petri dish by Sterilin | VWR | 391-2019
Phosphate Buffered Saline (PBS) | Merck | L1825 | Dulbecco's formualtion, w/o calcium and magnesium
PILATUS detector as part of the nanoCT scanner | Dectris |  | single-photon counting detector(3,4); there are commercially availble nanoCT systems available (5,6)
Plastic pasteur pipette | Carl Roth | EA68.1 | graduated, 1 ml
Rocking Shaker ST5 | CAT | 60281-0000
Sample Tubes by Nalgene | Carl Roth | ATK5.1
Silicone grease by Bayer | Sigma-Aldrich | 85404 | high-vacuum
Zeiss Xradia Versa 500 | Zeiss |  | this microCT scanner has been updated(1)
(1) Germany, Z. ZEISS product information: ZEISS Xradia 510 Versa <https://www.zeiss.com/microscopy/int/products/x-ray-microscopy/zeiss-xradia-510-versa.html> (April 10, 2019).
(2) Nachtrab, F. et al. Development of a Timepix based detector for the NanoXCT project. Journal of Instrumentation 10 (11), C11009, (2015).
(3) Kraft, P. et al. Performance of single-photon-counting PILATUS detector modules. Journal of Synchrotron Radiation 16 (3), 368-375, (2009).
(4) Kraft, P. et al. Characterization and calibration of PILATUS detectors. IEEE Transactions on Nuclear Science 56 (3), 758-764, (2009).
(5) Germany, Z. ZEISS product information: ZEISS Xradia 810 Ultra <https://www.zeiss.com/microscopy/int/products/x-ray-microscopy/xradia-810-ultra.html> (April 9 2019).
(6) Company, G. E. GE product information: Phoenix nanotom m, <https://www.gemeasurement.com/sites/gemc.dev/files/geit-31344en_nanotom_m_0517.pdf> (April 10, 2019).