Dear Prof Steindel,

Thank you for inviting a revision of our protocol paper. In this Letter, we respond in detail to each of the Reviewer comments.

Note:

Please note that during the course of revision, we identified a problem with one of the regions-of-interest (ROIs): the registration of Brodmann area 19 (BA19) with the most posterior occipital cortex was inaccurate. On further inspection, we realised that the atlas used to generate the ROI in the Wake Forest toolbox is based on a single-subject, which had been transformed between Talairach and MNI space (Maldjian et al., 2002). Despite continued widespread use (cited 4239 times), this atlas has been shown to have inferior registration compared to probabilistic atlases (e.g., Rodionov et al., 2009). We therefore have re-run the results using the Amunts/Zilles probabilistic atlas included in the SPM Anatomy Toolbox (Eickhoff et al. 2005).

The Amunts/Zilles atlas in the Anatomy toolbox has different parcellations compared to the Wakeforest Brodmann atlas. In the original submission, we created ROIs by combining BAs 17,18,19 for the occipital cortex, and compared to BA46 (dorsolateral prefrontal cortex, DLPFC) as a control region. In the new ROIs, we combined all human occipital cortex regions (hOC1-5) for the occipital cortex. The Amunts/Zilles atlas does not include BA46 (DLPFC), so we used frontopolar cortex (FP1,2) instead. The figures and relevant sections of the manuscript have been updated accordingly. All changes have been tracked in the revised submission.

With regards,

Sharna Jamadar

On behalf of the co-authors.

Editorial comments:

Manuscript:
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

2. Please ensure that the manuscript is formatted according to JoVE guidelines–letter (8.5” x 11”) page size, 1-inch margins, 12 pt Calibri font throughout, all text aligned to the left margin, single spacing within paragraphs, and spaces between all paragraphs and protocol steps/sub-steps.

3. Please print and sign the attached Author License Agreement (ALA). Please then scan and upload the signed ALA with the manuscript files to your Editorial Manager account.
4. For in-text formatting, corresponding reference numbers should appear as numbered superscripts after the appropriate statement(s). Please number references by appearance in the manuscript.

5. Please do not include footnotes.

6. Please reduce the summary to 10-50 words.

Each of these changes have been made.

Protocol:
1. Please ensure that all text in the protocol section is written in the imperative tense as if telling someone how to do the technique (e.g., “Do this,” “Ensure that,” etc.). The actions should be described in the imperative tense in complete sentences wherever possible.
2. Please convert centrifuge speeds to centrifugal force (x g) instead of revolutions per minute (rpm).

3. For each protocol step, please ensure you answer the “how” question, i.e., how is the step performed? Alternatively, add references to published material specifying how to perform the protocol action. If revisions cause a step to have more than 2-3 actions and 4 sentences per step, please split into separate steps or substeps.

Each of these changes have been made.

Specific Protocol steps:

1. 4: Please convert this section into numbered protocol steps, move it to the Results, or make it a supplemental file.

2. 4.1: Please do not cite papers that have not been accepted yet.

The study-specific methods have been moved to the Results, and the reference to the as-yet-unaccepted manuscript has been removed.

References:
1. As noted above, please put references in a numbered list by the order they appear in the manuscript.

2. Please ensure that the references appear as the following: [Lastname, F.I., LastName, F.I., LastName, F.I. Article Title. Source. Volume (Issue), FirstPage – LastPage (YEAR).] For more than 6 authors, list only the first author then et al.

We have updated the format of the references.

Table of Materials:

1. Please ensure the Table of Materials has information on all materials and equipment used, especially those mentioned in the Protocol.

This has been done.

Reviewer 1

1. The manuscript should be examined as a whole to avoid colloquial usages of words and statements (i.e. line 373 "...and the concentration quickly decreases." How quickly? To and from what does it decrease? There are data to support this and language should be reserved for the discussion or omitted entirely.

We have carefully read through the manuscript for colloquialisms. The line referred to here was intended as a qualitative description of the trend shown in Figure 2 (i.e., the radioactivity concentration curve). Note that the Journal Instruction to Authors requires statements about “how to interpret the data”. We therefore have read through this section to ensure that when qualitative descriptions are given, this is made clear to the reader.

Visual inspection of Figure 3 shows that the peak occurs within the first 10-mins of the protocol, and the concentration decreases thereafter.

Further changes in response to this comment have been made throughout this section (all changes tracked), including:

Qualitatively, across all protocols…

Visual inspection of Figure 4 suggests that in the bolus protocol…

2. FDG-PET does not measure glucose metabolism. FDG-PET measures glucose uptake. Similarly, fMRI-BOLD does not measure brain activation. fMRI-BOLD measures the increased magnetic susceptibility due to deoxygenated hemoglobin, part of a cascade which occurs in high amounts due to activity related to neurovascular coupling. These pedantic points are absolutely critical to be understood and conveyed by the authors when attempting to discuss both methods, especially borrowing paradigms. Language should be corrected throughout to account for these nuanced points.

We agree with the Reviewer that accuracy of phrasing is important and we have carefully revised the manuscript to reflect this. With regards to the ‘metabolism’ point, we have made a number of revisions throughout (see tracked changes), but made it clear in the first paragraph that the measure of uptake is interpreted as an index of metabolism:

In neuroscience, one of the most used radiotracers is [18F]-fluorodeoxyglucose (FDG-PET), which measures glucose uptake, usually interpreted as an index of cerebral glucose metabolism.

While we did not refer to BOLD-fMRI as measuring ‘brain activation’ in the previous submission, we agree with the Reviewer that the standards in the literature, which use ‘fMRI activity’ as a synonym for ‘brain activation’, means that it is probable that some readers may misunderstand this. We therefore now make this clear at the end of the first paragraph:

BOLD-fMRI is an indirect index of neural activity, and measures changes in deoxygenated haemoglobin that occur following a cascade of neurovascular changes following neuronal activity.

3. A table describing the three participants is necessary, as although effects like flashing checkboards are generally quite large and should exceed the variance of subject selection, it is still important to present.

This information is provided in the (new) Table 2:

Table 2: Demographic information for the three participants.

|  | Participant 1 | Participant 2 | Participant 3 |
| --- | --- | --- | --- |
| Administration protocol | bolus only | infusion only | bolus/infusion |
| Age (years) | 18 | 19 | 19 |
| Sex | F | M | F |
| Handedness | R | R | R |
| Years of Education | 12 | 14 | 14 |
| Current Axis I Psychiatric illness | None | None | None |
| History of Cardiovascular Disease | None | None | None |
| Regular Medication | None | None | None |

4. Minor Concerns:

a. Line 97: fMRI BOLD can get to submilimeter resolution on an appropriate temporal scale, however PET has natural limitations due to "positron range". The authors might want to mention this.

This is now discussed as follows:

With these developments, researchers have focused on improving the temporal resolution of FDG-PET to approach the standards of BOLD-fMRI (between ~0.5-2.5sec; note, the spatial resolution of BOLD-fMRI can approach sub-millimeter resolution, but the spatial resolution of FDG-PET is fundamentally limited to around 0.54mm FWHM due to the positron range; Moses, 2011).

b. Line 134: A sample diagram explaining flow over time of a PET experiment would be very helpful, perhaps with explanations of block design where applicable, when comparing this method to previous dynamic PET methods.

This diagram is given in the (new) Figure 2.

c. Line 344: Please provide details regarding the specific program parameters used. What atlases were used for brain extraction, what method of non-linear normalization (I presume SyN if using ANTs)...What MCFLIRT parameters etc...

The required details have been added.

T1-weighted structural images were neck-cropped using FSL-robustfov (Jenkinson, Beckmann, Behrens, Woolrich, & Smith, 2012), bias corrected using N4 (Tustison et al., 2010)  and brain extracted using ANTs (Avants, Klein, Tustison, Woo, & Gee, 2010; Avants, Epstein, Grossman, & Gee, 2008) with OASIS-20 templates (Klein 2017, Tustison 2014). T1-weighted images were non-linearly normalised to a 2mm MNI template using ANTs (Avants et al., 2011) with the default parameter set defined by antsRegistrationSyN.sh.

d. Line 386: See point above about opining.

This line has been revised.

e. Line 391: How were ROIs generated?

The ROIs were originally generated using the Wake Forest Pickatlas (wfu-pickatlas). As noted above. We discovered that the posterior registration with MNI space was very poor for BA19. We therefore re-generated ROIs using a probabilistic atlas (Eickhoff et al., 2005). This section has therefore been amended accordingly, as follows:

An explicit mask of hOC1-5 (left & right hOC1,2,3d,3v,4d,4la4lp,4v,5; Amunts et al., 2000; Malikovic et al., 2007; Wilms et al., 2005; SPM Anatomy Toolbox v 2.2b Eickhoff et al., 2005; 2006; 2007) was included in the model to restrict the model estimation to regions of interest.

f. Line 444: A CONSORT-like flow diagram of the 60 subjects would be useful. Patients with pacemakers can't get an MRI, patients with many issues cannot get FDG

CONSORT flow diagrams were developed for randomised control trials. The data collected here was not part of a randomised control trial, so it is beyond the scope to present the full details of all participants here. However, we have substantially extended Figure 1 to include CONSORT-like items illustrating the flow of procedures from first contact with participants. Note that we have also added further information about MR and PET screening in response to Reviewer 3 Comment 9.

The NMT reviews safety for PET scanning (e.g., exclusion for pregnancy, diabetes, chemotherapy or radiotherapy in previous 8 weeks). The radiographer reviews participant safety for MRI scanning (e.g., exclusion for pregnancy, metallic implants (medical or non-medical), non-removable dental implants, claustrophobia).

Reviewer 2

1. The major problem is that the results obtained from the procedure do not support the interpretation and as such its efficacy is questionable. Moreover, the comparison is based just on a single subject for each method (3 in total), which does not permit this in an adequate manner. In the end, the reader is left with 3 different approaches, without knowing which of these should be used. However, the only way to speculate about the difference between the approaches can be achieved by increasing the number of subjects for each method.

The goal of the current manuscript is not to present a quantitative comparison of the three methods presented here. Rather – in accordance with the scope of JoVE – the goal here is to present the ‘specific and intricate details’ of the methods to acquire bolus, infusion, or hybrid bolus/infusion FDG-PET data. Thus, the results are ‘representative’, and demonstrate a ‘range of outcomes possible’ from variations in the protocol (see Instructions to Authors/manuscript template).

As outlined in the Introduction, we were invited to submit this paper given the technical complexity of the approach, and the increased interest in this method in recent times (see recent publications by Villien et al., 2014; Hahn et al., 2016; 2018; Rischka et al., 2018; Jamadar et al., 2019). This approach is consistent with the aims and scope of the Journal, which states that ‘JoVE is a methods-based journal. Thus [the Discussion] should be focused on the protocol and not the representative results’ (Instructions to Authors/manuscript template). We believe that the focus on detailed demonstration of this protocol is consistent with the aims of the Journal, and will be useful to new groups and students attempting to use this technique.

2. There are several major issues regarding the results (fig 3). The authors claim that the peak activity was found in the primary visual cortex (BA 17). This is not evident from fig 3i (primary visual is at the midline) and the coordinates given in fig 3iii are actually outside the gray matter for A and C and almost outside for B. As a consequence, the time course in fig 3iii and fig 4 need to be reworked to proper coordinates.

This section has been revised substantially on the basis of the updated results (see note at start of the Rejoinder).

The time course in fig 3iii is very difficult to interpret, I cannot see any clear model fits. What is actually shown? Is this the PET signal of the task?

This is the fitted response and error of the GLM, so is not in a strict sense the time-course. We inaccurately referred to it as a time-course, so have changed this in the text (changes tracked throughout).

e.g.,

Figure 4iii shows the general linear model fitted response and error at the peak voxel for each subject…

and

…and so the fitted response is shown from the start of the first checkerboard period

Please provide eg axial sections (instead of a 3D projection) and a clear presentation of the signal time course to support the above statements.

Results presented in sections are now given in the Supplement (see also Reviewer 2 Comment 8).

3. The results section is not easy to read, eg is there task and total uptake mixed in the first paragraph? Please refrain from comparison between hemispheres with such a low sample size. The term image-derived uptake is not used in the field, please rephrase.

This section has been updated according to the revised results (see opening note). We have removed the reference to hemispheric comparisons. Note also that we have amended the Results section in response to Reviewer 1 (Comment 1; 4d) to make it clear when we are making a visual or qualitative description of results presented in the Figures.

We have replaced the term ‘image-derived uptake’ with ‘PET signal’, which we agree is more accurate (changes tracked throughout).

4. In the results, what does the statement "model could not be estimated for the first rest period" mean? The model is estimated across the entire time course.

Because the signal was close to zero at the beginning of the scan period for the infusion-only protocol, model estimation failed when taking into account the entire scan period. This was as expected as very little of the radiotracer has been injected during very early time-points for this protocol, and hence the signal/image intensity was not different from zero. We now clarify this in the manuscript, as follows:

Furthermore, for the infusion-only protocol, the signal during the first rest block was close to zero, as very little of the tracer had been administered during that time; and the general linear model estimation failed when taking into account this block. Thus, the general linear model was estimated for this participant starting with the first task block, and so the fitted response is shown from the start of the first checkerboard period.

5. With the bolus only setting, do the authors imply that a bolus is almost equally feasible to detect dynamic task changes? This is somewhat counterintuitive as PET pioneers have shown signal changes when the task is done in the very beginning. Please explain.

As mentioned in response to Reviewer 2 Comment 1, our goal was to present the protocol for the three methods. Like the Reviewer, we feel that a conclusion as to ‘which is best’ requires stronger data and more quantitative comparison than the three representative participants presented here. These are three methods that are either widely used (in the case of bolus) or are becoming more common (infusion and bolus/infusion), and so our goal is to present the acquisition protocol specifics for others to use.

The fact that we were able to estimate a dynamic task-based response across the scan period for the bolus protocol shows that it is at least possible to do so. However, examination of Figure 5 suggests that the best timeframe to do so is right in the beginning of the protocol, consistent with the work the Reviewer referred to. Also, Figure 5 suggests that the bolus/infusion approach may provide a relatively more stable SNR, as evident by the reduced slope of the line.

Therefore, to address this comment, and to reduce the risk that readers will misinterpret our point, we have added the following line to the Results:

Further studies are required to determine if these effects are sustained in a larger sample.

6. Regarding the analysis, it is not clear why the PET signal of the occipital cortex was used as a covariate. This signal will most likely include task-specific activation from the checkerboard stimulus. However, this will cancel out a substantial amount of the variance, which should be explained by the model. This will largely reduce the task effects.

Averaged radiotracer uptake was included as a covariate to account for the overall change in signal due to the continued infusion of the radiotracer during the scanning period. This would result in overall increased signal unrelated to the task. We note that the community has not yet determined the best way to account for this effect. However, in response to this comment, we used the uptake in the FP1-2 control region as the covariate in the updated results.

7. SPM has numerous assumptions implemented which are not seen or controllable by the user. Eg the convolution with the HRF and an autoregressive model. One assumption for the latter is actually the application of a high pass, but this was deactivated by the authors.

All fMRI-specific options were deactivated in the analysis. This includes HRF convolution and autoregressive model, which is indeed possible to deactivate in SPM12 at the first-level. We have amended this sentence to explicitly include the HRF and autoregressive model:

The model did not include global normalisation, high-pass filter, convolution with the haemodynamic response, autoregressive model or masking threshold

8. The statistical threshold of T=0.1 uncorrected (I assume this should be p=0.1), k=50 voxels, is not acceptable. Even at single subject level, a FWE correction should be applied, as this is done in fMRI with sufficient task effects.

We acknowledge that the threshold we present is liberal, however, we chose this threshold for several reasons.

First, as this is a demonstration of the protocol and the representative results, we wanted to show the range of values obtained at the individual level with the three protocols. Many of these values are sub-threshold at the individual level, but may reach significance in a group-level analysis. This is compatible with the Journal’s Instructions to Authors, which states that representative results should “…demonstrate the range of outcomes possible”.

Secondly, we disagree with the Reviewer that FWE with fMRI at the single subject level is routinely presented in the literature. In a short literature review, we found a range of liberal uncorrected thresholds for single-subject fMRI (e.g., Bertoldi et al. Neuroimage 2015 [p<.05, p<.01]; Smith et al. Neuroimage 2006 [Z=2, i.e., p<.02]) these thresholds would be considered liberal by comparison to group-level fMRI data. Others report unthresholded single-subject fMRI results (e.g., Zhang et al., 2006; Human Brain Mapping). So, while our single-subject fPET threshold could be considered liberal, analyses using similarly liberal thresholds have been reported in the literature for single-subject fMRI.

Thirdly, fPET is still in its infancy, with many parameters and standards still to be established, a formal examination and comparison of fPET SNR at different temporal resolutions has not been reported. Nor have comparisons been made with fMRI SNR. In such an environment, the presentation and exploration of single-subject level results with liberal thresholds is justified and even preferred. We do know that fPET SNR is low, and this varies across the scan period (see e.g., Figure 5 here). We therefore feel that the most transparent way of presenting the current representative results is to use a liberal threshold showing the range of values obtained in the regions of interest.

Taking into consideration these points, and to ensure full transparency of the methods and results, we now present each individual’s results at six additional thresholds in the Supplement. These results are shown in sections, as requested in Reviewer 2’s Comment 2.

9. Based on the provided results, the interpretation of 16s temporal resolution is not supported at all. Thus, statements in the discussion like "we have demonstrated a superior temporal resolution of 16s…" and the title must be changed. Such statements are only feasible when directly assessing the effect of different resolutions.

We have carefully reviewed the manuscript and removed instances where our language may have inadvertently conveyed a value statement, such as the ‘superior’ resolution noted by the Reviewer.

e.g.,

We have demonstrated a temporal resolution of 16-sec, time-locked to a stimulus

And

This temporal resolution compares favourably to current standards in the literature…

We note that the manuscript title is: ‘Radiotracer Administration for High Temporal Resolution Positron Emission Tomography (PET) of the Human Brain: Application to FDG-PET’. We do not think that the title inaccurately suggests a quantitative comparison in the results. However, we note that the infusion approach described here is often referred to as ‘fPET’ in the community, so we have changed ‘PET’ to ‘fPET’:

Radiotracer Administration for High Temporal Resolution Positron Emission Tomography (PET) of the Human Brain: Application to FDG-fPET

It is actually amusing to see how the authors managed to circumvent the work of Rischka et al., NeuroImage (2018). Still, this should be more accurately included for fairness, eg they used a task-locked setting (introduction) and achieved 12s (only a marginal note in the discussion).

It was not our intention to undersell or minimise the work of Rischka et al. Within the scope of the manuscript goals (see responses to Reviewer 2 Comments 1 & 5), we wished to highlight that this method is receiving increased attention through the work of the MGH (Villien et al. 2014), Viennese (Hahn et al., 2016; 2017; Rischka et al., 2018), and Australian (Jamadar et al., 2019) groups. Detailed comparisons of the findings between each study are beyond the scope of the manuscript. However, we note that of the existing studies, we actually discuss the Rischka paper the most extensively. For example, a sentence in the Introduction describes the work by Rischka et al as follows:

Rischka et al. (2018) recently applied this technique using a 20% bolus plus 80% infusion. As expected the arterial input function quickly rose above baseline levels and was sustained at a higher rate for a longer period of time, compared to results using an infusion only procedure (e.g., Jamadar et al., 2019; Villien et al., 2014).

We also extensively discussed the Rischka paper the the Discussion. The previous phrasing in the Discussion (where we included the Rischka results in parentheses) may have incorrectly given the impression that we were not appropriately acknowledging the Rischka paper. We have therefore amended this section to read:

This temporal resolution compares favourably to current standards in the literature: Hahn et al., 2016; 2018; Jamadar et al., 2019; Villien et al., 2014 report FDG-fPET with 1-min resolution; Rischka et al., 2018 achieved stable FDG-fPET results with a frame duration of 12sec using 20/80% bolus/infusion.

10. Please confirm that the SPM effect of interest was a single time course (not one for checkerboard, one for rest) with 640s vs 320s (not 20s). How were the 320s rest actually defined, fixation or eyes closed as in their previous study?

This information has been added:

This slow alternation provides FDG-fPET contrast; these timing parameters were entered into the first-level general linear models during the analysis. … In this protocol, rest periods were eyes open, fixated on a cross centrally presented on the screen.

11. A limitation section is clearly missing, eg mentioning sample size, lack of arterial sampling, missing quantification, etc.

A limitations section is now included in the Discussion.

fPET as a method is relatively new (first published by Villien et al., 2014); and the data is relatively complex to acquire, compared to traditional neuroimaging approaches like static PET and MRI/fMRI. Thus, there is substantial scope for improvement of data acquisition protocols. Here, we have presented the acquisition protocol for 3 tracer administration protocols (bolus, infusion, bolus/infusion) and the representative results from individual subjects from each method. In our group, we do not perform arterial sampling, due to the invasiveness of the procedure, and also the requirement for an MD-qualified researcher on site. Our image analyses therefore do not benefit from the quantitative information provided by arterial sampling. Note that Hahn et al. (2016) found ‘excellent’ agreement between arterial and venous sampling for determining CMRGlc for constant-infusion FDG-fPET (also see Takagi et al., 2004; Everett et al., 2009; and Zanotti-Freonara et al., 2011; for discussion of arterial, venous, and image-derived input functions for PET).  Other improvements of the protocol include reducing the requirement for staff to enter the scanner room while scanning is underway. This may affect the MR field and data quality, may increase the radiation exposure to staff, and also increase participant movement and disengagement from cognitive tasks. We are currently developing equipment for automatic blood sampling and measurement. Lastly, to date, traditional PET modelling methods developed for static imaging (e.g., kinetic, Patlak), have not yet been adapted to take into account infusion-based administration. More work is required to update those mathematical models for application to fPET data.

12. Regarding the description of the procedure, it is not at all advisable to take lead bricks into the MRI scanner room as these bricks may also contain steel.

The lead bricks that were purchased for the facility were tested for ferromagnetic attraction prior to use in the MR-PET scanner. The bricks showed no magnetic translation upon testing. The bricks are not moved during the scan period, so will not have a variable effect on the magnetic field within-scan. Also, there is no possibility of the bricks being moved due to magnetic translation, as the weight of the lead far exceeds any trace amounts of ferrous material in the bricks.

Please comment on the MR-compatibility of the pump.

This has been added to the Table of Materials:

This model is cleared for use on 1.5 and 3T scanners at 2000 Gauss with castors locked.

Furthermore, there are several instances where radiation burden to the staff can and should be reduced: Measure the activity in a smaller syringe in an activity meter, put the fluid in a 50ml syringe and fill it to the volume needed with saline; refrain from priming the tube and rather fill it with saline. Therefore, handling with the bag, priming activity and the calibration mixture is unnecessary; administer the bolus from the pump.

We developed our protocol of dose preparation according to the ALARA (as low as reasonably achievable) principle. We argue that our method reduces the risk of user error, spillage and needle-stick injury; by comparison to the method proposed by the Reviewer. We find that having the correct concentration in the saline bag enables us to fill a 50mL syringe in a more timely and safe manner than adding activity to a 50mL syringe, and then subsequently diluting it. This method would involve mixing 50mL syringe to evenly disperse the activity, increasing exposure to the technologist.

13. It should be mentioned that subjects have to fast for at least 4 hours prior to the scan and are only allowed to drink water and unsweetened beverages.

This is now mentioned in the participant preparation section:

Participants are advised to fast for 6 hours, and to consume only water (around 2 glasses), prior to the scan.

14. How could the authors put 60mL of the FDG/saline solution in a 50mL syringe (2.1.4.2)?

Somewhat counterintuitively, 50mL Terumo syringes are marked to a 60mL volume. Terumo add 20% capacity above the listed capacity on all models of their syringes. We could not source hand-injectable syringes larger than the “50mL” syringe. We now note this in the protocol.

(Note that it is possible to draw a 60mL volume in a 50mL syringe, as Terumo syringes are marked to 20% above the labelled volume; i.e., 50mL syringe is marked to 60mL volume).

How could the 60mL syringe be placed in the pump?

There is a giving set that is threaded in the pump. It has a connector that can be screwed into the Luer Lock tip of the syringe. There is a plastic holder that attaches to the IV pole that the syringe can sit on securely above the pump. The other end of the giving set is connected to the participant’s cannula.

Why can the 50mL syringe not be calibrated?

The 50mL syringe is very large and therefore does not easily fit into the dose calibrator. We find that it is more accurate to do a pre- and post-calibration of the radioactivity in a 5mL syringe first and then add it to the 100mL saline bag. That means that we have a known activity in a known concentration at a specific time. We have amended the protocol to make this clear.

This syringe is not calibrated, as the concentration of the radioactivity is known from the time it was added to the saline bag (step 2.1.3)

15. The NMT should not open the door of the scanner room, move around in the scanner room, go close to the gantry or withdraw blood directly from the arm during an active MR measurement, so that the magnetic field is not altered.

We note that the scanner room has two doors, in the form of an RF interlock, to eliminate interference to the MR images when opening the doors during MRI scanning. We also now mention this in the manuscript as a potential future improvement:

Other improvements of the protocol include reducing the requirement for staff to enter the scanner room while scanning is underway. This affects the MR field and data quality, may increase the radiation exposure to staff, and also increase participant movement and disengagement from cognitive tasks.

16. The description of the blood samples could be improved. Eg it should be mentioned that with a bolus an automatic blood sampling system is advisable to capture the initial activity peak.

This is now mentioned in the limitations/future improvements section:

Manual blood sampling, whether arterial or venous, requires staff to enter the scanner room while scanning is underway. Most scanners have an RF interlock for the scanner room, which enables staff to access the room during scanning without causing electromagnetic interference artefacts in the MR images. However, staff entering the room during the scan may increase the radiation exposure to staff, may cause participant discomfort, and also increase participant movement and disengagement from cognitive tasks. These factors encourage the collection of as few samples as necessary. We have found that samples taken every 5-10 minutes, whilst the dose is administered, is sufficient to observe the low-frequency blood dynamics expected from the three protocols examined here. However, this sampling rate limits the ability to quantify high-frequency temporal characteristics, particularly the exact size and shape of the peak following bolus administration. Where such characteristics are of importance the use of automated blood sampling equipment may be beneficial.

What is meant by "regular" in 3.2?

We mean “recurring at uniform intervals of time”. This has been changed to:

Take blood samples at regular intervals

The whole blood analysis is not described in the manuscript although it is important for absolute quantification.

This analysis was not conducted, and we have not presented quantitative image analyses in the manuscript.

The authors jump from bringing blood samples to the lab to spinning (centrifuging?) the blood.

We are not sure which section this comment refers to. The section about blood spinning has been placed in its own section, separate from the previous, as it is the responsibility of a different technician. i.e., we move from section 3.2.7 (NMT), where the sample is taken into the lab; to 3.3 (LA), where the procedure for spinning is described. We think this is a logical flow for the procedure.

Furthermore, it is not clear what pre- and post-samples are and why the blood has to be analyzed in general.

‘Pre- and post-sample’ was a typo and has been removed. The blood is measured to quantify plasma serum radioactivity. This is now explicitly stated:

We sample blood to quantify plasma serum radioactivity for subsequent quantification of PET images.

What do the authors mean by "centrifuge at any time"?

This is now clarified:

The blood sample can be placed in the centrifuge as the availability of staffing resources permits, since we note the time that the blood sample was taken, and the time it was counted

It is important that whole blood is measured prior to centrifuging the blood sample.

We do not measure whole blood because we are only interested in plasma serum levels.

It should be mentioned that plasma is pipetted in step 3.3.4.

This is noted:

Steadily pipette 1000μL plasma from the blood

Although the authors write that the time should be recorded when the measurement in the well counter starts, it should also be mentioned why this is necessary (eg adjustment to PET start).

This is noted:

This is required for subsequent correction to PET acquisition start time.

Furthermore, a calibration between the PET/MR and the well counter has to be performed.

This is now stated in the Table of Materials.

Cross calibration is performed between the well counter, dose calibrator and scanner on a bi-monthly basis.

17. How was the amount of administered dose calculated?

We are unsure which detail the Reviewer is specifically requesting. Details of dose calculation is given in the Protocol:

(Section 2.1.2) Calculate the dose that will be diluted into the administered solution (saline). In our protocol, we administer a total dose of 260MBq to the participant over 95mins… Using equation 1, solve for A0…

It is also possible that the Reviewer is referring to the selection of the 260MBq FDG. This was chosen in order to stay within the Category IIb risk assessment for radiation exposure according to ARPANSA guidelines. We now note this in the protocol:

This dose was chosen to limit radiation exposure to 4.9mSv, to keep within the ‘low level risk’ categorisation according to Australian Radiation Protection and Nuclear Safety Agency (ARPANSA) guidelines for exposure of humans to ionising radiation (2005).

18. Subjects should only drink water prior to punctuation if necessary since the urge to urinate will lead to head movement and in the worst case to scan abortion (as mentioned by the authors).

We review the balance between finding veins and the need to urinate in the Discussion, as noted by the Reviewer.

Reviewer 3

1. The authors should provide additional details regarding data normalization, validation of venous blood sampling, and FDG modeling. The use of venous blood sampling should be discussed in further details.

We fully address these points in the specific comments the Reviewer makes below, specifically, Comments 10, 13, 14, 15, 17. Note the following changes made in the manuscript:

Note that Hahn et al. (2016) found ‘excellent’ agreement between arterial and venous sampling for determining CMRGlc for constant-infusion FDG-fPET (also see Takagi et al., 2004; Everett et al., 2009; and Zanotti-Freonara et al., 2011; for discussion of arterial, venous, and image-derived input functions for PET).

…

Note that protocols that use arterial sampling will find a peak plasma concentration within the first minute; the delay here is because the first blood sample was taken at 5-mins post-bolus

…

Furthermore, for the infusion-only protocol, the signal during the first rest block was close to zero, as very little of the tracer had been administered during that time; as such model estimation failed when taking into account this block. Thus, the model was estimated for this participant starting with the first task block

The term ‘model’ has been clarified throughout as ‘general linear model’ (changes tracked).

In addition, the article presents the results for 4 ROIs but in clinical environment, multiple regions are analyzed via brain atlas and spatial normalization techniques. This approach should be assessed since the 16-second temporal resolution may not provide sufficient signal for atlas-based analysis.

Full assessment of temporal resolution is beyond the scope of the current manuscript (see also responses to Reviewer 2). Individual subject images were normalised to the individual’s T1 MRI and normalised into MNI space:

A mean FDG-PET image was derived from the entire dynamic timeseries and rigidly-normalised to the individual’s high-resolution T1-weighted image using ANTs (Avants et al., 2011). The dynamic FDG-fPET images were then normalised to MNI space…

We agree that in a clinical environment, different approaches are used. We now note this in the manuscript.

In the clinical environment, multiple regions are analysed using brain atlases

2. Line 89: The author should reconsider the use of the word "metabolism". Routine clinical scans are static and are acquired after a long period of uptake and glucose metabolism is rarely determined in clinical environments. Glucose uptake via the Standard Uptake Value (SUV) is generally determined and should be considered instead of metabolism.

We agree; Reviewer 1 (Comment 2) raised a similar point and we have made revisions (changes tracked) throughout the manuscript.

e.g.,

In neuroscience, one of the most used radiotracers is [18F]-fluorodeoxyglucose (FDG-PET), which measures glucose uptake, usually interpreted as an index of cerebral glucose metabolism.

3. Line 101: In comparison to fMRI, static PET is similar to resting state or default mode network (DMN) determined from fMRI, and there is considerable interest in the DMN.

We respectfully disagree. We do not believe that static PET scan is similar to resting state fMRI.

From a cognitive psychology viewpoint, we agree with the Reviewer: using traditional bolus acquisition methods (i.e., bolus -> uptake while quietly resting -> PET scan while quietly resting), the resulting PET image represents the integral of all cognitive activity occurring within the uptake and scanning periods. Thus, from this viewpoint, we agree that the cognitive process of interest is analogous to resting-state fMRI.

However, when considering how the data is analysed, there are subtle but important differences in the inferences that can be drawn from static PET versus fMRI. Resting-state fMRI is usually analysed by examining covariation of the time-courses between regions within-subjects. Group-level results are obtained by averaging or calculating similarities across subjects. Note we say ‘usually analysed’ as resting-state fMRI is sometimes calculated across-subjects, which the Roberts et al. paper shows does not yield the same results as within-subjects analyses. Using static PET, it is not possible to examine covariation between time-courses, because by definition, there is no temporal information in the static measure. Thus, resting-state fMRI takes into account within-subject variation across time, whereas resting-state static PET takes into account across-subject variation. This limitation of static PET is the motivation for development of the fPET technique presented here.

Also, if this topic is beyond the scope of this manuscript (footnote 1), then this topic should be removed completely.

The footnote has been removed.

4. Line 105-109: The conclusion about the inability to use bolus FDG-PET as a biomarker for disease is too bold of a statement and should be deleted or reduced in tone.

The statement has been rephrased:

While it is debatable what exactly across-subject connectivity actually measures (Horwitz, 2003), it is clear that measures calculated across- but not within-subjects cannot be used as a biomarker for disease states, or used to examine the source of individual variation.

5. Line 151: Is there a HRC approval # to include?

This protocol has been reviewed and approved by the Monash University Human Research Ethics Committee (approval number CF16/1108 – 2016000590), in accordance with…

6. Line 189: What is meant by "calibrate this 20 mL syringe"? Please be more specific.

The syringe is calibrated as a record of activity in a known volume. This a reference check to ensure the radioactivity has evenly dispersed within the 100mL saline bag. This is now explicitly stated:

The syringe is calibrated as a reference check to ensure the radioactivity has evenly dispersed within the saline bag.

7. Line 191: Why can't this syringe be calibrated? Please provide a very brief explanation.

This has been clarified in response to Reviewer 2 Comment 14.

8. Line 227: The cannula section should specifically mention the use of two cannulas, one for injection and one for blood sampling.

This is now noted:

Two cannulas are required: one for dose administration, the other for blood sampling.

9. Line 251: Since this is PET/MRI, the document should briefly address MRI safety considerations (it does address hearing protection due to MRI, which is good).

This was briefly mentioned in an earlier section, but has been elaborated to make the issue clear to the reader:

NMT and radiographer conduct safety screens: The NMT reviews safety for PET scanning (e.g., exclusion for pregnancy, diabetes, chemotherapy or radiotherapy in previous 8 weeks). The radiographer reviews participant safety for MRI scanning (e.g., exclusion for pregnancy, metallic implants (medical or non-medical), non-removable dental implants, claustrophobia).

10. Line 278: Since this is venous blood sampling instead of arterial blood sampling, the validity of using venous blood should be presented. There is several factors that must be considered when using venous blood for determining plasma concentration and glucose metabolism. Also, please discuss the sampling time and # of samples.

A full comparison of arterial versus venous blood sampling is beyond the scope of the current manuscript. We note however that Hahn et al. (2016) previously found that venous samples provide a good approximation for arterial data in FDG-fPET. This is now noted in the Discussion:

Note that Hahn et al. (2016) found ‘excellent’ agreement between arterial and venous sampling for determining CMRGlc for constant-infusion FDG-fPET (also see Takagi et al., 2004; Everett et al., 2009; and Zanotti-Freonara et al., 2011; for discussion of arterial, venous, and image-derived input functions for PET).

We have also expanded the discussion regarding the sampling time and number of samples in the Discussion:

Manual blood sampling, whether arterial or venous, requires staff to enter the scanner room while scanning is underway. This may affect the MR field and data quality, may increase the radiation exposure to staff, may cause participant discomfort, and also increase participant movement and disengagement from cognitive tasks. These factors encourage the collection of as few samples as necessary. We have found that samples taken every 5-10 minutes whilst the dose is administered is sufficient to observe the blood dynamics expected from the three protocols examined here. However, this sampling rate limits the ability to quantify high-frequency temporal characteristics, particularly the exact size and shape of the peak following bolus administration. Where such characteristics are of importance the use of automated blood sampling equipment may be beneficial.

11. Line 322: May want to consider just indicating that the full results will be reported in a future publication (drop the "Ward et al")

This line has been removed in response to the Editor’s Comment.

12. Line 336: Indicate the scanner type, vendor and model.

This information has been added:

MR and PET images were acquired on a Siemens (Erlangen, Germany) 3T Biograph mMR

13. Line 372: Peak arterial plasma concentration is observed within the first minute, however you note that venous blood peaks at 5 minutes, which is the first blood sample. This difference should be noted since it might be confusing to those who generally use arterial blood sampling or arterialized venous blood.

This has been added:

Note that protocols that use automated sampling at a rate of less than 1min will likely find a peak plasma concentration within the first minute; the delay here is because the first blood sample was taken at 5-mins post-bolus

14. Line 413: Please include a brief description and details of the FDG model used to determine the glucose metabolism (e.g., Patlak, irreversible or reversible, 3 or 4 rate constants)

Here, we do not model FDG metabolism. We believe our imprecise use of the term ‘model’ has led to misunderstanding. Here, we mean the general linear model estimated as described in the Study-Specific Methods. We have made the following amendments to address this:

Individual-level parameter maps from the general linear model

And

very little of the tracer had been administered during that time; as such general linear model estimation failed… Thus, the general linear model was estimated…

We’ve updated the term ‘model’ throughout the manuscript to clarify that we mean ‘general linear model’ (changes tracked), and that we do not mean the modelling of glucose metabolism.

The Reviewer raises an important point with regard to application of traditional PET modelling techniques (e.g., kinetic and Patlak) to infusion-based data. We therefore mention this important point in our (new) limitations/future improvements section in the Discussion:

Lastly, traditional PET modelling methods were developed for static imaging (e.g., kinetic, Patlak). More work is required to update those mathematical models for application to fPET data.

15. Line 430: A "superior" temporal resolution of 16-sec is indicated but this is not strictly accurate since for the infusion-only protocol, the signal was too low for the first period for 16-sec temporal resolution

This line has been removed in response to Reviewer 2 Comment 9. We also note that in response to Reviewer 2, we more fully discuss the low signal for the infusion-only protocol in the Results.

Furthermore, for the infusion-only protocol, the signal during the first rest block was close to zero, as very little of the tracer had been administered during that time; as such model estimation failed when taking into account this block. Thus, the model was estimated for this participant starting with the first task block

16. Line 457: How does patient temperature (i.e., shivering) impact uptake for the various protocols? This is an important variable to control during scanning, in general.

We agree, and now elaborate this point in the protocol:

The participant should be covered with a disposable blanket to maintain a comfortable body temperature.

And the Discussion:

Previous studies have shown that ambient temperature can influence artefactual activity in FDG-PET scans (O’Loughlin et al., 2014).

17. Line 465: Please explain further since this sentence is confusing. Why would the image-derived uptake be consistent with plasma-based measures (venous blood measures)? What does this really mean?

This line has been re-phrased in the updated results (see opening note to this Rejoinder).