# Submission ID #: 60263

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18380263

Title: Stimulation Location Determination using a 3D Digitizer with High-Definition Transcranial Direct Current Stimulation

Authors and Affiliations: Wanting Chen1, Rui Chen1, Qinghua He1,2,3,4,5

1Faculty of Psychology, Southwest University

2Key Laboratory of Cognition and Personality, Ministry of Education, Southwest University

3Southwest University Branch, Collaborative Innovation Center of Assessment toward Basic Education Quality at Beijing Normal University

4Key Laboratory of Mental Health, Institute of Psychology, Chinese Academy of Sciences

5Chongqing Collaborative Innovation Center for Brain Science

# Corresponding Author:

# Qinghua He

# heqinghua@swu.edu.cn

Email addresses for Co-authors:

26070988@qq.com

363619795@qq.com

# PLEASE READ THE INSTRUCTIONS IN THE GRAY BOXES CAREFULLY AND USE TRACK CHANGES WHILE MAKING ANY EDITS TO THE DOCUMENT.

# This document has several sections on separate pages, so take care to view each page.

Author Questionnaire:

Authors, please fill out the unanswered questions below.

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page by your script return deadline.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

Authors, please answer this question with the steps listed here in the Protocol section below for use by the videographer.

Answer: step 2.4.1, step 3.2.2, step 3.4.1, step 3.4.2, step 4.4.2, step 4.5.2

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Authors, please answer this question with the steps listed here in the Protocol section below for use by the videographer.

Answer: step 2.4. Strictly follow the proportional requirements of the 10-10 system and be patient.

5. Will the filming need to take place in multiple locations (greater than walking distance)? (Y/N)

If yes, how far apart are the locations?

No

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

- The total introduction length (i.e., Required and Optional Interview Statements) cannot exceed 150 words.

- Restrict the length of each statement to no more than 30 words.

- Please answer the questions below in full sentences to highlight the significance of your protocol. You will be expected to memorize and deliver these sentences as spoken interview statements during filming.

- Indicate the full name of each author who will give each statement.

- Each author may give two Introduction statements maximum (i.e., two Required, two Optional, or one Required + one Optional).

# Why is your protocol significant? OR What key questions can this method help answer?

  - Qinghua He   : The method can overcome the limitation of tDCS electrode placement via 10-20 system alone and improve the accuracy and reproducibility.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# What is the main advantage of this technique?

  - Wanting Chen: The main advantage of this technique are its low cost, simple application, and portability._

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

- The following OPTIONAL questions may be answered to provide additional introductory information about your protocol.

- The length of each OPTIONAL statement is restricted to no more than 30 words and contributes to the total introduction length, which cannot exceed 150 words.

- Indicate the full name of each author who will give each OPTIONAL statement.

- Each author may give two Introduction statements maximum (i.e., two Required, two Optional, or one Required + one Optional).

# Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera).

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Are there any specific areas of research that this method could provide insight into?

# Can this method be applied to any other systems?

  - Qinghua He: _The method also suitable for use with other techniques to verify the location of specific brain regions (For example, the functional Near-Infrared Spectroscopy, fNIRS)._

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# How would you expect an individual who has never performed this technique to struggle?

# Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Wanting Chen: _This technique is very simple if you are familiar with the proportional requirements of the 10-10 system. __________

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

# Why is visual demonstration of this method critical?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

- Please use this statement ONLY if any of the individuals who will be demonstrating the procedure on camera have not given a required or optional Introduction interview statement already.

- Include the full name(s) of the person(s) demonstrating the experiment followed by their title (e.g., technician, post doc, grad student, clinician, etc.)

- Also indicate the full name of the author who will introduce the demonstrator(s).

  - Qinghua He: Demonstrating the procedure will be _Chenyu Lv_ (name of the person or persons), a _grad student_ (technician, post doc, grad student) from my laboratory. (Add additional mention of demonstrators as necessary).

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) or equivalent body at (insert Institutional Name).

OR

Procedures involving human subjects have been approved by the Institutional Review Board (IRB) at Southwest University (insert Institutional Name).

# Section - Protocol

- Read through the entire protocol carefully to understand what you will need on the filming day and prepare accordingly.

- The two-digit numbers (e.g. 2.1., 2.2.) represent the “steps” of you protocol and will be read by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the “shots” that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in a single work day, the protocol is restricted to 30 steps and/or 60 shots.

- It is critical for a smooth and organized shoot that all materials and work spaces are prepared and labeled (if applicable) in advance.

- Any specimens/samples that require long or overnight incubation steps should be prepared in advance. (i.e. day 0 sample preparation will be filmed on the day of the shoot; day 1 samples should be prepared the day before the shoot so their processing can be filmed on the day of the shoot/after their overnight culture/treatment/etc.)

- Each section must contain a minimum of 3 steps (~6 shots), so short sections may be combined.

- Electrode Holding Cap Preparation

  - To prepare an electrode holding cap, place a swimming cap on head form [1] and mark the points of electrode placement on the cap [2].

    - WIDE: Talent placing cap onto head form

    - Talent making point(s)

  - To localize the Vertex, use a skin marker to mark the midpoint of the distance between the nasion and inion [1] and measure the distance between the pre-auricular points [2].

    - Midpoint being marked

    - Distance being measured

  - Mark the midpoint of the pre-auricular points [1]. The point at which both midpoints intersect is the Vertex [2].

    - Midpoint being parked

    - Shot of Cz Video Editor: please add dotted lines from midpoints to show intersection if possible/necessary

  - Check the location of the center electrode and the return electrodes. In this experiment, the stimulation was applied on rTPJ. The rTPJ roughly corresponds to the mid-point between CP6 and P6 in the 10-10 EEG system. Firstly, locate CP6 (C-P-six) and P6 [1].Locate the approximate location of the right temporo-parietal junction on the scalp [2] and mark this location on the cap [3].

    - Shot of CP6 and P6 Video Editor: please emphasize CP6 and/or P6 when mentioned as possible/appropriate

    - Shot of rTPJ/rTPJ being located

    - rTPJ being marked

  - Then adjust the radius of the four return electrodes based on the objectives [1] and mark the center [2] and return electrode locations on the cap [3].

    - Radius being adjusted

    - Center electrode being marked

    - Return electrode location(s) being marked

- 3D Digitizer Measurement

  - To obtain a 3D digitizer measurement, use a metal scanner to confirm that the environment for 3D digitization is metal-free [1].

    - WIDE: Talent scanning environment

  - Place the swim cap on the Subject’s head [1] and using the reference marks on the cap to align the cap with the international 10-10 system for scalp location [2-TXT].

    - Talent placing cap onto head

    - Shot of mark aligning with appropriate location TEXT: e.g., Cz, Fpz, Oz, left preauricular point, right preauricular point

  - When the cap is in place, use a USB interface to connect the 3D digitizer to the computer [1] and confirm that the digitizer software is available and ready [2].

    - Talent connecting digitizer to computer

    - Talent opening software, with monitor visible in frame

  - Place the source in front of the Subject [1] and fasten the elastic rope of the sensor around the Subject’s head [2].

    - Talent placing source in front of Subject

    - Talent fastening rope

  - In the digitizer software, confirm that the 3D digitizer system is communicating with the software [1] and use the stylus and a 10-meter ruler length to record the zero and ten graduations to confirm the accuracy of the stylus [2].

    - Talent checking software, with monitor visible in frame

    - Talent checking stylus accuracy on rule

  - In this software, select New and create a new subject file [1].

    - SCREEN: To be provided by Authors: New being selected and new file being created

  - Then select the Sessions box and Reference [1].

    - SCREEN: To be provided by Authors: Sessions box and Reference being seleted

  - To cater to the requirement of functional near infrared spectroscopy experiments, select the Transmitter, Detector, and Channel options [1] and collect the position data of the center electrode [2] and the four return electrodes three times for the transmitter, detector, and channel to reduce error [3].

    - SCREEN: To be provided by Authors: Transmitter, Detector, and Channel options being selected

    - Talent collecting center electrode position data

    - Talent collecting return electrode position(s) data

  - Confirm that five of the electrodes are numbered and localized in turn and save the three generated electrode location data files [1].

    - SCREEN: To be provided by Authors: Shot of electrodes numbered and localized then files being saved

- Stimulation

  - To initiate the stimulation, install fully charged batteries into the device [1] and connect the conventional transcranial direct current stimulation device and the 4x1 stimulation adapter [2].

    - WIDE: Talent installing batteries

    - Talent connecting devices

  - Connect the cables of the five silver-silver chloride-sintered ring electrodes to the matching receivers on the 4x1 adapter output cable [1] and measure the head of the Subject [2].

    - Talent connecting cable(s)

    - Talent measuring head

  - Place the plastic device cap onto the Subject’s head [1] and embed the five, plastic, high-definition casings in the swimming cap [2].

    - Talent placing cap onto head

    - Casing(s) being embedded

  - Locate the Vertex, Fpz (F-P-Z), and Oz (O-Z) of the Subject [1] and adjust the reference on the cap to align with the international 10-10 system for scalp locations [2-TXT].

    - Talent locating locations

    - Cap being adjusted/aligned TEXT: Do not allow cap to move once in place

  - When the cap is in place, use the 3D digitizer to collect the position data of the stimulated brain areas [1], making any appropriate adjustments within the generated data [2].

    - Talent collecting position data

    - SCREEN: (this step follow the same procedure and screen capture as step 3.3 to step 3.9) To be provided by Authors: Adjustment(s) being made

  - Next, use the end of a plastic syringe to carefully separate the hair through the opening of the plastic casing until the scalp is exposed [1] and cover the exposed skin with the electrically conductive gel [2].

    - Hair being separated

    - Gel being applied

  - On the device, set the quality value, stimulus duration, intensity, and condition setting parameters [1] and turn on the 4x1 multichannel stimulation adapter [2].

    - Talent setting parameters on device

    - Talent turning on adapter

  - Confirm that the default setting is set to SCAN and press the Mode Select button [1].

    - Shot of default set to SCAN on device

    - Mode Select button being pressed

  - Switch from SCAN to PASS [1] and press the Polarity button to select either the center-anode or -cathode [2].

    - Scan being switched to Pass

    - Polarity button being pressed/polarity being selected

  - Adjust the settings on the conventional transcranial direct current stimulation device to include the stimulus duration, intensity, and sham condition setting [1] and push the RELAX lever to switch to full current [2].

    - Talent adjusting settings

    - Relax lever being pushed

  - Once everything has been set, press the START button to initiate the stimulation [1]. The DC intensity will ramp up until the target current is reached [2] and the timer will then show the remaining time [3].

    - Talent pressing Start

    - Shot of DC intensity readout increasing

    - Shot of timer

- Post-Stimulation

  - At the end of the stimulation, turn the lever slowly to adjust the current to zero [1] before turning off the power [2-TXT].

    - WIDE: Talent turning lever slowly

    - Talent turning off power TEXT: Subjects may experience stinging sensation or dizziness if power turned off directly

  - Open the plastic cap [1], remove the silver-silver chloride-sintered ring electrodes from the casing [2], and remove the swimming cap [3].

    - Talent opening cap

    - Talent removing electrode(s)

    - Talent removing swimming cap

  - Then clean the materials [1] and provide the Subject with materials with which to clean their hair [2].

    - Talent cleaning materials

    - Talent giving towel or similar to Subject

OPTIONAL – Critical Step Statement:

- An OPTIONAL brief statement may be submitted for further elaboration of the best way to perform the required technique for the single most critical step of this procedure.

- If there is no single critical step, then there is no need to fill out this statement.

- This will be an interview style shot interjected after the relevant step within the Protocol section of the video.

- This statement is limited to 30 words or less.

- Please indicate the full name of the Author who will give this statement and the step of the protocol to which the statement pertains using the step numbers from the Protocol section (above).

# Fill in the details below based on the instructions above for the “Critical Step Statement”

# Author name, Step            :           (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

# Section – Results

# The Results section is restricted to 200 words of narrative. Please read through the results as presented to make sure that it accurately represents your findings. If you would like to highlight other data, please revise this section accordingly, keeping in mind the word count restriction. Please note that we cannot include narrative without an accompanying visual.

- Results: Representative Stimulation Brain Area Localization

  - Using the near infra-red spectroscopy-statistical parametric mapping stand-alone registration function, the spatial registration function generates MNI (M-N-I) coordinates [1].

    - LAB MEDIA: Table 1 top of table and MNI rows TEXT: MNI: Montreal Neurological Institute

  - To reduce measurement errors, the average value of three data points from the final MNI coordinates of the five electrodes were calculated [1].

    - LAB MEDIA: Table 1 top of table and MNI rows: JoVE Video Editor please emphasize Mean data row

  - In Brodmann areas, the anatomical label and its number are obtained [1]. The number after each line indicates the percentage of overlap [2].

    - LAB MEDIA: Table 1 top of table, MNI rows, and BA rows

    - LAB MEDIA: Table 1 top of table, MNI rows, and BA rows: JoVE Video Editor please emphasize numbers after each line

  - In anatomical automatic labels, the anatomical label and percentage of overlap are obtained [1].

    - LAB MEDIA: Table 1 top of table, MNI rows, and AAL rows

  - For the Brodmann areas and anatomical automatic labels, the value represents a percentage of overlap with the cerebral cortex [1].

    - LAB MEDIA: BA and AAL rows

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

- Below are questions for statements that can be used to further emphasize the significance of your protocol. At least one statement is required.

- Each statement is limited to 30 words.

- Answer the questions in full sentences, as you will be expected to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will give each Conclusion Interview statement.

- Each author may give two Conclusion statements maximum.

# What is most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section this advice correlates to.

  - Wanting Chen: Make sure that neither source nor sensor moves during the 3D digitizer measurement.  (Step: _3.4_)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Wanting Chen:  This procedure can be used for fNIRS optodes localization or any other localization need to study the function of the brain. ___ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Qinghua He: The technique can be used in the personalized brain stimulation for precise positioning.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Are any of the reagents or instruments hazardous? If so, please use this interview statement to remind viewers of what precautions they should take. If no materials are hazardous, leave this statement blank.

  - Author Name: ___(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Thank you for following the instructions and addressing our questions. We will incorporate your answers/suggestions and send you the finalized script before your shoot. You will also receive detailed shoot preparation instructions in the email accompanying the finalized script.