Reply to reviewers:

Reviewer #1:

Manuscript Summary:
The authors describe an innovative method for monitoring extracellular pH in mixed bacterial/fungal biofilms. The methods are sufficiently described and I recommend to publish this work. I have no further comments.

Major Concerns:
none

Minor Concerns:
none


Reviewer #2:

Manuscript Summary:
This manuscript provides a detailed and informative explanation of a method for assessing extracellular pH in interkingdom biofilms relevant to the oral cavity. The Introduction sets the context well, and the methods are clearly explained with helpful notes where needed.

Major Concerns:
There are no major concerns.

Minor Concerns:

1. Since the method relies heavily on software, it would be very helpful to give details of the software versions that were used along with relevant websites to obtain the software. I believe that ImageJ runs on Java, so this should also be included. Undoubtedly, there will be options for different types/versions of software, but it is useful to give an example of a setup that is known to work.

Answer: We now provided the software versions for daime, ImageJ and Java, as well as links to the websites, in the Table of Materials.

2. Protocol 1.3: Is C. albicans predominantly in yeast form at this point, or are hyphae present?

Answer: After planktonic growth C. albicans is predominantly in yeast form.

3. Protocol 1.6: Is it important to use heat inactivated fetal bovine serum?

Answer: We used heat inactivated fetal bovine serum to eliminate any potential antimicrobial effect of the complement system. We added this detail to the protocol.

4. Prot. 2.1: What is a 'META' detector?

Answer: The META detector employs a spectral imaging system to simultaneously detect fluorescence emissions from overlapping fluorophores. We added a short explanation to the protocol.

5. Prot. 3.1: It seems strange to use MES buffer for such a wide range of pH since MES only buffers effectively between pH 5.5-6.7. Why not use a broader buffer system such as citric acid/Na phosphate?

Answer: Thank you for the comment. We have employed MES buffer for calibration, as its range fits nicely with the pH values typically encountered in dental biofilms (pH 5-7). Adjusting the solutions to low pH takes a bit of time, but since the solutions contain only MES buffer and C-SNARF-4, the pH is stable across the entire range. In previous reports, HEPES buffer solutions (pKa=7.31) have been employed for calibration (Hunter & Beveridge; Appl Environ Microbiol. 2005 May;71(5):2501-10). We will consider using citric acid/Na phosphate in future studies, provided that it does not interfere with the fluorescence emission of C-SNARF-4.

6. Figure S5: What is 'xx'?

Answer: Thank you for spotting the mistake. We now inserted 102 µs.

7. References: Full details of references are needed (e.g. refs 13 and 14).

Answer: We have now added missing details in the reference list.