We thank the reviewers for their enthusiasm for our manuscript and their constructive comments. We have addressed each point below.

Editorial comments:

General:
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.
2. Please print and sign the attached Author License Agreement (ALA). Please then scan and upload the signed ALA with the manuscript files to your Editorial Manager account.
3. Please ensure that the manuscript is formatted according to JoVE guidelines–letter (8.5” x 11”) page size, 1-inch margins, 12 pt Calibri font throughout, all text aligned to the left margin, single spacing within paragraphs, and spaces between all paragraphs and protocol steps/substeps.
4. Please reduce the number of personal pronouns (we, you, your) used.
5. Please include email addresses for all authors.

All these points have now been addressed. 

Protocol:
1. Everything in the protocol (except for the introductory ethics statement) should be in a numbered step (in the imperative tense and of no more than 4 sentences), header, or ‘Note’. Please move the introductory paragraphs of the protocol to the Introduction, Results, or Discussion (as appropriate) or break into steps.

Information in the introductory paragraphs have been moved to the appropriate section. All steps in the protocol are now numbered.

2. There is a 10 page limit for the Protocol, but there is a 2.75 page limit for filmable content. Please highlight 2.75 pages or less of the Protocol (including headers and spacing) that identifies the essential steps of the protocol for the video, i.e., the steps that should be visualized to tell the most cohesive story of the Protocol. Remember that non-highlighted Protocol steps will remain in the manuscript, and therefore will still be available to the reader.

Essential steps have been highlighted.

3. For each protocol step/substep, please ensure you answer the “how” question, i.e., how is the step performed? Alternatively, add references to published material specifying how to perform the protocol action. If revisions cause a step to have more than 2-3 actions and 4 sentences per step, please split into separate steps or substeps.

Each step/substep now answers the ‘’how’’ question. 

Specific Protocol steps:
1. 4, introductory note: Please include this work in the references and cite appropriately.
We now cite Sparta et al., as suggested by reviewer#1.

Figures:
1. Figure 4: There is no panel D.

The panels were renamed on the figure 4.

References:
1. Please ensure references have a consistent format.

All references now have a consistent format. 

Table of Materials:
1. Please ensure the Table of Materials has information on all materials and equipment used, especially those mentioned in the Protocol.


Reviewers' comments:
Reviewer #1: 
Manuscript Summary:
Martianova, Aronson, and Proulx provide a protocol for Multi-fiber photometry including specifics for how to correct artifacts and image in multiple colors.

Major Concerns:
1. The authors should better define what an isosbestic control is. An extra 1-2 sentences would be well worth the space for a naïve reader.

We now added this description of the isosbestic point in the introduction: ‘ To disambiguate signal from noise, we can exploit a property of GCaMP known as the “isosbestic point.” Briefly, with GCaMP, as you shift the wavelength of the excitation light to the left, its emission in the calcium-bound state decreases and the emission in the calcium-unbound state marginally increases. The point at which the relative intensity of these two emissions are equal is termed the isosbestic point.  When you excite GCaMP at this point, its emission is agnostic to changes in internal calcium concentrations and variance in your signal is due, most often, to attenuation of signal from overbending of the fiber optic patchcord or movement of the neural tissue relative to the implanted fiber.’’

2. Line 64-While the authors are justified in making a comparison between photometry and single-units, I am not certain that their comparison is exactly fair. Photometry is also likely to be biased towards certain cell types based on cell size, firing rate, or differences in calcium usage/buffering. These issues are not discussed in the sentences that follow when discussing pros and cons of photometry. It might be best for the authors to consider a table to make comparisons of specific pros and cons or to compare point for point in the text.

We agree with the reviewer’s comment. We have changed the section comparing both approaches to focus of the main advantages fiber photometry offers vs traditional approaches.

3. A major advantage over single-units that the authors miss is the ability of photometry to record from axon terminals (e.g., Barker et al., 2017; Siciliano & Tye 2018).

This detail has been added to the text and these references were added.

4. Line 152- I disagree with linking the Jove article here and would recommend linking the Sparta et al. 2012 Nature Protocol. The linked protocol fails to use skull screws and also only implants a single optical fiber. Recordings are far more stable (especially by inexperienced personnel) with skull screws and knowledge of how to implant multiple fibers is critical for the current protocol.

We now also refer to Sparta et al. 2012 Nature Protocol. We also recommend using Metabond dental cement in cases where anchoring screws can’t be used.

5. Line 198-There is a fairly strong argument that robust Z-scores should be used instead of standard z-scores for the normalization. In short, calcium transients raise the mean value in the GCaMP but not isosbestic signal. Thus, a normalization based on the median is probably better than one based on the mean.

Standard Z-scores were changed to robust.

6. The section on leak correction (section 7) doesn't sit well with me. This is a theoretical correction that is likely subject to circumstantial changes. Even the corrected signal shown by the authors as an example shows signs of influence. I'm questioning why the two channels are simultaneously excited, as in the original Kim et al 2016 FIP paper, the GCaMP and RCaMP excitation are interleaved. I can only assume that this relates to the desire to maintain a certain sampling rate and also maintain the isosbestic control. I have many thoughts on this subject, so let me try to break them down:

a. In truth, multi-color imaging is probably best done with a system using single fibers and modulation and not an FIP system. This seems to be the best way to keep temporal resolution and isolate channels. The authors don't mention much about this approach nor do they mention the limitations of red sensors (i.e., weaker compared to green).

b. If the isosbestic control doesn't work for jrGECO, why can't the 405 and 560nm stimulations be simultaneous to eliminate the cross-talk seen? These wavelengths are far further apart and the green emission is probably less or less influential.
c. Is the sampling loss for triple-interleaving really worth the cross-talk here
d. Is the isosbestic control necessary if it fails to work for both channels? Would this be a case where the GFP control mice or GFP/RFP control mice have an advantage?
e. In summary, most of the authors protocol fits with what I would consider the 'industry standard' or close to it. Perhaps the authors feel that this approach in section 7 is also the industry standard, but having thought a lot about the analysis of this type of data over the past 4-5 years, I'm not certain that this is an approach I would allow through when reviewing a paper without all of these same questions. Truthfully, I also think that it would be very difficult for the authors to prove that this approach never fails and influences data. My suggestion is to re-think or even remove this section.

We appreciate and agree with the reviewer’s comments and suggestions for section 7 on dual color imaging. We have removed this section and added a section in the discussion on important considerations when implementing dual color imaging.

Minor Concerns:
1. The authors have some grammatical and typographical errors. Some instances are indicated below, but an additional proof-read would be worthwhile.

We carefully proofread our document.

2. Line 57- should to "to fluoresce" instead of "to fluorescence".

Fluorescence has been changed for fluoresce.

3. Line 87- should be "built".

Now corrected.

4. It would be helpful for the text protocol in section 1 to link to the pictures of the parts in figure 2. While the video will help with this, individuals will in some cases be working off of only the text protocol.

Thanks for this suggestion. References to parts on the picture are now added in the protocol section.

5. Line 134- How does one determine if leakage is within 1:1000? What is this a ratio of?

We now describe how to determine the leakage in the protocol.

6. Line 142- 'can reach any places of the arena' should be 'can freely move throughout the entire arena' (fix awkward phrasing).

Now corrected.

7. Line 172- It may also be worth linking the Thor Labs connectors (ADAF2 and ADAL3) as potential options for photometry.

Now mentioned in section 4 of the protocol, step 6.

8. Section 5- The data analysis for photometry is probably one of the more contentious areas of the technique right now. The authors approach seems highly reasonable to me, but it is probably worth noting that this is just one approach.

We added a header to the Section 5 saying that we describe one of the methods of data processing.

9. Line 222- Has data for this been reported? Can the authors cite or provide this data for jrGECO1a not having this isosbestic point? wasn't RCaMP initially reported to share this isosbestic point? empirical evidence or citations will be helpful for those implementing this protocol.

To our knowledge, with the exception of R-CaMP2 in Kim et al. Nat Prot. (2016), isosbestic point has not been systematically characterized for red-shifted GECIs. We have removed this statement and we now discuss strategies to correct calcium-dependent signals during dual-color imaging.   

Reviewer #2: 
Manuscript Summary:
In this protocol paper authors describe procedures to acquire fluorescence calcium singnal through single or multiple fibers, correct for the baseline fluctuations such as photobleaching and motion artifacts. Furthermore, authors describe procedures how to record two-color fluorescence signals and avoid contamination of a red-shifted spectral channel by the light from the green-shifted spectral channel. The protocol is concise and informative especially for the groups which plan to build or start using photometry. I would like to thank authors for this useful summary. However, to my oppinion, the manuscript is missing few citations and additional but breif discussion on chemodynamic and motion artifact contribution to the GCaMP and RCaMP fluorescence signals.

Major Concerns:
1. Line 72: "simultaneously monitor neural activity from several brain regions". Here authors should include citations Kim et al. "Simultaneous fast measurement of circuit dynamics at multiple sites across the mammalian brain" 2016 and Sych et al. "High-density multi-fiber photometry for studying large-scale brain circuit dynamics" 2019.

Thank for pointing these omissions. These citations have now been inserted.

2. Line 96 "or using other programming language". Here authors should include citation of Thomas Akam and Mark E. Walton "pyPhotometry: Open source Python based hardware and software for fiber photometry data acquisition" as the alternative to Matlab and open-source software.

This reference has now been added. 

3. Line 200 Is it okay to constrain your regression to be non-negative linear regression on z-scored data? Z-scored time traces could go below mean over time (for example for 410 nm and in the opposite direction for 470 nm) which would mean that the slope to the fit (a-coefficient) could be negative or this never happens?

All slope corrections are done before z-score calculation. If there are changes in the z-score 410 and 470 signals because movement, these changes positively correlate.

4. Line 211 "(e.g. jrGECO1a)" may be worth mentioning for jrGECO1a , if combined for dual-color imaging, is more suitable for continous wave illumination at 470nm because "R-GECO1 displayed significant photoactivation after illumination (~2-fold) with 405 nm, 488 nm and 561 nm light for both calcium-free and calcium-loaded states of the protein" from Akerboom et al. "Genetically encoded calcium indicators for multi-color neural activity imaging and combination with optogenetics" 2013.

Thanks, this is an important point raised by the reviewer. We now discuss this point in the discussion on dual color imaging.

5. Line 373 "The signal recorded with the 410 nm excitation wavelength is used as a control for calcium-independent movement and artefact changes in fluorescence intensity." Could authors comment on the baseline dynamics, do motion artifacts and or chemodynamic contributions differ for the GCaMP and RCaMP recordings?

Most motion artifacts are due to the movement of the patch cord, and should be equal for both GCaMP and RCaMP. We never systematically compared the chemodynamic (hemodynamic?) contribution to GCaMP and RCaMP signals and we cannot confidently comment on this issue.

6.. Line 403 "Most of the recording has an exponential decrease in fluorescence." Do authors mean photo-bleaching related slow decay? if yes could authors add it to the text. Otherwise describe other reasons e.g., if appropriate, a mechanical drift of fiber bundle across ROI field-of-view etc.

Photobleaching, autofluorescence in fibers, and heat-mediated LED decay all contribute to this.

We have added a sentence in the text.

7. Line 425 "will be possible with development in wireless photometry system" this system already exists, please cite Lu et al. "Wireless optoelectronic photometers for monitoring neuronal dynamics in the deep brain" 2018.

This citation has now been added.

Minor Concerns:
1. Line 196 hyperlink to (https://github.com/zmzhang/airPLS)11 does not work because it includes citation superscript 11, please correct.

Has been fixed.

2. Line 313 "7 - converging lens" is usually called tube lens.

We replaced converging lens for tube lens.

Reviewer #3:
Manuscript Summary:
The manuscript reports a protocol for in-vivo multi-site fiber photometry experiments using genetically-encoded calcium indicators. The protocol is fairly detailed and it justifies the use of certain techniques in general terms. Although this manuscript has specific considerations for the Neurophotonics system, it is also, to a large extent, generalizable to other fiber photometry systems. However, the text can be improved on several minor issues.

Minor Concerns:
1) The 400um fiber optic chords usually results in a serious limitation to behavioral experiments as it limits the movement of mice. This problem can be overcome by pre-training mice with dummy cables. It would be helpful if this point is mentioned in the manuscript.

We agree with the review’s point. We have added this suggestion in the manuscript and also recommend using 200uM patchcords.

2) One of the main features of the analysis of the in-vivo fiber photometry experiments is the extraction of the time points for the events of interest (e.g., shock, tone). The neurophotonics system does not offer a built-in system for generating TTLs for specific events. Alternative approaches should be explained in the manuscript.

We now raise this concern and recommend using the computer clock to time stamp signal and events during experiments.

3) One potential problem for the multi-site fiber photometry experiments using the same excitation/emission wavelengths for different brain regions is the antero/retrograde properties of GCaMP. This may confound the source of the emission wavelength, given that the signals from soma versus terminals may not be differentiated. Therefore, a careful experimental design is required. This point can be mentioned in the manuscript. In addition, special considerations for multi-site fiber photometry versus single-site fiber photometry should be discussed.

In future directions, we discuss how the advent of somatically localized GECIs would provide more resolution during multi-fiber calcium imaging experiments.