## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
0.025% Trypsin With EDTA | Corning | 25-053-Cl
0.2 µm 1000 mL Vacuum Filtration Unit | VWR | 10040-440 | For filtering larger volumes of DI water.
0.2 µm sterile syringe filter | VWR | 28145-477
3D Printed Tank |  | Custom-made
Acquisition Card | National Instruments | PXIe-5170R | 250 MS/s, 8-Channel, 14-bit
Alconox | Sigma-Aldrich | 242985-1.8KG | Detergent used for cleaning glassware.
Amicon Ultra-15 Centrifugal Filters | Millipore | UFC903024
Amicon Ultra-4 Centrifugal Filters | Millipore | UFC803024
Bright-Line Hematocytometer | Hausser Scientific | 1492
Copper(II) Chloride | ACROS ORGANICS | 206532500
Coupling Objective | Thorlabs | LMH-10x-532 | To couple pulsed light to optical fiber.
Coupling Stage | Newport | F-91-C1-T | Stage for coupling pulsed light to objective. Holds FP-1A and LMH-10x-532
CPX Series Digital Ultrasonic Cleaning Bath | Fisherbrand | Model CPX3800
Data Acquisition software | National Instruments | NI LabVIEW 2017 (32-bit) | LabVIEW used to synchronize laser pulses with data acquisition.
Data Processing Software | Mathworks | Matlab R2016a | Reconstructions and graphs produced using Matlab software.
FBS | Sigma-Aldrich | F2442-500ML
Fiber Chuck | Newport | FPH-DJ | Used to hold the bare fiber.
Fiber Coupler | Newport | FP-1A | 3-Axis stage for positioning fiber chuck and optical fiber at the focus of the objective.
Folic Acid | Sigma-Aldrich | F7876-10G
Formvar Coated TEM Grids | Electron Microscopy Sciences | FCF300-CU-SB
Masterflex Tubing | Cole Parmer | EW-96420-14
McCoy's 5A Medium | ATCC | 30-2007
Norm-Ject 10 mL Syringes | HENKE SASS WOLF | 4100-X00V0
Optical Fiber | Thorlabs | FG550LEC | Used to expose sample to pulsed light.
PBS | Alfa Aesar | J62036
Penicillin Streptomycin | GIBCO | 15140-122
Pulsed Laser | RPMC Lasers Inc | Quantus-Q1D-1053 | Pulsed laser source with specifications 1053 nm, 8 ns pulse, 10 Hz maximum.
Pulser/Receiver | Olympus | 5077PR | Receives, filters, and amplifies photoacoustic signals. Operated with 59 dB Gain.
Quartz Capillary Tube | Sutter Instrument | QF150-75-10
RPMI Midum 1640 (1X) Folic Acid Free | Gibco | 27016-021
Silicone | Momentive Performance Materials, Inc. | GE284
SKOV-3 Cells | ATCC | HTB-77
Sodium Bicarbonate | Sigma-Aldrich | S5761
Sodium Carbonate | Sigma-Aldrich | S7795-500G
Sodium Hydroxide Beads | BDH | BDH9292-500G
Sodium Sulfide Nonahydrate | Sigma-Aldrich | 431648-50G
Syringe Pumps | New Era Pump Systems Inc | DUAL-1000
Texas Red-X-Succinimydl ester | Invitrogen | 1949071
Transducer | Olynmpus | V214-BB-RM | Ultrasound detector with central frequency of 50 MHz and -6 dB fractional bandwidth of 82%.
Trypan Blue Solution .4% | Amresco | K940-100ML
Tween 20 | Sigma-Aldrich | P7949-100ML
Ultrasound Gel | Parker Laboratories Inc. | Aquasonic 100 | Ultrasound gel for transducer coupling

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=