## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
1-Octen-3-ol | Sigma-Aldrich, St. Louis, MO, USA | O5284 | Chemical used as odorant
3-Octanol | Sigma-Aldrich, St. Louis, MO, USA | 218405 | Chemical used as odorant
4-Methylcyclohexanol | Sigma-Aldrich, St. Louis, MO, USA | 153095 | Chemical used as odorant
Bandpass filter for EGFP (525/50 nm) | Carl Zeiss Microscopy GmbH, Jena, Germany
Clear adhesive tape | Tesa SE, Norderstedt, Germany |  | Standard claer adhesive tape
Concave-convex jaws | Fine Science Tools, North Vancouver, Canada | 10053-09 | Blade Holders with concave-convex jaws
Fine forceps | Fine Science Tools, North Vancouver, Canada | 11412-11 | Forceps with tip 0.1 x 0.06mm
Hypodermic needle | Sterican - B. Braun, Melsungenk, Germany | 4665120 | 1.20x40mm
Insect Minutien pins | Fine Science Tools, North Vancouver, Canada | 26002-10 | Diameter 0.1mm, tip 0.0125mm
Kentoflow | Kent Express Dental Supplies, Gillingham, UK | 953683 | Blue light-curing glue
Microscope slide | Carl Roth GmbH & Co. KG, Karlsruhe, Germany | 0656.1 | Standard objective slide 76 x 26 mm
Mineral oil | Sigma-Aldrich, St. Louis, MO, USA | M8410 | Used as diluent for odorants
Mode-locked Ti-Sapphire laser Chameleon Vision 2 | Coherent Inc., Santa Clara, CA, USA |  | Tunable infrared femtosecond laser
Multiphoton Microscope LSM 7MP equipped with BiG detectors | Carl Zeiss Microscopy GmbH, Jena, Germany |  | Multiphoton microscope, multiple companies provide similar devices.
Plan-Apochromat 20x (NA = 1.0) water immersion objective | Carl Zeiss Microscopy GmbH, Jena, Germany | 421452-9900-000 | Objective W "Plan-Apochromat" 20x/1.0 DIC M27 70mm
Ringer's solution | n.a. | n.a. | 5mM KCl, 130mM NaCl, 2mM MgCl2, 2mM CaCl2, 5mM Hepes-NaOH, 36mM sucrose, pH = 7.4
Stab knife | Sharpoint, Surgical Specialties Corporation, Reading, PA, USA | 72-1551 | 5.0mm Straight restricted blade depth
Surgical scalpel blade | Swann-Morton, Sheffield, UK | 0303 | Product No. 11
Surgical scalpel handle | Swann-Morton, Sheffield, UK | 0907 | Product No. 7S/S
Visual Basics of Applicatons (VBA) software to receive a trigger from the odor-delivery device and the electric shock application device (power supply) to interact with the ZEN software from Zeiss that controls the microscope. | Cutom-written and available upon request | n.a. | n.a.

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=