60288_screenshot_1

- 5.1. (To analyze images, open Tiff (or similar) files in the image analysis software such as Fiji.) 00:00-00:10

- 5.2. (Align the stacks using a movement correction algorithm to ensure minimal movement in the X and Y directions. Discard any recordings that show strong movement in the Z axis.) 00:11-00:41

- 5.3. (Select the tool of the software used to mark a region of interest (ROI) around the area that is to be examined. This should be as precise as possible to limit the influence of background fluorescence.) 00:42-01:16

- 5.4. (Use the respective tool of the software to extract fluorescence intensity data as data files from the selected ROI, such that a value is generated for each frame of the recording.) 01:17-01:41

- 5.5. (Open the data using a data analysis program to calculate the ΔF/F0 values for each odor trace. F0 = average fluorescence in the 2 s before odor onset. ΔF = the difference between the raw fluorescence in a given frame and F0. From these values, calculate a ΔF/F0 value for each frame which can be plotted against time to reflect fluorescence throughout the odor stimulus period.) 01:42-02:15