60307_screenshot_1

1.4 Import each layer into the craft cutter software (Fig. 1C). (Do this by making a screen capture of the drawn design 00:00 - 00:13) and using a (drag and drop approach.

1.4.1 Create a new document in the craft cutter software (free download). (Drop the image file on the mat displayed 00:18 - 00:28). The software will recognize most image files.

1.5 (To trace the design, select the Trace icon (shape of a butterfly) on the right side of the window and completely select the imported designs 00:28 - 00:39)

1.5.1 Select the Trace Preview option labelled ‘outline’. (Adjust (if needed) the Threshold and Scale settings to adjust the yellow trace to match the design 00:39 - 00:44)

1.5.2 (Select “Trace” from the Trace Menu once the yellow trace matches the design. The channels are now shown as a red contour. If the red contour matches the design, the imported image can be selected and deleted. The design is now imported and ready for sizing. 00:44 - 01:01)

60307_screenshot_2

1.6 (Size the device by selecting the traced design and by using the grid provided by the software. Pull to change width and length of channels and chambers. The software provides measurements, and small lines can be drawn temporarily (use design palette on the left side of the window) to measure dimensions within the device. 00:00 - 00:45) Functional channel-width dimensions range from 100 to 900 µm. Dimensions will often have to be adjusted after testing initial prototypes. It is important that all layers are sized proportionally, to ensure proper alignment during assembly.

1.6.1 After the design is properly sized, (select the square tool on the shape drawing menu to draw a square/rectangle around each layer of the device. 00:46 - 01:01) This shape should be of the same size for all layers. See Fig. 1C for examples.

1.7.1 (Select the drawing tool on the left side of the screen. Draw circles over the inlet and outlet ports of the design. 01:01 - 1:27)

1.7.2 (Copy and paste both the original design and the circles. Erase the channels from the underlying device. This leaves the inlet/outlet ports in the right position corresponding to the original design. 1:27 - 01:58). Shapes may also be added to the peripheries of each layer to aid with aligning.

1.8 (Arrange all layers to be cut on the displayed mat. 1:27 - 01:58) The device is now ready for cutting.

60307_screenshot_3

2.4.1 (Select the SEND tab and select a cutting setting. A multitude of settings are available on the cascade menu. 00:00 - 00:27). The -Sticker Paper, Clear- is a setting that works well with PET/EVA film that has a thickness of 3-5 mil (75-125 μm). Modify settings for different materials, and save custom settings for future use.

2.5 (Click “Send”. Cutting will begin 00:30 - 00:35)