## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
5x High Fidelity (HF) buffer | Thermo Fisher | F518L
60 mm culture dishes | Sigma-Aldrich | Z643084-600EA | Greiner dishes, 60 mm x 15 mM, vented
black dissecting dish (glass) | Augusta Laborbedarf | 42021010 | Lymphbecken, black glass, 4x4 cm
black silicon dissecting dishes: activated charcoal powder | Sigma-Aldrich | C9157 | Also available from most pharmacies
black silicon dissecting dishes: Sylgard 184 | Sigma-Aldrich | 761036 | Dishes are made by mixing the Sylgard (~50g) with activated charcoal powder (200 mg) and curing it in Petri dishes (~4 60 mm dishes).
blue pestle | Sigma-Aldrich | Z359947-100EA | Any pellet pestle that can sterilized, also can be used with a motor-driven grinder
cell phone camera, Samsung Galaxy S9 | Samsung | SM-G960F/DS | used for photos not taken under a microscope
chloroform | PanReac AppliChem | A3691,0500
confocal microscope, Leica SP8X upright confocal | Leica |  | www.leica-microsystems.com
confocal microscope, Zeiss LSM 780 inverted confocal | Zeiss |  | www.zeiss.com
double stick tape | Scotch/3M | 3M ID 70005108587 | Double-sided tape, available at most office supply handlers
Dumont #5 Forceps | Fine Science Tools | 11252-20 | Inox straight tip 11 cm forceps, Biology grade with 0.05 x 0.02 mm tip
EtOH (100%, RNase free) | Sigma-Aldrich | 32205-M
fluorescent dissecting microscope camera, Leica DFC310 FX camera | Leica |  | www.leica-microsystems.com
fluorescent dissecting microscope software, Leica Application Suite (LAS) version 4.0.0 | Leica |  | www.leica-microsystems.com
fluorescent dissecting microscope, Leica M165 FC | Leica |  | www.leica-microsystems.com
Fly: Bru1[M2] |  |  | Fly stock; This paper
Fly: Bru1[M3] |  |  | Fly stock; This paper
Fly: Mef2-GAL4 | Bloomington Stock Center | BDSC:27390 | Fly stock
Fly: salm[1] | Bloomington Stock Center | 3274 | Fly stock
Fly: salm[FRT] |  |  | Fly stock; see Spletter et al., Elife, 2018
Fly: UAS-Bru1IR | Vienna Drosophila Research Center | GD41568 | Fly stock, RNAi hairpin
Fly: UAS-GFP::Gma | Bloomington Stock Center | BDSC:31776 | Fly stock
Fly: UAS-mCD8a::GFP | Bloomington Stock Center | BDSC:5130 | Fly stock
Fly: w[1118] | Bloomington Stock Center | 3605 | Fly stock
Fly: weeP26 |  |  | Fly stock; see Clyne et al., Genetics, 2003
GFP detection reagent, GFP-Booster | ChromoTek | gba488-100
glycogen | Invitrogen | 10814-010
image processing software, Photoshop CS6 | Adobe |  | www.adobe.com
isopropanol | Sigma-Aldrich | I9516-25ML | 2-propanol
Method 1 (RNA isolation): TRIzol | Life Technologies | 15596018 | Guanidinium isothiocyanate and phenol monophasic solution
Method 2 (RNA isolation): Method 1 + TURBO DNA-free Kit | Invitrogen | AM1907 | TRIzol isolation followed by treatment with a kit to remove DNA
Method 3 (RNA isolation): Direct-zol RNA Miniprep Plus Kit | Zymo Research | R2070S | RNA isolation in TRIzol, but over commercial columns instead of using phase separation. Recommended DNase treatment performed with Monarch Dnase I in Monarch DNase I Reaction buffer.
Method 4 (RNA isolation): RNeasy Plus Mini Kit | Qiagen | 74134 | We used the provided DNase treatment. IFM pellets were homogenized in RTL buffer as suggested for animal tissues.
Method 5 (RNA isolation): ReliaPrep RNA Tissue Miniprep System | Promega | Z6110 | We applied the protocol for ‘Purification of RNA from Fibrous Tissues’.
Method 6 (RNA isolation): Monarch Total RNA Miniprep Kit | New England Biolabs | T2010G | We applied the protocol for tissues/leukocytes and lysed in 300 μL of RNA Protection Reagent.
Microcentrifuge tubes | Thermo Fisher | AM12400 | RNase-free Microfuge Tubes, 1.5 mL
Microscope slides | Thermo Fisher | 12342108 | Standard slides, uncharged, 1 mm
microtome blades | PFM Medical | 207500003 | C35 feather 80mm
Monarch DNase I | New England Biolabs | T2004-21
Monarch DNase I Reaction Buffer | New England Biolabs | T2005-21
normal goat serum | Thermo Fisher | 16210072
OneTaq Polymerase | New England Biolabs | M0480X
Paintbrush | Marabu | 1910000000 | Marabu Fino Round No. 0, or similar brush from any art supply
Paraformaldehyde | Sigma-Aldrich | 158127
PBS buffer (1x) | Sigma-Aldrich | P4417 | Phosphate buffered saline tablets for 1 L solutions, pH 7.4
PFA PureTip Pipette Tips | Elemental Scientific | ES-7000-0101 | Optional substitute for standard pipette tips to reduce sample loss; 100 mL, 0.8 mm orifice
Phusion High Fidelity Polymerase | Thermo Fisher | F-530XL
Pipette tips | Sigma-Aldrich | P5161 | Universal 200 mL pipette tips
Preomics iST 8x Kit | Preomics | P.O.00001 | peptide preparation kit for mass spectrometry
Q Exactive mass spectrometer | Thermo Fisher | 725500 | mass spectrometry was performed at the Protein Analysis Unit of the LMU Biomedical Center
Qubit RNA Assay Kit | Life Technologies | Q32855
rhodamine-phalloidin | Invitrogen, Molecular Probes | 10063052
RNA concentration Approach 1 & RNA integrity traces, Bioanalyzer | Agilent Technologies | G2939BA
RNA concentration Approach 2, Nanodrop | Thermo Fisher | ND-2000
RNA concentration Approach 3, Qubit 4 Fluorometer | Invitrogen | Q33238
RNA Pico Chips | Agilent Technologies | 5067-1513
RNase A | Promega | A7937
RNase-free water, Diethyl pyrocarbonate (DEPC) | Sigma-Aldrich | D5758 | DEPC treat water overnight and then autoclave, to remove all RNase.
RT Kit #1: Super Script III Reverse Transcriptase Kit | Invitrogen | 18080-044 | reverse transcription kit
RT Kit #2: LunaScript | New England Biolabs | E3010S | reverse transcription kit
RT Kit #3: QuantiNova Reverse Transcription Kit | Qiagen | 205410 | reverse transcription kit
slide mounting buffer, Vectashield | Vector Laboratories | H-1200 | containing DAPI
statistical software: GraphPad Prism | GraphPad Prism |  | www.graphpad.com
statistical software: Microscoft Excel | Microsoft |  | Purchased as part of the bundle: Office Home & Student 2019
Table-top centrifuge | Eppendorf | 5405000760 | Eppendorf Centrifuge 5425 or equivalent
tissue/ Kimwipes | Sigma-Aldrich | Z188956 | Standard tissue wipes
Transfer pipette | Sigma-Aldrich | Z350796 | Plastic pipette
Triton-X100 | Sigma-Aldrich | T9284-500ML
Vannas spring scissors | Fine Science Tools | 15000-00 | 3 mm cutting edge, tip diameter 0.05 mm, length 8 cm
Whatman paper | Sigma-Aldrich | 1004-070 | Filter paper circles, Grade 4, 70 mm