Bioluminescence imaging steps:

3.3.1 (Setting the image acquisition parameters and image sequence protocol in the LivingImage software) 00:00-00:41

3.3.2 (Image acquisition steps to capture image sequence) 00:00-00:25

3.3.3 (Steps to determine optimal imaging time window by first drawing the ROI to the sequence and then measuring the total flux) 00:00-00:37

3.4.1 (Lung metastasis imaging with primary tumor covered with a sleeve cut out from a black glove. Image acquisition was done with ventral side of the mouse facing the camera: 2-minute acquisition time) 00:00-02:47

3.4.2 (Brain metastasis imaging with primary tumor covered with a sleeve cut out from a black glove. Image acquisition was done with dorsal side of the mouse facing the camera: 2-minute acquisition time) 00:00-02:46

3.5.1 (steps showing lung metastasis analysis by first drawing a ROI over the acquired image and then measuring total flux) 00:00-00:37

3.6.1 (steps showing brain metastasis analysis by first drawing a ROI over the acquired image and then measuring total flux) 00:00-00:31

Fluorescence imaging steps:

3.8.1 Selection of multispectral GFP imaging parameters

3.8.2 Multispectral GFP scan in progress

3.8.3 GFP image acquired

3.8.4 Ex-vivo image of excised organs of non-tumor bearing mice to correct for autofluorescence and organs of GFP positive organs

3.9.1 First autofluorescence mixed GFP profile was obtained from the primary tumor

3.9.2 Autofluorescence profile was obtained from the organs of non-tumor bearing control mice

3.9.3 Manual compute spectra option was chosen to obtain autofluorescence free GFP profile. Established library of autofluorescence profile and pure GFP profile were saved and used to unmixed all images.

3.9.4 Example results after applying unmixing. Organs in the 3rd column shows GFP positive lung metastasis

Primer Design Steps:

4.8.1 Paste the green fluorescent protein sequence to the “sequence input box”

4.8.2 Change the Product Size Ranges to “80-150”

4.8.3 Using the default Primer Size and Primer Tm setting. Make sure the Opt (optimal) Size is “20” and Opt Tm is “60”

4.8.4 Click “Pick Primers” to initial the primer design engine.

4.8.5 The screen changed to the Primer3 Output display once the design is finished.

4.8.6 The best designed primer pair is listed on the top. The primer pair information all listed here.

4.8.7 Scroll down to the sequence section can find where the primer pair is located.

4.8.8 Scroll down to the bottom of the page can find the next 4 primer pairs’ infromation