- First Implant Surgery (Demonstrated in a canine cadaver)

5.0.    Make a midline neck incision from the thyroid notch to manubrium [1]

5.0.1. A neck incision being made.

  - After exposing the inferior border of the cricoid cartilage in an anesthetized canine, position the stimulus cuff onto each of the bilateral SLNs and RLNs [1-TXT] and use the enclosed sutures to close the lips of each cuff [2].

    - Cuff being positioned onto the nerve TEXT: See text for full canine preparation details

    - Cuff lip being closed

  - Use a biopsy punch to make a 4-millimeter window on each side of the anterior surface of the thyroid cartilage [1] and expose the lateral aspects of both of the thyroarytenoid-lateral cricoarytenoid muscle complexes [2].

    - Window being punched

    - Muscle being exposed

  - Insert the barb of each EMG recording electrode into the TA-LCA complex using a 23-gauge needle [1]. Suture the polyester patch onto the cricoid cartilage at each of the four corners [2].

    - Barb being inserted into muscle

    - Patch being sutured onto cartilage

  - Place the deep brain stimulation electrode with its companion hook‐wire EMG recording electrode underneath the PCA muscle on each side [1] and use an endoscope to confirm that the stimulation produces a vocal fold abduction for each channel [2].

    - DBS electrode being placed

    - LAB MEDIA: To be provided by Authors: Shot of vocal fold abduction being produced

  - Use 4-0 nonabsorbable sutures to anchor the deep brain stimulation electrodes to the cricoid cartilage using an anchor that locks onto the lead [1].

    - Anchor being sutured

  - Insert all of the wire leads of the nerve stimulation-EMG recording electrodes into the receptacle via their female pins using an insertion tool fashioned from a hemostat [1]. Use bone cement to seal the inferior surface of the receptacle to insulate the lead-pin junctions [2].

    - Leads being inserted

    - Surface being sealed

  - When the cement has hardened, place the receptacle at the rostral end of the midline incision [1] and suture the receptacle to subcutaneous tissues via the polyester skirt [2].

    - Receptacle being placed into incision

    - Receptacle being sutured

  - Then pass the sutures through the faceplate holes to attach the skin edge to the receptacle [1].

    - Suture(s) being placed