60351_screenshot_1

5.13.1 Once the exposure duration has been reached, the software will automatically turn off the VC flow. (Elapsed time is counting up until exposure duration of 10 minutes has been reached (00:02-00:27).  When that does occur (00:27), notice the Green Button that signifies the VC gas is on becomes automatically depressed and turns red signifying the VC flow is now off.  The Vinyl Chloride Flow then goes down till it approaches zero (00:27-00:33). Total time (00:02-00:41).

60351_screenshot_2

(Note same screenshoot as 60351_screenshot_1 since they happen at the same time).

5.14.1	The 15-minute safety timer will then begin to countdown the duration for the experimental chamber to clear the VC (Elapsed time is counting up until exposure duration of 10 minutes has been reached (00:02-00:27).  When that does occur (00:27), notice the Safety Timer begins counting down from 15:00 minutes to signify when it is safe to remove the animals (00:27-00:41).  Total time (00:02-00:41).

60351_screenshot_3

5.15.1	5.15.	Once it is safe to remove the animals, click OK. The system will stop recording measurements to the file and the exposure will be over (The Safety Timer is counting down until the timer reaches zero (00:04-00:33).  At that point, the dialog box opens up, signifying the exposure is finished.  Click OK on the dialog box (00:34-00:40) to end the experiment.  The Save to File checkbox becomes unchecked and data is no longer being saved (00:40).  It is now time to remove the animals  Total time (00:02-00:46).