# Submission ID #: 60351

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18407103

Title: Vinyl Chloride and High-Fat Diet as a Model of Environment and Obesity Interaction

Authors and Affiliations: Anna L. Lang1,2,*, William T. Goldsmith3,4, Regina D. Schnegelberger5,6, Gavin E. Arteel6,7, and Juliane I. Beier6,7

1Department of Pharmacology and Toxicology, University of Louisville

2Hepatobiology and Toxicology Program, University of Louisville

3Department of Physiology and Pharmacology, West Virginia University

4Center for Inhalation Toxicology, West Virginia University

5Department of Pharmacology and Chemical Biology, University of Pittsburgh

6Pittsburgh Liver Research Center, University of Pittsburgh

7Department of Medicine, Division of Gastroenterology, Hepatology and Nutrition, University of Pittsburgh

# Corresponding Author:

# Juliane I. Beier

# jibeier@pitt.edu

Email addresses for Co-authors:

all159@med.miami.edu

wgoldsmi@hsc.wvu.edu

rds88@pitt.edu

gearteel@pitt.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? Y

3. Which steps from the protocol section below are the most important for viewers to see?

4.4., 5.2., 5.3., 6.2.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

5.2., 6.2.

Most difficult aspect: ensuring exposure concentration and parameters are within desired range for research question. Chamber fully voided

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Juliane Beier: Vinyl chloride exacerbates liver damage caused by other factors, such as diet, at concentrations below the current safety restrictions. Therefore, the use parameters for at-risk populations must be reassessed [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Juliane Beier: The main advantage of this technique is that it uses a chronic, non-invasive inhalation protocol that closely mimics human exposure while causing minimal stress to the animal [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

  - Juliane Beier: Demonstrating the procedure will be Anna Lang, a post doc, and Regina Schnegelberger, a graduate student, both from my laboratory [1][2].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) at the University of Pittsburgh.

# Section - Protocol

- Experimental Setup and Purified Experimental Diet Acclimatization

  - One week prior to the start of the inhalation experiments, weigh all of the experimental animals [1] and weigh the amount of low- or high-fat diet food to be given per cage [2].

    - WIDE: Talent placing mouse onto balance

    - Talent adding food to balance

  - Provide food and water ad libitum [1], replacing the regular chow for each exposure group [2] with low- or high-fat diet chow as appropriate [2-TXT].

    - Talent adding water bottle to cage

    - Talent adding LFD food to cage, with LFD food container visible in frame

    - Talent adding HFD food to cage, with HFD food container visible in frame TEXT: Provide new food 2x/wk

  - Weigh the remaining food at the end of each feeding day [1] and monitor the mice throughout the experiment to ensure that the health of the animals is maintained [2].

    - Talent removing food from cage/adding food to balance

    - Talent checking mice in cage

- Vinyl Chloride (VC) Inhalation Exposure System Setup

  - To set up the vinyl chloride inhalation exposure system, ensure that the diluent air in both the experimental [1] and control chambers is high-efficiency particulate air [2] and activated carbon filtered, dried, and pressure-regulated before entering their respective flow measurement devices [3].

    - WIDE: Talent checking experimental chamber

    - Talent checking control chamber

    - LAB MEDIA: Figure 2: JoVE Video Editor please emphasize Dryer, Carbon, and HEPA cylinders and Pressure Regulator text on left side of schematic

  - Confirm that the temperature and relative humidity are monitored from within the experimental and control chambers [1], that the chamber exhaust is passed through a HEPA filter, a carbon dioxide probe, and an activated carbon filter before entering the exhaust area of the chemical hood to ensure that the mice are receiving acceptable ventilation [2].

    - LAB MEDIA: Figure 2: JoVE Video Editor please emphasize Temperature & %RH probe texts to right of both chamber outlines

    - LAB MEDIA: Figure 2: JoVE Video Editor please emphasize HEPA cylinders, CO2 probe text, and Carbon cylinder on right of schematic

  - The custom software can be used to change, monitor, and record the environmental variables of interest during the inhalation exposures [1].

    - Talent at computer, adjusting variables, with monitor visible in frame

- Pre-Exposure Setup

  - To prepare the chamber for an inhalation exposure, start by turning off all of the airflows in the experimental and control chambers [1].

    - WIDE: Talent turning off airflow(s)

  - Open each chamber door [1] and place absorbent bedding material absorbent side up on top of the excreta pan [2].

    - Talent opening door(s)

    - Talent placing material into chamber(s)

  - Then wet the absorbent material to provide a comfortable humidity level of about 40-60% relative humidity throughout the exposure period [1] and set the desired exposure level of vinyl chloride in the experimental chamber [2-TXT].

    - Talent wetting material

    - Talent setting VC level, with monitor visible in frame TEXT: Sub-OSHA limit concentration = 0.85 ppm VC

  - When the chambers are ready, transfer the mice into individual cages within the inhalation chamber cage racks [1], randomizing each mouse’s placement within the racks daily to ensure that each mouse is exposed homogenously within the chambers [2-TXT].

    - Talent placing mouse into rack Videographer: Important step

    - Shot of mice in rack Videographer: Important step TEXT: Record each animal number and cage placement position daily

  - Then place each cage rack into its respective chamber [1] and close the chamber doors [2].

    - Talent placing cage into chamber

    - Talent closing door

- Exposure Experiment and VC Concentration Validation

  - To conduct an inhalation exposure experiment, confirm that the valve for the vinyl chloride gas tank is in the open position [1] and set the diluent flow for the experimental chamber to 25 liters/minute [2].

    - WIDE: Talent turning valve to open

    - Talent setting flow rate

  - Confirm that the rotameter on the control chamber is set to 25 liters/minute [1] and check that all of the sensors are working correctly [2] and displaying the expected results in both the experimental and control chambers [3].

    - Shot of rotameter set to 25 L/min Videographer: Important/difficult step

    - Talent checking sensors Videographer: Important/difficult step

    - Shot of at least one sensor readout Videographer: Important/difficult step

  - Throughout the exposure, monitor and record the exposure time, diluent flow, vinyl chloride flow, temperature, humidity, chamber pressure, carbon dioxide level, and theoretical vinyl chloride concentration in the experimental chamber [1].

    - 10-15 s Talent checking readouts, with lab notebook in hand, recording information Videographer: Important step

  - Confirm that the temperature and humidity for the control chamber are also displayed, graphed, and recorded [1].

    - Shot of control chamber temperature and/or humidity readout(s)

  - About halfway through each exposure, break the glass tips on a vinyl chloride detector tube and a pretreat tube [1] and attach the flow-out end of the vinyl chloride detector tube to the detector tube pump [2].

    - Talent breaking glass tip(s)

    - Talent attaching detector tube to detector tube pump

  - Use a short piece of tubing to attach the flow-in end of the vinyl chloride detector tube to the flow-out end of the pretreat tube [1] and attach a short piece of tubing to the flow-in end of the pretreat tube [2].

    - Talent attaching tubing to flow-in tube of detector tube

    - Talent attaching tubing to flow-in end of pre-treat tube

  - Remove a plug from one of the sampling ports near the breathing zone [1] and attach the tubing from the flow-in end of the pretreat tube to the sampling port [2].

    - Talent removing plug

    - Talent attaching tubing to sampling port

  - From the full in position, extend the handle on the piston of the detector tube pump to the full out position to pull 100 milliliters of sampled gas from the chamber into the vinyl chloride detector tube [1].

    - Shot of full in position, then handle being extended

  - After 90 seconds, push the handle back in [1-TXT].

    - Handle being pushed back in TEXT: Repeat x3 for 400 mL sample

  - After the last gas sample has been obtained, remove the tube from the sampling port of the chamber [1] and reinsert the plug into the port [2].

    - Tube being removed

    - Plug being inserted

  - Inspect the color change of the vinyl chloride detector tube to ascertain the vinyl chloride concentration within the chamber [1] and record the detector tube reading for comparison to the theoretical value [2-TXT].

    - Shot of tube color

    - Detector tube color data being written next to theoretical value TEXT: Discard detector and pretreat tubes in suitable container

  - If any problems occur during the exposure, set the vinyl chloride flow to zero [1] and increase the diluent flow to its maximum value to quickly purge the chamber [2].

    - Talent setting VC flow to zero, with monitor visible in frame

    - Talent setting diluent flow to maximum

  - Once the exposure duration has been reached, the software will automatically turn off the vinyl chloride flow [1].

    - SCREEN: screenshot_1: 00:18-00:28

  - The 15-minute safety timer will then begin to count down the duration for the experimental chamber to clear the vinyl chloride [1].

    - SCREEN: screenshot_1: 00:29-00:39 Video Editor: please emphasize Safety Timer

  - Once it is safe to remove the animals, click OK [1-TXT].

    - Talent clicking ok TEXT: System will stop recording and exposure will be over

- Post-Exposure

  - At the end of the exposure period, turn the vinyl chloride gas tank valve stopcock to the closed position [1] and turn off all of the airflows in the exposure chamber [2].

    - WIDE: Talent turning valve to closed

    - Talent turning off airflows

  - Turn the rotameter until no air is flowing through the control chamber [1] and remove the door from each chamber [2].

    - Rotameter being turned Videographer: Important step

    - Talent removing door(s) Videographer: Important step

  - Remove the cage racks from the chambers [1] and transfer the mice back to their home cages under a laminar flow hood [2].

    - Talent removing rack(s)

    - Talent at hood placing mouse into cage

  - Then dispose of any waste from the excreta pan according to the institutional health and safety regulations [1] and clean the chamber doors, pan, exposure racks, and chambers [2].

    - Talent disposing of waste

    - Talent cleaning equipment

# Section – Results

- Results: Representative Effects of VC on the Enhancement of Diet-Induced Liver Injury

  - Here the weekly body weight and bi-weekly food consumption for a 12-week experiment are shown [1].

    - LAB MEDIA: Figure 3A

  - All of the mice gained weight throughout the course of the study [1].

    - LAB MEDIA: Figure 3A: JoVE Video Editor please emphasize data lines OR stretch arrow along data lines to show increase in Body weight graph

  - However, while the mice in the high-fat diet groups gained more weight [1] compared to the mice in the low-fat diet groups [2], the mice exposed to vinyl chloride did not gain more weight than the mice in the respective control groups [3].

    - LAB MEDIA: Figure 3A: JoVE Video Editor please emphasize open red square data line in Body weight graph

    - LAB MEDIA: Figure 3A: JoVE Video Editor please emphasize open blue square data line in Body weight graph

    - LAB MEDIA: Figure 3A: JoVE Video Editor please emphasize closed red and closed blue square data lines in Body weight graph

  - The food consumption also did not differ between groups [1].

    - LAB MEDIA: Figure 3A: JoVE Video Editor please emphasize Food consumption graph

  - In these representative photomicrographs of H&E-stained liver sections, vinyl chloride caused no overt pathologic changes in the low-fat diet group [1].

    - LAB MEDIA: Figure 3B: JoVE Video Editor please emphasize LFD + VC image

  - High-fat diet feeding significantly increased steatosis [1] that was further exacerbated by vinyl chloride exposure [2]. Moreover, vinyl chloride exposure in the high-fat diet group resulted in some inflammatory foci [3].

    - LAB MEDIA: Figure 3B: JoVE Video Editor please emphasize HFD image/white circles in HFD image

    - LAB MEDIA: Figure 3B: JoVE Video Editor please emphasize HFD + VC image/white circles in HFD + VC image

    - LAB MEDIA: Figure 3B: JoVE Video Editor please emphasize clustered dark pink staining in HFD + VC image

  - In the low-fat diet animals, vinyl chloride did not increase transaminase levels [1], while the high-fat diet alone slightly increased transaminase expression [2], with a significant enhancement of this effect observed the high-fat diet group exposed to vinyl chloride [3].

    - LAB MEDIA: Figure 3C: JoVE Video Editor please emphasize LFD data boxes

    - LAB MEDIA: Figure 3C: JoVE Video Editor please emphasize HFD data boxes

    - LAB MEDIA: Figure 3C: JoVE Video Editor please emphasize HFD + VC data boxes

  - Further, the high-fat diet significantly increased the liver to body weight ratios [1], although vinyl chloride did not significantly impact this effect [2].

    - LAB MEDIA: Figure 3D: JoVE Video Editor please emphasize HFD data boxes

    - LAB MEDIA: Figure 3D: JoVE Video Editor please add bracket and n.s. text over HFD and HFD + VC data boxes

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Anna Lang: When implementing this protocol, always take care that the proper safety procedures are followed so that inadvertent vinyl chloride exposure to humans is avoided [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Anna Lang: This procedure can answer questions about the short term, long term, and cumulative impacts of vinyl chloride exposure on animal health, welfare, and organ damage [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Juliane Beier: These studies impact the field of environmental and occupational risk assessment. For example, our group is now pursuing studies of the mechanistic interactions of vinyl chloride and diet [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera