# Submission ID #: 60129

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18410458

Title: A Guide to Concentration Alternating Frequency Response Analysis of Fuel Cells

Authors and Affiliations:  Antonio Sorrentino1, Kai Sundmacher1,2, and Tanja Vidaković-Koch1

1Max Planck Institute for Dynamics of Complex Technical Systems

2Otto-von-Guericke University Magdeburg, Process Systems Engineering, Universitätsplatz 2

# Corresponding Author:

# Tanja Vidaković-Koch

# vidakovic@mpi-magdeburg.mpg.de

Email addresses for Co-authors:

sorrentino@mpi-magdeburg.mpg.de

sundmacher@mpi-magdeburg.mpg.de

# PLEASE READ THE INSTRUCTIONS IN THE GRAY BOXES CAREFULLY AND USE TRACK CHANGES WHILE MAKING ANY EDITS TO THE DOCUMENT.

# This document has several sections on separate pages, so take care to view each page.

Author Questionnaire:

Authors, please fill out the unanswered questions below.

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)  N

Can you record movies/images using your own microscope camera? (Y/N)

If no, JoVE will need to record the microscope images using our scope kit and camera (through a camera port or one of the oculars). Please list the make and model of your microscope here:

2. Does your protocol demonstrate software usage? (Y/N) Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page.

We did that using the recommended software for windows 10 (OBS Studio) (we do not use Mac).

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

Authors, please answer this question with the steps listed here in the Protocol section below for use by the videographer.

3.1, 3.2, 3.4, 3.7, 3.8, 4.1

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Authors, please answer this question with the steps listed here in the Protocol section below for use by the videographer.

4.13, 4.15

5. Will the filming need to take place in multiple locations (greater than walking distance)? (Y/N)

If yes, how far apart are the locations? N

Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

- The total introduction length (i.e., Required and Optional Interview Statements) cannot exceed 150 words.

- Restrict the length of each statement to no more than 30 words.

- Please answer the questions below in full sentences to highlight the significance of your protocol. You will be expected to memorize and deliver these sentences as spoken interview statements during filming.

- Indicate the full name of each author who will give each statement.

- Each author may give two Introduction statements maximum (i.e., two Required, two Optional, or one Required + one Optional).

# Why is your protocol significant? OR What key questions can this method help answer?

  - Tanja Vidakovic-Koch: ___________(Fuel cells will play significant role in future. Our protocol describes a new method to diagnose major fail states of these devices, like flooding, drying out, catalyst degradation, poisoning etc. Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera).

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# What is the main advantage of this technique?

  - Antonio Sorrentino: ___________(Differently from other techniques for example electrochemical impedance, the presented methodology is capable to decouple the impact of specific dynamics on the system performance, allowing a less ambiguous fault identification. Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

- The following OPTIONAL questions may be answered to provide additional introductory information about your protocol.

- The length of each OPTIONAL statement is restricted to no more than 30 words and contributes to the total introduction length, which cannot exceed 150 words.

- Indicate the full name of each author who will give each OPTIONAL statement.

- Each author may give two Introduction statements maximum (i.e., two Required, two Optional, or one Required + one Optional).

# Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera).

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Are there any specific areas of research that this method could provide insight into?

# Can this method be applied to any other systems?

  - Tanja Vidakovic-Koch: The described application focuses on polymer electrolyte membrane fuel cell dynamics. However, this methodology is generic and can be applied to other fuel cells as well as electrochemical reactors.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# How would you expect an individual who has never performed this technique to struggle?

# Do you have any advice to offer to somebody who is trying this technique for the first time?

  - : _Antonio Sorrentino__________ (A successful measurement requires stability of the system over a time of three hours which is difficult in some experimental conditions.  Additionally, data treatment must account effects like spectral leakage. Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

# Why is visual demonstration of this method critical?

  - : ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

- Please use this statement ONLY if any of the individuals who will be demonstrating the procedure on camera have not given a required or optional Introduction interview statement already.

- Include the full name(s) of the person(s) demonstrating the experiment followed by their title (e.g., technician, post doc, grad student, clinician, etc.)

- Also indicate the full name of the author who will introduce the demonstrator(s).

  - Author Name: Demonstrating the procedure will be _Tobias Franz________ (name of the person or persons), a ___Master student______ (technician, post doc, grad student) from my laboratory. (Add additional mention of demonstrators as necessary).

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) or equivalent body at (insert Institutional Name).

OR

Procedures involving human subjects have been approved by the Institutional Review Board (IRB) or equivalent body at (insert Institutional Name).

Not applicable.

Section - Protocol

- Read through the entire protocol carefully to understand what you will need on the filming day and prepare accordingly.

- The two-digit numbers (e.g. 2.1., 2.2.) represent the “steps” of you protocol and will be read by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the “shots” that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in a single work day, the protocol is restricted to 30 steps and/or 60 shots.

- It is critical for a smooth and organized shoot that all materials and work spaces are prepared and labeled (if applicable) in advance.

- Any specimens/samples that require long or overnight incubation steps should be prepared in advance. (i.e. day 0 sample preparation will be filmed on the day of the shoot; day 1 samples should be prepared the day before the shoot so their processing can be filmed on the day of the shoot/after their overnight culture/treatment/etc.)

- Each section must contain a minimum of 3 steps (~6 shots), so short sections may be combined.

- Fuel Cell Assembly

  - For fuel cell assembly, place the cathode bipolar plate on a smooth and sturdy surface with the flow field side up [1] and place the gasket on top aligned with the screw holes [2].

    - WIDE: Talent placing plate onto surface

    - Gasket being placed onto/aligned with screw holes

  - Place the cathode gas diffusion layer (GDL ) in the middle of the gasket [1] and add the catalyst coated membrane (CCM ) on top aligned with the screw holes [2].

    - Cathode being placed

    - CCM being placed

  - Place the anode GDL and gasket on top of the CCM, making sure the gasket aligns with the screw holes [1].

    - GDL and gasket being placed onto CCM with gasket aligned with screw holes

  - Place the anode bipolar plate flow field side down on top of the gasket [1] and secure the parts together with screws [2-TXT].

    - Plate being placed

    - Screw being inserted TEXT: Caution: Do not screw too tightly

  - Next, place the cathode stainless steel end plate on a smooth and sturdy surface [1] and place a rectangular piece of Teflon [1] and a copper current collector on top of the Teflon, aligning both pieces with the bolt holes [2].

    - Talent placing plate onto surface

    - Teflon being placed onto plate

    - Collector being placed/aligned with bolt holes onto Teflon

  - Slot the cathode side of the assembled cell unit onto the cathode current collector, taking into account the notches in the flow fields [1], and slot the anode side of the unit onto the anode current collector, with the Teflon gaskets positioned with the anode stainless steel end plate on top [2].

    - Cathode side of cell unit being slotted onto collector, with notches aligned properly

    - Anode side of cell unit being slotted onto collector, with gaskets aligned properly

  - Place the insulating sleeves, O-ring, and bolts in the holes of the anode end plates [1] and place the nuts on the bolts on the cathode side of the unit [2].

    - Sleeves and/or O-ring and/or bolt being placed

    - Nut(s) being placed onto bolt(s)

  - Then use a torque-wrench to tighten the bolts crosswise until the recommended torque value of 5 Netwon meters is reached [1], increasing the torque by 1 Newton meter per crosswise cycle [2].

    - Bolt being tightened

    - Torque being increased

- Fuel Cell Integration

  - For integration of the fuel cell with the periphery, place the fuel cell unit in a heating box [1] and connect the inlets and outlets to the periphery [2-TXT].

    - WIDE: Talent placing cell into box

Talent connecting inlet(s) and/or outlet(s) TEXT: Check for leaks w/ snoop liquid

  - Insert the thermocouple into the cathode end plate [1] and interface the fuel cell with the potentiostat 2 electrode-configuration [2].

    - Thermocouple being inserted

    - Cell being interface/2 electrode-configuration being selected

  - Start the software used to control the cell periphery [1] and select the values of the anode and cathode inlet gas flow rates [2].

    - Talent starting software, with monitor visible in frame

    - SCREEN: 3.4.: 00:00-00:10

  - Open the valves [1] … and select the temperature of the inlet gases [2].

    - Talent opening valve(s)

    - Temperature(s) being selected

  - Turn on the heating tapes [1] and wait until the set point temperature is reached [2].

    - Tape(s) being turned on

    - Shot of temperature read out at set point

  - Set the temperatures of the thermostats to define the desired dew point temperature of the inlet gases [1] and turn on the thermostats [2].

    - Talent setting thermostat(s)

    - Thermostat(s) being turned on

  - Set the chosen temperature of the fuel cell on the control panel of the heating box [1] and turn the heating on [2].

    - Talent setting temperature

    - Heating being turned on

  - When the set point temperature of the fuel cell is reached [1], check the humidification state of the inlet gases [2] and check the fuel cell open circuit cell potential [3-TXT].

    - Shot of temperature read out at set point

    - Humidification being checked/shot of humidification state

    - Talent checking fuel cell open circuit potential/shot of fuel cell open circuit potential TEXT: Potential should be between 1-1.2 V

- Concentration-Alternating Frequency Response Analysis (cFRA)

  - To perform a concentration-alternating frequency response experiment, push down gently on the plunger of the upper part of a fiber oxygen sensor [1] to remove the sensitive part of the fiber from the protective needle [2] and place the fiber into the center of the tubing at the cell inlet [3].

    - WIDE: Talent pushing on plunger

    - Fiber being removed from needle

    - Fiber being placed into tubing

  - Open the sensor software [1] and set the Sampling Interval to 0.15 seconds [2].

    - Talent opening software, with monitor visible in frame

    - SCREEN: 6.1.4.: 00:00-00:09

  - Open the electrochemistry software to edit the concentration-alternating frequency response analysis procedure and select New Procedure in the Action section [1].

    - SCREEN: 6.2.1.: 00:00-00:09

  - In Commands, select the Control icon and insert the icon into the workspace. In Properties, select Mode On Galvanostatic and the Cell On command, placing the command next to the Control icon [1].

    - SCREEN: 6.2.2.: 00:00-00:22 Video Editor: can speed up

  - Add the LSV Staircase command from the Measurement Cyclic and Linear Sweep Voltammetry. In Properties, set the Start Current to 0.0 amps and the Stop current value to the steady state [1].

    - SCREEN: 6.2.3.: 00:00-00:13

  - Set the Scan Rate to 0.005 amps/second and the Step to 0.01 amps [1].

    - SCREEN: 6.2.3.: 00:14-00:25

  - Insert two Record Signal commands. In Properties, set the Duration to 7200 seconds and the Interval Sampling Time to 0.05 seconds for both commands [1].

    - SCREEN: 6.2.4.: 00:00-00:17

  - Add a Repetition command to set the same step to be repeated 20 times [1-TXT].

    - SCREEN: 6.2.4.: 00:31-00:45 Video Editor: can speed up TEXT: # repetitions = # signal frequencies to be measured

  - Press Play to start the concentration-alternating frequency response program [1].

    - SCREEN: 6.3.: 00:00-00:10

  - In the first set of repetitions, observe the recording window to check if the cell potential reaches the steady state value [1].

    - SCREEN: 6.3.: 00:10-00:25 Video Editor: please emphasize bottom/graph section

  - To ensure a linear response, open the additional oxygen valve [1] and set the mass flow controller to 5% of the value of the total flow rate of the main feed [2].

    - Talent opening additional oxygen value

    - SCREEN: 6.5.: 00:00-00:06

  - Set the switching time of the valve to an initial value of 0.5 seconds and click Start [1].

    - SCREEN: 6.5.: 00:08-00:22

  - Wait until the cell potential achieves a periodic steady state in the monitoring window before clicking Next [1].

    - SCREEN: 6.6.: 00:00-00:10

  - Register the periodic steady state signal in the new recording window for 60 seconds and click Next again [1].

    - SCREEN: 6.7: 00:24-00:34

  - At the same time, register the periodic oxygen input and click Start button in the sensor software. Enter a name that recalls the frequency input and click OK [1].

    - SCREEN: 6.8._t1: 00:00-00:10

  - Then register the signal for 60 seconds and click Stop [1].

    - SCREEN: 6.8._t2: 00:00-00:10

  - Allow the cell potential to achieve a period steady state again. Measure the periodic input-output correlations for a frequency range from 8-1000 microhertz, while acquiring 8 frequency points per decade [1].

    - SCREEN: 6.9._t2: 00:00-00:09

- cFRA Data Analysis

  - To analyze the concentration-alternating frequency response data, open the Matlab scripts FFT_input.mat and FFT_output.mat [1] and in the Address Folder, insert the specifications of the location of the folder in which the measured oxygen pressure and current data files are stored [2].

    - WIDE: Talent opening script(s), with monitor visible in frame

    - SCREEN: 7.2.: 00:08-00:18

  - Run the FFT_PO2.mat and FFT_Pot.mat scripts and check the plotted diagrams to determine whether the computed algorithm is working properly [1].

    - SCREEN: 7.3.: 00:02-00:24 Video Editor: can speed up

  - Then open and run the Matlab script cFRA_spectra.mat. The magnitude, phase angle, and Nyquist spectra of the concentration-alternating frequency response analysis transfer function under galvanostatic conditions will be plotted [1].

    - SCREEN: 7.4.: 00:00-00:15

OPTIONAL – Critical Step Statement:

- An OPTIONAL brief statement may be submitted for further elaboration of the best way to perform the required technique for the single most critical step of this procedure.

- If there is no single critical step, then there is no need to fill out this statement.

- This will be an interview style shot interjected after the relevant step within the Protocol section of the video.

- This statement is limited to 30 words or less.

- Please indicate the full name of the Author who will give this statement and the step of the protocol to which the statement pertains using the step numbers from the Protocol section (above).

# Fill in the details below based on the instructions above for the “Critical Step Statement”

# Antonio Sorrentino, Step     4.13       :           (Sampling of the cell potential at quasi-steady state conditions is necessary in order to obtain artefact free spectra .The drift of the signal could lead misleading conclusions. Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

Section – Results

# The Results section is restricted to 200 words of narrative. Please read through the results as presented to make sure that it accurately represents your findings. If you would like to highlight other data, please revise this section accordingly, keeping in mind the word count restriction. Please note that we cannot include narrative without an accompanying visual.

- Results: Representative Cell Potential Outputs and Analyses

  - At first, the electrochemical impedance spectroscopy magnitude [2] and phase Bode plot spectra were measured at three different steady state current densities under galvanostatic control [2].

    - LAB MEDIA Figure 2: JoVE Video Editor please emphasize Figure 2A

    - LAB MEDIA Figure 2: JoVE Video Editor please emphasize Figure 2B

  - Here exemplary periodic oxygen pressure inputs at two different frequencies and their Fourier transforms can be observed [1].

    - LAB MEDIA: Figure 3

  - The magnitudes of the harmonics are normalized with respect to the fundamental harmonic [1] and the pressure input at a frequency of 49 microhertz is characterized by a sinusoidal shape [2].

    - LAB MEDIA Figure 3: JoVE Video Editor please emphasize Figure 3B

    - LAB MEDIA Figure 3: JoVE Video Editor please emphasize Figure 3A

  - The pressure input at a lower frequency resembles a periodic square wave shape [1] and the related normalized Fourier transform perfectly reflects that of a square wave signal, presenting descending harmonic components at multiple odd integer frequencies with respect to the fundamental one [2].

    - LAB MEDIA Figure 3: JoVE Video Editor please emphasize Figure 3C

    - LAB MEDIA Figure 3: JoVE Video Editor please emphasize Figure 3D

  - The cell potential responses present identical features [1].

    - LAB MEDIA: Figure 4

  - Incorrect sample single can lead to spectral leakage [1], as characterized by a more expressed noise bandwidth at fundamental frequencies and a lower magnitude of the first harmonic [2].

    - LAB MEDIA: Figure 5

    - LAB MEDIA: Figure 5: JoVE Video Editor please emphasize Figure 5A

  - In addition, the magnitude of the improperly processed signal is approximately 90% of the properly processed signal [1].

    - LAB MEDIA Figure 5: JoVE Video Editor please emphasize Figure 5B

Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

- Below are questions for statements that can be used to further emphasize the significance of your protocol. At least one statement is required.

- Each statement is limited to 30 words.

- Answer the questions in full sentences, as you will be expected to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will give each Conclusion Interview statement.

- Each author may give two Conclusion statements maximum.

# What is most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section this advice correlates to.

  - Antonio Sorrentino: ____ (Step: 4.10, 4.13__) (In order to avoid undesired contributions to the evaluated spectra, the cell potential must be measured under quasi-steady state conditions. Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Author Name: ____ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Vidakovic-Koch: _In a broader context operation of electrochemical fuel cells and reactors under periodic conditions opens up a possibility to impact(increase) the energy conversion efficiency as well as product selectivity of electrochemical processes___ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Are any of the reagents or instruments hazardous? If so, please use this interview statement to remind viewers of what precautions they should take. If no materials are hazardous, leave this statement blank.

  - Author Name: ___(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Thank you for following the instructions and addressing our questions. We will incorporate your answers/suggestions and send you the finalized script before your shoot. You will also receive detailed shoot preparation instructions in the email accompanying the finalized script.