## Slide 1
MIMICS software
Step 3 guideline
Contains all mouseclicks !

## Slide 13: GOM, guideline step 4, contains all mouseclicks
The explorer menu at the left contains elements to facilitate the guideline to our own needs, but are currently not applicable for portraying the guideline
Don’t mind the red spheres (slide 20), these are not applicable in this simplified version

## Slide 21: GOM, guideline step 5, contains all mouseclicks
Don’t mind the red spheres, green arrows, the round red planes and the green plane (all slides), these are not applicable in this simplified version and only for own simplified needs.

## Slide 42: GOM step 6, contains all mouseclicks
Don’t mind the red spheres, green arrows, the round red planes and the green plane (all slides), these are not applicable in this simplified version and only for own simplified needs.
Don’t mind the volume assessment patch which is still visible (previous step 5)

## Slide 45: alligned

## Slide 46: GOM step 7, contains all mouseclicks
Don’t mind the red spheres, green and red arrows, the round red planes and the green plane (all slides), these are not applicable in this simplified version and only for own simplified needs.
Don’t mind the volume assessment patch which is still visible (previous step 5)

## Slide 52: Zelfde bij postop (actual)

## Slide 55: GOM step 8, contains almost all mouseclicks
Don’t mind the red spheres, green and red arrows, the round red planes and the green plane (all slides), these are not applicable in this simplified version and only for own simplified needs.
Don’t mind the volume assessment patch which is still visible (previous step 5)
What misses is the following:
  8.3. Right mouse button click on Point 1 of the first dental implant in the “Mandible Pre-op” file. Click Measuring Principle | Link to Actual Element. Select Surface Point 1 of the “Mandible Post-op” file. Click the magnifying glass on the toolbar above. A round toolbar pops up in the screen. Click Check and select dXYZ. Repeat this procedure for all dental implants.

## Slide 58: dXYZ