60383_screenshot_1

    - (Open Matlab and find the directory of the downloaded function files. Once in the directory, open the “run_script.m” Matlab script and run the script.) 00:04 – 00:36

    - Select the binary *.tif file for conversion. Then select a folder to save regions files to. 00:37 – 00:54

    - Input the desired final size, in microns, of the selected image. The input image will be scaled and dimensioned to match these parameters. For the entire image to fit in the viewfield of the microscope, the total size of the image must be less than or equal to the size of the microscope viewfield. 00:58 – 01:05

    - If creating a single pixel array, in the ROI-Generator Options, make sure to uncheck the “Remove” tickbox under Small Regions/Single Pixels, to check the tickbox labeled “Squares”, and to uncheck “Use” under Horizontal Break Lines. Then click “OK”. 01:06 – 01:13

    - Find the resulting *.ovl file in the previously specified folder. This file must be brought to the microscope to load the desired regions that control the laser shutter during two-photon laser scanning lithography. 01:34 – 01:53

60383_screenshot_2

3.2.1 Using a 488 nm laser line and filters appropriate to image AlexaFluor 488, locate the hydrogel using the PEG-488 signal. Block collection of longer emission wavelengths from the detector as these will be saturated with signal from the PEG-633. 2.1.1 00:00 – 00:18

3.2.2 Find the center of the hydrogel in the XY plane using vertical and horizontal tile scans and zero the stage position here. 00:23 – 01:38

60383_screenshot_3

3.2.3 Find the surface of the hydrogel using line scans and the z-stack function. Zero the focus position here. Level the hydrogel by repeating these line scans away from the XY center to identify the surface position and adjusting the set screws for the microscope stage. 00:06 – 00:43

60383_screenshot_4

3.2.4 Within the microscope software workspace, create a separate experiment file for photopatterning. Set the multiphoton power to 1.8% (15.5 mW at 740 nm as measured at the back aperture of the objective), and the scanning speed to 6 (0.1 µm/µs). Adjust the size of the image frame in pixels to achieve a pixel size of 0.1 µm per pixel and an aspect ratio of 100:1. 00:08 – 00:34

3.2.5 Load the regions file (*.ovl) created in step 2.2 into the regions tab. Use a macro to set all regions to acquisition.  00:35 – 01:12

3.2.6 Turn on the z-stack function and set the spacing to 3.5 microns for a total depth of 28 microns and total number of z-slices of 9.  01:15 – 01:20

3.2.7 Use the positions function to set specific locations on the hydrogel where the fiducial marker arrays will be photopatterned. 01:21 – 01:42

3.2.8 Use the tile function to specify additional rows and columns at each position. Be careful to avoid overlapping patterned regions. Ideally, make sure that patterned areas are close enough to remove empty and unusable locations between positions. Not Shown (don’t think it is necessary to show)

60383_screenshot_5

3.3.1 As soak time approaches the 30 min mark, take successive z-stack line scans of the surface of the hydrogel every 5 min to check for swelling based on changes in the location of surface relative to the zeroed focus position. 00:00 – 00:26

60383_screenshot_6

3.3.2 If no change in the surface position occurs over a 5 min interval, load and run the patterning settings created in step 3.2.4 00:00 – 00:40

60383_screenshot_7

3.3.3 Once the patterning experiment has finished running, use the 488 nm laser to verify that the surface of the hydrogel did not move during patterning. 00:00 – 00:30

60383_screenshot_8

5.2.3 Locate a cell of interest (COI) and acquire a transmitted or fluorescent image of the COI.  00:00 – 00:07

5.2.4 Acquire a z-stack of the patterned array beneath the COI as in step 4.1.4. 00:08 – 00:32

5.2.5 Acquire a second set of transmitted or fluorescent images of the cell. 00:33 – 00:53