TITLE:

Traction Microscopy Integrated with Microfluidics for Chemotactic Collective Migration

AUTHORS AND AFFILIATIONS:

Hwanseok Jang1, Jongseong Kim1, Jennifer H. Shin2, Jeffrey J. Fredberg3, Chan Young Park3, Yongdoo Park1

1Department of Biomedical Sciences, Korea University, Seoul, Republic of Korea

2Department of Mechanical Engineering, Korea Advanced Institute of Science and Technology, Daejeon, Republic of Korea

3Department of Environmental Health, Harvard T.H. Chan School of Public Health, Boston, MA, USA

Corresponding Authors:

Chan Young Park	(cypark@hsph.harvard.edu)

Yongdoo Park		(ydpark67@korea.ac.kr)

Email Addresses of Co-authors:

Hwanseok Jang	(kevin14@korea.ac.kr)

Jongseong Kim	(envokim72@korea.ac.kr)

Jennifer H. Shin	(j_shin@kaist.ac.kr)

Jeffrey J. Fredberg	(jfredber@hsph.harvard.edu)

KEYWORDS:

microfluidics, traction microscopy, collective cell migration, chemotaxis, chemical gradient, micropatterning

SUMMARY:

Collective cell migration in development, wound healing, and cancer metastasis is often guided by the gradients of growth factors or signaling molecules. Described here is an experimental system combining traction microscopy with a microfluidic system and a demonstration of how to quantify the mechanics of collective migration under biochemical gradient.

ABSTRACT:

Cells change migration patterns in response to chemical stimuli, including the gradients of the stimuli. Cellular migration in the direction of a chemical gradient, known as chemotaxis, plays an important role in development, the immune response, wound healing, and cancer metastasis. While chemotaxis modulates the migration of single cells as well as collections of cells in vivo, in vitro research focuses on single-cell chemotaxis, partly due to the lack of the proper experimental tools. To fill that gap, described here is a unique experimental system that combines microfluidics and micropatterning to demonstrate the effects of chemical gradients on collective cell migration. Furthermore, traction microscopy and monolayer stress microscopy are incorporated into the system to characterize changes in cellular force on the substrate as well as between neighboring cells. As proof-of-concept, the migration of micropatterned circular islands of Madin-Darby canine kidney (MDCK) cells is tested under a gradient of hepatocyte growth factor (HGF), a known scattering factor. It is found that cells located near the higher concentration of HGF migrate faster than those on the opposite side within a cell island. Within the same island, cellular traction is similar on both sides, but intercellular stress is much lower on the side of higher HGF concentration. This novel experimental system can provide new opportunities to studying the mechanics of chemotactic migration by cellular collectives.

INTRODUCTION:

Cellular migration in biological systems is a fundamental phenomenon involved in tissue formation, the immune response, and wound healing1-3. Cellular migration is also an important process in some diseases like cancer4. Cells often migrate as a group rather than individually, which is known as collective cell migration4,5. For cells to move collectively, sensing of the microenvironment is essential6. For instance, cells perceive physicochemical stimuli and respond by changing motility, cell-substrate interactions, and cell-cell interactions, resulting in directional migration along a chemical gradient7-10. Based on this connection, rapid advancements have been made in lab-on-a-chip technologies that can create well-controlled chemical microenvironments such as the gradient of a chemoattractant11-13. While these lab-on-a-chip-based microfluidics have previously been used to study chemotaxis of the cellular ensemble or cellular spheroids14-17, they have been used mostly in the context of single-cell migration18-21. Mechanisms underlying a cellular collective response to a chemical gradient is still not well-understood14,22-26. Thus, the development of a platform that enables the spatiotemporal control of soluble factors as well as in situ observation of cells’ biophysical will help to unravel the mechanisms behind collective cell migration.

Developed and described here is a multi-channeled microfluidic system that enables the generation of a concentration gradient of soluble factors that modulates migration of patterned cell clusters. In this study, hepatocyte growth factor (HGF) is chosen to regulate the migratory behavior of Madin-Darby canine kidney (MDCK) cells. HGF is known to attenuate cell-cell integrity and enhance the motility of cells27,28. In the microfluidic system, Fourier transform traction microscopy and monolayer stress microscopy are also incorporated, which allows analysis of the motility, contractile force, and intercellular tension induced by constituent cells in response to an HGF gradient. Within the same island, cells located near the higher concentration of HGF migrate faster and show lower intercellular stress levels than those on the side with lower HGF concentration. The results suggest that this new experimental system is suitable to explore other questions in fields involving collective cellular migration under chemical gradients of various soluble factors.

PROTOCOL:

NOTE: Lithography of SU-8 molds for stencils (thickness = 250 μm) and microchannel parts (thickness = 150 μm), glass etching (depth = 100 μm), and cast fabrication were outsourced by sending designs using computer-aided design software to manufacturers.

- Fabrication of polydimethylsiloxane (PDMS) stencil and microchannel

  - Design the micropattern of stencil and microchannel.

  - Fabricate or outsource SU-8 molds (thickness of ~250 μm for stencils and ~150 μm for microchannels) on silicon wafers (4" diameter).

  - Prepare PDMS mixture by mixing the base elastomer and curing agent at a ratio of 10:1.

    - Place 15 mL of the base elastomer in a 50 mL conical tube and add 1.5 mL of curing agent. Prepare two of these.

    - Vortex the PDMS mixture for 5 min. Centrifuge the PDMS mixture at 196 x g for 1 min to remove bubbles.

  - To fabricate PDMS stencil, pour ~1 mL of the PDMS mixture on the wafer, while avoiding SU-8 patterned regions so that the PDMS touches the side of the SU-8 pillars but not the top of the SU-8 pattern.

    - Place the wafer on a flat surface for over 30 min at room temperature (RT). Cure the PDMS in a dry oven at 80 °C for over 2 h.

    - Carefully peel off the PDMS from SU-8 mold and trim the thin PDMS membrane using a 14 mm hollow punch. Remove the dust on the surface of the PDMS pieces using sticky tape and autoclave the PDMS stencils.

  - To fabricate PDMS microchannel, pour ~30 mL of PDMS mixture over the SU-8 mold.

    - Degas for 30 min in a vacuum chamber and cure the PDMS in a dry oven at 80 °C for over 2 h.

    - Carefully peel off the PDMS from SU-8 mold and cut the PDMS to a size of 24 mm x 24 mm. In each PDMS block, create one outlet and three inlets using a 1 mm biopsy punch.

- Preparation of bottom glass with polyacrylamide (PA) gel

  - Manufacture or outsource rectangular slide glasses (24 mm x 24 mm x 1 mm) with a rectangular micro-well (6 mm x 12 mm, 100 μm depth29) by cutting and etching glasses.

  - Silanize the surface of a bottom glass30.

    - Prepare a bind silane solution by mixing 200 mL of deionized water (DIW), 80 μL of acetic acid, and 50 µL of 3-(trimethoxysilyl) propyl methacrylate (TMSPMA) for 1 h.

CAUTION: TMSPMA is a combustible liquid. Follow the recommendations in material safety data sheets. Use only in a chemical fume hood.

    - Remove the dust from the surface of the glass by sticky tape and autoclave the glass.

    - Cover the etched surface of the bottom glass with 100 μL of the bind silane solution and leave the glass at RT for 1 h.

    - Rinse the glass with DIW 3x and let the glass dry at ambient air temperature or by blowing air.

  - Prepare a gel solution for the PA gel31.

    - Prepare a fresh solution of 0.5 % (w/v) ammonium persulfate (APS) by dissolving 5 mg of APS in 1 mL of DIW.

    - Prepare the PA gel solution consisting of 138 µL of 40% acrylamide solution, 101 µL of 2% bis-acrylamide solution, 5 µL of fluorescent particle solution (0.2 μm), and 655 µL of DIW.

CAUTION: Acrylamide and bisacrylamide solutions are toxic. Wear protective gloves, clothing, and eye protection. Protect the PA gel solution containing fluorescent particles from light.

NOTE: Vortex the fluorescent bead solution before pipetting to obtain a uniform number of fluorescent beads per batch.

    - After adding 100 μL of the APS solution and 1 μL of tetramethylethylenediamine (TEMED), transfer 10 µL of mixed gel solution onto the rectangular micro-well, and place on top a circular coverslip (18 mm).

NOTE: To fill the bottom glass with PA gel without bubbles, place sufficient gel solution on the groove of the bottom glass, carefully slide the coverslip over the gel solution and remove any excess gel solution.

CAUTION: The gel is slowly cured for about 40 min. The following procedure for centrifuging gels should be carried out as soon as possible.

    - Flip the assembly of custom glass, gel solution, and coverslip, then centrifuge for 10 min at 96 x g to bring fluorescent particles to the top layer of PA gel.

    - Remove the assembly from the centrifuge and place it on the flat surface with the coverslip facing down.

NOTE: Beginning with step 2.3.6, handle samples in a biosafety cabinet.

    - After 30 min, flip the assembly and place it in a 35 mm Petri dish, fill with 2 mL of DIW, and (using forceps) gently remove the coverslip by sliding it to one side.

NOTE: Cured PA gel can be stored in DIW for 1 month. However, once collagen is coated on the PA gel, it should be used in an experiment within 1 day.

  - Coat collagen on the PA gel.

    - Dissolve 1 mg/mL sulfosuccinimidyl 6-(4’-azido-2’-nitrophenylamino) hexanoate (sulfo-SANPAH) in warm 50 mM HEPES buffer. Drop 200 µL of the solution onto the gel surface and activate by UV light (365 nm wavelength) for 10 min.

NOTE: Protect the sulfo-SANPAH from light.

    - Rinse the gel with 0.1 M [4-(2-hydroxyethyl)-1-piperazineethanesulfonic acid; HEPES] buffer 2x and with PBS 1x.

    - Coat the PA gel with collagen solution (100 μg/mL in PBS, rat tail collagen type I) at 4 °C overnight. On the following day, wash with PBS 3x.

- Micropatterning of cell islands

  - Prepare F-127 (Table of Materials) solution [2% (w/v) in PBS] and immerse the autoclaved PDMS stencil in the F-127 solution. Keep it in a 37 °C incubator for 1 h.

  - Prepare cell solution (2 x 106 cell/mL) in cell culture media consisting of: Dulbecco’s modified Eagle’s medium (DMEM) with 10% fetal bovine serum (FBS) and 1% antibiotic-antimycotic (AA).

  - Wash the PDMS stencil with PBS 3x and remove liquid from both the PDMS stencil and PA gel. Place the PDMS stencil on the PA gel and add PBS to the stencil.

  - Remove bubbles in the holes of PDMS stencil by pipetting gently. After removing bubbles, remove PBS from the surface of the PDMS stencil.

  - After putting 200 µL of cell solution on PDMS stencil, keep the PA gel in an incubator for 1 h so that cells attach to the PA gel.

  - Gently wash off cell solution with cell culture media, remove the PDMS stencil, and add more cell culture media. Check the formation of cell islands under a microscope.

- Assembly of PA gel with PDMS microchannel

  - Remove dust on the PDMS microchannel using sticky tape, then autoclave.

  - Treat the surface of the PDMS microchannel with oxygen plasma (80 W, 50 kHz) for 30 s.

  - After removing any fluid on the PA gel-filled bottom glass, place the PDMS microchannel on top of the bottom glass and put the assembly on the custom glass holder.

  - Fill the microchannel with cell culture medium.

CAUTION: Make sure to remove all the bubbles trapped in the channels by gently flushing warm media with a pipette. Also, while removing bubbles, make sure not to detach micropatterned cell islands.

- Integrated microfluidic system

  - Connect the tubings.

    - Prepare connectors by trimming the tip of needles (18 G) and bending it 90°.

    - Prepare tubing lines for three inlets and one outlet.

      - For inlet tubing, connect the trimmed needle and a 30 cm mini-volume line with a three-way stopcock. Prepare three of these.

      - For outlet tubing, connect the trimmed needle and a 75 cm mini-volume line with a three-way stopcock. Prepare one of these.

      - Fill the tubing lines with the medium that has been preheated for 1 h.

CAUTION: Make sure to remove all the bubbles trapped in the tubing lines by gently flushing warm media with a syringe.

    - Prepare reservoirs by removing plungers from syringes and connecting inlet tubing lines.

    - Plug the needle connectors of each tubing line into the three inlets and one outlet of the microfluidic device.

  - Fill the reservoirs with 3 mL of fresh medium or conditioned medium each.

    - For the gradient test, fill the left inlet reservoir with 20 ng/mL HGF in the cell culture medium.

    - For the visualization of concentration gradient, add a 200 µg/mL fluorescent dye (rhodamine B-dextran, 70 kDa) to the left inlet reservoir.

    - Connect the outlet tubing line to a syringe pump.

NOTE: The operating mode of the syringe pump is “withdrawal”. Flow rate is changed according to the capacity of the syringe and operating speed of the syringe pump.

  - Place the integrated microfluidic system on the stage of a conventional epifluorescent microscope.

CAUTION: To generate a gentle gradient of HGF in the microfluidic channel, the flow rate should be as slow as 0.1 µL/min. This is sufficiently sensitive so that it requires stabilization for 2 h, and care must be taken to avoid physical disturbance during the experiment.

- Image acquisition

  - Take images every 10 min for up to 24 h using an automated microscope housed in an incubator. At each timepoint, take a set of images using a 4x objective lens in three different channels, including phase image to visualize cell migration, green fluorescent image to visualize fluorescent beads embedded in PA gel, and red fluorescent image to visualize the concentration gradient of a chemical.

  - After taking time-lapse images, infuse 0.25% trypsin-EDTA solution into microchannels to detach cells from the PA gel. After completely removing cells from the gel, take a green fluorescent image to be used as a reference image for traction microscopy.

- Data analysis

NOTE: A custom code for data analysis was developed using MATLAB, and details have been described elsewhere32-36.

  - For phase-image analysis, calculate displacements in two consecutive phase images using particle image velocimetry36.

  - For Fourier transform traction microscopy, compare each green fluorescent image with the reference image and calculate the displacements in each image using particle image velocimetry36. From the displacements, recover traction made by cells on PA gel using Fourier transform traction microscopy33,34,37.

  - From the traction data, calculate stress within the monolayer of the cell island using monolayer stress microscopy based on finite element methods32,34,38.

REPRESENTATIVE RESULTS:

To explore collective migration under a chemical gradient, a microfluidic system was integrated with traction microscopy (Figure 1). To build the integrated system, polyacrylamide (PA) gel was cast on custom-cut glass, and MDCK cells were seeded within micropatterned islands made by a PDMS stencil. For this experiment, twelve islands of MDCK cells (four rows by three columns, diameter of ~700 μm) were created. After cells attached to PA gels, the PDMS stencil was removed to initiate collective migration. The pre-made microfluidic channel was placed on top of the PA gels to build microfluidic channel above cellular islands (Figure 1A).

To then establish a concentration gradient within the microfluidic channel, the left inlet was connected to the supply reservoir containing a fluorescent dye solution. Additionally, the middle and the right inlets were connected to the supply reservoirs containing media only. Then, the outlet was connected to the syringe pump to remove fluid from the microfluidic channel. The sandwich of custom-cut glass and the microfluidic channel was inserted onto the custom-built microscope stage. The samples along with the automated fluorescent microscope was kept within an incubator for live cell imaging. Throughout the experiments, cells were kept at 5% CO2 and 37 °C. A gradient of the intensity of the fluorescent dye was quickly established at a flow rate of 0.125 - 2 µL/min (Figure 2A). The slope of the gradient depended on the flow rate. For example, at a flow rate of 0.125 µL/min, the gradient was developed over 1.5 mm, which is the comparable size of cell islands (Figure 2B).

Next, the integrated device with cells was tested. The islands of MDCK cells were micropatterned and assembled with the microfluidic channel as described above. First, without applying any flow in the microchannel, it was ensured that the cellular island spread well within the device. Over a 12 h period, the island expanded, and the average migration speed was ~0.1–0.2 μm/min. While there were variations among islands regarding how much the island expanded, all cells looked healthy in the no-flow condition. Next, flow was applied over these islands, and it was found that at a flow rate of 0.1 µL/min, the cellular island spread well, and cells maintained an average migration speed of ~0.1–0.2 μm/min for 12 h. However, upon increasing the flow rate to 0.5 µL/min, cells did not spread well, and the average migration speed decreased to below 0.1 μm/min. Furthermore, morphologies of the cells appeared different and appeared to be detaching from the PA gels (Figure 3). Based on these data, 0.1 µL/min was chosen as the flow rate for the following experiments.

To test the effects of a chemical gradient on collective cell migration, HGF was chosen32,34.  The left inlet was connected to 1) the supply reservoir holding cell culture media with HGF solution (20 ng/mL) and 2) the other 2 inlets with reservoirs holding cell culture media. With a flow rate at 0.1 µL/min, flow over the migrating cell islands (four rows by three columns) was maintained for 10 h (Figure 4). As shown in a separate experiment, the HGF concentration on the left column was close to the concentration of the suppling solution (20 ng/mL), and on the right column, this was close to zero. The HGF concentration on the middle column gradually decreased from the left half to right half. When comparing the size of cell islands after 10 h, the islands on the right column did not expand much, but those on the left column became significantly larger and expanded in all directions (Figure 4A). Such changes in island size were supported by the trajectories of cells within each island (Figure 4B). Interestingly, islands in the middle column did not expand toward the right (where the HGF concentration was low) but expanded preferentially toward the left (where the HGF concentration was high). While there was little change in average migration speed in the right column, in the left and middle columns, the average migration speed increased gradually for the first 3 h, then gradually decreased (Figure 4C).

To measure contractile force and intercellular stress, traction microscopy37,39,40 and monolayer stress microscopy were combined with the microfluidic channel33,35,38. Over the course of 10 h during application of the chemical gradient, images of fluorescent particles were taken in PA gels, and the force (per unit area) applied by cells on the substrate was analyzed using Fourier transform traction microscopy35,37. Traction was plotted in polar coordinates. Blue represents the force toward the center of the island, and red represents the force away from the center.

At time zero, all islands showed similar traction distributions, with strong inward traction on the edge and fluctuation within the island. This fluctuation was similar to what has been previously shown34,35,41. After 10 h of applying the HGF gradient, while the degree of island expansion was different in each column, the traction distributions were largely similar to time zero (Figure 5A). The average traction did not change for 10 h (Figure 5C). When calculating the monolayer stress, however, each column showed different trends. In the right column (where HGF concentration was low), the average tension within islands was maintained around 200 Pa throughout a 10 h period. In the left column (where HGF concentration was high), the average tension within islands gradually decreased from 230 Pa to 100 Pa over 10 h, as previously shown32,34. In the middle column (where the HGF concentration was high on the left half and low on the right half of the island), the average tension was maintained around 150 Pa.

FIGURE AND TABLE LEGENDS:

Figure 1: Schematic of the integrated device preparation. (A) To fabricate the integrated device, a bottom glass with PA gel on which cell islands were patterned using a PDMS stencil was covered with a PDMS microchannel. (B) The integrated devices were fixed using a custom holder to prevent fluid leakage and component dissociation. (C) After the device filled with fluid without bubbles, reservoirs were connected to the inlets, and a syringe pump was connected to the outlet. All experimental set-ups were placed on a live cell imaging system. (D) The schematic shows the design and composition of the microfluidic channels.

Figure 2: Establishing the chemical gradient. (A) Fluorescence images of rhodamine B-conjugated dextran (70 kDa) visualize the concentration gradient under the fluid flow of 0.125 µL/min, 0.5 µL/min, and 2 µL/min. Dotted circles indicate the position of the patterned cell islands. (B) The intensity profile of the fluorescence image show that the concentration gradient in the device was adjustable by the flow rate. Error bars indicate standard deviation. The colored bars indicate the column positions of the patterned cell island.

Figure 3: Migration of MDCK cell islands under flow. (A) The phase images at 12 h of the MDCK cell island at each flow rate (0 µL/min, 0.1 µL/min, and 0.5 µL/min) show that cell islands expanded well at a low flow rate but did not expand at a high flow rate. Dotted lines represent the boundaries at 0 h. (B) The mean and histogram of the cellular speed within each island every 10 min for 12 h.

Figure 4: Migration of MDCK cell islands under flow and chemical gradient. (A) The relative intensity range of rhodamine B-conjugated dextran maintained a constant HGF concentration gradient in each column after stabilization for 2 h. (B) Phase images at 10 h (dotted line = cell island boundary at 0 h) of the MDCK cell island under the HGF gradient (from left to right: 20–0 ng/mL) show that the island expanded more where HGF concentration was higher. (C) The trajectories of migration paths (color coding indicates the path length) of cells in the MDCK cell islands. Dotted lines and dashed lines represent each cell island’s boundaries at 0 h and 10 h, respectively. (D) The mean and histogram of the cellular speed within each island every 10 min for 10 h.

Figure 5: Mechanical interactions of MDCK cell islands. (A) The maps of traction (cell-substrate interaction) in the cell islands at 0 h and 10 h under the HGF gradient. The maps were plotted in radial coordination, with outward traction using warm color and inward traction using cold color. (B) The maps of monolayer tension (cell-cell interactions) in the cell islands at 0 h and 10 h under HGF gradient. (C) The plot of average traction (gray square) and tension (blue circle) within the cell islands under HGF gradient over time every 10 min for 10 h. The color bands represent the mid-quartile (~25%–75 %).

Supplementary Figure S1: Proper bead distribution required for sufficient data quality during traction force analysis. Examples of good (left) and bad (right) quality fluorescent bead images with enlarged images in the white boxes are shown.

DISCUSSION:

Collective migration of constituent cells is an important process during development and regeneration, and the migrating direction is often guided by the chemical gradient of growth factors4,23. During collective migration, cells keep interacting with neighboring cells and underlying substrates. Such mechanical interactions give rise to emergent phenomena such as durotaxis42, plithotaxis33, and kenotaxis43. However, this research was performed done using a single concentration of growth factors, such as those in fetal bovine serum. To fill the gap, this protocol describes a new experimental platform that can measure mechanical interactions during collective cellular migration under a chemical gradient.

The new platform combines three experimental systems that have been used widely: micropatterning, traction microscopy, and microfluidics. First, micropatterning of cell islands for collective migration was performed. Second, both traction microscopy and monolayer stress microscopy was used for mechanical measurements of migrating cells. Finally, a microfluidics platform was used to establish chemical gradient over migrating cells. With this experimental system, it was demonstrated that cells within a single island migrate differently in response to different chemical gradients.

As described in Figure 2, the chemical gradient forms only over a distance of 1 mm in the middle of the microchannel. Islands in the left column become exposed to the maximum concentration, and those on the right column are exposed to the minimum concentration. In contrast, islands in the middle column are exposed to the chemical gradient. In this way, the response of cell islands is measured at maximum, minimum, and a gradient of concentrations of a soluble factor during the same experiment. Using this array of cell islands, a gradual increase in cellular migration speed was observed as HGF concentration increased.

To achieve high quality data, there are key steps in the procedure that require particular attention. The PA gels in a custom-glass substrate must be perfect regarding the distribution of fluorescent particles and surface coating of collagen. This is because without high quality PA gels, a high-quality data set for traction analysis and monolayer stress analysis cannot be acquired. Examples of high-quality bead images are shown in the Supplementary Figure 1. The microfluidic channels are very small, and bubbles are easily trapped in them. These bubbles not only disturb the flow but can also sweep cells away if they start to move along the flow. Therefore, it is crucial to fill the microfluidic channels without bubbles. To achieve a stable gradient within the microchannel, the balance of pressure within the three inlets is very important. To avoid imbalances between them, large reservoirs should be used so that any imbalances at the beginning of an experiment can easily be adjusted. This new platform will help further exploration of the mechanics of collective cell migration under chemical gradients, which is key to understanding regeneration, cancer metastasis, and development.

ACKNOWLEDGMENTS:

This work was supported by the National Research Foundation of Korea (NRF) grant funded by the Korean government (MSIP) (No. NRF-2017R1E1A1A01075103), Korea University Grant, and the BK 21 Plus program. It was also supported by the National Institutes of Health (U01CA202123,  PO1HL120839, T32HL007118, R01EY019696).

DISCLOSURES:

The authors declare that they have no competing financial interests.

REFERENCES:

1	Reig, G., Pulgar, E., Concha, M. L. Cell migration: from tissue culture to embryos. Development. 141 (10), 1999-2013 (2014).

2	Luster, A. D., Alon, R., von Andrian, U. H. Immune cell migration in inflammation: present and future therapeutic targets. Nature Immunology. 6 (12), 1182-1190 (2005).

3	Liang, C. C., Park, A. Y., Guan, J. L. In vitro scratch assay: a convenient and inexpensive method for analysis of cell migration in vitro. Nature Protocols. 2 (2), 329-333 (2007).

4	Friedl, P., Gilmour, D. Collective cell migration in morphogenesis, regeneration and cancer. Nature Reviews Molecular Cell Biology. 10 (7), 445-457 (2009).

5	Mayor, R., Etienne-Manneville, S. The front and rear of collective cell migration. Nature Reviews Molecular Cell Biology. 17 (2), 97-109 (2016).

6	DuFort, C. C., Paszek, M. J., Weaver, V. M. Balancing forces: architectural control of mechanotransduction. Nature Reviews Molecular Cell Biology. 12 (5), 308-319 (2011).

7	Vogel, V. Mechanotransduction involving multimodular proteins: converting force into biochemical signals. Annual Review of Biophysics and Biomolecular Structure. 35, 459-488 (2006).

8	Roca-Cusachs, P., Sunyer, R., Trepat, X. Mechanical guidance of cell migration: lessons from chemotaxis. Current Opinion in Cell Biology. 25 (5), 543-549 (2013).

9	Weber, G. F., Bjerke, M. A., DeSimone, D. W. A mechanoresponsive cadherin-keratin complex directs polarized protrusive behavior and collective cell migration. Developmental Cell. 22 (1), 104-115 (2012).

10	Ingber, D. E. Cellular mechanotransduction: putting all the pieces together again. FASEB Journal. 20 (7), 811-827 (2006).

11	Ricart, B. G., Yang, M. T., Hunter, C. A., Chen, C. S., Hammer, D. A. Measuring traction forces of motile dendritic cells on micropost arrays. Biophysical Journal. 101 (11), 2620-2628 (2011).

12	Garcia, S. et al. Generation of stable orthogonal gradients of chemical concentration and substrate stiffness in a microfluidic device. Lab on a Chip. 15 (12), 2606-2614 (2015).

13	Zhang, Z. et al. Scalable Multiplexed Drug-Combination Screening Platforms Using 3D Microtumor Model for Precision Medicine. Small. 14 (42), e1703617 (2018).

14	Ayuso, J. M. et al. Study of the Chemotactic Response of Multicellular Spheroids in a Microfluidic Device. PLoS ONE. 10 (10), e0139515 (2015).

15	McCutcheon, S. et al. In vitro formation of neuroclusters in microfluidic devices and cell migration as a function of stromal-derived growth factor 1 gradients. Cell Adhesion & Migration. 11 (1), 1-12 (2017).

16	Ellison, D. et al. Cell-cell communication enhances the capacity of cell ensembles to sense shallow gradients during morphogenesis. Proceedings of the National Academy of Sciences of the United States of America. 113 (6), E679-688 (2016).

17	Fujimori, T., Nakajima, A., Shimada, N., Sawai, S. Tissue self-organization based on collective cell migration by contact activation of locomotion and chemotaxis. Proceedings of the National Academy of Sciences of the United States of America. 10.1073/pnas.1815063116 (2019).

18	Li Jeon, N. et al. Neutrophil chemotaxis in linear and complex gradients of interleukin-8 formed in a microfabricated device. Nature Biotechnology. 20 (8), 826-830 (2002).

19	Saadi, W., Wang, S. J., Lin, F., Jeon, N. L. A parallel-gradient microfluidic chamber for quantitative analysis of breast cancer cell chemotaxis. Biomedical Microdevices. 8 (2), 109-118 (2006).

20	Abhyankar, V. V., Lokuta, M. A., Huttenlocher, A., Beebe, D. J. Characterization of a membrane-based gradient generator for use in cell-signaling studies. Lab on a Chip. 6 (3), 389-393 (2006).

21	Bersini, S. et al. A microfluidic 3D in vitro model for specificity of breast cancer metastasis to bone. Biomaterials. 35 (8), 2454-2461 (2014).

22	Rorth, P. Whence directionality: guidance mechanisms in solitary and collective cell migration. Developmental Cell. 20 (1), 9-18 (2011).

23	Rorth, P. Collective guidance of collective cell migration. Trends in Cell Biology. 17 (12), 575-579 (2007).

24	McCutcheon, S. et al. In vitro formation of neuroclusters in microfluidic devices and cell migration as a function of stromal-derived growth factor 1 gradients. Cell Adhesion & Migration. 11 (1), 1-12 (2017).

25	Rorth, P. Whence directionality: guidance mechanisms in solitary and collective cell migration. Developmental Cell. 20 (1), 9-18 (2011).

26	Rorth, P. Collective guidance of collective cell migration. Trends in Cell Biology. 17 (12), 575-579 (2007).

27	Farrell, J. et al. HGF induces epithelial-to-mesenchymal transition by modulating the mammalian hippo/MST2 and ISG15 pathways. Journal of Proteome Research. 13 (6), 2874-2886 (2014).

28	Wang, T. W., Zhang, H., Gyetko, M. R., Parent, J. M. Hepatocyte growth factor acts as a mitogen and chemoattractant for postnatal subventricular zone-olfactory bulb neurogenesis. Molecular and Cellular Neuroscience. 48 (1), 38-50 (2011).

29	Lin, Y. C. et al. Mechanosensing of substrate thickness. Physical Review. E, Statistical, Nonlinear and Soft matter Physics. 82 (4 Pt 1), 041918 (2010).

30	Serra-Picamal, X., Conte, V., Sunyer, R., Munoz, J. J., Trepat, X. Mapping forces and kinematics during collective cell migration. Methods in Cell Biology. 125, 309-330 (2015).

31	Denisin, A. K., Pruitt, B. L. Tuning the Range of Polyacrylamide Gel Stiffness for Mechanobiology Applications. ACS Applied Materials & Interfaces. 8 (34), 21893-21902 (2016).

32	Jang, H. et al. Traction microscopy with integrated microfluidics: responses of the multi-cellular island to gradients of HGF. Lab on a Chip. 19 (9), 1579-1588 (2019).

33	Tambe, D. T. et al. Collective cell guidance by cooperative intercellular forces. Nature Materials. 10 (6), 469-475 (2011).

34	Jang, H. et al. Homogenizing cellular tension by hepatocyte growth factor in expanding epithelial monolayer. Scientific Reports. 8, 45844 (2017).

35	Trepat, X. et al. Physical forces during collective cell migration. Nature Physics. 5 (6), 426 (2009).

36	Tolic-Norrelykke, I. M., Butler, J. P., Chen, J., Wang, N. Spatial and temporal traction response in human airway smooth muscle cells. American Journal of Physiology - Cell Physiology. 283 (4), C1254-1266 (2002).

37	Butler, J. P., Tolic-Norrelykke, I. M., Fabry, B., Fredberg, J. J. Traction fields, moments, and strain energy that cells exert on their surroundings. American Journal of Physiology - Cell Physiology. 282 (3), C595-605 (2002).

38	Tambe, D. T. et al. Monolayer stress microscopy: limitations, artifacts, and accuracy of recovered intercellular stresses. PLoS ONE. 8 (2), e55172 (2013).

39	Dembo, M., Wang, Y. L. Stresses at the cell-to-substrate interface during locomotion of fibroblasts. Biophysical Journal. 76 (4), 2307-2316 (1999).

40	Wang, N. et al. Cell prestress. I. Stiffness and prestress are closely associated in adherent contractile cells. American Journal of Physiology-Cell Physiology. 282 (3), C606-616 (2002).

41	Notbohm, J. et al. Cellular Contraction and Polarization Drive Collective Cellular Motion. Biophysical Journal. 110 (12), 2729-2738 (2016).

42	Sunyer, R. et al. Collective cell durotaxis emerges from long-range intercellular force transmission. Science. 353 (6304), 1157-1161 (2016).

43	Kim, J. H. et al. Propulsion and navigation within the advancing monolayer sheet. Nature Materials. 12 (9), 856-863 (2013).