Supplementary File

Protocol test

Protocol sequence

Figure 1: A print screen of the acquisition software programming underlying a myofilaments Ca2+-sensitivity protocol.

Appendix A:

The custom-made program named Cellprog was designed to extract data from the files derived from the software provided by the manufacturer of our equipment (Figure 1B). Cellprog automatically calculates absolute and CSA-normalized values of Ftotal, Factive and Fpassive (as described in step 9.2) as well as ktr. The fitting of the curve to calculate ktr is detailed below and depicted in Figure 2B. The program automatically delivers these values in a spreadsheet as represented in Figure 3B.

Calculation of Ktr value

To calculate Ktr fit we used a Levenberg-Marquardt convergence algorithm for 1st and 2nd order using two models. The algorithm needs the initial values (Starting parameters, that corresponds to the values immediately after 1st cell shorting) to be able to calculate the approximate curve (do Curve Fitting). Now these calculations are done as follows:

First order exponential model:

-Model:A(1-e-Bx)+C

- A: F(start fit+duration)-F(start fit)

- B: 2duration

- C: F(start fit)

Second order exponential model:

-Model:A(1-e-Bx)+L1-e-Kx+C

- A: 0,75×(Fstart fit+duration-Fstart fit)

-B:2duration

- C: F(start fit)

- K: 0,25×(Fstart fit+duration-Fstart fit)

- L: 0.667duration

Calculation of error associated to the approximation:

R=1-∑(Ydata-yfit)2∑(Ydata-yfit avg)2

Errori=covarianceii.MSE

Covariance= Covariance matrix

MSE = Meam square error

Figure 1B: Representative image of our custom-made program display.

Figure 2B: Representative image from a single cell record using our custom-made Program. A. Prediction of curve fit immediately after the 1st cell slack (in Ca2+ solution). B. Representative image of a typical protocol. First cell is submerged in a Ca2+ solution (1st cell shortening), then it is passed to a second well with relaxing solution where a 2nd cell shortening will occur.

Figure 3B: Representative image from a typical result spread sheet with results for different Ca2+ solutions tests.

Legend: Bf- Ktr value; CSA- Cross-sectional Area; Ta- Active Force; TaN- Active Tension; Tp- Passive Force; TpN- Passive tension; Tt- Total Force; TtN- Total Tension; R- r squared for Ktr fit curve.