Submission ID #: 60446

Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18436078

Title: Fluorescence-Activated Cell Sorting for the Isolation of Scleractinian Cell Populations

Authors and Affiliations: Grace A. Snyder1, William E. Browne2, Nikki Traylor-Knowles1,*, and Benyamin Rosental3,*

*These authors provided equal supervision to the work

1Department of Marine Biology and Ecology, University of Miami, Rosenstiel School of Marine and Atmospheric Science

2Department of Biology, University of Miami

3The Shraga Segal Department of Microbiology, Immunology, and Genetics, Faculty of Health Sciences, and Regenerative Medicine and Stem Cell Research Center, Ben Gurion University of the Negev

Corresponding Author:

Benyamin Rosental

rosentab@post.bgu.ac.il

Nikki Traylor-Knowles

ntraylorknowles@rsmas.miami.edu

Email addresses for Co-authors:

grace.snyder@rsmas.miami.edu

w.browne@miami.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? Y

3. Which steps from the protocol section below are the most visually important?

2.3., 3.1.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

2.3., 3.2.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Grace A. Snyder: This protocol facilitates the identification and isolation of live coral cell populations at a descriptional level not previously performed [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Grace A. Snyder: The main advantage of this technique is that it allows access to a level of cell specificity that up until now has been mostly unattainable [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

  - Grace A. Snyder: Demonstrating the procedure will be Shannon Saigh, a research associate from the Flow Cytometry core at the Sylvester Comprehensive Cancer Center [1][2].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

# Section - Protocol

- Fluorescence-Activated Cell Sorting (FACS) Gating Strategy Setup and Analysis

  - To set up the flow cytometer for live coral cell sorting, open a new project template in the flow cytometer software [1-TXT] and select the appropriate lasers for the analysis in the laser panel [2].

    - WIDE: Talent at cytometer, opening template, with monitor visible in frame TEXT: Here a cytometer with 405, 488, 535, and 640 nm wavelength lasers is shown

    - SCREEN: 4.1-5.1: 00:58-01:24 Video Editor: please speed up

  - Then, create a side scatter versus forward scatter plot and the appropriate plots for setting up the gating and analysis strategy [1].

    - SCREEN: 4.1-5.1: 01:36-02:22 Video Editor: please speed up

  - For flow cytometric analysis and sorting of the live coral cells, load the control, unstained cell sample into the sample chamber of the cytometer [1] and start the reading process [2].

    - Talent loading sample Videographer: Important/difficult step

    - Sample being acquired by cytometer

  - Grace Snyder: As coral cells are particularly fragile, keep the pressure that controls the speed that the cells run through the cytometer low to prevent cell lysis [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - In the scatter plot, adjust the photomultiplier voltage to center the points and begin recording the events [1-TXT].

    - SCREEN: 4.1-5.1: 03:21-03:44 Video Editor: please speed up TEXT: Start analysis after 30 s to allow debris to clear

  - In the forward versus side scatter plot, create a gate around the cells at around the 102 mark on the forward scatter X-axis [1].

    - SCREEN: 4.1-5.1: 04:48-04:58 TEXT: Events <102 likely debris

  - Replace the control sample with the first sample of stained cells [1] and record approximately 10,000 cells before pausing [2].

    - Talent loading sample

    - SCREEN: 4.1-5.1: 07:18-08:25 Video Editor: please speed up

  - Then gate the events that are unique to the stained sample group [1].

    - SCREEN: 4.1-5.1: 08:47-10:07 Video Editor: please speed up

- FACS Sorting and Cell Collection

  - To sort the live coral cell populations of interest, after selecting the cell population of interest in the flow cytometer software [1], place one microcentrifuge tube containing 250-500 microliters of the appropriate collection solution into the cytometer collection chamber for each sorted cell population [2].

    - WIDE: Talent selecting population(s) in software, with monitor visible in frame

    - Talent placing tube(s) into chamber Videographer: Important step

  - Once an appropriate amount of time has passed to flush out debris, begin sorting the desired populations [1] to collect anywhere from 2 x 104 cells to several million [1].

    - Talent at cytometer, watching sorting, with monitor visible in frame

    - Cells being sorted into tube(s)

  - Each time a new stain, species, or sorter is used, sort at least 2 x 104 cells of interest into 500 microliters of staining medium to allow a purity check to be performed the population of interest [1] and re-analyze the sorted cells to confirm that the events are being read within the gate used for the initial sorting [2].

    - Cells being sorted into staining medium, with “staining medium” label on collection tube or staining medium container visible in frame

    - LAB MEDIA: Figure 4

  - For in vitro studies, store the sorted cells on ice until their transfer to an incubator or sterilized environment [1].

    - Talent placing tube(s) on ice

  - [1] [2].

    - Talent opening RNA isolation kit, with cell tube visible in frame

    - Talent dipping tube into LN2 or putting tube at -80 °C

# Section – Results

- Results: Representative Live Coral Cell Gating

  - Debris and other noncellular particles that do not share the same shape or granularity as the coral cells can be removed from the analysis by creating a gate selection on a forward and side scatter plot [1].

    - LAB MEDIA: Figure 3A Video Editor: please emphasize black polygonal gate

  - The dead cells can be excluded by comparing the unstained control cell suspension [1] against a DAPI-stained sample and far-red channel to gate out the high DAPI-expressing cells [2].

    - LAB MEDIA: Figure 3B Video Editor: please emphasize middle and right rectangular gates

  - In parallel, cells hosting autofluorescent Symbiodiniaceae (pronounce ‘sym-BIO-din-ee-A-see-A’) can be removed by gating against cells with a high signal in the far-red channel [1].

    - LAB MEDIA: Figure 3B Video Editor: please emphasize top left rectangular gate

  - After this iterative gating process, the remaining cells represent the intact live coral cell populations lacking Symbiodiniaceae (pronounce ‘sym-BIO-din-ee-A-see-A’) [1].

    - LAB MEDIA: Figure 3B Video Editor: please emphasize P7 and P8 cell populations in bottom left corner of plot

  - These cells can then be classified into different cell subpopulations [1] by staining for features such as reactive oxygen species activity [2] and/or lysosome content [3].

    - LAB MEDIA: Figures 3C and 3D

    - LAB MEDIA: Figures 3C and 3D Video Editor: please emphasize Figure 3C

    - LAB MEDIA: Figures 3C and 3D Video Editor: please emphasize Figure 3D

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Grace A. Snyder: It is critical to remember that some cells are more fragile than others and to therefore perform this process as carefully as possible [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Grace A. Snyder: Once specific cells have been isolated, they can be used for ex vivo functional assays, such as establishing cell cultures and creating transcriptomic profiles [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera