60450_screenshot_1

4.2. (To acquire T2*-weighted scans using a spin-echo sequence, set the repetition time (TR) to 1500 ms and the echo time (TE) to 2.8 ms).00:00-00:06

4.3. (Use a 16 mm x 16 mm field of view (FOV) and a 128 x 128 acquisition matrix (MTX) with a slice thickness of 0.75 x 0.75 mm with four signal averages and a 90° flip angle (FA)). 00:06-00:011

60450_screenshot_2

4.6.3. Create segmentations of the hypointense areas and lesion or other brain parts by selecting “Active Label” in the segmentation labels section. Use different label colors for different segments (if the segmentation of more than one part is needed). 00:00-00:07

4.6.4. Use the “Polygon” tool in the “Main Toolbar” to draw around the hypointense areas representing the SPIO-labeled MSCs. Then click on the “Accept” button located below the MRI image. The segmented areas will appear in the same color of the active label assigned to that particular segment. Repeat this segmentation step for all of the MRI slices. 00:07-00:29

60450_screenshot_3

4.6.5. Develop a 3D map of the segmented areas to represent the MSC distribution in the whole brain by selecting the “Scalpel Tool” at the bottom of the “3D Toolbar” located in the “Segmentation Labels”section at the bottom of  TheITK-SNAP tool box; then, press “Accept” at the bottom of the created 3D map. 00:00-00:24

4.6.6. To perform a quantitative analysis (volume and intensity mean) of the segmented hypointense areas representing labeled cells, press the “Segmentation” button at the top panel and select “Volume and Statistics”.  00:24-00:24