Dear Editor,

The authors would like to thank the reviewers very much for the significant effort and detail put into their comments and feedback. We have addressed the editorial and reviewer comments, and have made substantial changes to the text. We feel that the manuscript is now much improved and we hope suitable for publication. We have provided the main text file both in finalised format and a format with track changes to compare to the previous draft. Our responses are as follows:

Editorial comments:

1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. The JoVE editor will not copy-edit your manuscript and any errors in the submitted revision may be present in the published version.

- We have carefully proofread the manuscript.

2. Please add a Summary section before the Abstract section to clearly describe the protocol and its applications in complete sentences between 10−50 words: “Here, we present a protocol to …”

- We have added the following Summary section: Here, we present a protocol describing how to i) assemble a self-replicating vector using the CyanoGate modular cloning system, ii) introduce the vector into cyanobacterial host by conjugation and iii) characterise transgenic strains using a plate reader or flow cytometry.

3. Please use SI abbreviations for all units: L, mL, µL, h, min, s, etc. Please use the micro symbol µ instead of u and abbreviate liters to L (L, mL, µL) to avoid confusion.

- We have searched the document and corrected as requested.

4. Please include a space between all numbers and the corresponding unit: 15 mL, 5 g, 7 cm, 37 °C, 60 s, 24 h, etc.

- We have searched the document spacing errors and corrected.

5. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials. You may use the generic term followed by “(Table of Materials)” to draw the readers’ attention to specific commercial names. Examples of commercial sounding language in your manuscript are: Q5®, New England BioLabs, Monarch®, One Shot TOP10, Thermo Fisher Scientific, Eppendorf, GeneJET, Corning® Costar®, Sigma-Aldrich, µClear®, Greiner Bio-One, Quick-Load®, etc.

- We have removed symbols, commercial product names and company names from the text wherever possible and cited “Table of Materials” instead.

6. Please adjust the numbering of the Protocol to follow the JoVE Instructions for Authors. Step 1 followed by 1.1, followed by 1.1.1, etc. Each step should include 1−2 actions and contain 2−3 sentences. Use subheadings and substeps for clarity if there are discrete stages in the protocol. Please refrain from using bullets, dashes, or indentations.

We have reformatted the numbering system as requested. As for the recommendation below, each step contains a maximum of 4 sentences.

7. Please revise the Protocol text to avoid the use of personal pronouns (e.g., I, you, your, we, our) or colloquial phrases.

- We removed personal pronouns and rephrased where necessary.

8. Please revise the Protocol to contain only action items that direct the reader to do something (e.g., “Do this,” “Ensure that,” etc.). The actions should be described in the imperative tense in complete sentences wherever possible. Avoid usage of phrases such as “could be,” “should be,” and “would be” throughout the Protocol. Any text that cannot be written in the imperative tense may be added as a “NOTE.” Please include all safety procedures and use of hoods, etc. However, notes should be used sparingly and actions should be described in the imperative tense wherever possible. Please move the discussion about the protocol to the Discussion.

- We have removed non-imperative tense phrases such as “could be,” “should be,” and “would be” from the main protocol text.

9. Please combine some of the shorter Protocol steps so that individual steps contain 2-3 actions and maximum of 4 sentences per step.

- We have combined steps as such.

10. Please include single line spacing between each numbered step or note in the protocol.
- We have included single line spacing as requested.

11. After you have made all the recommended changes to your protocol section (listed above), please re-evaluate your protocol length. There is a 10-page upper limit (with proper formatting). There is a 2.75-page upper limit on the amount of content we can film for a single video article. Please highlight in yellow up to 2.75 pages (no less than 1 page) of protocol text (including headers and spacing) to be featured in the video. Bear in mind the goal of the protocol and highlight the critical steps to be filmed. Our scriptwriters will derive the video script directly from the highlighted text.

- We have reduced the length of the protocol to within the 10-page limit.

12. Please highlight complete sentences (not parts of sentences). Please ensure that the highlighted steps form a cohesive narrative with a logical flow from one highlighted step to the next. The highlighted text must include at least one action that is written in the imperative voice per step. Notes cannot usually be filmed and should be excluded from the highlighting.

- We have highlighted text that we believe will provide a cohesive narrative with a logical flow to show the processes of CyanoGate MoClo vector assembly and cyanobacterial conjugation.

13. Please include all relevant details that are required to perform the step in the highlighting. For example: If step 2.5 is highlighted for filming and the details of how to perform the step are given in steps 2.5.1 and 2.5.2, then the sub-steps where the details are provided must be highlighted.
- As have included all relevant details in the highlights.

14. Please obtain explicit copyright permission to reuse any figures/table from a previous publication. Explicit permission can be expressed in the form of a letter from the editor or a link to the editorial policy that allows re-prints. Please upload this information as a .doc or .docx file to your Editorial Manager account. The Figure must be cited appropriately in the Figure Legend, i.e. “This figure has been modified from [citation].”

- We have contacted Plant Physiology for permissions and have been told they will reply shortly. Only Table 2 contains similar information to a Supplementary Figure in the associated Plant Physiology publication.

15. Please upload each Table individually to your Editorial Manager account as an .xlsx file. Avoid any coloring or formatting in the tables.

- We have generated separate .xlsx files for each table and will upload. Colours have been removed and legends updated accordingly.

16. Table of Materials: Please remove any ™/®/© symbols.

- We have removed these symbols from the Table of Materials.

17. For in-text references, the corresponding reference numbers should appear as superscripts after the appropriate statement(s) in the text (before punctuation but after closed parenthesis). The references should be numbered in order of appearance.

- We have modified the referencing format as required.

18. Please ensure that the references appear as the following: [Lastname, F.I., LastName, F.I., LastName, F.I. Article Title. Source. Volume (Issue), FirstPage – LastPage (YEAR).] For more than 6 authors, list only the first author then et al. Please do not abbreviate journal titles. See the example below:
Bedford, C.D., Harris, R.N., Howd, R.A., Goff, D.A., Koolpe, G.A. Quaternary salts of 2-[(hydroxyimino)methyl]imidazole. Journal of Medicinal Chemistry. 32 (2), 493-503 (1998).
- We have re-checked the references and corrected the formatting.

Reviewers' comments:

Reviewer #1:

Manuscript Summary:

In the manuscript "Genetic modification of cyanobacteria by conjugation using the modular cloning

CyanoGate toolkit", Gale et al. described a detail protocol of using the recent published CyanoGate cloning suite to genetically engineer cyanobacteria via conjugation. The protocol was further exemplified to compare the promoter activities using eYFP as a reporter, measured by both plate reader and flow cytometer. The CyanoGate cloning suite is shown to be very efficient to assemble DNA parts, hence it facilitates genetic modifications in cyanobacteria. This protocol is indeed a timely contribution to the much promising concept of developing cyanobacteria as photosynthetic cell factories, and interesting for both students and researchers in this community. The manuscript is well written, and all the protocols are clearly presented. I only have a few minor comments.

Major Concerns:

None

Minor Concerns:

1. In line 654, what is the pH of the TES buffer stock?

- We have added “pH 8.2”.

2. In line 812, "Fig. 5" should be "Fig.3".

- Thank you for picking up this error - we have changed to “Fig. 3”.

3. In line 848, "plant readers" should be "plate readers".

- Thank you for picking up this error - we have changed to “plate readers”.

Reviewer #2:

Manuscript Summary:

Reviewer report

In Gale et al., the authors describe a protocol to build plasmids using CyanoGate, a standardized modular cloning (MoClo) system. The method was designed for the assembly of self-replicating or integration vectors, which can be transferred to cyanobacterial strains by conjugation. The functionality of this system was demonstrated by conjugation experiments in Synechocystis sp. PCC6803 and Synechococcus elongatus UTEX 2973. Using recombinatorial MoClo cloning, the authors report two high throughput methodologies to characterize the performance of genetic parts based on the use of a plate reader and flow cytometry. The description of the protocol is solid, and it provides useful information to use this strategy to build vectors and use them to genetic engineer cyanobacterial strains. We provide some comments below that are mostly editorial in nature.

Major concern

Some terms related to the MoClo system are used very frequently (especially Level 0, 1, 2, T vectors) but not explicitly defined in the Introduction. A bit more explicit definition of these terms is strongly recommended. Increasing the detail in the Figure 1 scheme in order to more fully describe the general overview of the hierarchical cloning system, especially showing the different levels, would be useful to understand how the system to build the plasmids works - especially for someone who is just learning about the CyanoGate concepts and techniques.

The recent publication outlines the CyanoGate MoClo system in detail. Rather than repeating that information, we have added the following to the beginning of the protocol: “Before proceeding with vector assembly, we strongly recommend that users familiarize themselves with the vector level structures of the Plant and CyanoGate MoClo systems (Engler et al., 2014; Vasudevan et al., 2019).”

Minor concerns

- It would be possible (but is not required) to reduce the length of some of the discussion of the other less directly relevant topics in the Introduction in order to make room for an expansion of discussion of the MoClo system suggested above if the word count is a concern. The Introduction is currently a bit longer than may be strictly necessary for this type of methodology paper.
- We agree that the Introduction and Discussion are a bit lengthy and have reduced the lengths of these sections.

- Lines 24-25. This sentence does not provide any new information to the abstract and may be removed.
- We agree and have removed “Conjugation is a useful technique for introducing DNA into cyanobacteria.”

- Line 43. It may be desirable to replace the ";" a period and separate this statement into two sentences.
- We agree and have replaced with a full stop.

- Lines 46-49. The main approaches for introducing DNA into cyanobacteria are transformation, conjugation and electroporation. The vectors transferred to cyanobacteria by transformation and electroporation are suicide vectors (they integrate in the genome via homologous recombination), while self-replicating vectors can be transferred to cyanobacteria by transformation, conjugation and electroporation. There is a slight confusion in the use of terminology in this sentence that could be made more precise.

- Thank you for this clear statement. We have replaced the sentence on line 46-49 with a slightly modified version: “The vectors transferred to cyanobacteria by transformation or electroporation are ‘suicide’ vectors (i.e. integrative vectors that facilitate homologous recombination), while self-replicating vectors can be transferred to cyanobacteria by transformation, conjugation or electroporation.”

- Lines 63, 187, 189, 192, 194. The abbreviation for nucleotide is most frequently in lower case: that is, "nt", instead of "NT".

- We humbly disagree, as we have found that both are used in the literature.  We also feel that NTs is more immediately understandable for readers than nts. Either way, we are happy to defer to the editors preference for this.

- Lines 91-93. In the experience of these reviewers, promoter/RBS calculators that have been developed for E. coli are poorly predictive of their performance in cyanobacteria. Perhaps you may wish to comment on your perception and/or publications regarding the accuracy of these tools for cyanobacterial predictions?

Thank you for this suggestion, we have added “… these tools are often poor predictors of performance in cyanobacteria (Heidorn et al., 2011; Englund et al., 2016; Thiel et al., 2018).”

- Line 96. What oriT does pSB4K5 contain? Is it compatible with other cyanobacterial strains?
- pSB4K5 contains the pSC101 ori. It is not used for cyanobacterial transformation, but rather a lower level component of CyanoGate to assist with the building of the final level T vectors for introducing DNA into cyanobacteria

- Line 108. You may wish to indicate here that Synechococcus elongatus UTEX 2973 is not naturally competent and the DNA can only introduce to the cells by conjugation or electroporation.
- Thank you for this suggestion, we have added to the end of the following sentence “engineering cyanobacterial species, in particular those that are not naturally competent, such as S. elongatus UTEX 2973”.

- Line 116 and throughout: Please double-check the standard in denoting plasmid features such as the origin of transfer (oriT) and bom sites. We routinely see these features denoted in italics. Similarly, the standard for the abbreviations that is (i.e.,) and for example (e.g.,) is to put the abbreviation in italics and use a comma immediately afterwards.

- We have italicised all references to “oriT” and “bom”. We do disagree that italics and a comma are standard for i.e. and e.g. – this is typically publication specific. We are happy to defer to the editor as to the journal preference.

- Line 127. What is the genotype of MC1061 E. coli strain? Is there any special reason to choose this strain?
- MC1061 is a common E. coli strain used for transformation that was contributed from the University of Copenhagen (as stated in the Acknowledgements) with both mobilizer and helper vectors.  We don’t believe there was a special reason for using this.

- Line 134. "the mobilizer vector" should be added after "protects", since you do not indicate what vector is being protected by the methylases.

- We have added "the mobilizer vector".

- Line 141. Consider deleting "(e.g. 10,000 cells)"

- We have removed.

- Lines 147-148. Consider if you mean that plate readers have low "sensitivity" compared to cytometers (in contrast to lower "accuracy").

- We agree – sensitivity would be more appropriate – we have changed as such.

- Lines 187 and 192. Take care with the wording "in front of" in this context, as it is subjective in this description. Describing the features in context of 5' or 3' position may be more precise.
- We have changed "in front of" to “at the 5’ end of”.

- Lines 221-222. The Monarch DNA extraction gel kit is not included in the table of materials. Additionally, it may be worth a brief mention that even primer dimers can be problematic in this instance.

- We have added the Monarch DNA Gel Extraction Kit to the Table of Materials. We have added “However, if the gel shows only the appropriate band and no evidence of primer dimers,…”.

- Line 265. Typo: Ligate the 3' end "of" your final….

- We have added “of”.

- Line 289. You may wish to add "using glass beads" and its catalog number and company after "the culture", since glass beads are listed in the table of materials and they are not explicitly used in any part of the protocol.

- Glass beads were only used for extracted DNA from cyanobacterial cultures – we reference these in step 5.

- Line 393. "remove" instead of "removed"

- We have changed “removed" to "remove".

- Line 398. How long do you incubate at room temperature the helper and the cargo strain together?
- We have clarified in the text “…and set aside (leave at room temperature) until step 3.3.6.”

- Line 421. All the steps with cyanobacteria should be performed in a laminar flow hood. If you mention this at the beginning of the protocol, it would not be necessary to indicate this at every step where cyanobacteria are used. Currently, it is inconsistently mentioned.

- Thank you for this suggestion. We have removed reference to laminar flow hoods and stated in the introduction of  step 3. Generation of mutants by conjugation: “All work with cyanobacteria should be done under sterile conditions in a laminar flow hood.”

- Lines 421-422. HAFT 0.45 μm membrane filters (Milipore) are not included in the table of materials.
- We have corrected the text to “0.45 μm membrane filter (MF-Millipore)” and added membrane filters (0.45 μm) to the Table of Materials.

- Lines 448-452. Another way to text if the colonies are axenic is inoculating a little amount of biomass of cyanobacterial transconjugants in a tube with a small volume of LB. Sometimes, the small colonies of E. coli are not evident in the plates.

- Thank you for this tip. We have added the following to the protocol:” Confirm absence of E. coli contamination by inoculating a streak of cyanobacterial culture into a 15 mL centrifuge tube containing 5 mL LB medium and incubating the tube at 37 °C overnight at 225 rpm in a shaking incubator.”

- Lines 453-455. It is also recommended to recover the plasmid from cyanobacterial transconjugants and check by digestion. Plasmids could contain fragments that are not from cyanobacteria, they are not methylated in the E. coli strain (they do not contain HIP1 sequence recognize for methylases) and it could be digested.

- In line with our response below to line 817, we have added details on recovery and validation of the plasmid in the discussion.

- Line 475. "freezer" instead of "freeze"

- We have changed “freeze" to "freezer".

- Line 585. The DNA extraction kit (DNeasy Plant Mini kit, QIAGEN) is not included in the table of materials.
- We have added the DNeasy Plant Mini Kit to the Table of Materials.

- Line 593. The TissueLyser II (Qiagen) is not included in the table of materials.
- We have added the TissueLyser II to the Table of Materials.

- Line 601. The catalog and the company of agarose should be included in this line, since agarose is listed in the table of materials and it is not used in any part of the protocol.
- We have added the manufacturer here “(Bioline)”.

- Lines 626-630. It could be possible to reproduce the recipe for BG11 medium, since it is not very

complicated and it could likely be summarized in two lines, avoiding having to check a reference to find it.

- We disagree, as a whole page table is dedicated to the BG11 components in Lea-Smith et al. (2016). We feel that it would not simplify interpretation for potential users if these components were summarized in a short paragraph. We could add that table to our protocol? Perhaps the editor can advise if this would be feasible?

- Line 637. Introduce a space between "1" and "M".

- We have added a space.

- Line 640. What kind of agar did you use to prepare the BG11 plates (e.g. noble agar, bactoagar, etc)?

- We use microbiology test Agar (A1296-500g, Sigma-Aldrich). We have added these details to the text and the Table of Materials.

- Line 668, 670, 728, 733, 746, 752, 761, figure 4 and figure 6A. "cpcBA" should be in italics.

- We have changed “cpcBA” to  “cpcBA”  throughout.

- Lines 745-753. Why do you use SE instead of SD?

- Either can be used. We prefer to use standard error (SE) as it takes into account both the standard deviation (SD) and the sample size.

- Line 703. The discussion about preserving the codon for glutamic acid assumes that the BpiI site is in-frame with the start codon. May wish to clarify for precision, or eliminate this statement.
- We have added to the legend “Although the BpiI site is shown in frame with the start codon, this approach will work even if the site is not in frame (i.e. as long as the site is disrupted and the protein sequence preserved)."

- Line 817. Two critical steps that you should add are: 1) checking of the colonies are axenic, 2) checking the correct size of the plasmids inside the transconjugants, especially if they are big size.
- Although these steps are important they are not specific to the conjugation protocol per se. Thus we have added them to the end of this paragraph: “Confirming a transgenic cyanobacterial strain is axenic is important before further experimentation. Finally, it is good practice to confirm the size of the heterologous vector in the transgenic cyanobacterial strain. The latter requires DNA extraction (see step 5), transformation into E. coli and selection (see step 2.1), and vector validation (see step 2.4).”

- Line 848. There is a typo, instead of "plant" is "plate".

- We have corrected this typo.

- Table 2. In the steps for the thermocycler protocol for Level 1, you should indicate as units for minutes "min" not "minutes", as you have in the protocol for Level 0, T.

- We have changed to min throughout the manuscript.

- Table 2. The company and the catalog number of ATP and BSA should be indicated in these tables (or removed), since they are listed in the table of materials and they are not used in any part of the protocol.

- We have added reference to the manufacturer in Table 2.

- Table of materials. The screw-cap tubes are not used in any part of the protocol. Please, remove from the table or include them in any part of the protocol.

- We have added 1.5 mL screw-cap tubes (Starstedt) to section “Cryostorage of cyanobacterial strains.”

General comments

- It may simplify the document to use the same nomenclature for all cyanobacterial strains. For example, S. elongatus UTEX 2973 and Synechocystis PCC 6803, instead of UTEX 2973 and Synechocystis.
- We have renamed these species Synechocystis PCC 6803 or S. elongatus UTEX 2973 throughout.

- You use two different nomenclatures within the text for the unit of seconds.

- We have corrected this.

- Along the text, you use two different nomenclatures for temperature. The correct one is that one that you have a space between the number and the degree symbol.

- We have corrected this.

In compliance with data protection regulations, you may request that we remove your personal registration details at any time. (Remove my information/details). Please contact the publication office if you have any questions.