## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Bioluminescence Imaging System
Chilled water circulator (chiller) | Julabo | Model: F12-ED
Cooled CCD camera | Andor Technology | Model: iKon-M 934
Incubator system | TOKAI HIT | Model: INU-ONICS
Inverted microscope | Olympus | Model: IX81
Inverted microscope | Olympus | Model: IX83
LED illumination device | CoolLED | Model: pE1
MetaMorph | MoLECULAR DEVICES | Model: 40000
Mix gas controller | Tokken | Model: TK-MIGM OLO2
Objective lens | Olympus | Model: UPLFLN 40X O
Preparations for Dissection
Dissection microscope | Nikon | Model: SMZ-2B
Fluorescence stereoscopic microscope | Leica | Model: MZ16FA
Fine forceps | DUMONT | INOX No.5
Scissors, Micro scissors
Forceps
Ring-shaped forceps
10-cm plastic petri dish | greiner | 664160-013
35-mm plastic petri dish | greiner | 627160
PBS | Nacalai Tesque | 14249-24
DMEM/F12 | invitrogen | 11039-021
Reagents for NPC dissociation culture
B27 supplement | invitrogen | 12587-010
bFGF | invitrogen | 13256-029 | Stock solution: 1μg/ml in 0.1% BSA/PBS
D-luciferin | Nacalai Tesque | 01493-85 | Stock solution: 100mM in 0.9% saline
DNase | Worthington Biochemical Corporation | LK003172 | Stock solution: 1000U/ml in EBSS
EBSS | Worthington Biochemical Corporation | LK003188
Glass bottom dish | IWAKI | 3910-035
N2 supplement (100x) | invitrogen | 17502-048
N-acetyl-cystein | Sigma | A-9165-25G
Papain | Worthington Biochemical Corporation | LK003178 | Stock solution: 7U/ml in EBSS
Penicillin/Streptmycine | Nacalai Tesque | 09367-34
Poly-L-lysine | Sigma | P-6281 | 40 mg/ml in DW
Preparations for in utero electroporation
50-ml syringe | TERUMO | 181228T
Electrode | Neppagene | 7-mm
Electroporator | Neppagene | CUY21 EDIT
Forceps
Gauzes | Kawamoto co. | 7161
Micro capillary | Made in-house
PBS | Nacalai Tesque | 14249-24
Pentbarbital | Kyoritsuseiyaku | Somnopentyl
Ring-shaped forceps
Scissors, Micro scissors
Suture needle | Akiyama MEDICAL MFG. CO | F17-40B2
Xylazine | Bayer | Seractal
Preparations for Slice culture
10-cm plastic petri dish | greiner | 664160-013
35-mm plastic petri dish | greiner | 627160
Culture insert | Millipore | PICM01250
DMEM/F12 | invitrogen | 11039-021
Fetal Bovine Serum | Sigma | 172012-500ML
Fine forceps | DUMONT | INOX No.5
Forceps
Horse Serum | Gibco | 16050-122
Micro surgical knife | Alcon | 19 Gauge V-Lance
Multi-gas incubator | Panasonic | MCO-5MUV-PJ
N2/B27 media | Made in-house |  | ref. NPC dissociatioin culture
PBS | Nacalai Tesque | 14249-24
Ring-shaped forceps
Scissors, Micro scissors
Silicon rubber cutting board | Made in-house

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=