## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
Heat inactivation:
15 mL Centrifuge tubes | Fisher-Scientific | 10136120 | 50 mL tubes may be used if larger sample volumes are involved
15 mL Wire Tube rack | Fisher-Scientific | 11749128 | Other brands with similar make can be used
Water bath | Fisher-Scientific | 15700619 | Other brands with similar make can be used
RNA extraction:
Chloroform | Sigma | 372978-1L | Not necessary in other RNA extraction kit brands
Ethanol, absolute 99-100% | Sigma | 51976-500ML-F | Larger volume available
Extraction control | SOI group St Andrews | VitalbacteriaEC | Supplied with the TB-MBLA Vitalbacteria kit
FASTRNA Pro blue Kit | MP Biomedicals | 116025050 | Supplied with lysing matrix tubes
Molecular grade water (RNase free) | Sigma | W4502-1L | Qiagen, Fisherscientific can also supply same product
Precellys 24 homogeniser | VWR | 432-3750 | FastPrep MP Biomedicals can be used too
Refrigerated micro-centrifuge, Fresco 21, Heraeus | Fisher-Scientific | 15352117 | Other brands with similar capacity can be used
Thermomixer | Eppendorf | BLD-455-010C | Works with 1-2 mL tubes
TURBO DNA-free | Fisher-Scientific | AM1907M | Takes longer but more effective than shorter DNA removal procedures.
RT-qPCR:
Primers and Taqman probes | SOI group St Andrews | VitalbacteriaPP | Supplied with the TB-MBLA Vitalbacteria kit. Probe fluorophores are FAM (green) for Mtb and HEX (yellow) for Extraction control (EC). Applied Biosystems qPCR platforms use VIC instead of HEX.
QuantiTect Multiplex RT-PCR NR Kit | Qiagen | 204845 | PCR mix plus the RT enzyme
RotorGene Q 5plex machine | Qiagen | 9001580 | Other qPCR machines: Vii7, Quantistudio, Steponelus etc can be used
Strip Tubes and Caps, 0.1 ml | Qiagen | 981103 | Other tube sizes available depending on the rotor size. For other PCR platforms 96 well PCR plates are needed.
Non-heat inactivation Sample preservation materials
1M Tris-HCl pH 7.5 | Sigma | 93313 | Supplied ready to use
2-Mercaptoethanol | Sigma | 63689 | Many competent suppliers
Guanidine thiocyanate (GTC) | Promega | V2791 | Promega brand recommended for quality
Molecular grade water (RNase free) | Sigma | W4502-1L | Ensures that GTC solution is free of nucleases
General materials (used but not specific to TB-MBLA)
500 mL plastic containers |  | 734-5087 | Nalgene brand recommeded
Biological waste discard jars |  |  | Many competent suppliers
Chemical waste discard jars |  |  | Many competent suppliers
Disposable gloves, chemical resistant |  |  | Many competent suppliers
Freezer (-20 °C) |  |  | Many competent suppliers
Freezer (-80 °C) |  |  | Many competent suppliers
Fridge (0-8 °C) |  |  | Many competent suppliers
Fume hood |  |  | For safe handling of toxic reagents
Laboratory scales |  |  | For accurate measurement of reagents
Measuring cylinders, plastic |  |  | To ensure accurate measurement of reagents
PCR reaction tubes |  |  | Should be suitable to the PCR instrument used
Pipettes and matching sterile filtered pipette tips, |  |  | DNAse and RNAse-free, range: P1000, P200, P10, P2 recommended
Qiagility loading plates | Qiagen |  | 5-well master mix plate, 16-well reagent plate, 32-well sample plate, 72-well and 96-well reaction plates
QIAgility Pipetting Robot | Qiagen |  | Important for high throughput pipetting
Racks for 1.5 mL and 2 mL microtubes and for 15 mL and 50 mL Falcon tubes |  |  | Chemical-resistant and autoclavable recommended
RNase Away (Removes RNases enzymes from working space) | Fisher Scientific | 10666421 | Important to ensure services and devices are free from RNase enzyme
Safety goggles, chemical resistant | Fisher Scientific |  | Can also be got from Sigma. Protect eyes from toxic reagents.
Sterile Pasteur pipettes, 1.5 mL - 3 mL |  |  | Many competent suppliers
Sterile RNAse-free microtubes |  |  | 1.5 mL tubes suitable for freezing at -80 °C recommended
TB disinfectant, e.g. Tristel Fuse |  |  | Ensure it is freshly prepared or prepared within a week
Vortex |  |  | Genie 2 brand recommended
Transmission electron microscopy
Glutaldehyde (8%) | Sigma | G7526-10ML | Part of the Cell fixation buffer (HEPES buffer)
HEPES (pH 7.4, 100 mM) | Sigma | H4034-25G | Part of the Cell fixation buffer (HEPES buffer)
Leica FCS ultracryo | Leica |  | Cryomicrotome for tissue sectioning
Methyl cellulose | Agar Scientific | AGG6425 | Cold mounting resin
Paraformaldehyde (4% in PBS) | Sigma | P6148-500G | Part of the Cell fixation buffer (HEPES buffer)
Sucrose | Sigma | 84097-250G | Preservation and mounting medium
Uranyl acetate | Agar Scientific | AGR1260A | Universal Electron microscopy stain

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=