Thank you to the reviewers for their comprehensive review of our manuscript. Find below the point by point rebuttal letter.

All changes made in the text have been highlighted with red text.

Editorial comments:
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

2. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials. You may use the generic term followed by “(Table of Materials)” to draw the readers’ attention to specific commercial names. Examples of commercial sounding language in your manuscript are: 1-Step Ultra, Excel, GraphPad Prism, QED Biosciences, etc.

Commercial names have been removed from the manuscript. QED Biosciences was kept since they have developed the monoclonal antibody used in this work.  The mAbs used in this study are available (https://www.qedbio.com/product/pseudomonas-reactive-alginate-monoclonal-antibodies-2/ ).

3. Please combine some of the shorter Protocol steps so that individual steps contain 2-3 actions and maximum of 4 sentences per step.

Fixed

4. Please highlight in yellow up to 2.75 pages (no less than 1 page) of protocol text (including headers and spacing) to be featured in the video. Bear in mind the goal of the protocol and highlight the critical steps to be filmed. Our scriptwriters will derive the video script directly from the highlighted text.

Fixed

5. Please highlight complete sentences (not parts of sentences). Please ensure that the highlighted steps form a cohesive narrative with a logical flow from one highlighted step to the next. The highlighted text must include at least one action that is written in the imperative voice per step. Notes cannot usually be filmed and should be excluded from the highlighting.

Fixed

6. Please include all relevant details that are required to perform the step in the highlighting. For example: If step 2.5 is highlighted for filming and the details of how to perform the step are given in steps 2.5.1 and 2.5.2, then the sub-steps where the details are provided must be highlighted.

Fixed

Reviewers' comments:

All changes made in the text have been highlighted with red text.

Reviewer #1:

Manuscript Summary:

I commend authors for addressing all of my concerns. I have only a few additional minor comments, that once addressed I would recommend publishing the manuscript. I do not need to review the manuscript again.

Minor Concerns:
1. Step 2.4. I think my confusion with this step is the statement of 'culture tubes'. To me this implies adding the solution to a tube containing the bacterial culture. However, I think authors are referring to an empty tube that they use to culture bacteria in? Perhaps if authors clarify this by stating 'glass tube' or something similar instead?

Culture tubes has been changed to test tubes to avoid the confusion. (Line: 147)

2. L210-213. Note has been replicated

Removed from text.

3. Step 3.3. No need to indicate OD600 is an abbreviation of 'optical density at 600nm' as this has been introduced in the section above.

Removed from text.

4. L303. As each alginate method uses a different wavelength to measure the sample, carbazole assay used OD530 and ELISA uses OD450, authors might want to change the x-axis to something more generic or specify the OD for each assay.

Fixed in text. (Line: 302)

5. L332. Italicize 'pyrD'.

Fixed in text. (Line: 331)

6. L356. I think authors mean PAO581pyrD instead of PAO1pyrD

Fixed in text. (Line: 356)

7. Figure 4. What are these strains? Are they clinical isolates?

Strains used for Figure 4 are proprietary strains produced by the company Progenesis Technologies LLC. They were derived from reference strains of P. aeruginosa PAO1. We cannot disclose more details about them at this time.

This has been noted in the figure legend in text. (Line: 374)


Reviewer #2:
Manuscript Summary:
Unfortunately, this revised manuscript still fails to address many of the previous concerns. The stated goals are to provide methods for culturing small colony variant (SCV) of Pseudomonas aeruginosa and quantifying the level of alginate using two different techniques. However, there are many problems with the justification of these approaches not to mention the techniques themselves. Furthermore, particular mis-statements pointed out in the prior review did not seem to be corrected or clarified and numerous typographical or grammatical errors still remain.

Major Concerns:
Line 37: Alginate is not the only polysaccharide involved in biofilm formation.

Changed to alginate in text. (Line: 37)

Line 40: As mentioned in the prior review, pyrimidine biosynthesis mutations are only ONE way that SCV can arise in P. aeruginosa. This needs to be stated explicitly.

Amended in text. (Line:40)

Line 62: It is not clear what is meant by this statement. What marker would be revealed by measuring alginate production? This needs to be clarified.

Fixed in the text ( Line 63)

Line 67: What is the evidence that the level of alginate in sputum samples correlates with patients' quality of life?

This sentence was removed and amended in text. (Line: 70)

Line 71: It is not obvious how the techniques presented INDUCE the formation of SCV, they would only seem to detect them.

Amended in text. (Line: 72)

Line 84: The ELISA method IS NOT measuring alginate present IN THE LUNGS. Here the authors are presenting measuring alginate in sputum coughed up by patients.

We are using the sputum samples aspirated from the patients with chronic lung infections with P. aeruginosa. Since the ELISA developed can detect alginate in these samples directly, it may predict the alginate concentrations in the lungs of these patients.

Line 92: As mentioned, this does not seem to be ISOLATION, but rather DETECTION.

Amended in text. (Line: 93)

For the new data looking at the specificity of the monoclonal antibody, nothing seems to have been done quantitatively. There still doesn't seem to be any data showing that the ELISA is more sensitive than the chemical analysis.

Data added for sensitivity testing. (Figure 5B)

Figure 5 does not indicate how much of any polysaccharides were added. Why weren't the ug/ml of mannuronic acid vs. the levels of reactivity of the carbazole vs. the ELISA shown? What was the volume of sputum tested? Why wasn't the data for the sputum tested with the carbazole presented?

- Amount of polysaccharide added was 500 μg/mL. This value has been added to the figure legend. (Line: 382)

- Volume of the sputum was 50 μl as any sample for the ELISA.

- The sputum testing using carbazole did not generate any results. The background was too high to detect any alginate in the samples. Since no true measurements were taken, that data was not included.

General comment: It is unclear how the authors envision any of these protocols being useful, if investigators do not have access to the appropriate positive or negative controls samples.

The usefulness of SCV protocol lies in the restoration of growth defect by adding uracil to the growth medium.  This allows further characterization of the respective porins in the future studies, as mentioned in the amended discussion.  The ELISA protocol shows an improved specificity and sensitivity compared to the traditional uronic acid method (new Figure 5).  This mAb based ELISA may allow the measurement of alginate in patient’s sputum (Figure 6).  Our positive controls are highly purified seaweed alginate from FMC biopolymer (Protanal CR 8133).), and negative controls are a bacterial strain that produce zero alginate because the gene encoding the key alginate biosynthesis enzyme (AlgD) was in-frame deleted from the chromosome of the bacteria (PAO1algD.  Both controls were clearly pointed out in the revised text.

Minor Concerns:
Line 27: Small Colony Variant does not need to be capitalized, but Pseudomonas should be written out the first time.

Fixed in text. (Line: 27)

Line 33: Pseudomonas should be written out the first time used.

Fixed in text. (Line: 33)

Reviewer #3:
Manuscript Summary:
The manuscript describes two methods to quantify alginate production in Pseudomonas aeruginosa and a method for culturing small colony variants. The alginate quantitation methods are very precise and will be useful to investigators interested in determining the amount of alginate produced by Pseudomonas aeruginosa. It might be interesting to know if the author's methods can be used for other organisms that produce alginate, like Rhizobium. The direct comparison of the uronic acid assay to the ELISA was informative as was the cross reactivity test performed by the authors.

Major Concerns:
The method for culturing small colony variants is very specific to a pyrimidine auxotroph. It isn't apparent that this method could be used to determine IF a colony is a small colony variant or if the organism had another mutation that resulted in small colony variation. The proposed method is very specific to pyrimidine metabolism and it is known that there are many other pathways to small colony variants, e.g., cytochrome oxidase mutations, amino acid auxotrophy and central carbon metabolism mutations. It almost looks like the authors were trying to bolster a previous publication but the link between alginate and pyrimidine auxotrphy may simply be growth rate.
In this reviewer's opinion, the alginate quantitation stands alone and is sufficient for publication. The small colony variant method should be removed from the document.

We agree with this reviewer on the characterization of one type of SCV as pyrimidine auxotrophs as described here.  There are other forms of SCV.  But the restoration of growth defect by adding uracil to the medium is a unique aspect of this phenotype. We add the following statement to the discussion to better explain this genetically defined SCV, and also point out the limitation and future direction of our studies.

Our work identifies a specific form of P. aeruginosa SCV that are a result of mutations in the de novo pyrimidine biosynthesis. Here we discuss a growth condition for such SCV to revert to a normal growth phenotype when nucleoside uracil is supplied. However, when UMP/UTP was added to the medium, the defective growth was not restored (data not shown).  The porin(s) responsible for this selectivity needs to be further studied.

Minor Concerns:
1. Pg. 4, under 3.1.2. "Note" and "Note 1" are identical.

Removed from text.