# Submission ID #: 60472

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18444008

# Authors and Affiliations: Optocardiography and Electrophysiology Studies of Ex Vivo Langendorff-Perfused Pig Hearts

Corresponding Author: Luther M. Swift1,2, Rafael Jaimes III1,2, Damon McCullough1,2, Morgan Burke1,2, Marissa Reilly1,2, Takuya Maeda1,2,3, Hanyu Zhang4, Nobuyuki Ishibashi1,2,3, Jack M. Rogers4, and Nikki Gillum Posnack1,2,5

1Sheikh Zayed Institute for Pediatric and Surgical Innovation, Children’s National Health System

2Children’s National Heart Institute, Children’s National Health System

3Center for Neuroscience Research, Children’s National Health System

4Department of Biomedical Engineering, School of Engineering, University of Alabama at Birmingham

# 5Department of Pediatrics, Department of Pharmacology & Physiology, School of Medicine and Health Sciences, George Washington University

Corresponding Author:

Nikki Gillum Posnack

nposnack@childrensnational.org

Email addresses for Co-authors:

lswift2@childrensnational.org

rjaimes@childrensnational.org

dmcculloug@childrensnational.org

mtburke@childrensnational.org

mreilly@childrensnational.org

tmaeda@childrensnational.org

hz@uab.edu

nishibas@childrensnational.org

jrogers@uab.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? Y

3. Which steps from the protocol section below are the most important for viewers to see?

2.1.-2.4., 2.6.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

There is no single element that is the most difficult, however coordinating multiple moving at the beginning of the study (aortic cannulation, transfer to the system) can be challenging.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Luther Swift: Cardiovascular malfunction is a leading cause of death worldwide. The isolated heart model that we present here can serve as an experimental window into human cardiac dynamics [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Marissa Reilly: This approach combines a classical electrophysiology study with the simultaneous optical mapping of transmembrane voltage and intracellular calcium to evaluate the state of the heart [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Morgan Burke: This methodology can be applied to disease modeling, pharmacology, and toxicology studies. For example, one of our areas of focus is characterizing the effects of plasticizers on cardiac electrophysiology [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Morgan Burke: Although this methodology is more technically challenging than a protocol that utilizes a smaller animal model, overall the protocol is relatively straightforward once all of the pieces are in place [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

  - Damon McCullough: It is difficult to describe all of the components of an imaging and perfusion system by text, so visual demonstration of this procedure will aid in reproducing a successful preparation [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) at Children’s National Health System.

# Section - Protocol

- Heart Excision and Langendorff Perfusion

  - After isolating the porcine heart with the ascending aorta intact, plunge the excised organ into ice-cold cardioplegia [1-TXT] and use a pair of hemostats to grip the wall of the aorta [2].

    - WIDE: Talent placing heart and aorta into cardioplegia, with cardioplegia container visible in frame Videographer: no mouse in shot TEXT: See text for pig heart harvest details

    - Vessel wall being grasped Videographer: Important step

  - Slip slip the vessel onto a ribbed cannula [1] attached to tubing connected to 1 liter of ice cold cardioplegia medium suspended approximately 95 centimeters above the heart [2].

    - Vessel being slipped onto cannula Videographer: Important step

    - Shot of heart attached to cannula and tubing and suspended medium Videographer: Important step

  - Allow fluid to fill the aorta until the vessel overflows to prevent any bubbles from entering the vasculature [1] and use umbilical tape to secure the aorta to the cannula [2].

    - Fluid entering aorta Videographer: Important step

    - Aorta being taped to cannula Videographer: Important step

  - Tie the hemostats to bear the weight of the heart as it hangs from the cannula to further secure the tissue [1] and allow the cold medium to retrograde perfuse the heart at a constant pressure of 70 millimeters of mercury by gravity [2-TXT].

    - Hemostats being tied Videographer: Important step

    - Medium perfusing through heart Videographer: Important step TEXT: Keep heart submerged until transfer (<10 min)

  - Transfer the heart to the 37-degree Celsius Langendorff system without introducing air into the cannula [1] and allow the normal sinus rhythm to flush the vasculature of any remaining blood and cardioplegia [2].

    - Talent placing heart into system

    - Vasculature being flushed

  - In the event of shockable arrhythmias, place external paddles at the apex and base of the heart to defibrillate the organ [1-TXT], delivering a single shock at 5 Joules [2] and increasing in 5-Joule increments until 50 Joules, cardioversion, or un-shockable rhythm is achieved [3-TXT].

    - Paddles being placed Videographer: Important step TEXT: i.e., in cases of ventricular tachycardia or ventricular fibrillation

    - Shock being delivered Videographer: Important step

    - Talent increasing Joules on defibrillator TEXT: Repeat shocks at 50 Joules as necessary

  - Then flush the heart with at least 1 liter of modified Krebs-Henseleit medium without recirculation to remove any residual blood and cardioplegia [1].

    - Heart being flushed

  - When the medium runs clear through the heart, close the circulating loop to recirculate the perfusate [1].

    - Shot of clear medium, then loop being closed

- Electrophysiology Study

  - To record a standard lead two ECG (E-C-G) throughout the course of study, attach a 29-gauge needle electrode to the ventricular epicardium near the apex [1-TXT] and attach another electrode in the right atrium [2].

    - WIDE: Talent attaching electrode to epicardium TEXT: ECG: electrocardiogram

    - Electrode being placed into atrium

  - Connect the positive and negative inputs of a differential bioamplifier to the apex and right atrium, respectively [1], and attach one bipolar stimulus electrode on the right atrium [2] and a second bipolar stimulus electrode to the lateral left ventricle for pacing purposes [3].

    - Talent connecting input(s)

    - Electrode being attached to atria

    - Electrode being attached to ventricle

  - Pace the heart using an electrophysiology stimulator [1], with the initial current set to twice the diastolic threshold and a 1 millisecond pulse width [2-TXT].

    - Electrophysiology stimulator being placed onto heart/heart being paced

    - Shot of initial current setting TEXT: Increase pulse width up to 2 ms if stimulation fails to elicit response

  - To identify the pacing threshold, apply a series of 1-2 milliamp stimulus impulses with a 1-millisecond pulse width at defined pacing cycle lengths to ensure a consistent stimulus response [1].

    - Impulse(s) being applied

  - Perform extrastimulus pacing using either an S1-S1 (S-one-S-one) or S1-S2 pacing train [1-TXT].

    - Extrastimulus pacing being applied TEXT: S1-S2: 6-8 S1 impulses (S1) -> single S2 impulse

  - Decrease the S2 pacing cycle lengths stepwise by 10 milliseconds until pacing fails to capture [1].

    - PCL being decreased in 10-ms intervals

  - Then step up to the penultimate pacing cycle length [1] and decrease the cycle lengths in 1-millisecond intervals to determine the most precise pacing cycle length before the loss of capture [2].

    - Penultimate PCL being set

    - PCL being decreased in 1-ms intervals

  - To establish the ventricular effective refractory period, use the stimulus electrode on the lateral left ventricle to identify the shortest S1-S2 interval at which the S2 premature beat initiates ventricular depolarization [1].

    - SCREEN: VERP

  - To define the Wenckebach cycle length, use the stimulus electrode on the right atrium [1] to find the shortest S1-S1 interval at which a 1:1 atrioventricular conduction propagates via the normal conduction pathway [2].

    - ECU: Shot of electrode on right atrium

    - SCREEN: WBCL

  - To define the sinus node recovery time, use the stimulus electrode on the right atrium to apply an S1-S1 pacing train [1] and measure the time delay between the last impulse in the pacing train and the recovery of spontaneous sinoatrial node-mediated activity [2].

    - ECU: Shot of electrode on right atrium

    - SCREEN: SNRT

  - To establish the atrioventricular node effective refractory period, use the stimulus electrode on the right atrium [1] to find the shortest S1-S2 coupling interval at which the premature atrial stimulation is followed by a His bundle potential that elicits a QRS complex, signifying ventricular depolarization [2].

    - ECU: Shot of electrode on right atrium

    - SCREEN: AVNERP

- Transmembrane Voltage and Intracellular Calcium Optical Mapping

  - For optical mapping of the transmembrane voltage and intracellular calcium, first slowly add up to 5 milliliters of freshly prepared voltage dye proximal to the aortic cannula [1-TXT] followed by the slow addition of freshly prepared calcium dye [2].

    - WIDE: Talent adding voltage dye, with voltage dye container visible in frame TEXT: See text for all dye preparation details

    - Calcium dye being added, with calcium dye container visible in frame

  - Next, position the imaging hardware to focus on an appropriate field of view [1] and connect the camera to a workstation [2].

    - Talent positioning hardware

    - Talent connecting camera to workstation

  - Acquire images using the selected software with an exposure time of 0.5-2-milliseconds [1] and perform an image alignment with the aid of software that can split and overlay the desired regions and display a gray-scale subtraction or pseudo-color addition to any highlight misalignments [2].

    - Talent at computer, setting exposure time, with monitor visible in frame

    - SCREEN: ImageAlignment

  - With the ambient lighting minimized, test the LED lights to ensure a uniform and maximal epicardial illumination as determined by the sensor well depth [1].

    - Talent testing LED light(s)

  - Then image the myocardium during the sinus rhythm, ventricular fibrillation, or dynamic pacing using the stimulation electrode positioned on the left ventricle, beginning with a pacing cycle length of 350 milliseconds and decreasing by 10-50 milliseconds to generate restitution curves [1].

    - ECU: Shot of electrode on left ventricle

    - Talent at computer, imaging myocardium, with monitor visible in frame

  - To confirm the acquisition of an optical signal quality, throughout the experiment, open a video file, select a region of interest, and plot the mean fluorescence over time [1].

    - SCREEN: SignalQuality Video Editor: can speed up

- Cleanup

  - At the end of the experiment, remove the heart from the system [1-TXT] and drain the perfusate [2].

    - WIDE: Talent removing heart TEXT: Store heart in fixative for later analysis

    - Talent draining perfusate

  - Then rinse the system tubing and chambers with purified water [1].

    - Tubing and/or chambers being rinsed with water

  - For routine maintenance, periodically rinse the system with detergent solution as needed [1-TXT].

    - Talent adding detergent to system, with detergent container visible in frame TEXT: Alternative: Rinse w/ diluted hydrogen peroxide solution

# Section – Results

- Results: Representative Optical Data from Langendorff-Perfused Pig Hearts

  - In these representative studies, the procedure was performed on intact, whole hearts isolated from juvenile Yorkshire pigs as demonstrated [1] that ranged in size from 2.5-10.5 kilograms of body weight [2] and 18-137 grams of heart weight [3].

    - LAB MEDIA: Figure 2A

    - LAB MEDIA: Figure 2A: JoVE Video Editor please emphasize/add vertical lines at both points 2.5 to 10.5 kg markers along x-axis

    - LAB MEDIA: Figure 2A: JoVE Video Editor please emphasize/add horizontal lines at both points from about 18 g to 137 g along y-axis

  - After transferring the isolated heart to a Langendorff system, the heart rate stabilizes to about 70 beats per minute within approximately 10 minutes of defibrillation [1] and remains constant throughout the duration of study [2].

    - LAB MEDIA: Figure 2B: JoVE Video Editor please emphasize white Baseline data bar

    - LAB MEDIA: Figure 2B: JoVE Video Editor please emphasize grey End of Study data bar

  - An average flow rate of approximately 184 milliliters/minute is typically measured [1] that slows to 70 milliliters/minute after perfusing with warmed medium containing a mechanical uncoupler [2].

    - LAB MEDIA: Figure 2C: JoVE Video Editor please emphasize white -BDM data bar

    - LAB MEDIA: Figure 2C: JoVE Video Editor please emphasize grey +BDM data bar

  - Lead-two ECGs can be recorded throughout the duration of the study during sinus rhythm [1] or in response to external pacing to quantify the electrophysiological parameters [2].

    - LAB MEDIA: Figure 3: JoVE Video Editor please emphasize Figure 3A

    - LAB MEDIA: Figure 3: JoVE Video Editor please emphasize Figures 3B-3E

  - Optical mapping experiments can also be performed during the sinus rhythm [1] and spontaneous ventricular fibrillation [2].

    - LAB MEDIA: Figure 4 graphs only: JoVE Video Editor please emphasize Sinus Rhythm graph columns

    - LAB MEDIA: Figure 4 graphs only: JoVE Video Editor please emphasize Ventricular Fibrillation graph columns

  - Representative images of a dye-loaded piglet heart can be obtained with the corresponding optical action potentials [1] and calcium transients can be collected from two regions of interest on the epicardial surface [2].

    - LAB MEDIA: Figure 4 images only: JoVE Video Edtior please emphasize red and blue signals in Vm image

    - LAB MEDIA: Figure 4 images only: JoVE Video Edtior please emphasize red and blue signals in Ca image

  - In addition, dynamic epicardial pacing can be used during the optical mapping experiments to normalize any slight differences in the intrinsic heart rates [1].

    - LAB MEDIA: Figure 5

  - The raw signals [1] can be used to depict the action potential-calcium transient coupling time [2], the activation and duration time [3], and the electrical and calcium restitution [4].

    - LAB MEDIA: Figure 5: JoVE Video Editor please emphasize 15x15 and 30x30 Pixel graphs

    - LAB MEDIA: Figure 5: JoVE Video Editor please emphasize Figure 5C

    - LAB MEDIA: Figure 5: JoVE Video Editor please emphasize Figure 5D

    - LAB MEDIA: Figure 5: JoVE Video Editor please emphasize Figure 5E

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Marissa Reilly: It is important to avoid allowing bubbles to enter the aorta, to minimize the time of transfer from the animal to the system, and to support the larger heart [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Step 2.4., 2.7.)

  - Damon McCullough: Electrophysiology and optical signal data can be analyzed post-acquisition. Additionally, the heart may be preserved after the study for histology, immunostaining, or gene expression analysis [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Luther Swift: We are using this technique to characterize juvenile cardiac development and to examine the impact of environmental exposures on cardiac physiology [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Luther Swift: The mechanical uncouplers used to minimize motion and the anti-foam chemicals used to address albumin frothing are both toxic, so using the appropriate personal protective equipment is absolutely essential [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera