## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
(-)-Blebbistatin | Sigma-Aldrich | B0560-5MG | Mechanical Uncoupler
2,3-Butanedione monoxime (BDM) | Sigma-Aldrich | B0753-100G | Mechanical Uncoupler
Albumin | Sigma-Aldrich, St. Louis, MO | A9418
Analog signal interface | emka Technologies | itf16USB
Antifoam | Sigma-Aldrich | A5758-250ML
Antifoam Y-30 Emulsion | Sigma-Aldrich, St. Louis, MO | A5758
Aortic cannula, 5/16” | Cole-Parmer | 45509-60
Bubble trap | Sigma-Aldrich | CLS430641U-100EA
CaCl2 | Fisher Scientific, Fair Lawn, NJ | C77-500
Camera, sCMOS | Andor Technology | Zyla 4.2 PLUS
Coaxial stimulation electrode (atria) | Harvard Apparatus | 73-0219
Defibrillator | Zoll | M Series
Dichroic mirror | Chroma Technology | T660lpxrxt-UF2
Differential amplifier | Warner Instruments | DP-304A
Emission filter, calcium | Chroma Technology | ET585/40m
Emission filter, voltage | Chroma Technology | ET710lp
EP stimulator (Bloom) | Fisher Medical | DTU-215B
Excitation filter | Chroma Technology | CT510/60bp
Excitation lights | Thorlabs | SOLIS-525C
Filter | McMaster-Carr | 8147K52
Filter cartridge, polypropylene | Pentair | PD-5-934
Filter housing | McMaster-Carr | 9979T21
Flow transducer | Transonic | ME6PXN
Glucose | Sigma-Aldrich, St. Louis, MO | 158968
Heating coil | Radnoti | 158821
Hemofilter | Hemocor | HPH 400
Hemostatic Forceps | World Precision Instruments | 501326
Image Splitter | Cairn Research | OptoSplit II
KCl | Sigma-Aldrich, St. Louis, MO | P3911
KH2PO4 | Fisher Scientific, Fair Lawn, NJ | 423-316
Large-bore tubing, I.D. 3/8” | Fisher Scientific | 14-169-7H
Lens 50 mm, 0.95 f-stop | Navitar | DO-5095
Metamorph | Molecular Devices |  | Image Alignment
MgSO4 | Sigma-Aldrich, St. Louis, MO | M-7506
Mucasol detergent | Sigma-Aldrich | Z637181-2L
Na Pyruvate | Sigma-Aldrich, St. Louis, MO | P2256
NaCl | Sigma-Aldrich, St. Louis, MO | S-3014
NaHCO3 | Fisher Scientific, Fair Lawn, NJ | S-233
Needle Electrodes 29 gauge, 2 mm | AD Instruments Inc. | MLA1204
Noise eliminator | Quest Scientific | Humbug
Perfusion pump | PolyStan | A/S 1481
Pressure transducer | World Precision Instruments | BLPR2
Reservoir, 2 liter | Cole-Parmer | UX-34541-07
RH237 | AAT Bioquest Inc. | 21480
Rhod2-AM | AAT Bioquest Inc. | 21062
Stimulation electrode (ventricle) | Harvard Apparatus | 73-0160
Surgical Suture | McKesson Medical-Surgical | 890186
Transducer amplifier | World Precision Instruments | TBM4M
Tubing flow console | Transonic | TS410
Umbilical tape | Jorvet | J0025UA
Water bath/circulator | VWR | 89400-970
Surgical Tools
Bandage shears | Harvard Apparatus | 72-8448 | Lister Bandage Scissors, Angled, Blunt/Blunt, 42.0mm blade length, 17.0 cm
Electrocautery | Dalwha Corp. Ltd. | BA2ALD001 | Model: 200 Basic
Hemostat | Roboz | RS-7476 | St Vincent Tube Occluding Forceps
Hemostatic forceps | Harvard Apparatus | 72-8960 | Hartmann Hemostatic Forceps, Curved, Serrated 2.2 mm tip width, 9.5 cm
Hemostats | Harvard Apparatus | 72-8985 | Halstead-Mosquito Hemostatic Forceps Curved, Serrated, 2mm tip 14cm
Mayo scissors | WPI | 501749 | 14.5 cm, Straight
Metzenbaum scissors | WPI | 501747 | 11.5 cm, Straight
Mosquito forceps | Harvard Apparatus | 72-8980 | Halstead-Mosquito Hemostatic Forceps Straight, Smooth, 2mm tip width 12cm
Needle holder | Harvard Apparatus | 72-8828 | Webster Needle Holders, Straight, Smooth,13.0 cm overall length
Pediatric cross clamp | Roboz | RS-7660 | Cooley-Derra Clamp 6.25" 5mm Calibrations
Right angle forceps | WPI | 501240 | Baby Mixter Hemostatic Forceps, 14cm, Right Angle
Scalpel | Ted Pella | 549-4 | Scalpel Handle No. 4, 13.7cm Stainless Steel and 10 No. 22 Blades
scissors | Harvard Apparatus | 72-8380 | Operating Scissors, Straight, Blunt/Blunt, 42mm blade,12cm
Straight Serrated forceps | WPI | 500363 | Dressing Forceps 15.5cm
Towel clamp | WPI | 501700 | Backhaus Towel Clamp, 13cm, Curved, Locking handle, SS
Weitlaner retractor | WPI | 501314 | Weitlaner Retractor, Self-Retaining, 10.2cm, 2x3 Sharp Prongs
Disposables
3-0 prolene suture | Various vendors | Various vendors
Vessel loop | Aspen surgical | 011001PBX | Sterion® Vessel Loop, 0.8 x 406mm
Cardioplegia (Plegisol) | Pfizer | 00409-7969-05 | Plegisol; St Thomas crystalloid cardioplegia solution 20ml/kg
Heparin | Various vendors | Various vendors | 300 U/kg
Syringe and Needle | Various vendors | Various vendors | 60mL & 18G respectively
Umbilical tape | Ethicon | U12T