# Submission ID #: 60477

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18445533

Title: A Whole Body Dosimetry Protocol for Peptide-Receptor Radionuclide Therapy (PRRT): 2D Planar Image and Hybrid 2D+3D SPECT/CT Image Methods

Authors and Affiliations: Maria Luisa Belli1, Emilio Mezzenga1, Valentina Di Iorio2, Monica Celli3, Paola Caroli3, Elisabeth Canali3, Federica Matteucci3, Elisa Tardelli3, Ilaria Grassi3, Maddalena Sansovini3, Silvia Nicolini3, Stefano Severi3, Marta Cremonesi4, Mahila Ferrari4, Giovanni Paganelli3, and Anna Sarnelli1

1Medical Physics Unit, Istituto Scientifico Romagnolo per lo Studio e la Cura dei Tumori (IRST) IRCCS

2Oncology Pharmacy, Istituto Scientifico Romagnolo per lo Studio e la Cura dei Tumori (IRST) IRCCS

3Nuclear Medicine Unit, Istituto Scientifico Romagnolo per lo Studio e la Cura dei Tumori (IRST) IRCCS

4Medical Physics Unit, European Institute of Oncology (IEO) IRCCS

# Corresponding Author:

# Maria Luisa Belli

# maria.belli@irst.emr.it

Email addresses for Co-authors:

emilio.mezzenga@irst.emr.it

valentina.diiorio@irst.emr.it

monica.celli@irst.emr.it

paola.caroli@irst.emr.it

elisabeth.canali@irst.emr.it

federica.matteucci@irst.emr.it

elisa.tardelli@irst.emr.it

ilaria.grassi@irst.emr.it

maddalena.sansovini@irst.emr.it

silvia.nicolini@irst.emr.it

stefano.severi@irst.emr.it

marta.cremonesi@ieo.it

mahila.ferrari@ieo.it

giovanni.paganelli@irst.emr.it

anna.sarnelli@irst.emr.it

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? Y

3. Which steps from the protocol section below are the most important for viewers to see?

3.2., 4.2.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

2.4., 3.1.

5. Will the filming need to take place in multiple locations (greater than walking distance? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Maria Luisa Belli: The method can be used in peptide-receptor-radionuclide-therapy and enables us to improve the accuracy of absorbed dose estimation of tissues in the presence of overlapping organs [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Maddalena Sansovini: The uptake distribution provided by the 3D-SPECT/CT images is combined with the effective half-life calculated from planar images, while the non-overlapping structure data is derived from planar images alone [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

- OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Monica Celli: This method enables whole body information to be obtained while also providing 3D information of the abdominal region in which the organs overlap may impair dosimetric readings [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Videographer: Can cut for time as necessary

  - Valentina Di Iorio: This methodology can be used with other beta-gamma radiotracers [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Videographer: Can cut for time as necessary

  - Ilaria Grassi: This method requires high performance teamwork, including the assistance of physicians, physicists, medical radiology technicians, nurses, for the success of the dosimetry evaluation [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera Videographer: Can cut for time as necessary

  - Paola Caroli: The image settings, such as the camera and patient positions, are of paramount importance for obtaining suitable images for the dosimetry evaluation and avoiding collision during the acquisition [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera Videographer: Can cut for time as necessary

Introduction of Demonstrator statement:

  - Maria Luisa Belli: Demonstrating the procedure with Paola Caroli and me will be Elisabeth Canali, a technician from my laboratory [1][2].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving human subjects have been approved by the Area Vasta Romagna Ethical Committee (CEROM)

# Section - Protocol

- Pre-Infusion Imaging: Transmission and Blank Image Acquisition

  - To evaluate the Patient’s water equivalent thickness for the attenuation correction of counts derived from 2D planar images acquired after radioligand injection [1], position the Patient on the couch in a feet-first supine position with arms at-rest along the side of the body [2].

    - WIDE: Patient entering frame/Talent greeting Patient

    - Patient being positioned on couch

  - Elisabeth Canali: It is important to find a set-up that is comfortable for the patients, as they must remain still for the entire acquisition time and for all subsequent imaging [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Videographer: Can cut for time as necessary

  - After placing supports to help maintain the position as necessary [1-TXT], set the SPECT (spect) dual heads at the opposite positions [2-TXT] and at the maximum distance from the field of view center [3].

    - Talent [Elisabeth Canali] placing support under arm or similar TEXT: Use position for all images

    - At least one head being placed TEXT: SPECT: single-photon emission computed tomography

    - Head being placed at maximum distance from FOV center

  - Raise the couch so that the Patient is positioned at the field of view center and with the head at the detector center [1] and position the cobalt-57 flood support on the posterior camera [2] and the cobalt-57 flood on the support [3].2

    - Talent [Elisabeth Canali] raising couch/positioning Patient Videographer: Difficult step

    - Talent [Elisabeth Canali] positioning flood support Videographer: Difficult step

    - Talent [Elisabeth Canali] positioning cobalt-57 flood on support Videographer: Difficult step

  - Then begin the image acquisition [4].

    - Talent [Elisabeth Canali] positioning the couch at the field of view center and with the patient’s head at the detector center and starting acquisition, with monitor visible in frame

  - When the image has been acquired, repeat the acquisition without the Patient on the couch [1].

    - Talent [Elisabeth Canali] initiating acquisition, with monitor visible in frame

- Post-Infusion Image Acquisition: Planar Image

  - For an effective half-life and mean absorbed dose evaluation of different structures, position the Patient on the coach as demonstrated [1-TXT].

    - WIDE: Patient getting into position Videographer: Difficult step TEXT: Patient should not void bladder after injection for 1st image acquisition

  - Use the teach pendent to manually adjust the position of the posterior camera to reach the minimum distance from the inferior couch profile [2].

    - Talent [Elisabeth Canali] adjusting posterior camera position Videographer: Important step

  - Then manually adjust the position of the anterior and posterior cameras to reach the minimum distance from the Patient’s profile [1-TXT] and start the image acquisition [2-TXT].

    - Talent [Elisabeth Canali] adjusting anterior and posterior cameras position TEXT: Take into account entire body surface along whole patient height

    - Talent [Elisabeth Canali] starting acquisition, with monitor visible in frame TEXT: Repeat imaging 16-24, 36-48, and 120 h post infusion

  - Collect a 2-milliliter blood sample at each imaging session [1], placing the closed collection tube in a shielded box labeled with the time of collection [2].

    - Sample being collected [Talent: a nurse available]

    - Shot of tube with label, then tube being placed into box

- Post-infusion Image Acquisition: 3D SPECT/CT

  - For day 2 3D SPECT/CT (spect-C-T) image acquisition, position the detector at the maximum distance from the center to avoid collision [1-TXT] and position the Patient with arms lifted over the head [2].

    - WIDE: Talent [Elisabeth Canali] positioning detector TEXT: CT: computed tomography

    - Patient lifting arms over head

  - Then position the Patient table inside the camera until the region of interest is centered on the detector [1-TXT] and begin the image acquisition [2].

    - Table being positioned in camera Videographer: Important step TEXT: e.g., kidneys and specific lesion situated in same region

    - Talent [Elisabeth Canali] beginning acquisition, with monitor visible in frame

- Image Analysis

  - For all post-infusion image analyses, select emissive, low, and high scatter images [1] and click on the right panel of the dedicated workflow to create a scatter-corrected 2D image [2].

    - WIDE: Talent selecting image(s), with monitor visible in frame [Maria Luisa Belli]

    - SCREEN: 5.1.1.: 00:02-00:10_t1

  - Rotate the posterior images [1] and draw regions of interest around the kidneys, liver, spleen as visible, parotid glands, submandibular glands, and the whole body [2-TXT].

    - SCREEN: 5.2.1._t1: 00:07-00:12

    - SCREEN: 5.2.1._t2: 03:30-04:08 Video Editor: please speed up TEXT: Encompass urine vessel and/or bag as available

  - If possible, contour any visible lesions and regions of interest on the most useful image between the anterior and posterior views [1] and contour a small region of interest adjacent to each contoured structure for background [2].

    - SCREEN: 5.3.1.: 00:08-00:18

    - SCREEN: 5.3.2_t1: 00:03-00:08

  - For each image, take note of the average counts and pixel dimension inside each region of interest and background region of interest for the both anterior and posterior views [1].

    - SCREEN: 5.4.1_t1: 00:02-00:17

  - Then evaluate the water equivalent thickness for each structure to estimate the self-attenuation [1-TXT].

    - SCREEN: 5.5.1_t1: 02:14-02:18 TEXT: z=μ57Co× lnItransmissionIblank

- Blood Sample Measurements and Dosimetry Evaluation

  - To perform the blood sample measurements, first position the blood sample tube inside the High Purity Germanium detector within the proper holder [1].

    - WIDE: Talent [Elisabeth Canali] positioning the blood sample tube in the holder inside the detector

  - After closing the detector, select the proper High Purity Germanium calibration file corresponding to the 2-milliliter collection tube geometry holder [1] and initiate the sample measurements to obtain a minimum of 12-hour measurements [2].

    - Talent selecting calibration file, with monitor visible in frame

    - Talent [Elisabeth Canali] initiating sample measurements

  - For each image and structure, calculate the counts on the anterior and posterior views as indicated [1-TXT].

    - Talent [Maria Luisa Belli] at computer, performing calculation, with monitor visible in frame TEXT: IA,P=cROI-cbkgr*p

  - For each region of interest, calculate the uptake at each image time point as indicated by the formula [1-TXT].

    - BLACK TEXT WHITE BACKGROUND: AROI=IA*IPe-μ(177Lu)*z*eτ×∆t

  - Then calculate the relative uptake [1-TXT].

    - Talent [Maria Luisa Belli] at computer, calculating uptake TEXT: %IA2D=AROIAWB1*100

- Hybrid 2D+3D SCPET/CT Image Analysis

  - For hybrid 2- and 3D SPECT-CT image analysis, open the SPECT/CT image of interest [1] and contour the volumes of interest based on both the uptake information and CT morphology [2].

    - WIDE: Talent [Paola Caroli] opening image, with monitor visible in frame

    - SCREEN: 7.1.2_t1: 00:28-00:57 Video Editor: please speed up

  - To avoid the problem of high uptake intestine overlap on the kidney structure, scale the kidney 2D time activity curve using the acquired scaling factor [1].

    - SCREEN: 7.2.1._t1: 00:22-01:08 Video Editor: please speed up TEXT: See text for structure activity calculation details

- Adult Phantom Creation and Red Marrow Evaluation

  - To perform scaling for blood values to calculate the red marrow dose, calculate the relative blood uptake [1-TXT] and rescale the data to the red marrow mass [2].

    - WIDE: Talent at computer, calculating uptake, with monitor visible in frame TEXT: %IARM=Ablood, 2mlAinj*2 mLblood volume [ml]*100*mRMmblood

    - SCREEN: 8.1.1: 00:02-00:31 Video Editor: please speed up

  - To perform fits of time-activity curves, for each organ, insert the relative uptake at each image time point and click Refresh [1].

    - Talent [Maria Luisa Belli] inserting uptake and clicking Refresh, with monitor visible in frame

    - SCREEN: 8.2.2: 00:34-00:46

  - Perform a curve fitting using an appropriate mono-, bi-, or tri-exponential curve-fitting model, flag the required parameters, and enter starting values [1].

    - SCREEN: 8.3.1: 00:46-01:00

  - Then click Fit until the fit is performed [1].

    - SCREEN: 8.4.1.: 00:54-01:00

  - In the Main Input Form, click Doses and Modify Input Data [1].

    - SCREEN: 8.5.1.: 02:58-03:02

  - In the Multiply all masses by box, enter the ratio between the patient's weight and the Adult Male phantom weight and click on the Multiply all masses by button. All of the organ masses will be then rescaled accordingly [1].

    - SCREEN: 8.6.1_t2.: 00:02-00:07

  - Enter the single organ masses as calculated from the CT delineation for the analyzed organs [1]. For paired organs such as the kidneys, insert the sum of left and right kidney masses [2].

    - SCREEN: 8.7.1_t1: 00:02-00:07

    - SCREEN: 8.7.2._t2 Video Editor: please add/emphasize equations

  - The report will display the mean absorbed dose normalized to injected activity, expressed in milligrays/megabecquerels. Note the total absorbed dose for the contoured organs [1].

    - SCREEN: 8.8.1_t1: 00:26-00:39 Video Editor: can speed up TEXT: Repeat for time activity curves derived from hybrid 2D+3D SPECT/CT method

# Section – Results

- Results: Representative Comparison of 2D, Hybrid 2D+3D, and 3D SPECT/CT Methods for Transient Intestine Uptake Overlap on Kidneys

  - For this representative patient, a full 3D SPECT-CT evaluation was performed by acquiring both planar images [1] and 3D SPECT-CT data for all of the days dedicated to the dosimetry [2].

    - LAB MEDIA: Figure 4 Video Editor: please emphasize red data lines in Figure 4A and 4B graphs and images in Figure 4C

    - LAB MEDIA: Figure 4 Video Editor: please emphasize blue data lines in Figure 4A and 4B graphs

  - The hybrid method intestine overlap correction was valid for all of the time points for the right kidney [1], whereas the correction underestimated the relative uptake on day 1 for the left kidney [2].

    - LAB MEDIA: Figure 4 Video Editor: please emphasize green data line in Figure 4A

    - LAB MEDIA: Figure 4 Video Editor: please emphasize 0-20 h section of green data line in Figure 4B

  - Nevertheless, a discrepancy of only 1.6% was observed between the hybrid and 2D methods in terms of the mean absorbed dose of the hybrid method [1].

    - LAB MEDIA: Figure 4

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Federica Matteucci: The implementation of a dosimetry methodology requires several technical solutions. Sharing existing experiences can help other teams through this process and could promote standardization of the methodology [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Step: 2.3., 3.1., 4.1.).

  - Anna Sarnelli: Using the 3D SPECT/CT data, dose distribution and dose-volume-histograms can be calculated, allowing the combination of absorbed doses of PRRT and radiotherapy treatments [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Videographer: Can cut for time as necessary

  - Emilio Mezzenga: This method can be further optimized, allowing the implementation of attenuation correction based on the CT image or the use of a reference source of known activity [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Videographer: Can cut for time as necessary

  - Giovanni Paganelli: Dosimetric results from beta-emitter treatments exhibit lower absorbed doses than organ-at-risk constraints. These are useful information also for alpha-emitters therapies for which severe side effects to salivary glands may impair treatment outcomes [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera