## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
177Lu EndolucinBeta | ITG - Isotopen Technologien München AG, Lichtenbergstrasse 1, 85748 Garching, Germany, info@itm.ag |  | Radiotracer 177Lu for therapy purpuse
Biograph mCT Flow PET/CT | Siemens Healthineers, Erlangen, Germany |  | PET/CT scanner
C-Thru 57Co planar flood - Model MED3709 | Eckert & Ziegler, Strahlen- und Medizintechnik AG, Robert-Rössle-Str. 10, 13125 Berlin, Germany, info@ezag.de |  | Calibration/planar source
Cylindrical phantom with spheric insert | Data Spectrum Corporation, 1605 East Club Boulevard, Durham NC 27704-3406, US, info@spect.com |  | Phantom for SPECT/CT calibration
Discovery NM/CT 670 SPECT/CT | International General Electric, General Electric Medical System, Haifa, Israel |  | SPECT/CT scanner
GalliaPharm 68Ge/68Ga Generator | Eckert & Ziegler, Strahlen- und Medizintechnik AG, Robert-Rössle-Str. 10, 13125 Berlin, Germany, info@ezag.de |  | 68Ge/68Ga Generator of 68Ga for imaging purpuse
GammaVision v 6.08 | Ortec, Ametek - Advanced Measurement Technology, 801 South Illinois Avenue, Oak Ridge, Tennessee 37830, US, ortec.info@ametek.com |  | Gamma Spectorscopy software
High Purity Germanium HPGe, model GEM30P4-70 | Ortec, Ametek - Advanced Measurement Technology, 801 South Illinois Avenue, Oak Ridge, Tennessee 37830, US, ortec.info@ametek.com |  | Gamma spectometer
MimVista Software | MIM Software INC, Cleveland, OH 44122, US |  | Workstation
OLINDA/EXM v 1.1 | RADAR - RAdiation Dose Assessment Resource, West End Ave, Nashville, TN 37235, US (now commercially available as OLINDA/EXM v 2.0, Hermes Medical Solutions, Strandbergsgatan 16, 112 51 Stockholm, Sweden, info@hermesmedical.com) |  | Dosimetry software
PSMA 11 | ABX advanced biochemical compounds - Biomedizinische,Heinrich-Gläser-Straße 10-14, 01454 Radeberg, Germania, info@abx.de |  | Carrier for 68Ga radiotracer
PSMA 617 | Endocyte Inc. (Headquarters), 3000 Kent Avenue, West Lafayette, IN 47906 |  | Carrier for 177Lu radiotracer
Xeleris 4.0 | International General Electric, General Electric Medical System, Haifa, Israel |  | Workstation

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=