## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
(±)-6-Hydroxy-2,5,7,8-tetramethylchromane-2-carboxylic acid | Sigma-Aldrich | 238813 | Trolox
2-Mercaptoethanol | Sigma-Aldrich | M6250
3-(Trimethoxysilyl)propyl methacrylate, 98%, ACROS Organics | Fisher Scientific | AC216550050
3.2mm I.D. Tygon Tubing R-3603 | HACH | 2074038 | Water tubes
31.75 mm diameter uncoated, sapphire window | Edmund Optics | 43-637 | Sapphire disc
3M 1181 Copper Tape - 1/2 IN Width X 18 YD Length - 2.6 MIL Total Thickness - 27551 | R.S. HUGHES | 054007-27551 | Copper tape
Acetic Acid | Sigma-Aldrich | A6283
Acrylamide Solution (40%/Electrophoresis), Fisher BioReagents | Fisher Scientific | BP1402-1
Adenosine 5′-triphosphate dipotassium salt hydrate | Sigma-Aldrich | A8937 | ATP
Alexa Fluor 647 NHS Ester (Succinimidyl Ester) | Thermo Fisher Scientific | A20006 | Far-red fluorescent dye. Alexa 647 can be pre suspended in dimethylsulfoxide (DMSO) before mixing with microtubules (1.3.3.2.)
Amicon Ultra-4 Centrifugal Filter Unit | Sigma-Aldrich | UFC801024 | Centrifugal filter tube. Cutoff molecular weight: 10 kDa
Ammonium Persulfate, 100g, MP Biomedicals | Fisher Scientific | ICN802829 | APS
Ampicillin Sodium Salt (Crystalline Powder), Fisher BioReagents | Fisher Scientific | BP1760 | Ampicillin
Antivibration Table | Nikon | 63-7590S
Avanti J-E Centrifuge | Beckman Coulter | 369001
Bacto Agar Soldifying Agent, BD Diagnostics | VWR | 90000-760 | Agar
Biotin | Alfa Aesar | A14207
Bucket-plastic white - 2 gallon | Bon | 84-715 | Water bucket
Calcium Chloride | Sigma-Aldrich | 746495 | CaCl2
Catalase from bovine liver | Sigma-Aldrich | C40
CFI Plan Apo Lambda 4x Obj | Nikon | MRD00045 | 4x air objective
C-FLLL-FOV GFP HC HC HISN ero Shift | Nikon | 96372 | GFP filter cube
CH-109-1.4-1.5 | TE Technology | CH-109-1.4-1.5 | Thermoelectric Cooler (TEC)
Chloramphenicol, 98%, ACROS Organics | Fisher Scientific | C0378
Cooling block | N/A | N/A | Custom milled aluminum
Coomassie Brilliant Blue R-250 #1610400 | Bio-Rad | 1610400 | Triphenylmethane dye
D-(+)-Glucose | Sigma-Aldrich | G7528
Dimethyl Sulfoxide (Certified ACS), Fisher Chemical | Fisher Scientific | D128 | DMSO
DL-1,4-Dithiothreitol, 99%, for biochemistry, ACROS Organics | Fisher Scientific | AC165680050 | DTT
DOWSIL 340 Heat Sink Compound | Dow | 1446622 | Thermal paste
ETHYL ALCOHOL, 200 PROOF ACS/USP/NF GRADE 5 GALLON POLY CUBE | Pharmco by Greenfield Global | 111000200CB05 | Ethanol
Ethylene glycol-bis(2-aminoethylether)-N,N,N′,N′-tetraacetic acid | Sigma-Aldrich | E3889 | EGTA
Ethylenediaminetetraacetic acid | Sigma-Aldrich | 798681 | EDTA
Fisher BioReagents Microbiology Media Additives: Tryptone | Fisher Scientific | BP1421 | Tryptone
Fisher BioReagents Microbiology Media Additives: Yeast Extract | Fisher Scientific | BP1422 | Yeast extract
Fluoresbrite YG Microspheres, Calibration Grade 3.00 µm | Polysciences | 18861 | Tracer particles
Glucose Oxidase from Aspergillus niger | Sigma-Aldrich | G2133
Glycerol | Sigma-Aldrich | G5516
GpCpp | Jena Bioscience | NU-405L | Guanosine-5’[(α,β)-methyleno]triphosphate (GMPCPP)
GS Power's 18 Gauge (True American Wire Ga), 100 feet, 99.9% Stranded Oxygen Free Copper OFC, Red/Black 2 Conductor Bonded Zip Cord Power/Speaker Electrical Cable for Car, Audio, Home Theater | Amazon | B07428NBCW | Copper wire
Guanosine 5′-triphosphate sodium salt hydrate | Sigma-Aldrich | G8877 | GTP
Hellmanex III | Sigma-Aldrich | Z805939 | Detergent
HEPES Sodium Salt (White Powder), Fisher BioReagents | Fisher Scientific | BP410 | NaHEPES
High performance blender machine | AIMORES | AS-UP1250 | Blender
His GraviTrap | GE Healthcare | 11003399 | Gravity Column
Imidazole | Sigma-Aldrich | I5513
IPTG | Sigma-Aldrich | I6758 | Isopropyl β-D-1-thiogalactopyranoside
Isopropyl Alcohol 99% | Pharmco by Greenfield Global | 231000099 | Isopropanol
JA-10 rotor | Beckman Coulter | 369687
L-Glutamic acid potassium salt monohydrate | Sigma-Aldrich | G1501 | K-Glutamate
Lysozyme from chicken egg white | Sigma-Aldrich | L6876
Magnesium chloride hexahydrate | Sigma-Aldrich | M2670 | MgCl2•6H2O
MES sodium salt | Sigma-Aldrich | M5057 | 2-(N-Morpholino)ethanesulfonic acid sodium salt
MOPS | Sigma-Aldrich | M1254 | 3-(N-Morpholino)propanesulfonic acid
MP-3022 | TE Technology | MP-3022 | Thermocouple
N,N,N',N'-Tetramethylethylenediamine 99%, ACROS Organics | Fisher Scientific | AC138450500 | TEMED
Nanodrop 2000c UV-VIS Spectrophotometer | Thermo Fisher Scientific | E112352 | Spectrometer
Nikon Ti2-E Nikon Inverted Microscope | Nikon | MEA54000
Norland Optical Adhesive 81 | Norland Products | NOA81 | UV glue
Novex Sharp Pre-stained Protein Standard | Thermo Fisher Scientific | LC5800 | Protein standard ladder
NuPAGE 4-12% Bis-Tris Protein Gels, 1.5 mm, 10-well | Thermo Fisher Scientific | NP0335BOX | SDS gel
Optima L-90K Ultracentrifuge | Beckman Coulter | 365672
Parafilm PM996 Wrap , 4" Wide; 125 Ft/Roll | Cole-Parmer | EW-06720-40 | Wax film
Pe 300 ultra Illumination System Single Band , 3mm Light Guide control Pod power supply | Nikon | PE-300-UT-L-SB-40 | Cool LED Illuminator
Phenylmethanesulfonyl fluoride | Sigma-Aldrich | 78830 | PMSF
Phosphoenolpyruvic acid monopotassium salt, 99% | BeanTown Chemical | 129745 | PEP
Pierce Coomassie (Bradford) Protein Assay Kit | Thermo Fisher Scientific | 23200
Pierce Protease Inhibitor Mini Tablets | Thermo Fisher Scientific | A32953
PIPES | Sigma-Aldrich | P6757 | 1,4-Piperazinediethanesulfonic acid
Pluronic F-127 | Sigma-Aldrich | P2443
Poly(ethylene glycol) | Sigma-Aldrich | 81300 | PEG. Average molecular weight 20,000 Da
Potassium Hydroxide (Pellets/Certified ACS), Fisher Chemical | Fisher Scientific | P250-500 | KOH
PowerEase 300W Power Supply (115 VAC) | ThermoFisher Scientific | PS0300 | DC power supply of the gel box
PS-12-8.4A | TE Technology | PS-12-8.4A | DC power supply of the temperature controller
Pyruvate Kinase/Lactic Dehydrogenase enzymes from rabbit muscle | Sigma-Aldrich | P-0294 | PK/LDH
Quiet One Lifegard Fountain Pump, 296-Gallon Per Hour | Amazon | B005JWA612 | Fish tank pump
Rosetta 2(DE3)pLysS Competent Cells - Novagen | Millipore Sigma | 71403 | Competent cells
Sharp Microwave ZSMC0912BS Sharp 900W Countertop Microwave Oven, 0.9 Cubic Foot, Stainless Steel | Amazon | B01MT6JZMR | Microwave for boiling the water
Sodium Chloride (Crystalline/Certified ACS), Fisher Chemical | Fisher Scientific | S271-500 | NaCl
Sodium dodecyl sulfate | Sigma-Aldrich | L3771 | SDS
Sodium phosphate monobasic | Sigma-Aldrich | S8282 | NaH2PO4
Streptavidin Protein | Thermo Fisher Scientific | 21122
Sucrose | Sigma-Aldrich | S7903
TC-720 | TE Technology | TC-720 | Temperature controller
Tris Base, Molecular Biology Grade - CAS 77-86-1 - Calbiochem | Sigma-Aldrich | 648310 | Tris-HCL
Type 45 Ti rotor | Beckman Coulter | 339160
Type 70 Ti rotor | Beckman Coulter | 337922
Type 70.1 Ti rotor | Beckman Coulter | 342184
VWR General-Purpose Laboratory Labeling Tape | VWR | 89097-916 | Paper tapes
VWR Micro Cover Glasses, Square, No. 1 1/2 | VWR | 48366-227 | Glass coverslips
VWR Plain and Frosted Micro Slides, Premium | VWR | 75799-268 | Glass slides
XCell SureLock Mini-Cell | ThermoFisher Scientific | EI0001 | Gel box
ZYLA 5.5 USB3.0 Camera | Nikon | ZYLA5.5-USB3 | Monochrome CCD camera

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=