# Submission ID #: 60489

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18449193

# Title: Electrowetting-Based Digital Microfluidics Platform for Automated Enzyme-linked Immunosorbent Assay

# Authors and Affiliations:

Nikolay Dimov1, Martin B. McDonnell1, Ian Munro1, Daniel K. McCluskey1, Ian D. Johnston1, Christabel K.L. Tan1, Loïc Coudron1

1School of Engineering and Computer Science, University of Hertfordshire, College Lane, Hatfield, United Kingdom

# Corresponding Author:

# Loïc Coudron 			(l.coudron@herts.ac.uk)

# Email addresses for Co-authors:

# Nikolay Dimov			(n.dimov@herts.ac.uk)

# Martin B. McDonnell		(m.mcdonnell@herts.ac.uk)

# Ian Munro			(i.munro@herts.ac.uk)

# Daniel K. McCluskey		(d.mccluskey@herts.ac.uk)

# Ian D. Johnston		(i.d.johnston@herts.ac.uk)

# Christabel K.L. Tan		(c.k.l.tan@herts.ac.uk)

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? N

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot.

2.3

2.4

2.7.5

3.1.2 this step is rather important to the video because this is when we will be able to see droplet moving on the plate. However, droplet are tiny and may require specific lightning setting

4.3

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document.

2.3 & 2.4 (loading droplets) might be tricky as the droplet sometimes sticks on the pipette wall. This is mitigated by simply changing the tip and re-loading droplets.

Although no other particular difficult step stands out, one of the critical automated step is the magnetic separation of drops. Success of automated sequence in 2.7.5 and 3.1.2 requires precise formulation of the magnetic beads droplet and initial trial prior to running the full experiment. Whilst this will be carried out the day before, some adjustment of the formulation on the day might be necessary.

5. Will the filming need to take place in multiple locations? N

If yes, how far apart are the locations?

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Loic Coudron: Automating the actuation of individual droplets allows complex sequences of laboratory unit operations to be brought into one chip. Our Digital Microfluidic platform tackles rapid specific in-field detection of various pathogens.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Loic Coudron: This process is fully automated, sequential, scalable and versatile. The sequence of actuation and the droplet volume can be modified to match the requirements of a particular protocol.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Nikolay Dimov: This method is based on quantitative detection of specific antigens using EWOD-based DMF in combination with magnetic immunoprecipitation. In this contribution, the method  is assessed against samples containing various concentrations of bacteria, spores, viruses and proteins.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Nikolay Dimov:  Sidestepping the antibody-based sensing entirely, the DMF platform could build to a potential application based on aptamer biosensing, where the magnetic beads carry specific aptamers for capture and/or detection of nucleotides.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Nikolay Dimov: When trying this technique for the first time, it is important to consider the type of surfactant and how it interacts with your choice of biochemistry and the hydrophobic polymer coating.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Section - Protocol

- Loading and Operation of the EWOD Chip on the DMF Platform

  - Begin by removing the lid from the digital microfluidics, or DMF, platform and placing it on the bench [1]. Place a clean actuation plate onto the rotating stage with the chromium facing upward, aligning the plate with the upper left corner of the recessed stage [2].

    - WIDE: Establishing shot of talent removing the lid from the DMF platform.

    - Talent placing the actuation plate on the stage and properly positioning it.

  - Clamp the actuation plate from the top using the panel with the 47 contact pins, which will secure the plate into place and facilitate alignment with the contact pins [1]. Then, lay the 0.5-millimeter shim and the 2-millimeter PMMA separator onto the rotating stage to provide a controlled gap between the actuation and cover plates [2].

    - Talent clamping the actuation plate.  Videographer comment: Do not use 1st take, wrong action.

    - Talent laying the shim and separator on the rotating stage.

  - To load the droplets on the proposed loading pads, aliquot four 2.5-microliter droplets from the Running buffer onto the B, A, R, and E-denoted pads using one droplet per pad [1]. Then, aliquot 2.5 microliters of Luminol-hydrogen peroxide solution onto the E-denoted pad [2]. Videographer: This step is difficult and important!

    - Talent aliquoting Running buffer. Video Editor: Add Figure 1 as an insert and emphasize the B, A, R, and E denoted pads.

    - Talent aliquoting Luminol-hydrogen peroxide onto the E-pad. Video Editor: Keep Figure 1 as an insert and emphasize the E-denoted pad.

  - Next, aliquot 2.5 microliters of Neutravidin conjugated to HRP, Biotynilated secondary antibody, and microbeads onto the F, G, and I-denoted pads, respectively [1]. Finally, aliquot 2.5 microliters of the unknown sample onto the C-denoted pad [2]. Videographer: This step is difficult and important!

    - Talent aliquoting the substrates onto the pads. Video Editor: Keep Figure 1 as an insert and emphasize the F, G, and I-denoted pads.

    - Talent aliquoting the unknown sample onto the C-denoted pad. Video Editor: Keep Figure 1 as an insert and emphasize the C-denoted pad.

  - Place the cover plate on the surface of the rig beside the round recess area and slide it laterally into the recess and on top of the actuation plate [1]. Put the permanent magnet on top of the cover plate and secure it by sliding the 2 latches [2].

    - Talent placing the cover plate and sliding it in.

    - Talent positioning the permanent magnet and securing it.

  - Then, rotate the stage by 180 ° and inspect it visually to make sure the loaded droplets are still in place [1]. Check that the loading position for each droplet matches the programmed actuation sequence in the software [2].

    - Talent rotating the stage and performing visual inspection.

    - SCREEN: Programmed actuation sequence in the software.

  - Position the photodetector screened can into the slot of the rotating stage [1] and connect the cable [2]. Place the lid over the DMF platform [3] and start the program sequence using the software interface [4]. Droplets can then be observed on the user interface [5]. Videographer: This step is important!

    - Talent positioning the photodetector screened can. Author comment: Shot combined with 2.7.2

    - Talent connecting the cable to the can.

    - Talent placing the lid over the DMF platform.

    - SCREEN: The program sequence initiated.

    - SCREEN: Droplet movement is monitored on the user interface screen. Videographer: Obtain a shot of the user interface here.

  - Ensure that the programmed sequence prompt messages appear at the interface to inform the operator that “the luminol droplet is ready to collect the extracted magnetic beads” [1] or “the detection droplet is ready to be moved to the detection site” [2]. In both cases, confirmation from the operator is required to proceed [3].

    - SCREEN: “The luminol droplet is ready to collect the extracted magnetic beads” message appears. Author comment: Shot combined with 2.8.2 and 2.8.3

    - SCREEN: “The detection droplet is ready to be moved to the detection site” message appears.

    - SCREEN: Operator confirms.

  - The light intensity produced by the chemiluminescent reaction is read by the photodetector and recorded in real time [1].

    - SCREEN: The light intensity is read by the photodetector and recorded in real time.

- Operating in Visual Mode

  - To operate in visual mode for optimization of protocols, start the program sequence [1] using the software interface.The automated droplet actuation [2] can be visualized on the chip for each of the critical assay steps such as magnetic extraction of the beads, beads resuspension and mixing [5]. When prompted [3], mount the photodetector screened can into the slit of the rotating stage [4]. Videographer: This step is important!

    - SCREEN: Program sequence started

    - SCREEN: Droplets automatically actuated. Author comment: Reuse SCREEN 2.7.5

# 3.1.5. [Added shot]: Use audio slate 3.1.2 take 1 (Macro shot) - Visual observation of droplet automatically actuated performing assay operation (magnetic beads extraction, magnetic beads resuspension and mixing)

    - SCREEN: Operator prompted to mount the photodetector screened can.

    - Talent mounting the photodetector screened can. Videographer comment: Reuse shot 2.7.1

  - Connect the cable to the photodetector screened can by inserting the pins in the socket [1], place the lid over the DMF platform [2], and resume the assay [3]. Droplets are monitored via capacitive sensing and can be observed on the user interface [4].

    - Talent connecting the cable.

    - Talent replacing the lid. . Videographer comment: Reuse shot 2.7.3

    - SCREEN: Assay resumed.

    - SCREEN: Droplet movement appears on the user interface screen.

- Removing Liquid Waste and Cleaning the Chip

  - To clean the equipment, open the DMF platform lid and rotate the stage 180 ° [1]. Unhinge the magnet casing [2] and remove the magnet from the rotating stage [3].

    - Talent opening the DMF platform and rotating the stage 180°.

    - Talent unhinging the magnet casing. Author comment: Shot combined with 4.1.3

    - Talent removing the magnet from the stage.

  - Remove the silicon wafer from the slit with a pair of tweezers [1] and rinse it with distilled water [2]. Then, dry it with compressed air [3] and place it in a Petri dish, where the wafer can be stored and reused [4].

    - Talent removing the silicon wafer from the slit.

    - Talent rinsing the silicon wafer with water.

    - Talent placing the wafer in a Petri dish.

  - Use a micropipette to remove the liquid waste from the pad without touching the surface [1] and clean the surface by wicking the liquid from the actuation plate using absorbent paper [2].  Videographer: This step is important!

    - Talent removing the liquid waste from the pad without touching the surface. Author comment: Shot combined with 4.3.2

    - Talent wicking liquid from the plate.

# Section – Results

- Results: Optimization of Immunoassays on the EWOD Chip

  - To investigate actuation voltage impact, a droplet from the buffer was driven at various actuation voltages and its motion was recorded. A correlation between the Vrms (pronounce ‘V-r-m-s’) and the average velocity was demonstrated [1-TXT], but the longevity of an actuation plate was reduced when high values for Vrms were used [2].

    - LAB MEDIA: Figure 3. TEXT: Vrms = root mean square actuation voltage

    - LAB MEDIA: Figure 3. Video Editor: Emphasize the three right-most orange bars.

  - For the extraction LUO, the droplet containing the suspended beads was driven to the separation site in the middle of the mixing zone [1], then the magnet was activated automatically to approach the chip and to focus the beads [2]. Next, the droplet was moved towards the waste pad, leaving the beads [3].

    - LAB MEDIA: Figure 5. Video Editor: Emphasize a – c.

    - LAB MEDIA: Figure 5. Video Editor: Emphaszie d and e.

    - LAB MEDIA: Figure 5. Video Editor: Emphasize f – h.

  - The extraction and mixing LUOs on the EWOD (pronounce ‘ewud’) chip facilitated a miniaturized, rapid, and reproducible sample processing with consecutive detection of the pathogens in 6 to 10 minutes [1-TXT].

    - LAB MEDIA: Figure 6. TEXT: EWOD = electrowetting-on-dielectric

  - Incubation times and conjugate concentrations were varied to find the optimum conditions for the assay [1]. It was found that the incubation time of 160 seconds and conjugate concentration of 2 micrograms per milliliter achieved the best signal to noise ratio [2].

    - LAB MEDIA: Figure 7 A.

    - LAB MEDIA: Figure 7 A. Video Editor: Emphasize the blue triangle that represents 2 micrograms per milliliter and 160 s incubation in the legend.

  - Variations in the protocol can be introduced to achieve desired levels of automation [1]. The 8-step ELISA was used to detect different antigens [2] such as B. atrophaeus spores [3] and the MS2 bacteriophage [4]. Meanwhile, the 10-step protocol was used to quantify E. coli [5].

    - LAB MEDIA: Figure 7.

    - LAB MEDIA: Figure 7. Video Editor: Emphasize A – C.

    - LAB MEDIA: Figure 7. Video Editor: Emphasize B.

    - LAB MEDIA: Figure 7. Video Editor: Emphasize C.

    - LAB MEDIA: Figure 7. Video Editor: Emphasize D.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Nikolay Dimov: It is important to make sure that the type of surfactant and its concentration are optimal for actuation of the droplets and successful magnetic separation. For precise measurements, bead binding capacity should be considered and serial dilutions of analyte might be needed.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.1.2.

  - Nikolay Dimov: By exchanging the type of antibody, one could detect different pathogens from the one reported in these results. The method could also be applied, for instance,  biomarker detection or point-of-care diagnostics.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Loic Coudron:  In addition to the applications already presented, the system has been developed with in-field detection of airborne pathogens in mind. DMF is a good platform for this application because the droplet volume matches the output of air sampler that we have recently developed.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.