## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
#5 forceps | Fine Science Tools | 11251-20 | Dumont #5 Inox Forceps
C57BL/6 mice | Jackson Labs |  | male 9-12 weeks old
Cannula | Instech | BTPE-10 | Polyethylene Tubing .011x.024in
CMOS camera | Hamamatsu | C11440-42U30 | 4.0LT Scientific CMOS
Coverslip-bottomed dish | Electron Microscopy Sciences |  | WillCo Dish glass bottom GWST5040
Dissecting scissors | Fine Science Tools
Fiji ImageJ Image analysis software |  |  | https://fiji.sc/ ; https://downloads.imagej.net/fiji/Life-Line/fiji-win64-20170530.zip
Fluorescein dextran | Thermo Fisher, Invitrogen | D1822 | Dextran, Fluorescein, 70,000 MW, Anionic, Lysine Fixable
Gauze sponge | Fisher | 22-415-504 | 2x2 inch Dukal sterile gauze sponges
Heating pad | Reptitherm | RH-4 | between mouse and stage
Heating pad | Sunbeam | 000732-500-000U | over mouse
Inverted epifluorescence microscope | Nikon |  | Nikon TiE inverted microscope
Isis Rodent electric shaver | Braun Aesculap | GT420
Isofluorane | Abbott GmbH | PZN4831850
Luer stub adapter | Fisher | 14-826-19E | Catheter adapter
Micro scissors | Castro Viejo
Microscope objective | Nikon |  | Plan Fluor 20x, NA 0.75 water immersion
Needle | Fisher |  | 30 Ga.x1/2"
Needle holder | Olsen-Hegar
Objective heater | BioScience Tools | MTC-HLS-025 | Temperature controller with objective heater
Rectal thermometer | Braintree Scientific, INC | TH-5A | Mouse Body Temperature monitoring
STAFF macros |  |  | https://github.com/icbm-iupui/STAFF
Suture string | Harvard Bioscience | 723288 | silk black suture, 6-0, spool

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=