# Submission ID #: 60510

# Scriptwriter Name: Anthony Iannazzi

# Project Page Link: http://www.jove.com/files_upload.php?src=18455598

# Title: Immunofluorescence Staining Using IBA1 and TMEM119 for Microglial Density, Morphology and Peripheral Myeloid Cell Infiltration Analysis in Mouse Brain

# Authors and Affiliations:

# Fernando González Ibáñez1,2, Katherine Picard1,2, Maude Bordeleau1,3, Kaushik Sharma1,2,4, 
Kanchan Bisht1,2,4, Marie-Ève Tremblay1,2

# 1Axe Neurosciences, Centre de Recherche du CHU de Québec-Université Laval, Québec, QC, Canada

# 2Département de Médecine Moléculaire, Faculté de Médecine, Université Laval, Québec, QC, Canada

# 3Integrated Program in Neuroscience, McGill University, Montreal, QC, Canada

# 4Center for Brain Immunology and Glia (BIG), University of Virginia, Charlottesville, VA, USA

# Corresponding Author:

# Fernando González Ibáñez			fernando.gonzalez-ibanez.1@ulaval.ca

# Email Addresses for Co-authors:

# katherine.picard.1@ulaval.ca

# maude.bordeleau@mail.mcgill.ca

# sharmakaushikp@gmail.com

# bishtkanchan8@gmail.com

# tremblay.marie-eve@crchudequebec.ulaval.ca

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? N

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot.

All of our important steps are screen captured

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document.

Steps: 2.9 and 3.10

Step 2.9: It is very important to confirm the fluorescent signal to confirm if the cells are double positive or single positive. A wrong classification would lead to misleading results

Step 3.10: It is important that the traces represent the area that the microglia processes are covering and be consistent in the way the tracing is done throughout the analysis.

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Fernando González Ibáñez: This protocol will show you how to stain microglia, perform quantitative density and morphology analysis, as well as quantify macrophage infiltration into the brain [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Fernando González Ibáñez: This technique allows the researcher to measure changes in morphology and distribution of microglia in a quantitative way and to differentiate microglia from infiltrating macrophages [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera)

  - Fernando González Ibáñez : This analysis protocol can be easily applied to measure changes in microglial morphology and distribution in other animal models where anti-IBA1 and anti-TMEM119 antibodies are available [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Fernando González Ibáñez: It is highly recommended to conduct the cell counts and traces blinded to the experimental condition and to be consistent with the way this procedure is performed [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

Ethics title card:

  - All experimental procedures were performed in agreement with the guidelines of the Institutional Animal Ethics committees, in conformity with the Canadian Council on Animal Care and the Animal Care Committee of Université Laval.

# Section - Protocol

- Density and distribution analysis

  - To begin this procedure, open an image processing program – such as FIJI or ImageJ – that has the “nearest neighbor distance” plugin installed [1-TXT]. Open the 20x image [2]. If the scale is contained in the metadata of the file and not automatically set from the metadata, on the menu bar, select Analyze | Set scale, then enter the correct information [3].

    - Establishing shot of the talent approaching the computer and opening the FIJI/ImageJ program. TEXT: NND: Nearest neighbor distance.

    - SCREEN: The 20x image is opened. Density and Distribution 4.1 _ 4.23.mov (00:07 – 00:11).

    - LAB MEDIA: Figure 3. Video Editor: Show only Figure 3J. (Editor: The author uploaded a screen capture video of the scale being set as described above. Please use that in place of Figure 3J)

  - To set the scale manually based on a scale imprinted on the image, select the straight-line tool. Place the cursor on the edge of the scale, and, while pressing the shift key, draw a line as close as possible to the scale on the image [1].

    - SCREEN: The straight-line tool is selected, and the line is drawn. Density and Distribution 4.1 _ 4.23.mov (00:15 – 00:27).

  - Select Analyze | Set Scale. A window will pop up. Input the correct “Known distance” and “Unit of length” to determine the pixels per length unit, and click OK [1]. Next, select Image | Color | Make composite to create a composite image of all channels [2].

    - SCREEN: Analyze | Set Scale is selected. The “Known distance” and “Unit of length” are inputted. Density and Distribution 4.1 _ 4.23.mov. (00:27 – 00:39).

    - SCREEN: Image | Color | Make composite is selected. Density and Distribution 4.1 _ 4.23.mov. (00:47 – 00:53).

  - On the menu bar, select Analyze | Set measurements. Check Area, Centroid, and Perimeter. In the Redirect to drop-down menu, select the opened file. Then, click OK [1].

    - SCREEN: Analyze | Set measurements is selected. Check Area, Centroid, and Perimeter are checked. The opened filed is selected in the dropdown menu. OK is clicked. Density and Distribution 4.1 _ 4.23.mov. (00:57 – 01:07).

  - Go to Image | Color | Channel tool to open the channel tool [1] and use the freehand selection tool to draw a rough perimeter around the region of interest [2]. Double-click the oval tool on the tool bar to enable the selection brush tool. Make sure that the Enable selection brush box is checked, and click OK [3-TXT].

    - SCREEN: Image | Color | Channel tool is selected and a pop-up window opens. Density and Distribution 4.1 _ 4.23.mov. (01:14 – 01:21).

    - SCREEN: The freehand selection tool is selected, and a rough perimeter is drawn around the region of interest. Density and Distribution 4.1 _ 4.23.mov. (01:28 – 01:41).

    - SCREEN: The oval tool on the tool bar is double clicked, and a pop-up window appears. The Enable selection brush box is then checked, and OK is clicked. TEXT: Appropriate brush size: 200 – 400 pixels. Density and Distribution 4.1 _ 4.23.mov. (01:41 – 01:44).

  - Using the selection brush, adjust the perimeter to best fit the region of interest. Then, press T on the keyboard to add this area to the ROI Manager [1]. Select Analyze | Measure or press the M key, and a results window will pop up. Copy and paste the results into a datasheet, and save the information regarding the area [2].

    - SCREEN: The selection brush is used to adjust the perimeter. The ROI Manager then pops up (indicating that T was pressed on the keyboard). Density and Distribution 4.1 _ 4.23.mov. (01:44 – 02:12).

    - SCREEN: A results window pops up (indicating that M was pressed on the keyboard). The data is then copied from the results window and pasted into an Excel spreadsheet. Density and Distribution 4.1 _ 4.23.mov. (02:15 – 02:25).

  - After copying the area of the region of interest, erase the information from the results window by clicking on it and pressing the Backspace key [1]. Select the ROI Manager window, select the ROI trace, and change the name to match the image’s name by pressing Rename. Click OK. Then, right-click the new name of the ROI trace, and save [2].

    - SCREEN: The data is selected in the Results window, and then it disappears (indicating that Backspace was pressed on the keyboard). Density and Distribution 4.1 _ 4.23.mov. (02:30 – 02:32).

    - SCREEN: The ROI Manager window is selected. In that window, the ROI trace name is selected, the name is changed, and OK is clicked. The trace’s new name is then right-clicked, which opens up a new menu. Save is clicked, and the image is saved. Density and Distribution 4.1 _ 4.23.mov. (02:35 – 03:00).

  - Double-click the brush tool in the tool bar. Select the color black and a brush size of 10. Make sure that the option Paint of overlay is unchecked [1].

    - SCREEN: The brush tool is double-clicked. The color black is selected. Density and Distribution 4.1 _ 4.23.mov. (03:11 – 03:18). Video Editor: The brush size and check box go unchanged. If needed, please emphasize each as it is mentioned.

  - In the TMEM119 (“T-mem one-nineteen” where “mem” is pronounced like the beginning of “memory”) channel, carefully place a black dot on the center the soma for each TMEM119 positive microglia. Place a white dot on the center of the cells that are not positive for TMEM119. Repeat the same procedure for all cells contained in the region of interest [1-TXT].

    - SCREEN: Black dots are placed on the center the soma for each TMEM119 positive microglia. TEXT: All dots must be located in the same channel. Density and Distribution 4.1 _ 4.23.mov. (03:23 – 05:33). Video Editor: During this process, the brush tool is double-clicked to change the color twice. This does necessarily need to shown, but it’s how the different dot colors are placed. (Editor: The author has requested that 04:41 – 05:05 be shown in the video. I’ve left the full time code in the shot description above to provide time bounds for the entire action, in case additional footage is needed beyond the portion the author has requested in the video)

  - Next, select Image | Color | Split channel. A window for each channel will appear. Identify the channel that has the dot annotations, and close the other two windows [1]. To redirect the new split channel image, go to Analyze | Set measurements. In the Redirect to drop-down menu, select the split channel image and click OK [2].

    - SCREEN: Image | Color | Split channel is selected. The windows appear, and the ones without dot annotations are closed. Density and Distribution 4.1 _ 4.23.mov. (05:36 – 05:56).

    - SCREEN: Analyze | Set measurements is selected.  The split channel image is selected in the Redirect to drop-down menu, and OK is clicked. Density and Distribution 4.1 _ 4.23.mov. (05:59 – 06:04).

  - Then, select Image | Type | 8-bit [1]. Go to Image | Adjust and select Threshold. Adjust the sliders all the way to the left in both bars. This will leave only the black dots, which will now appear white [2].

    - SCREEN: Image | Type | 8-bit is selected. Density and Distribution 4.1 _ 4.23.mov. (06:11 – 06:13).

    - SCREEN: Image | Adjust | Threshold is selected. The sliders in both bars are set to threshold = 0 (all the way to the left). Density and Distribution 4.1 _ 4.23.mov. (06:30 – 06:43).

  - Select the region of interest in the ROI Manager window. In the menu bar, select Analyze | Analyze particle. In the text box for Size, input “1 through 20”. The box for Pixel Units should remain unchecked, while the boxes for Display results, Summarize, and Add to Manager should be checked. Click OK to display the summary window, which will give the number of points [1].

    - SCREEN: The region of interest is selected in the ROI Manager window. Analyze | Analyze particle is selected in the menu bar. In the resulting pop up window, “1-20” is entered for Size, and the mentioned boxes are shown as checked/unchecked. OK is clicked, displaying the popup window. Density and Distribution 4.1 _ 4.23.mov. (06:50 – 07:04).

  - Copy and paste this information to the datasheet [1]. Then, select Plugins | NND to show the NND window. Each number represents the distance each microglia has to the nearest neighboring microglia. Copy and paste all of this information to the data sheet [2].

    - SCREEN: The data is copied and pasted. Density and Distribution 4.1 _ 4.23.mov. (07:05 – 07:20).

    - SCREEN: Plugins | NND is selected. The data is copied and pasted into the Excel spreadsheet. Density and Distribution 4.1 _ 4.23.mov. (07:26 – 07:54).

  - Go back to the threshold window and adjust the top slider all the way to the right, which will leave all of the white dots visible, now appearing white [1]. Select Analyze | Analyze particle to display the Analyze Particles popup window. Click OK to show the Summary Window that provides the number of points [2]. Copy and paste this information into the datasheet [3].

    - SCREEN: The threshold window is selected, and the top slider is adjusted. Density and Distribution 4.1 _ 4.23.mov. (08:08 – 08:14).

    - SCREEN: Analyze | Analyze particle is selected, and the popup window appears. The data is copied and pasted into the Excel spreadsheet. Density and Distribution 4.1 _ 4.23.mov. (08:24 – 08:38).

  - Go to the ROI manager select all the points. Then, right-click, and save with the image’s name. This will allow saving of all the points in a zip file [1].

    - SCREEN: Points are selected and saved. Density and Distribution 4.1 _ 4.23.mov. (08:44 – 09:03).

- Morphology analysis

  - First, open the 40x image files. A popup window will appear asking if the images should be opened in a stack. Click OK. Next, select Image | Stacks | Z project to open the Z-Projection window. Include all slices, from the first through last slice. Ensure that the Max Intensity is selected under Projection Type, and click OK [1].

    - SCREEN: The image file stack is opened. A popup window appears, and OK is clicked. Image | Stacks | Z project is selected, and – in the new popup window – all of the slices are included and Max Intensity is selected. OK is clicked. Morphology Steps 5_1 to 5_18.mov. (00:06 – 00:22).

  - Click on the new window that contains the Z-project. Select Image | Colors | Split channels and conduct the traces on the images of the IBA1 channel [1]. In the menu bar, select Analyze | Set measurements. Check the Area, Centroid, and Perimeter. In the Redirect to dropdown menu, select the open file and click OK [2].

  - SCREEN: The new window that contains the Z-project is clicked. Image | Colors | Split channels is selected. Morphology Steps 5_1 to 5_18.mov. (00:26 – 00:45).

  - SCREEN: Analyze | Set measurements is selected. The mentioned boxes are shown as checked, and the open file is selected in the Redirect to dropdown menu. OK is clicked. Morphology Steps 5_1 to 5_18.mov. (00:46 – 00:52).

  - To set the scale manually based on a scale imprinted on the image, select the straight-line tool. Place the cursor on the edge of the scale, and, while pressing the shift key, draw a line as close as possible to the scale on the image [1].

    - SCREEN: The straight-line tool is selected, and the line is drawn. Morphology Steps 5_1 to 5_18.mov. (00:55 – 01:03).

  - Select Analyze | Set Scale. A window will pop up. Input the correct “Known distance” and “Unit of length” to determine the pixels per length unit, and click OK [1].

    - SCREEN: Analyze | Set Scale is selected. The “Know distance” and “Unit of length” are inputted. OK is clicked. Morphology Steps 5_1 to 5_18.mov. (00:55 – 01:03).

  - To measure the soma size in the IBA1 channel, draw a rough perimeter of the soma with the freehand selection tool [1]. Double-click the oval tool on the tool bar to enable the selection brush tool. Make sure that the Enable selection brush box is checked, and click OK [2-TXT].

    - SCREEN: The freehand selection tool is selected, and a rough perimeter is drawn. Morphology Steps 5_1 to 5_18.mov. (01:27 – 01:35).

    - SCREEN: The oval took is double-clicked, and a popup for the Selection brush appears. The mentioned box is checked, and OK is clicked. TEXT: Appropriate brush size: 10 – 20 pixels. Morphology Steps 5_1 to 5_18.mov. (01:35 – 01:47).

  - Using the selection brush, adjust the trace to best fit the soma. Zooming in will enable precision during this step [1]. Next, press the T key to add the soma trace to the ROI Manager [2]. Select Analyze | Measure or press the M key to display the Results. Copy and paste these results to a datasheet [3].

    - SCREEN: The selection brush is used to adjust the trace. Morphology Steps 5_1 to 5_18.mov. (01:47 – 02:28).

    - SCREEN: The ROI Manager window pops up (indicating that T has been pressed on the keyboard). Morphology Steps 5_1 to 5_18.mov. (02:31 – 02:32).

    - SCREEN: The Results window pops up (indicating that M has been pressed on the keyboard). Morphology Steps 5_1 to 5_18.mov. (02:42 – 03:19).

  - Go to the ROI Manager window, select the region of interest, and change the name to match the image’s name by pressing Rename [1]. Right click on the renamed region of interest, and click Save. Make sure that the name specifies that the trace is for soma, and save the file [2].

    - SCREEN: The ROI Manager window is selected. The region of interest is selected, and the name is changed. Morphology Steps 5_1 to 5_18.mov. (03:25 – 03:36).

    - SCREEN: The ROI is right-clicked, displaying a menu. In that menu, Save is clicked. The file is then saved. Morphology Steps 5_1 to 5_18.mov. (03:41 – 03:55).

  - To measure arborization area in the IBA1 channel, first select the polygon selection tool. Click on a microglial process extremity with the tool to start the polygon shape. Go around the microglia by clicking at the tips of each process extremity to form a polygon that best represents the area covered by the microglial arborizations. [1-TXT].

    - SCREEN: The polygon tool is selected, and a polygon is created to represent the area covered by the microglial arborizations. TEXT: The polygon must connect all microglial process extremities. Morphology Steps 5_1 to 5_18.mov. (04:05 - 06:30).

  - When the polygon is complete, click on the starting point to close it. Then, press the T key to add the trace to the ROI Manager [1]. Select Analyze | Measure or press the M key to add the data to the Results window. Copy and paste this data to the datasheet.

    - SCREEN: The starting point of the polygon is clicked to close the polygon. The data will then appear in the ROI Manager, indicating that the T key has been pressed on the keyboard. Morphology Steps 5_1 to 5_18.mov. (06:39 – 06:48).

    - SCREEN: The data appears in the Results window, indicating that the M key has been pressed on the keyboard. The data is then copied into the Excel spreadsheet. Morphology Steps 5_1 to 5_18.mov. (06:54 – 07:14).

  - To save the information regarding the arborization area, go to the ROI Manager window, select the region of interest, and change the name to match the image’s name by pressing Rename [1].  Right-click on the renamed region of interest, and click Save. Make sure that the name specifies that the trace is for arborization, and save the file [2].

    - SCREEN: The ROI is selected in the ROI Manager window. The name is changed. The renamed ROI is then right-clicked, and Save is clicked. The file is then saved. Morphology Steps 5_1 to 5_18.mov. (07:17 – 07:44).

# Section – Results

- Results: Immunofluorescence Staining Using IBA1 and TMEM119

  - This study described a step-by-step workflow for the immunofluorescent co-staining of IBA1 and TMEM119 – and for the analysis of microglial density, distribution, and morphology – as well of peripheral myeloid cell infiltration in mouse brain tissue [1].

    - LAB MEDIA: Figure 1.

  - Fluorescence microscopy is used to image the co-labeling of microglia using IBA1 and TMEM119 in a coronal section of the dorsal hippocampus at 20x magnification [1]. A successful staining reveals microglial cell bodies and their fine processes [2]. This staining allows for the determination of microglial density and distribution [3], and for the identification of microglial clusters [4] and infiltrating macrophages [5].

    - LAB MEDIA: Figure 1.

    - LAB MEDIA: Figure 1. Video Editor: Emphasize Figures 1A, 1B, and 1C.

    - LAB MEDIA: Figure 1. Video Editor: Hold the emphasis from 4.2.2.

    - LAB MEDIA: Figure 1. Video Editor: Emphasize Figure 1I.

    - LAB MEDIA: Figure 1. Video Editor: Emphasize Figure 1F.

  - Confocal microscopy is used to image the stepwise microglial arborization tracing procedure at 40x magnification [1]. These representative results show IBA1 positive and TMEM119 positive microglia [2], as well as an example of cell body tracing [3].

    - LAB MEDIA: Figure 2.

    - LAB MEDIA: Figure 2. Video Editor: Emphasize Figures 2A, 2B, and 2C.

    - LAB MEDIA: Figure 2. Video Editor: Emphasize Figures 2D, 2E, and 2H.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Fernando González Ibáñez: It is important to be consistent when counting cells and pay attention to the signal of both IBA1 and TMEM119 [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

    - B-roll suggestion: Steps 2.9 and 3.10.

  - Fernando González Ibáñez: This technique allows the researcher to identify regions of the brain that are affected by a particular stimulus, which can then be studied more in depth with complementary techniques [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.