TITLE:

Enucleation of the prostate for the treatment of benign prostatic hyperplasia using a  980-nm diode laser

AUTHORS AND AFFILIATIONS:

Yaqun Zhang1* ,Chunlong Fu1,2*, Jinfu Wang1, Pengjie Wu1, Xin Chen1,Huiming Hou1, Xinda Song1,Wanli Cheng1,Jianye Wang1,Ming liu1,2

1（Urology）Beijing  Hospital ,National Center of Gerontology

2 Graduate School of Peking Union Medical College, Beijing Hospital, Beijing, China

*These authors contributed equally

Correspondence author: Ming Liu （liuming19731029@163.com）

Yaqun Zhang       zhangyaqun@yeah.net

Chunlong Fu        fuchunlong_pumc@163.com

Jinfu Wang          doctorwang5127@163.com

Pengjie Wu          wupengjiesan@163.com

Xin Chen              18600405631@163.com

Huimin Hou         Houhuimin0305@163.com

Xinda Song           592483813@qq.com

Jianye Wang         wangjy@bjhmoh.cn

Ming Liu               liuming19731029@163.com

KEYWORDS:

980-nm Diode; benign prostatic hyperplasia; modified enucleation; large volume; laser; LUTS

SUMMARY:

Here, we present a protocol for modified 980-nm diode laser enucleation to treat large-volume benign prostatic hyperplasia.

ABSTRACT:

In the aging male population, a common problem is the occurrence of lower urinary tract symptoms (LUTS) caused by benign prostatic hyperplasia (BPH), especially large-volume benign prostatic hyperplasia. Although it is not a life-threatening disease, BPH causes problems that seriously impact patient quality of life. Here, we introduce a new technique called  980-nm diode laser enucleation (DiLEP) to treat BPH. This procedure presents several advantages over other techniques, such as TURP, HoLEP, and PVP. During the procedure, we defined the boundary of high-volume prostate and separated it into three lobes with a diode laser by burning two rings and one groove (just like a Cupid’s arrow). Compared to other procedures, mDiLEP has fewer intraoperative complications and a shorter learning curve and achieves more tissue resection.

INTRODUCTION:

Transurethral resection of the prostate (TURP) is still considered the gold standard in benign prostatic hyperplasia (BPH) surgical treatment. TURP significantly improves lower urinary tract symptoms (LUTS) in most patients with BPH, but its complications during and after surgery also make it a source of concern. Laser surgeries have gradually become more popular due to their better patient tolerance, lower amounts of intraoperative blood loss, satisfactory efficacy, and shorter postoperative recovery1,2.

In recent years, the fastest growing techniques have involved the use of lasers of various  wavelengths. At present, many types of lasers with different characteristics can be used to complete prostate enucleation. Since the diode laser was approved by the US FDA for prostatic hyperplasia in 2007, it has gradually increased in use in the treatment of BPH because of its good cutting ability and hemostasis effect3. The laser wavelength determines the degree of absorption by water and hemoglobin. The wavelength of 980-nm diode laser just provides the highest combined absorption rate of water and hemoglobin. The tissue penetration ability is 0.5mm, and it can produce coagulation effect on deeper tissue, which makes it have a very good tissue ablation and hemostasis ability4,5.

Many research centers have begun to use DiLEP for the treatment of benign prostatic hyperplasia. In practice, traditional DiLEP has a longer learning curve and presents no obvious advantages related to urinary sphincter protection6.

Based on the above reasons, traditional DiLEP was modified in our center to improve the value of diode laser treatment in patients with BPH.

PROTOCOL:

All methods described here have been approved by ethics committee of Beijing Hospital. Indications for surgery are according to the European Association of Urology guidelines for nonneurogenic male LUTS. Contraindications include suspected prostate cancer or detrusor dysfunction.

1. Instruments for operation

1.1. Ensure the availability of diode laser (980 nm) equipment with a power including continuous mode (80-100 W).

1.2. Employ a laser fiber and 0.9% saline solution for intraoperative bladder irrigation.

1.3. Use a 26-F laser resectoscope to acquire good visualization and enhance efficiency.

2. Preparation for operation

2.1. Provide an intravenous antibiotic (cefuroxime sodium 1.5 g with 100 mL 0.9% sodium chloride) preoperatively (30 min before the operation) to all involved patients7.

2.2. Before inducing anesthesia, make the patient lay down on the operating table.

Note: General anesthesia is effective and appropriate for this operation. The anesthetists should determine the mode of anesthesia depending on the patient's general condition.

2.3. Drape the patient in a sterile fashion in the dorsal lithotomy position. Do not perform any skin preparation.

3. Procedure steps

3.1. Observation

3.1.1. Directly observe the urethra, verumontanum, bladder neck, ureteral orifices, bladder mucosa and trabecular hyperplasia by resectoscope (15-30 degrees).

3.2. Design range of enucleation (Cupid's arrow)

3.2.1. Circularly incise the bladder neck mucosa with a laser (Figure 1).

3.2.2. Circularly incise the prostatic urethra mucosa at the proximal end of the verumontanum with a laser (Figure 2)

Note: Confirm anatomical mark before incision in order to avoid injury of the bladder neck mucosa and sphincter urethrae. Use a laser power of 80-100 W during the operation except hemostasis.

3.2.3. Connect the concentric circles of the bladder neck and the apex of the prostate at 12 o'clock.

3.2.4. Incise the left lobe and right lobe (Figure 3).

Note: Once the 12 o'clock position of the posterior urethra is pre-incised, retain the distal mucosa. The concentric circles formed at the neck of the bladder and the apex of the prostate are called Cupid's arrows.

3.3. Making a channel

3.3.1. Find the surgical capsule at the 5- and 7-o’clock positions of the apex of the prostate and connect the 5- and 7-o’clock surgical capsule positions with a laser (Figure 4).

3.3.2. At the 6-o’clock position of the apex of the prostate, separate the median lobe from the surgical capsule from the apex of the prostate to the bladder neck (Figure 5).

Note: If the volume of the prostate >80 ml, the median and lateral lobes will be completely separated at the 5- and 7-o’clock positions of the apex of the prostate.

3.4. Enucleation of left and right lobes

3.4.1. In a counterclockwise direction, enucleate the right lobe at 6 and 12 o'clock from the apex of the prostate to the bladder neck (Figure 6).

3.4.2. In a clockwise direction, enucleate the left lobe at 6 and 12 o'clock from the apex of the prostate to the bladder neck (Figure 7).

3.4.3. Push all the glands into the bladder after enucleation

Note: If the volume of the prostate >80 ml, enucleate the median and lateral lobes in the proper sequence; then, push into the bladder

3.5. Hemostasis

3.5.1. Use a lower laser power (50 W) to stop bleeding around the surgical site. Maintain an appropriate distance (1-3 mm).

3.6. Morcellate tissue of prostate

3.6.1. Cut the enucleated prostatic tissue into small pieces (the smaller, the better) with a morcellator and then remove the tissue from the bladder (Figure 8).

3.7. Catheterization

3.7.1. Remove the Morcellator from the urethra.

3.7.2. Gently place a 22-F Foley catheter through the urethral orifice into the bladder cavity with 30 mL of water in the balloon after sufficiently lubricating the urethra with lidocaine gel.

3.8. Postoperative Care7

3.8.1. Let the patient lay down on the bed for approximately 3 h postoperatively in the care unit until they completely wake up from anesthesia. Make sure that patient monitors and medical oxygen are available during this time.

3.8.2. Once the patient has completely woken up, return the patient to the ward. Let the patient begin to drink some water and take some food. Record any urine output and pay attention to the color of the urine.

REPRESENTATIVE RESULTS:

A total of 40 patients who underwent DiLEP were included in one of our studies. Independent sample t-test is used as the statistical method. All patients successfully completed the operation. Almost all of the patients had the catheter removed within 5 days postoperative (Table 1). All patients returned to the hospital for follow-up examinations in the 1st, 3rd and 12th months postoperatively. The International Prostate Symptom Score (IPSS) and Quality of Life (QoL) tools were used to screen for, rapidly diagnose, track the symptoms of, and suggest management of the symptoms of BPH. These can also be used to evaluate the efficacy of BPH treatment. Compared to baseline values, postoperatively, IPSS significantly decreased to 38.15%, 31.92%, and 18.70% at 1, 3, and 12 months postoperatively, respectively (all P < 0.001), and the QOL significantly decreased to 57.89%, 43.94% and 20.78% (all P < 0.001, respectively). For objective parameters, compared to the baseline, the mean Qmax increased nearly 3-fold, and the mean postvoid residual during follow-up decreased nearly 4-fold. Compared to the preoperative values, postoperatively, the prostate volume decreased dramatically (P<0.001) (Table 2).

The peri- and postoperative complications reported during this study are presented in Table 3. According to the modified Clavien Dindo classification system, which is a widely used and authoritative tool for grading surgical complications, no intraoperative patient had complications, and only 4 cases reported Grade 1 postoperative complications.

FIGURE AND TABLE LEGENDS:

Fig 1: Circularly incise the bladder neck mucosa with a laser.

Fig 2: Circularly incise the prostatic urethra mucosa at the proximal end of verumontanum with a laser.

Fig 3: Incise the left lobe and right lobe at the apex of the prostate at 12 o'clock.

Fig 4: Circularly incise the bladder neck mucosa with a laser.

Fig 5: Find the surgical capsule at the 5- and 7-o’clock positions of the apex of the prostate and connect the 5- and 7-o’clock surgical capsule positions with a laser.

Fig 6: In a counterclockwise direction, enucleate the right lobe at the 6- and 12- o'clock positions from the apex of the prostate to the bladder neck.

Fig 7: In a clockwise direction, enucleate the left lobe at the 6- and 12- o'clock positions from the apex of the prostate to the bladder neck.

Fig 8: Cut the enucleated prostatic tissue into small pieces using a morcellator and then remove the tissues from the bladder.

DISCUSSION:

At present, the 980-mm diode laser is in an early stage in the treatment of BPH2. Few reports have described related clinical studies. Compared to the effect of TURP in the treatment of BPH, many studies have shown that DiLEP causes less blood loss, achieves better urination function, and has shorter catheter retention times6,8-10.

Here, we share our experiences with mDiLEP. Compared to traditional DiLEP6,11,12, in our study, before enucleation, we circularly incised the bladder neck mucosa and the prostatic urethra mucosa at the proximal end of the verumontanum with a laser. Then, we connected the concentric circles of the bladder neck and the apex of the prostate at 12 o'clock, which is called a Cupid's arrow. Although this procedure seemed to increase the operation time, it did not increase the total operation time over the results described in other studies. At the same time, it brings many benefits. First, the urethral sphincter is protected from injury because we circularly incised the prostatic urethra mucosa at the proximal end of the verumontanum13. The preserved urethral mucosa at the apex of the prostate can function like an anal cushion, allowing the urethral sphincter to work better, improving the prevention of urine leakage. For the above reasons, no patient reported stress urinary incontinence in this study. Second, surgeons can operate within a delimited surgical area by circularly incising the bladder neck mucosa with a laser, and this can protect ureteral orifices from injury. These two steps are not performed in traditional operations. Therefore, especially for beginners, some studies14-16 have reported that the incidences of urethral sphincter and ureteral orifice injuries are relatively high, and the occurrence of these complications is a heavy burden for doctors and patients. Third, the operator can define the scope of surgery by incising the bladder neck mucosa and the prostatic urethra mucosa at the proximal end of the verumontanum, and this helps the surgeon find the prostate surgical capsule, reduces the occurrence of prostate capsule perforation, and facilitates the enucleation of the median and lateral lobes17. According to our experience, this operation involving a Cupid's Arrow greatly shortened the learning curve and facilitates the promotion of this new technology.

Compared to existing procedures used in BPH treatment, DiLEP demonstrates satisfactory short-term clinical outcomes. In addition, this promising technique has obvious advantages in that it preserves urinary continence. However, more research is needed to demonstrate the long-term efficacy of this technique. Only in this way can this technique be developed into a blueprint for a prostate enucleation protocol in the future.

ACKNOWLEDGMENTS:

The authors would like to acknowledge the support of the National Key Research and Development Program of China ( Grant 2017YFC840102 ).

DISCLOSURES:

The authors have nothing to disclose.

REFERENCES:

1	Hruby et al. Eraser Laser Enucleation of the Prostate: Technique and Results. European Urology. 63 (2), 341---346 (2013).

2	Lerner, L. B. & Archana, R. Laser prostate enucleation techniques. Canadian Journal of Urology. 22 (5 Suppl 1), 53 (2015).

3	Leonardi, R., Caltabiano, R. & Lanzafame, S. Histological evaluation of prostatic tissue following transurethral laser resection (TULaR) using the 980 nm diode laser. Arch Ital Urol Androl. 82 (82), 1-4 (2010).

4	Kahokehr, A. & Gilling, P. J. Enucleation techniques for benign prostate obstruction: Which one and why? Current Opinion in Urology. 24 (1),  (2013).

5	Chung, D. E. & Te, A. E. New techniques for laser prostatectomy: an update. Ther Adv Urol. 1 (2), 85-97 (2014).

6	Wu, G. et al. A comparative study of diode laser and plasmakinetic in transurethral enucleation of the prostate for treating large volume benign prostatic hyperplasia: a randomized clinical trial with 12-month follow-up. Lasers Med Sci. 31 (4), 599-604, doi:10.1007/s10103-016-1883-1, (2016).

7	Wang, X. et al. Photoselective Vaporesection of the Prostate via an End-firing Lithium Triborate Crystal Laser. J Vis Exp. (135), doi:10.3791/57336, (2018).

8	Li, B., Xu, A., Zou, Y. & Liu, C. A Randomized Trial Comparing Diode Laser Enucleation of the Prostate with Plasmakinetic Enucleation and Resection of the Prostate for the Treatment of Benign Prostatic Hyperplasia. Journal of Endourology. 27 (10), 1254-1260 (2013).

9	Lerner, L. B. & Rajender, A. Laser prostate enucleation techniques. Canadian Journal of Urology. 22 (5 Suppl 1), 53 (2015).

10	Wu, G. et al. A comparative study of diode laser and plasmakinetic in transurethral enucleation of the prostate for treating large volume benign prostatic hyperplasia: a randomized clinical trial with 12-month follow-up. Lasers in Medical Science. 31 (4), 599-604 (2016).

11	Xu, A. et al. A randomized trial comparing diode laser enucleation of the prostate with plasmakinetic enucleation and resection of the prostate for the treatment of benign prostatic hyperplasia. J Endourol. 27 (10), 1254-1260, doi:10.1089/end.2013.0107, (2013).

12	Yang, S. S., Hsieh, C. H., Lee, Y. S. & Chang, S. J. Diode laser (980 nm) enucleation of the prostate: a promising alternative to transurethral resection of the prostate. Lasers Med Sci. 28 (2), 353-360, doi:10.1007/s10103-011-1046-3, (2013).

13	Liu, L., Cheng, F., Li, H., Yu, W. & Rao, T. Comparison of Clinical Effect Between Transurethral 1 470 nm Diode Laser Enucleation of the Prostate and Transurethral Bipolar Plasmakinetic Resection of Prostate. Medical Journal of Wuhan University. 39 (5), 809-812 (2018).

14	Nair, S. M., Pimentel, M. A. & Gilling, P. J. A Review of Laser Treatment for Symptomatic BPH (Benign Prostatic Hyperplasia). Current Urology Reports. 17 (6), 1-8 (2016).

15	Shigemura, K., Tanaka, K., Yamamichi, F., Chiba, K. & Fujisawa, M. Comparison of Predictive Factors for Postoperative Incontinence of Holmium Laser Enucleation of the Prostate by the Surgeons’ Experience During Learning Curve. International Neurourology Journal. 20 (1), 59-68 (2016).

16	Cho, M. C. et al. Predictor of de novo urinary incontinence following holmium laser enucleation of the prostate. Neurourology & Urodynamics. 30 (7), 1343-1349 (2011).

17	Herrmann, T. R. [Long-term outcome after endoscopic enucleation of the prostate : From monopolar enucleation to HoLEP and from HoLEP to EEP].  55 (11), 1446 (2016).