# Submission ID #: 60538

# Scriptwriter Name: Qingyun Ping

# Project Page Link: http://www.jove.com/files_upload.php?src=18464138

# Title: A Quantitative Fluorescence Microscopy-Based Single Liposome Assay for Detecting the Compositional Inhomogeneity Between Individual Liposomes

# Authors and Affiliations: Rasmus Münter1,3, Thomas Lars Andresen1,2,3 and Jannik Bruun Larsen1,2,3

1Center for Nanomedicine and Theranostics, Technical University of Denmark, Lyngby, Denmark

2Center for Intestinal Absorption and Transport of Biopharmaceuticals, Technical University of Denmark, Lyngby, Denmark

3Department of Health Technology, Technical University of Denmark, Lyngby, Denmark

Email Addresses of Co-authors:

# Corresponding Author:

# Jannik Bruun Larsen

# jannla@dtu.dk

# Email addresses for Co-authors:

# ramila@dtu.dk

# tlan@dtu.dk

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) Yes

Can you record movies/images using your own microscope camera? (Y/N) Yes, the microscope is connected to a monitor. We will make sure to install a screen recording software before the filming session.

If no, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

We use a Leica SP5 confocal microscope.

2. Does your protocol include software usage? (Y/N) Yes

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

Yes, it involves using ImageJ as well as a data handling software. With respect to the latter, we use Excel and Graphpad Prism.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

- To ensure that high-quality liposomes are prepared, step 2.4 and 2.5 would be brilliant to show.

- Remembering the first time I did the protocol, step 4.1 was actually the one I would have appreciated most to see. It is a really great tip for quick focusing.

- Additon of the liposomes to the chamber (step 4.2) could be good – if not else then for visual purposes, but it also ensures proper mixing and equal liposome distribution in the chamber, rather than if a researcher just add one high-concentrated drop in the middle.

- Step 5.1 and 5.2 are critical for the protocol, and really great for the visual representation: here you can actually see the single liposomes and see how data are sampled. This is like the climax of the protocol!

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Acquirering images that are in proper focus. Can be really tricky as you are just imaging a lot of dots of various intensities, and if you are using too long time to focus on them, you may bleach them away. To ensure success we pretty much just delete images that are out of focus.

5. Will the filming need to take place in multiple locations? (Y/N) NO

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Jannik Bruun Larsen: Most research with liposomes rely on bulk techniques, assuming all liposomes to be identical. However, by studying single liposomes, significant heterogeneities between individual liposomes population can be observed [1].

    - INTERVIEW

  - Jannik Bruun Larsen: The single liposome technique here allows us to study hundreds of individual liposomes simultaneously, and detect inhomogeneities in the size and composition of the liposome population [1].

    - INTERVIEW

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Rasmus Münter: The method can easily be adjusted to study for example protein-membrane interactions on a single liposome level. All you need is the compound you study to be fluorescently labeled [1].

    - INTERVIEW

  - Rasmus Münter: With this video we hope to provide researchers with the tool for performing single liposome measurement and illustrate how the assay can easily be modified to a range scientific topics [1].

    - INTERVIEW

# Section - Protocol

- Liposome Preparation

  - To begin, mix the prepared lipid stocks, 138 microliters of POPC (pronounce as P-O-P-C) and 120 microliters of cholesterol in a fresh glass vial [1]. Then, add 500 microliters each of two fluorescently labeled lipid, and 50 microliters of DSPE-PEG (pronounce as D-S-P-E peg)-biotin [2-TXT].

    - Talent shows the vial with lipid stocks.

    - Talent adds 3 more solutions into a vial. TEXT: POPC : cholesterol : DOPE-Atto488 : DOPE-Atto655 : DOPE-PEG-biotin = 68.95 : 30 : 0.5 : 0.5 : 0.05 (molar ratio)

  - Loosen the lid of the glass vial, and snap-freeze the vial in liquid nitrogen for 1-2 minutes [1]. Lyophilize the frozen lipid mixture overnight in a freeze-dryer [2].

    - Talent loosely closes the lid, and places into liquid nitrogen.

    - Talent places the vial in a freeze-dryer.

  - In the morning, add 1 milliliter of 200 millimolar D-sorbitol buffer to the dry lipids [1]. Heat the mixture to 45 degrees Celsius and expose it to magnetic stirring for at least 1 hour [2].

    - CU: Talent adds solution to the dry lipids in the vial.

    - Talent places the vial on a heated stir plate.

  - Then, freeze the lipid suspension by dipping the vial in liquid nitrogen [1], and wait until the suspension is completely frozen [2]. Next, dip the frozen suspension in a heating bath at 55 degrees Celsius [3] until the mixture is completely thawed [4]. Exposed the mixture to a total of 11 freeze thaw cycles [5].

    - Talent places the vial in the liquid nitrogen. Important Step

    - CU: Talent shows the suspension is frozen.

    - Talent places the vial in a water bath. Important Step

    - CU: Talent shows the mixture is thawed.

    - Talent places the vial into the liquid nitrogen again.

  - After that, using a mini extrusion kit, extrude the liposome suspension once through an 800-nanometer polycarbonate filter [1].

    - Talent sucks the mixture up into the syringe, inserts the syringe in the extruder, and passes the mixture through the filter. Important Step  Videographer: Take multiple shots, as this will be used later.

- Surface Preparation of Imaging Chamber

  - Mix 1,200 microliters of BSA (pronounce as B-S-A) and 120 microliters of BSA-biotin [1]. Add 300 microliters of the mixture to each well in an 8 well slide, and Incubate the slide for 20 minutes at room temperature [2].

    - Talent mixes two solutions into a tube.

    - Talent transfers the mixture into wells.

  - Slight tilt the slide, and from the edge of each well, aspirate the medium [1]. Immediately add 300 microliters of HEPES buffer into each well to wash [2]. Wash the slide 8 times in total [3].

    - CU: Talent tilts the slide and removes solution from a well.

    - CU: Talent adds buffer into each well.

    - CU: Talent tilts the slide and removes solution from a well.

  - Add 250 microliters of streptavidin and incubate for 10 minutes at room temperature [1]. Repeat the 8 washes as previously described [2].

    - Talent adds solution into each well.

    - CU: Talent tilts the slide and removes solution from a well.

- Liposome Immobilization

  - Place the slide on the microscope [1] and adjust the microscope joystick to focus on the surface of the chamber [2] using the increased laser reflection signal from the glass buffer interface as a guide [3].

    - Talent places the slide on the microscope.

    - Talent uses the microscope joystick to change focus.

    - SCOPE: Talent adjusts laser reflection signal. Important Step

  - In a microcentrifuge tube, add 10 microliters of the diluted liposome stock containing 20 micromolar total lipid [1]. Transfer 100 microliters of buffer from the chamber to the microcentrifuge tube, mix properly [2], and transfer the 110 microliters back into the chamber [3].

    - Talent adds solution into a tube. Important Step

    - Talent transfers buffer from the chamber to the tube, and mixes.

    - Talent transfers from the tube into the chamber.

  - Put the chamber under the microscope [1], and use a rudimental microscope setting capable of detecting signal from the liposome fluorophores to observe the liposomes being immobilized on the surface [2].

    - Talent places the chamber under the microscope.

    - Talent adjusts settings, and observes.

- Image Acquisition and Data Analysis

  - Set up the microscope as described in the manuscript. To image both the DOPE-Atto488 (pronounce as D-O-P-E-atto-four-eighty-eight) and DOPE-Atto655 (pronounce as D-O-P-E-atto-six-fifty-five) fluorophores in the liposomes, image multiple channels. Make sure each channel is imaged sequentially to avoid cross-excitation [1].

    - Talent sits in front of the computer to adjusts the microscope. Important Step

  - For example, first take one image by exciting at 488 nanometers and reading emission at 495−590 nanometers [1]. Thereafter, change the settings and take another image by exciting at 633 nanometers but reading emission only at 660−710 nanometers [2].

    - SCREEN: Talent acquires and image by exciting at 480nm and reading at 510-550nm.  Important Step

    - SCREEN: Talent change the settings and acquires a second image by exciting at 640 nm and reading emission only at 660-690 nm.

  - To analyze, open the images in FIJI. In the Image menu, choose Color, and use the Merge Channel function to create a composite of the two channels [1]. Observe if the liposomes imaged in two different channels display good colocalization or whether visible drift occurred [2].

    - SCREEN: Talent creates a composite of two channels.

    - SCREEN: Talent opens one liposome image to observe.

  - To detect particles, open the Plugins menu, choose ComDet v.0.3.6.1 (pronounce as come-det version 0 point 3 point 6 point 1), and click Detect Particles [1]. In ComDet, check that the settings are correct and press OK [2].

    - SCREEN: Talent opens plugin, and chooses detect particles.

    - SCREEN: Talent passes mouse down over the settings to check that everything is in order and presses OK.

  - After running the analysis, two pop-up windows with ‘Results’ and ‘Summary’ show. The results table contains the intensity ratio between the two channels [1]. Export the data table “Results” containing the co-localization data [2].

    - Talent chooses the results window, highlights the IntensityRatio column with the mouse.

    - Talent exports the data.

  - Plot a histogram of the column with data containing the Intensity Ratio for each detected liposome [1]. To quantify the inhomogeneity, fit the intensity ratio histogram with a Gaussian function and extract the mean and standard deviation [2].

    - SCREEN: Talent plots a histogram.

    - SCREEN: Talent opens Analysis Results tab in the software, and highlights “Mean” and “Standard Deviation”.

- Liposome Size Calibration

  - Prepare a liposome formulation that has been extruded several times through a 50-nanometer filter [1]. Calibrate the size of the liposomes by comparing the fluorescence intensity to size data from DLS [2-TXT]. With the same rudimental microscope settings as previously, image the calibration liposomes [3].

    - Talent extrudes suspension back and forth in the extruder several times.

    - SCREEN: Talent measures the size using DLS. TEXT: DLS: dynamic light scattering

    - Talent works at the microscope, loading the plate.

  - Plot a square root intensity histogram of the fluorescence intensity of the calibration liposomes [1]. Fit the histogram with a log normal distribution and extract the average fluorescence intensity of the calibration liposomes as the geometric mean [2].

    - SCREEN: Talent shows another histogram

    - SCREEN: Talent fits it with log normal distribution, and points to the geometric mean.

  - To determine the relation between the square root intensity and liposome size, calculate the correction factor using the average liposome diameter weighed by the number obtained from the dynamic light scattering measurements [1-TXT].

    - SCREEN: Talent calculates the correction factor. TEXT: C = Dia / IntSqrt Video editor: emphasize the C in the equation when VO says “correction factor”, emphasize the Dia in the equation when VO says “the average liposome diameter”, and emphasize the Intsqrt when VO says “the number obtained...”

  - Calculate square root intensity values for the liposomes in the compositional inhomogeneity experiment and convert these to diameters by multiplying with the correction factor [1].

    - SCREEN: Talent calculates Intsqrt first, and then converts to Dia.

  - Plot the intensity ratio value as a function of diameter for the compositional inhomogeneity liposomes, thus achieving the inhomogeneity as a function of liposome size for a population of liposomes spanning from approximately 50 nanometers to 800 nanometers [1].

    - SCREEN: Talent plots the intensity ratio value.

# Section – Results

- Results: Liposome Surface Immobilization and Compositional Inhomogeneity

  - In this protocol, the successful surface immobilization of liposomes was immediately apparent upon the addition of the liposome solution to the chamber, indicated by the diffraction limited intensity spots [1].

    - Video provided by the author

  - It is recommended to immobilize enough liposomes to achieve a density of 300−400 liposomes per frame [1]. A lower density makes the data analysis more time-consuming [2], while a higher density makes it challenging to distinguish single liposomes [3].

    - Figure 2A – Video editor: Emphasize the bottom left image.

    - Figure 2A – Video editor: Emphasize the top left image.

    - Figure 2A – Video editor: Emphasize the bottom right image.

  - If the whole field of view is not in proper focus, the sample plate might be tilting [2]. Also, if the liposomes seem large and blurry, this indicates the buffer in the chamber might have evaporated and the surface dried out [3].

    - Figure 2B

    - Figure 2C – Video editor: Emphasize the right image.

  - The intensity ratio histograms typically reveal a Gaussian distribution around a mean ratio value [1]. If strong deviations from a Gaussian distribution are observed, it indicates a detection sensitivity issue, suggesting that a subset of liposomes showing a weaker signal have been excluded [2].

    - Figure 3 - Video editor: Emphasize Figure 3A.

    - Figure 3 - Video editor: Emphasize Figure 3B.

  - After fitting the intensity histogram with a Gaussian function, a degree of inhomogeneity value of 0.23 was translated to 32% of the population differing by more than 23% from the mean molar ratio of the ensemble [1].

    - Figure 3- Video editor: Emphasize Figure 3C.

  - The quantification of the experimental uncertainty was found to be 0.1 [1].

    - Figure 3- Video editor: Emphasize Figure 3D.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Rasmus Münter: The assay will never get better than the materials you use. Therefore, high-quality unilamellar liposomes are essential. Do not cut any corners when preparing these, such as leaving out freeze-thaw cycles [1].

    - INTERVIEW

  - Jannik B Larsen: Also, poor images will lead to high experimental uncertainty and make you overestimate the heterogeneity. Take the time to acquire good in-focus images, and delete any images not in proper focus [1].

    - INTERVIEW

  - Rasmus Münter: The surface density of fluorescently labelled components, such as PEGylated lipids, can be studied, enabling quality-testing of drug delivery liposomes. This video should be seen as a stepping stone towards such studies [1].

    - INTERVIEW

  - Jannik B Larsen: The setup has been applied to study how peptides bind to membranes and sense their curvature, giving researchers insights on the molecular cues that govern how proteins are sorted inside cells [1].

    - INTERVIEW