# Submission ID #: 60544

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18465968

# Title: Bioparticle Microarrays for Chemotactic and Molecular Analysis of Human Neutrophil Swarming In Vitro

# Authors and Affiliations:

Nicole Walters1, Eduardo Reátegui1,2

1William G. Lowrie Department of Chemical and Biomolecular Engineering, The Ohio State University, Columbus, OH

2Comprehensive Cancer Center, The Ohio State University, Columbus, OH

# Corresponding Author:

# Eduardo Reátegui	(reategui.8@osu.edu)

# Email addresses for Co-authors:

# Nicole Walters 	(walters.660@osu.edu)

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? Y

Can you record movies/images using your own microscope camera? Y

If no, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

2.8.1, 2.8.2, 2.9.1, 2.9.3, 2.10.1, 2.10.2

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

2.9.1 Talent dabbing the stamps on a glass slide

Removing the excess CP can vary from stamp to stamp. To ensure success, the stamp must be carefully examined. When the pattern begins to become visible, the stamp is ready for vacuum treatment.

5. Will the filming need to take place in multiple locations? N

If yes, how far apart are the locations?

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Eduardo Reátegui: This protocol is significant because it allows for an in vitro analysis of neutrophil swarming, which overcomes many limitations that are present in an in vivo experiment.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Nicole Walters: The main advantage of this technique is that it provides easy access to the secreted cytokines, chemokines, and lipid mediators that neutrophils release during swarming and allows for quantitative imaging analysis.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Nicole Walters: While we applied this technique to neutrophils, it can be extended to analyze the migration of other white blood cells, like monocytes and T cells.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving human subjects have been approved by the Institutional Review Board (IRB) at the Ohio State University.

# Section - Protocol

- Microfabrication of Bioparticle Microarray

  - Begin by preparing a 1.6 milligram per milliliter cationic polyelectrolyte, or CP, solution by adding the proper amount of CP powder to water [1-TXT] and mixing it on a stir plate overnight or until all solid is dissolved [2]. If desired, the solution can be made fluorescent by adding poly-L-lysine labeled with FITC [3].

    - Talent adding CP powder to water. TEXT: e.g. 0.8 g to 500 mL

    - Talent putting the solution on a hot plate.

    - Talent adding PLL-FITC to an aliquot of CP solution.

  - Generate the master silicon wafer using standard photolithography procedures [1]. The design used here is a 4 by 4-millimeter rectangular array of 30 micrometer diameter filled in circles with a 150-micrometer center-to-center spacing, but it can be modified as desired for different applications [2].

    - WIDE: Establishing shot of talent in front of the computer designing the wafer.

    - SCREEN: Design of wafer. Authors will submit screenshot

  - Spincoat a 40-micrometer thick layer of a negative photoresist onto a silicon wafer [1], then bake the wafer at 65 °C for 5 minutes and 95 °C for 10 minutes [2]. Expose the wafer to UV light through a chrome photomask with 150 to 160 millijoules per centimeter squared [3].

    - Talent operating the spincoater.

    - The wafer baking.

    - Talent placing photomask on wafer and exposing it to UV light.

  - Bake the wafer again at 65 °C for 5 minutes and 95 °C for 10 minutes [1], then submerge it in photoresist developer for 10 minutes [2] and rinse it with isopropyl alcohol [3]. The pattern should now be visible on the wafer [4].

    - Talent putting the wafer to bake.

    - Talent submerging wafer in developer.

    - Talent rinsing the wafer.

    - Wafer with pattern visible.

  - Next, thoroughly mix a 10 to 1 ratio of polydimethylsiloxane, or PDMS, prepolymer and its curing agent [1] and pour the uncured mixture over the master wafer in a Petri dish [2].

    - Talent mixing the PDMS.

    - Talent pouring the PDMS over the master wafer.

  - Vacuum treat the uncured PDMS mixture until no air bubbles are present [1], then cure it overnight at 65 °C [2]. On the next day, use a scalpel to cut around the exterior of the patterned section of the wafer [3] and slowly remove the cured PDMS slab [4], placing it on a clean cutting board with the patterned side facing up [5].

    - Talent vacuum treating the PDMS.

    - Talent putting the mixture to cure.

    - Talent cutting around the exterior of the patterned section of the wafer.

    - Talent removing the cured PDMS slab.

    - Talent placing the slab on a cutting board.

  - Punch out individual stamps from the PDMS slab with an 8-millimeter biopsy punch [1-TXT] and place each stamp face down on the adhesive tape to remove debris [2].

    - Talent punching out stamps. TEXT: 8 stamps / slide

    - Talent placing stamps on adhesive tape.

  - With the stamps facing up, prime each stamp with 100 microliters of the pre-prepared CP solution, ensuring that no air bubbles form between the solution and the stamp [1]. Then, invert the stamps onto a layer of CP solution [2] and remove them after an hour [3]. Videographer: This step is important!

    - ECU: Talent priming a few stamps.

    - Talent inverting the stamps.

    - Talent removing the stamps from the CP solution.

  - Dab each wet stamp face down onto a clean glass slide 6 to 8 times to remove excess liquid [1], then vacuum treat the stamps for 1 to 2 minutes [2]. Adhere an 8-well, 9-millimeter diameter imaging spacer on top of a clean glass slide as a guide for stamp placement [3].  Videographer: This step is difficult and important!

    - Talent dabbing the stamps on a glass slide.

    - Talent vacuum treating the stamps.

    - Talent adhering the spacer to the slide.

  - Place a stamp face down on the glass slide in the center of each well of the imaging spacer [1], then place a 5.6-gram balanced weight on top of each stamp and allow 10 minutes for stamping [2]. Videographer: This step is important!

    - Talent positioning the stamps.

    - Talent placing a balanced weight on top of the stamps.

  - Remove the weights and stamps from the slide [1] and allow the CP layer to dry at room temperature for 24 hours before adding bioparticles [2]. If the CP is tagged with FITC, check effectiveness of the stamping with a fluorescent microscope [3].

    - Talent removing the weights.

    - The slide drying.

    - Talent using the fluorescent microscope. Video Editor: Show Figure 1 M as an inset or split screen.

  - Cut a blank PDMS slab to the size of the imaging spacer [1] and use the 8-millimeter biopsy punch to create wells in the PDMS that align with the wells of the spacer [2]. Then, adhere the PDMS slab to the glass slide [3].

    - Talent cutting the PDMS slab.

    - Talent creating wells in the PDMS slab.

    - Talent adhering the PDMS slab to the glass slide.

  - Thaw a solution of bioparticles and dilute it to 500 micrograms per milliliter in water for injection [1-TXT]. Add 100 microliters of bioparticle solution to each PDMS well on the glass slide [2] and rock the slide for 30 minutes [3].

    - Talent diluting the thawed bioparticles. TEXT: E. coli or zymosan

    - Talent adding bioparticle solution to a few wells.

    - Talent putting the slide on the rocker and starting it.

  - Rinse the wells thoroughly with water [1] and check the pattern on the slide with a fluorescent microscope [2]. The bioparticle microarray can be stored in a dust-free environment at 4 °C for up to 3 months [3].

    - Talent rinsing the wells with water.

    - Talent checking the slide at the fluorescent microscope. Video Editor: Show Figure 1 N as an inset or split screen.

    - Talent putting the slide in the fridge for storage.

- Sample Preparation and Assay

  - Prepare the cells by resuspending them at 7.5 x 105 cells per milliliter in IMDM with 0.4% human serum albumin [1]. Add 100 microliters of the suspension to a PDMS well containing the bioparticle microarray [2], making sure that the cell suspension is convex over the top of the PDMS well and doesn’t contain any bubbles [3].

    - Talent resuspending the cells.

    - Talent adding cells to a well.

    - ECU: Cell suspension in the well without air bubbles.

  - Seal the well with a 12-millimeter diameter coverslip [1] and press down gently with tweezers so the excess cell suspension escapes to the edge of the well [2]. Then, use a tissue to remove the excess [3].

    - Talent covering the opening of the well with the coverslip.

    - ECU: Talent pressing down on the coverslip and excess cell suspension escaping.

    - Talent wiping away excess cell suspension.

  - To image the cells, load the microparticle array with cells on the live cell imaging station of a microscope equipped with a cage incubator set to 37 °C, 5% carbon dioxide, and 90% relative humidity [1].

    - Talent loading the array onto the microscope.

  - Use time-lapse fluorescent and brightfield microscopy to record images at 10 X magnification every 10 seconds at 405 nanometers, 594 nanometers, and brightfield [1-TXT].

    - Talent programming the time lapse imaging. TEXT: Collect images for up to 2 hours

- Supernatant Collection

  - Incubate the neutrophils in the wells with bioparticles at 37 °C and 5% carbon dioxide for 3 hours [1], taking samples at desired time points [2-TXT].

    - Microarray with cells in the incubator.

    - Talent taking the microarray out of the incubator. TEXT: 0, 0.5, 1, and 3 hours

  - Use a brightfield microscope to verify that swarms are formed on the microarray [1]. Collect the entire volume of supernatant of a single well [2] and load it into a 0.45 micrometer centrifuge filter tube, making sure to analyze each time point in triplicate [3].

    - Talent observing the microarray under a microscope.

    - Talent aspirating supernatant out of a well.

    - Talent loading the supernatant into the filter tube.

  - Centrifuge the tubes at 190 x g and 20 °C for 5 minutes and collect the filtered volume [1], then store the samples at -80 °C until processing time [2].

    - Talent putting the tubes in the centrifuge, closing the lid, and starting it.

    - Talent putting samples in the freezer.

  - Nicole Walters: When attempting this protocol, work with photoresist and developer in the fume hood. Have an IRB-approved protocol in place before drawing blood from human donors and remember that materials derived from human blood are BSL 2.

    - INTERVIEW: Named talent says the statement above in an interview-style shot. Videographer: Have talent look more directly at the camera compared to other interview shots because this is a warning statement.

# Section – Results

- Results: Neutrophil Swarming Around Bioparticle Clusters

  - When neutrophils are added to the bioparticle microarray, neutrophils that contact the bioparticle clusters become activated and initiate the swarming response. The bioparticle microarray was validated using time-lapse fluorescent microscopy to track neutrophil migration toward the bioparticle clusters [1].

    - Supplementary_Video_1.mp4. Video Editor: Emphasize the 4 clusters of neutrophils as they appear.

  - Stable neutrophil swarms are formed around each cluster after 3 to 60 minutes of exposure [1]. In contrast, neutrophils do not show collective migration in the absence of bioparticle clusters [2].

    - Figure 2 A. Video Editor: Emphasize the top row of images.

    - Supplementary_Video_2.mp4.

  - Fluorescence intensity of stained neutrophil nuclei was used to determine that the average swarm size around the bioparticle clusters was approximately 1,490 micrometers squared [1]. In the absence of clusters, fluorescence of a given region of interest remained constant over time [2].

    - Figure 2 B. Video Editor: Emphasize the top plot.

    - Figure 2 B. Video Editor: Emphasize the bottom plot.

  - Tracks of neutrophil migration show that neutrophils converged on a bioparticle cluster when one was present [1] but no convergence was observed in the control system [2].

    - Figure 2 C. Video Editor: Emphasize the top plot.

    - Figure 2 C. Video Editor: Emphasize the bottom plot.

  - The speed of swarming and nonactivated neutrophils was measured and a statistically significant difference in the speed distributions was found. The average speed for swarming neutrophils was 20.6 micrometers per minute while the average speed for control neutrophils was 2 micrometers per minute [1].

    - Figure 2 D.

  - The concentrations of 16 proteins that neutrophils released during swarming were analyzed over time [1]. Ten proteins increased in concentration [2], two decreased [3], and the remaining four increased during the first hour of swarming but decreased thereafter [4].

    - Figure 3.

    - Figure 3. Video Editor: Emphasize the plots for adipsin, galectin-3, GROa, IL-6R, MIP-1a, MMP-8, MMP-9, Nidogen-1, TIMP-1, and TLR2 (red lines).

    - Figure 3. Video Editor: Emphasize the plots for pentraxin 3 and RANK (blue lines).

    - Figure 3. Video Editor: Emphasize the plots for clusterin, PF4, RANTES, and Trappin-2 (green lines).

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Nicole Walters: While performing this procedure, ensure that everything is clean and your stamps are dried properly, as these are essential for successful patterning of the bacterial particles.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.9.1. and 2.9.2.

  - Nicole Walters: The development of this technique enabled researchers to explore new questions in the field of neutrophil swarming, including how free mediators and extracellular vesicles are involved in neutrophil intercellular communication.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.