RESPONSE TO EDITORIAL COMMENTS

Thank you for the very helpful comments, I have included a point-by-point response below as well as tracked changes on the revised manuscript.

When is this done? 24 h or 12 h after step 1.2.2?

It doesn’t need to be this precise here, as cells are adherent from ~five hours after seeding, and so in theory the user could do it any time from five hours onwards. To clarify this, I have added “The next day” into step 1.2.3 in addition to step 1.2.2. as this is simply a convenient way to run the protocol, overnight.

Please specify. HeLa or Cal51?

We have now more clearly specified which cell types are required at each stage, in steps 1.2.2, 1.2.5 and 1.2.6.

Please specify.

This was resolved with the changes above

From step 1.2.2? Both Hela and Cal51?

Yes, this has been specified and clarified now as Cal51 from step 1.2.2

Transfer cells to?

Yes, this was changed to transfer.

Are the cells counted after this step?

No, so I have not added anything here.

How to mix, by pipetting?

Yes, this has now been specified.

Are unlabeled cells mixed as well? Please specify.

Unlabeled cells are not mixed. To clarify this, I have added in a new step 1.2.14, stating what to do with the unlabeled cells. Step 2.1 has also been clarified as mixing far red and violet labelled cells.

Do you mean unlabeled?

Yes. Changed.

Is this correct? In step 1.2.1., it is fetal calf serum. Is a different medium used here? If so, please provide its composition.

This was incorrect, I have changed step 1.2.1 to foetal bovine serum as it should be consistent.

What volume is used? Is PFA removed after 15 min?

Volume specified. Yes PFA is removed after 15 min, which I have specified now.

What volume is used and at what temperature?

Volume has been specified for this step and also steps 4.2.5 and 4.2.6

At what temperature?

RT specified.

Figure 2 appears before Figure 1. Please reference Figure 1 at the beginning of the protocol.

Figure 1 has been referenced in the introduction now so that it appears in the text first.

What volume?

I have specified.

Do you mean PBS is not discarded after wash? Please specify.

Yes. I have specified to add 200 ul PBS and hopefully this conveys that. If it is clearer I could make this another step separate to wash.

Please spell it out

Done.