# Submission ID #: 60615

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18487623

Title: Real-Time Magnetic Resonance Guided Focused Ultrasound for Painful Bone Metastases

Authors and Affiliations: Wei-Jun Wang1, Hsin-Lun Lee1,2, Shiu-Chen Jeng1,3, Jeng-Fong Chiou1,4,5, and Yaoru Huang1,6

1Department of Radiation Oncology, Taipei Medical University Hospital

2The Ph.D. Program for Translational Medicine, College of Medical Science and Technology, Taipei Medical University and Academia Sinica, Taipei Medical University

3School of Dentistry, College of Oral Medicine, Taipei Medical University

4Department of Radiology, School of Medicine, College of Medicine, Taipei Medical University

5Taipei cancer center, Taipei Medical University

6Graduate Institute of Biomedical Materials & Tissue Engineering, College of Biomedical Engineering, Taipei Medical University

# Corresponding Author:

# Yaoru Huang

# ruiseart.huang@gmail.com

Email addresses for Co-authors:

weijunwang2016@gmail.com

cscsoso@gmail.com

b001089024@tmu.edu.tw

solomanc@tmu.edu.tw

# PLEASE READ THE INSTRUCTIONS IN THE GRAY BOXES CAREFULLY AND USE TRACK CHANGES WHILE MAKING ANY EDITS TO THE DOCUMENT.

# This document has several sections on separate pages, so take care to view each page.

Author Questionnaire:

Authors, please fill out the unanswered questions below.

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page on the day of your shoot or as soon as possible after.

3. Which steps from the protocol section below are the most visually important? Please list 4-6 individual steps using the step numbers listed in this document. This information is important for informing the Videographer how to film these steps. (Do not include steps that will be screen captured or represented by lab media. Do not list entire sections.)

Authors, please answer this question with the steps listed here in the Protocol section below for use by the videographer.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Authors, please answer this question with the steps listed here in the Protocol section below for use by the videographer.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

- The total introduction length (i.e., Required and Optional Interview Statements) cannot exceed 150 words.

- Restrict the length of each statement to no more than 30 words.

- Please answer the questions below in full sentences to highlight the significance of your protocol. You will be expected to memorize and deliver these sentences as spoken interview statements during filming.

- Indicate the full name of each author who will give each statement.

- Each author may give two Introduction statements maximum (i.e., two Required, two Optional, or one Required + one Optional).

# Why is your protocol significant? OR What key questions can this method help answer?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera).

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# What is the main advantage of this technique?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

- The following OPTIONAL questions may be answered to provide additional introductory information about your protocol.

- The length of each OPTIONAL statement is restricted to no more than 30 words and contributes to the total introduction length, which cannot exceed 150 words.

- Indicate the full name of each author who will give each OPTIONAL statement.

- Each author may give two Introduction statements maximum (i.e., two Required, two Optional, or one Required + one Optional).

# Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera).

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Are there any specific areas of research that this method could provide insight into?

# Can this method be applied to any other systems?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# How would you expect an individual who has never performed this technique to struggle?

# Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Author Name: ___________ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

# Why is visual demonstration of this method critical?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

- Please use this statement ONLY if any of the individuals who will be demonstrating the procedure on camera have not given a required or optional Introduction interview statement already.

- Include the full name(s) of the person(s) demonstrating the experiment followed by their title (e.g., technician, post doc, grad student, clinician, etc.)

- Also indicate the full name of the author who will introduce the demonstrator(s).

  - Author Name: Demonstrating the procedure will be _________ (name of the person or persons), a _________ (technician, post doc, grad student) from my laboratory. (Add additional mention of demonstrators as necessary).

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) or equivalent body at (insert Institutional Name).

OR

Procedures involving human subjects have been approved by the Institutional Review Board (IRB) or equivalent body at (insert Institutional Name).

# Section - Protocol

- Read through the entire protocol carefully to understand what you will need on the filming day and prepare accordingly.

- The two-digit numbers (e.g. 2.1., 2.2.) represent the “steps” of you protocol and will be read by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the “shots” that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in a single workday, the protocol is restricted to 30 steps and/or 60 shots.

- It is critical for a smooth and organized shoot that all materials and workspaces are prepared and labeled (if applicable) in advance.

- Any specimens/samples that require long or overnight incubation steps should be prepared in advance. (i.e. day 0 sample preparation will be filmed on the day of the shoot; day 1 samples should be prepared the day before the shoot so their processing can be filmed on the day of the shoot/after their overnight culture/treatment/etc.)

- Each section must contain a minimum of 3 steps (~6 shots), so short sections may be combined.

- Pretreatment Consultation and Computed Tomography (CT)-Simulation for Treatment Spot

  - One day before magnetic resonance-guided focused ultrasound, position the Patient in a supine, head-first position on the couch [1] and perform a helical CT (C-T) scan over the treatment area with a 3-millimeter slice thickness [2-TXT].

    - WIDE: Talent positioning Patient

    - Talent at CT, performing scan, with monitor visible in frame TEXT: 120 kV, 400 mAs/slice

  - Adjust and tilt the Patient’s position in the center of the couch to locate the lesion [1] and place a 1-centimeter CT marker vertically on the skin surface close to the lesion [2].

    - Talent adjusting Patient position

    - Marker being placed

  - Conduct a second helical CT scan to confirm the position of the patient and the location of the CT marker [1].

    - SCREEN: To be provided by Authors: Scan being conducted to confirm patient position

  - Then mark the location of the CT marker with a marker pen [1] and take a picture of the Patient’s position [2-TXT].

    - Position being marked

    - Talent taking photo of Patient TEXT: Precise confirmation of treatment spot and position before MRgFUS facilitates positioning during MRgFUS

- Magnetic Resonance-Guided Focused Ultrasound (MRgFUS) Patient Preparation

  - On the day of the treatment, verify the Patient's identity according to photo identification [1] and confirm that the Patient has removed all metal objects and magnetic devices [2].

    - WIDE: Talent checking Patient ID

    - Talent with checklist asking Patient about metal objects

  - One hour before the scheduled treatment time, apply a 10-centimeter radius of lidocaine cream onto the marked area [1].

    - Cream being applied to marked area

  - Thirty minutes before treatment, place a peripheral intravenous line on the hand, forearm, leg, or foot on the side opposite to the lesion [1] and intravenously drip 5 milligrams of dexamethasone in 50 milliliters of normal saline for 10 minutes [2] followed by 30 milligrams of ketorolac in 50 milliliters of normal saline for 10 minutes [3].

    - IV being placed

    - Talent adding drug to IV

    - Drug being delivered

  - Ten minutes before the treatment, carefully remove the lidocaine cream [1].

    - Cream being removed

  - Five minutes before the treatment, check the Patient’s vital signs before sending the Patient out for treatment [1].

    - Talent checking Patient pulse or similar representative action

- Daily Quality Assurance (DQA) Before MRgFUS: DQA Setup

  - To set up the DQA (D-Q-A), replace the diagnostic couch with the magnetic resonance-guided focused ultrasound couch with a focused ultrasound transducer [1] and connect the couch to the system [2].

    - WIDE: Talent pushing couch into plate TEXT: Remove all metal objects and electronic devices before entering MRI room

    - Talent connecting couch to system

  - Apply about 1 millimeter of ultrasound transmission gel and degassed water onto the surface panel of the focused ultrasound transducer [1] and slowly and carefully place a gel pad onto the panel without creating any gas bubbles during the process [2].

    - Gel and/or water being added to panel

    - Gel pad being placed onto panel

  - Then place the DQA phantom on the gel pad without creating any gas bubbles [1].

    - Phantom being placed onto pad

  - Next, adjust the position of the transducer in the axial and sagittal images to let the sonication field cover the phantom [1] and click Load to load the MRI (M-R-I) images [1].

    - Transducer position being adjusted

    - SCREEN: To be provided by Authors: Load being clicked

  - Click Sag and Select All to select all of the images and click Ax and Select All again [1].

    - SCREEN: To be provided by Authors: Sag, Select All, Ax, and Select All being clicked

  - Click Draw to define the sonication area and click Skin Line to contour the surface between the phantom and gel pad [1].

    - SCREEN: To be provided by Authors: Draw and Skin line being clicked, then surface being contoured

  - Click Copy to copy the skin lines to all of the sagittal and axial slices of images. Then adjust and confirm the skin line is correct in each image [1].

    - SCREEN: To be provided by Authors: Copy being licked, then skin line being adjusted

  - Click Treating Area to contour the treatment area in the phantom for three continuous slices and click Protocol to select Bone 15 [1].

    - SCREEN: To be provided by Authors: Treating Area being clicked and treatment area being contoured, then Protocol and Bone 15 being clicked

  - Then click Apply and Fiducial and select a spot in the phantom as a reference point [1].

    - SCREEN: To be provided by Authors: Apply and Fiducial being clicked, then spot being selected

- Daily Quality Assurance (DQA) Before MRgFUS: DQA Planning and Calibration

  - For DQA planning, click Plan and Verify [1] and click Add Sonication to add one spot for sonication within the phantom [2].

    - WIDE: Talent clicking Plan and Verify

    - SCREEN: To be provided by Authors: Add sonication being clicked, then spot being added

  - Confirm that the sonication field is within the phantom in each sagittal and axial slice [1] and set the scan direction to Coronal and the number slice to 5 with a preset energy output. Then click Sonication to start [2].

    - SCREEN: To be provided by Authors: Shot of sonication field within phantom

    - SCREEN: To be provided by Authors: Scan direction being set to Coronal and number slice being set to 5, then Sonication bein clicked

  - After the sonication, the magnetic resonance-guided focused ultrasound system will show the temperature images [1].

    - SCREEN: To be provided by Authors: Shot of temperature images

  - Confirm the heating spot and click Center to mark the spot [1].

    - SCREEN: To be provided by Authors: Heating spot being confirmed, then Center being clicked

  - Use the mouse to check the heating spot and other, non-heating spots to compare the thermal curve to locate artifacts or background signals [1].

    - SCREEN: To be provided by Authors: Heating and non-heating spots being checked

  - The system shows adjustments the for the transducer location in millimeters in 3 axials. Click Accept and Back to perform the sonication again with a 20% increase in energy [1].

    - SCREEN: To be provided by Authors: Accept and Back being checked

  - Confirm that the second adjustment is within 1 millimeter and click Reject [1].

    - SCREEN: To be provided by Authors: Second adjustment being confirmed, then Reject being clicked

  - Next, set scan direction to Axial and the number slice to 5 with a preset energy output [1] and make axial adjustments demonstrated [2].

    - SCREEN: To be provided by Authors: Scan direction being set to axial, then number slice being set to 5

  - Then click Exit to leave DQA [1] and remove the phantom [2].

    - SCREEN: To be provided by Authors: Exit being clicked

    - Phantom being removed

- Pretreatment MR Scanning

  - Before starting the pretreatment, position the Patient on the magnetic resonance-guided focused ultrasound couch in the same position as for the simulation setup [1].

    - WIDE: Talent positioning Patient/couch

  - Then align the mark on the skin with the center of the gel pad [1] and create a new MR scan in the system software [2].

    - Mark being aligned

    - Talent creating scan, with monitor visible in frame

  - Enter the Patient’s information and select Supine and Feet First as the scanning parameters. Set the scanning protocol as ExAblate, Plan, Bone [1].

    - SCREEN: To be provided by Authors: Patient information being entered, then Supine and Feet first being selected, then scanning protocol being set to ExAblate, Plan, and Bone

  - Acquire three-plane T2 images and click View Edit to confirm the scanning area [1].

    - SCREEN: To be provided by Authors: Images being acquired, then View Edit being clicked

  - Click Save, Download, and Auto PreScan. Confirm the scanning area after the prescan and click Scan [1].

    - SCREEN: To be provided by Authors: Save, Download, and Auto Prescan being clicked, then scanning area being confirmed, and Scan being clicked

  - Then confirm the lesion, MR scanning field, and patient position [1-TXT].

    - SCREEN: To be provided by Authors: Lesion, scanning field, and position being confirmed TEXT: Scanning field should be over treatment area and cover US transducer

- Treatment Contouring and Planning and Post-Treatment Evaluation

  - For treatment contouring, first click Bone Tumors and Contouring and MR scan [1].

    - WIDE: Talent clicking bone tumors, contouring, and MR scan, with monitor visible in frame

  - Confirm that the exam number is the same as in the MRI system and click Load to load the MRI images collected from the scan [1].

    - SCREEN: To be provided by Authors: Exan number being confirmed, then Load being clicked

  - Click Sag and Select All. Then click Ax and Select All again [1].

    - SCREEN: To be provided by Authors: Sag and Select all being clicked, then Ax and Select all being clicked

  - Next, click Draw to define the sonication area and click Skin Line to contour the skin surface [1].

    - SCREEN: To be provided by Authors: Draw being clicked, then Skin line being clicked and skin being contoured

  - Click Copy to copy the skin lines to all of the sagittal and axial slices of the images. Adjust and confirm that the skin line is correct in each image [1].

    - SCREEN: To be provided by Authors: Copy being clicked, then skin line being adjusted/confirmed

  - Click Bone to contour the bone surface and click Block to contour vital organs, such as nerves, vessels, or bowels, to prevent sonication through these areas [1].

    - SCREEN: To be provided by Authors: Bone being clicked, bone surface being contoured, and Block being clicked

  - Then click Fiducial and select a spot near the lesion as a reference point [1].

    - SCREEN: To be provided by Authors: Fiducial being clicked and spot being selected

  - When all of the contouring is complete, click Plan and Verify and review the treatment plan, adjusting the sonication as needed [1-TXT].

    - SCREEN: To be provided by Authors: Plan and Verify being clicked, then sonication being adjusted TEXT: Sonication pathway should be from transducer to lesion through skin surface

  - Before delivering the treatment, select one sonication with the preset parameters and click Sonication to start [1].

    - SCREEN: To be provided by Authors: Sonication being selected, then Sonication being clicked

  - Monitor the temperature rise and the thermal curve of the heating spot as well as the reference spot to check for artifacts or background signals. Then increase the energy output and repeat the sonication to the same spot until the temperature is over 65 degrees Celsius to reach thermal ablation [1].

    - SCREEN: To be provided by Authors: Shot of temperature rise and thermal curve, then energy being increased and sonication being repeated

    - SCREEN: To be provided by Authors: Sonication being clicked, shot

  - When the entire lesion has been treated, acquire a post-treatment MRI to evaluate the treatment and the thermal effect [1-TXT].

    - SCREEN: To be provided by Authors: MRI of treatment and thermal effect TEXT: Repeat sonication if thermal ablation does not treat whole leasion

OPTIONAL – Critical Step Statement:

- An OPTIONAL brief statement may be submitted for further elaboration of the best way to perform the required technique for the single most critical step of this procedure.

- If there is no single critical step, then there is no need to fill out this statement.

- This will be an interview style shot interjected after the relevant step within the Protocol section of the video.

- This statement is limited to 30 words or less.

- Please indicate the full name of the Author who will give this statement and the step of the protocol to which the statement pertains using the step numbers from the Protocol section (above).

# Fill in the details below based on the instructions above for the “Critical Step Statement”

# Author name, Step            :           (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

# Section – Results

# The Results section is restricted to 200 words of narrative. Please read through the results as presented to make sure that it accurately represents your findings. If you would like to highlight other data, please revise this section accordingly, keeping in mind the word count restriction. Please note that we cannot include narrative without an accompanying visual.

- Results: Representative MR Images and Treatment Plans

  - For this representative huge pelvic mass over the left side of the pelvis [1], the treatment on May 27, 2014 used nine sonications of 2987.56 ± 1083.98 Joules [2], heating the tumor up to 61.78 ± 7.11 degrees Celsius in each 20-second sonication [3].

    - LAB MEDIA: Figure 1A Video Editor: please add red arrow/emphasize tumor indicated by red arrow

    - LAB MEDIA: Figure 1 ROT-1 parameters Video Editor: please emphasize Sonication Duration and Spot Energy parameters

    - LAB MEDIA: Figure 1 bottom left image Video Editor: please emphasize blue triangles and blue tissue outline

  - Due to the failure of systemic medication, the second magnetic resonance-guided focused ultrasound treatment was arranged on January 11, 2015 for the same bone metastasis [1].

    - LAB MEDIA: Figure 2A

  - The treatment plan used 5 sonications with 1638.60 ± 210.67 Joules [1], heating the tumor to 64.40 ± 6.31 degrees Celsius in each 20-second sonication [2].

    - LAB MEDIA: Figure 2 ROT-1 parameters Video Editor: please emphasize Sonication Duration and Spot Energy parameters

    - LAB MEDIA: Figure 1 bottom left image Video Editor: please emphasize blue outline

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

- Below are questions for statements that can be used to further emphasize the significance of your protocol. At least one statement is required.

- Each statement is limited to 30 words.

- Answer the questions in full sentences, as you will be expected to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will give each Conclusion Interview statement.

- Each author may give two Conclusion statements maximum.

# What is most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section this advice correlates to.

  - Author Name: ____ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera) (Step: __)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Author Name: ____ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Author Name: ____ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Are any of the reagents or instruments hazardous? If so, please use this interview statement to remind viewers of what precautions they should take. If no materials are hazardous, leave this statement blank.

  - Author Name: ___(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Thank you for following the instructions and addressing our questions. We will incorporate your answers/suggestions and send you the finalized script before your shoot. You will also receive detailed shoot preparation instructions in the email accompanying the finalized script.