## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
1L degasseed water pouch | InSightec | ASM001480 | for good ultrasound beam transmission
CT scan | Philips | Brilliance Big Bore 16 Slice CT, 7387 | Acquire CT images for positioning
EXABLATE | InSightec | EXABLATE 2000 | System for non-invasive tumor ablation through Focal Ultrasound (FUS) treatment under Magnetic Resonance (MR) guidance
Gel Pad ASSY | InSightec | SET999014 | Transmission gel pad for single Body treatment.
MR scan | GE | HDxT | Acquire MR images for contouring and planning
MRI contrast | Guerbet | Dotarem | Enhance MR for acquiring images
Patient accessory kit | InSightec | SET000016 | clinical applications single use treatment kit
Patient plastic drape | InSightec | DTP000067 | Cover the panel of ultrasound transducer. Deposible, hygiene use
Pelvic RF coil | GE | ASM000956 | Enhance MR for acquiring images
phantom | ATS Labs ATS Labs Inc | Model TxS-100 | for calibration
ultrasound transmission gel | InSightec | SET000885 | gel for calibration prior MR-guided FUS treatment

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=