# Submission ID #: 60645

# Scriptwriter Name: Bridget Colvin

Project Page Link:  http://www.jove.com/files_upload.php?src=18496773

Title: Predictive Immune Modeling of Solid Tumors

Authors and Affiliations:  Natalie A. LaFranzo1, Kevin C. Flanagan1, and Danielle M. Quintanilha1

1Cofactor Genomics

# Corresponding Author:

# Natalie A. LaFranzo

# natalie_lafranzo@cofactorgenomics.com

Email addresses for Co-authors:

kevin_flanagan@cofactorgenomics.com

danielle_quintanilha@cofactorgenomics.com

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? N

3. Which steps from the protocol section below are the most important for viewers to see?

3.1., 3.2., 5.2., 5.3., 5.12., 5.13., 5.17.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

5.2., 5.3., 5.12. Each heated wash should be performed one strip tube at a time, taking care not to let the samples cool down too much. Care is also taken to ensure complete mixing during washes, and to not disturb the beads when removing supernatant.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Kevin Flanagan: Comprehensively characterizing the tumor microenvironment is essential in immune-oncology research. This assay is the first to use RNA-based Health Expression Models to measure immune cells in solid tumor tissue [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Danielle Quintanilha: This assay enables researchers to gain highly sensitive and specific measurements of the immune contexture in FFPE solid tumor tissues and to combine these results into a multidimensional biomarker [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Kevin Flanagan: All cancer treatments, not just immunotherapies, elicit an immune response at the site of the solid tumor. Measuring this immune response is important for understanding disease progression and therapy responses [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Danielle Quintanilha: This protocol combines traditional RNA library preparation techniques with targeted capture. While time-consuming, following the wash steps and monitoring the QC checkpoints as suggested is very important for success [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Human tissue samples were purchased from a reputable entity (TriStar Technology Group) and have informed donor consent permitting academic and commercial research, as well as approval from a competent ethical committee.

# Section - Protocol

- First Strand DNA Synthesis

  - For highly degraded RNA from formalin-fixed, paraffin-embedded samples, [1] assemble the first strand synthesis reaction on ice according to the Table [2].

    - WIDE: Talent placing samples on ice, with reagent containers visible in frame

    - LAB MEDIA: Table 4

  - Thoroughly mix the reactions by pipetting up and down several times [1-TXT] before briefly spinning down the samples in a microcentrifuge [2-TXT].

    - Reaction being mixed by pipette TEXT: Do not vortex enzymatic reactions

    - Tube(s) being placed into centrifuge TEXT: ≥3 s, ≥1000 x g

  - At the end of the centrifugation, immediately place the samples into a preheated thermal cycler following Program #3 from the Table [1].

    - LAB MEDIA: Supplemental Table 2

  - For highly quality, intact RNA, assemble the first strand synthesis reaction on ice in a nuclease-free PCR tube as outlined in the Tables [1].

    - LAB MEDIA: Table 3 and Supplemental Table 2

- Blocking Oligos, Cot-1 DNA, and Pre-Capture Library Preparation for Hybridization

  - To begin this procedure [1], mix 200 nanograms of the barcoded library of interest with 2 micrograms Cot-1 (cot-one) DNA [2] and 2 microliters blocking oligos in a nuclease-free PCR tube [3].

    - WIDE: Establishing shot of Talent approaching work area w/ vessel of barcoded library of interest in hand

    - Talent adding library and Cot-1 to tube, with library and Cot-1 containers visible in frame Videographer: Important step

    - Blocking Oligos being added to tube, with blocking oligos container visible in frame Videographer: Important step

  - Then use a vacuum concentrator set to 30-45 degrees Celsius to dry the contents of the tube [1-TXT].

    - Tube being dried Videographer: Important step TEXT: Optional: Store dried samples O/N at RT or long term at -20 °C

- Hybridized Target Streptavidin Bead Binding

  - After hybridization, remove the samples from the thermal cycler [1-TXT] and set the thermal cycler to incubate at 65 degrees Celsius with the heated lid set to 70 degrees Celsius [2].

    - Talent removing samples TEXT: See text for hybridization details Videographer comment: Use 2nd take for scene 4.1.1. Author stated that take 1 was using the wrong machine

    - Talent setting thermal cycler

  - Use a multichannel pipette to transfer 17 microliters of fully homogenized beads to the samples [1] and pipette thoroughly up and down 10 times [2].

    - Talent transferring beads to samples, with bead container visible in frame

    - Samples being mixed

  - To bind the DNA to the beads, place the tubes into the thermal cycler following Program 10 [1], briefly removing the strip tubes every 10-12 minutes [2] for three seconds of gentle vortexing to keep the beads resuspended [3].

    - Talent placing tube(s) into cycler

    - Tubes being removed Author comment: 4.3.2 and 4.3.3 were combined into one shot.

    - Tubes being vortexed

- Streptavidin Bead Unbound DNA Removal

  - Immediately following the binding incubation, remove 1 strip of tubes from the thermocycler [1-TXT] and add 100 microliters of pre-heated wash buffer 1 to the tubes [2-TXT].

    - WIDE: Talent removing strip of tubes from thermocycler TEXT: If >1 strip, keep other strips in thermocycler during bead wash and resuspension

    - Talent adding wash buffer 1 to tube(s), with buffer 1 container visible in frame TEXT: See text for all solution and reagent preparation details

  - Pipette thoroughly up and down 10 times [1] and place the tubes on a magnetic rack to allow the beads to fully separate from the wash solution [2] before aspirating the unbound DNA-containing supernatant [3].

    - Samples being pipetted Videographer: Important/difficult step

    - Talent placing tube(s) onto rack

    - Supernatant being aspirated

  - Remove the tubes from the rack [1] and add 150 microliters of pre-heated stringent wash buffer with thorough mixing to completely resuspend the beads, taking care to avoid bubbles [2-TXT].

    - Talent removing tubes

    - Buffer being added/beads being mixed, with buffer container visible in frame Videographer: Important/difficult step

  - Place the tubes back into the thermal cycler at 65 degrees Celsius for 5 minutes [1] before placing the tubes back onto the magnetic rack to allow the beads to fully separate from the supernatants [2].

    - Talent placing tubes into cycler

    - Tubes being placed onto rack

  - Discard the unbound DNA-containing supernatants [1] and wash the beads two more times with preheated stringent wash buffer as just demonstrated [2].

    - Supernatant being aspirated

    - Buffer being added/beads being mixed, with buffer container visible in frame

  - After the last wash, remove the supernatant [1] and add 150 microliters of room temperature wash buffer 1 to the tubes [2].

    - Use shot 5.2.3

    - Use shot 5.5.2

  - Pipette the wash 10-20 times to completely resuspend the beads [1] and incubate the samples with the lids sealed for 2 minutes [2], alternating between vortexing for 30 seconds and resting for 30 seconds [3].

    - Beads being resuspended

    - Talent capping tubes

    - Talent vortexing tubes

  - At the end of the incubation, place the tubes onto the magnetic rack [1] and remove the supernatant once the beads have fully adhered to the magnet [2].

    - Use shot 5.2.2

    - Use shot 5.2.3

  - Centrifuge the tubes briefly with the caps closed [1-TXT] and return the samples to the magnetic rack [2].

    - Talent placing tube(s) into centrifuge TEXT: ≥3 s, ≥1000 x g

    - Talent placing tubes onto rack

  - Use a 10-microliter pipette to remove any residual wash buffer [1] and add 150 microliters of room temperature wash buffer 2 [2].

    - Buffer being aspirated

    - Wash buffer 2 being added to tube(s), with buffer 2 container visible in frame

  - Pipette the wash 10-20 times to completely resuspend the beads [1] and incubate the samples with the lids sealed for 2 minutes [2], alternating between vortexing for 30 seconds and resting for 30 seconds [3].

    - Use shot 5.7.1

    - Talent capping tubes

    - Talent vortexing tubes

  - After a brief centrifugation, transfer the entire volume of beads from each tube into clean, nuclease-free PCR tubes [1] and place the tubes onto the magnetic rack [2].

    - Talent transferring beads to tube(s) Videographer: Important/difficult step

    - Tubes being placed onto rack Videographer: Important/difficult step

  - After discarding the unbound DNA-containing supernatants [0], briefly centrifuge the samples again [1] and use a 10-microliter pipette to remove any residual wash buffer from the beads while they are in the magnetic rack [2].

# 5.13.0 [ADDED shot]: Supernatant being aspirated.

    - Talent placing tubes into centrifuge Videographer: Important step

    - Supernatant being aspirated Videographer: Important step

  - Add 150 microliters of wash buffer 3 to the tube [1] and pipette up and down 10-20 times to completely resuspend the beads [2].

    - Talent adding wash buffer 3 to tube(s), with wash buffer 3 container visible in frame

    - Beads being resuspended Author comment: 5.14.1 and 5.14.2 were combined into a single shot.

  - Incubate the tube for 2 minutes, alternating between 30 seconds of gentle vortexing and 30 seconds of rest [1] before briefly centrifuging [2].

    - Use shot 5.11.3

    - Talent placing tube(s) into centrifuge

  - Place the tubes onto the magnetic rack to aspirate the supernatants [2] and briefly centrifuge the bead samples again [3].

    - Supernatant(s) being aspirated

    - Talent placing tube(s) into centrifuge

  - Use a 10-microliter pipette to remove any residual wash buffer from the beads while they are in the magnetic rack [1] before removing the tubes from the rack [2] and resuspending the beads in 20 microliters of nuclease-free water per tube [3].

    - Buffer being aspirated Videographer: Important step

    - Talent removing tube(s) from rack Videographer: Important step

    - Water being added to tube, with water container visible in frame Videographer: Important step

  - Then pipette the beads 10 times to ensure that any beads stuck to the side of the tubes have been resuspended [1].

    - Beads being pipetted

# Section – Results

- Results: Representative Predictive Immune Modeling

  - The presence of adaptor dimers should be evaluated to determine if additional cleanup is necessary [1].

    - LAB MEDIA: Figure 5

  - For example, this electropherogram shows an acceptable level of adaptor dimer [1], which appears as a sharp peak around 128 base pairs [2], while this electropherogram shows an unacceptable level of adaptor dimer [3].

    - LAB MEDIA: Figure 5 Video Editor: please emphasize Figure 5B

    - LAB MEDIA: Figure 5 Video Editor: please emphasize peak at 128 bp in Figure 5B

    - LAB MEDIA: Figure 5 Video Editor: please emphasize Figure 5A and/or beak at 128 bp in Figure 5A

  - The immune profiles pre- and post-treatment may be used to understand the effects of a specific therapy on the tumor microenvironment [1], as in this representative analysis for which the changes in percentage for each immune cell of interest [2] and the total immune content are shown pre- and post-chemotherapy for a single patient [3].

    - LAB MEDIA: Figure 10

    - LAB MEDIA: Figure 10 Video Editor: please emphasize all data lines except the black data line

    - LAB MEDIA: Figure 10 Video Editor: please emphasize black data line

  - In this analysis, samples between patient groups were compared according to their time to disease progression following treatment [1].

    - LAB MEDIA: Figure 11

  - A subset of the patients showed disease recurrence after 18 months [1], while another subset progressed faster in 18 or fewer months [2].

    - LAB MEDIA: Figure 11 Video Editor: please emphasize blue data bars

    - LAB MEDIA: Figure 11 Video Editor: please emphasize orange data bars

  - The median delta value could then be compared for each sample to identify putative biomarkers of disease progression [1].

    - LAB MEDIA: Figure 11 Video Editor: please emphasize yellow ovals

  - For example, here two immune escape genes were identified as statistically significant differentiators of the sample groupings [1].

    - LAB MEDIA: Figure 12A: Video Editor: please emphasize CD47 and OX40 graphs

  - Because the individual gene biomarkers were robust with clear statistical significance, the multidimensional biomarker did not add significant predictive value [1].

    - LAB MEDIA: Figure 12A: Video Editor: please emphasize CD47 and OX40 ppv and npv data

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Danielle Quintanilha: Be sure to perform the heated washes one strip at a time to prevent sample cooling and remember to transfer the beads to fresh tubes to avoid off-target contamination [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Step: 4.3.2.)

  - Danielle Quintanilha: This protocol demonstrates the use of gene expression models to quantify immune cells in tumor tissue. New models are being developed to measure cell states, such as exhaustion or activation [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera