12345_screenshot_1

- 5.3.1 (Opem IncuCyte Zoom2016A software.) 00:00-00:24

- 5.3.2 (Click Schedule Scans I Add Vessel to select your plate type) 00:25-00:42

- 5.4.1 (Click Edit Scan Patterns to select objective lens and wells, choose how many Images per well. Click Save) 00:43-01:19

- 5.4.2 (Right click timeline and choose scanning Starting At, Add Scans Every, and For a Total of to set scanning staring time, interval and total duration, click OK ) 01:20-01:39

- 5.4.3 (Check boxes in Channel Selection panel to select Phase, Green, and Red channels. Adjust Acquisition Time to adjust exposure time. Click Apply to start imaging) 01:40-02:00

- 5.6.1 (After imaging finished, click View Scans, choose your scanning date and starting time in the Scanning Log column. Double click your plate to open your data file.) 02:01-02:34

- 5.6.2 (Select well and image you wish to retrieve.) 02:35-02:48

- 5.6.3 (Click Utilities I Export Movies or Image Sets, select Movie and choose Time Range to decide when your movie starts and ends.) 02:49-03:55

- 5.6.4 (When preview appears, adjust video Quality to maximum, set Frame per second at 4, choose the area to be exported by dragging the red guides. Click Continue I Continue, give a Name and Target Folder to your video file, click Begin Export, then your video of selected area will be retrieved.) 03:56-05:58

- 5.6.5 (When video retrieval finished, a pop-up window will be appeared and ask if you would like to open the file now, click Yes. Then the time-lapse video will be displayed.) 05:59-06:40