Reviewers' comments:
Reviewer #1:

Summary:

A new technique, isolated-check visual evoked potential (icVEP) was designed and reported to detect glaucomatous damage earlier. It created low spatial frequency/high temporal frequency bright stimulus, recording cortical activities initiated primarily by afferents in the magnocellular ON cell pathway. The study was raised to present standard operative procedures (SOP) of icVEP to obtain reliable results, and to prove it can detect visual function loss by signal-to-noise-ratio corresponding to the defects of retinal nerve fiber layer (RNFL) in early-stage of open-angle glaucoma (OAG). VEPs were recorded and analyzed automatically by the software and signalto-noise ratios (SNR) were derived based on a multivariate statistic. Eyes that yielded an SNR≤1 were considered as abnormal. Receiver-operating-characteristic (ROC) curve analysis was used to estimate the accuracy of group classification. So far, the SOP had been applicated in cross-sectional studies, showing icVEP could detect glaucomatous visual function loss in central visual field by the form of SNR, which was also correlated with the thickness thinning of RNFL and produced high classification accuracy for early-stage of OAG.

The manuscript is interesting, but authors must make some changes to make it pleasing to the reader.

Please review both the acronyms (some are lost) and the English language.  Yes, I’ve revised them. Thank you! 

The whole manuscript must be reviewed and lightened by some sentences. Yes, I’ve lightened them. Thank you! 

Please, the purpose of the research must be better highlighted in the Introduction Section. Yes, I’ve revised the purpose. Thank you! 

The explanations of the figures and tables must be improved. The reader must understand through the legend what is present in the figures and in the tables. Yes, I’ve revised them. Thank you! 

Please, table 1 the "Diagnosis (POAG/NTG)" data. Do you need it? I’ve revised it. Thank you! 

The Discussion section also needs a makeover for make the section lighter and more pleasant. For example, I propose to add 2 references to expand and enrich the manuscript:
- Role of Protease-Inhibitors in Ocular Diseases. Pescosolido N, et al. Molecules. 2014 Dec 8;19(12):20557-20569.
- Multifocal and pattern-reversal visual evoked potentials vs. automated perimetry frequency-doubling technology matrix in optic neuritis. Nebbioso M, et al. Indian J Ophthalmol. 2013 Feb;61(2):59-64.  Yes, I’ve added them. Thank you very much!