TITLE:

The CryoAPEX Method for Electron Microscopy Analysis of Membrane Protein Localization Within Ultrastructurally-Preserved Cells

AUTHORS AND AFFILIATIONS:

Elaine M. Mihelc1, Stephanie Angel2, Robert V. Stahelin2,3,4, Seema Mattoo1,4,5,6

1Department of Biological Sciences, Purdue University, West Lafayette, IN

2Department of Medicinal Chemistry and Molecular Pharmacology, Purdue University, West Lafayette, IN

3Purdue Institute of Inflammation, Immunology and Infectious Disease, Purdue University, West Lafayette, IN

4Bindley Biosciences Center, Purdue University, West Lafayette, IN

5Purdue Institute of Integrative Neuroscience, Purdue University, West Lafayette, IN

6Purdue Center for Cancer Research, Purdue University, West Lafayette, IN

Corresponding Author:

Seema Mattoo (smattoo@purdue.edu)

Email Addresses of Co-Authors:

Elaine M. Mihelc (emihelc@purdue.edu)

Stephanie Angel (angels@purdue.edu)

Robert V. Stahelin (rstaheli@purdue.edu)

KEYWORDS:

CryoAPEX, membrane protein, APEX2, transmission electron microscopy, cryofixation, high pressure freezing, freeze substitution

SUMMARY:

This protocol describes the cryoAPEX method, in which an APEX2-tagged membrane protein can be localized by transmission electron microscopy within optimally-preserved cell ultrastructure.

ABSTRACT:

Key cellular events like signal transduction and membrane trafficking rely on proper protein location within cellular compartments. Understanding precise subcellular localization of proteins is thus important for answering many biological questions. The quest for a robust label to identify protein localization combined with adequate cellular preservation and staining has been historically challenging. Recent advances in electron microscopy (EM) imaging have led to the development of many methods and strategies to increase cellular preservation and label target proteins. A relatively new peroxidase-based genetic tag, APEX2, is a promising leader in cloneable EM-active tags. Sample preparation for transmission electron microscopy (TEM) has also advanced in recent years with the advent of cryofixation by high pressure freezing (HPF) and low-temperature dehydration and staining via freeze substitution (FS). HPF and FS provide excellent preservation of cellular ultrastructure for TEM imaging, second only to direct cryo-imaging of vitreous samples. Here we present a protocol for the cryoAPEX method, which combines the use of the APEX2 tag with HPF and FS. In this protocol, a protein of interest is tagged with APEX2, followed by chemical fixation and the peroxidase reaction. In place of traditional staining and alcohol dehydration at room temperature, the sample is cryofixed and undergoes dehydration and staining at low temperature via FS. Using cryoAPEX, not only can a protein of interest be identified within subcellular compartments, but also additional information can be resolved with respect to its topology within a structurally preserved membrane. We show that this method can provide high enough resolution to decipher protein distribution patterns within an organelle lumen, and to distinguish the compartmentalization of a protein within one organelle in close proximity to other unlabeled organelles. Further, cryoAPEX is procedurally straightforward and amenable to cells grown in tissue culture. It is no more technically challenging than typical cryofixation and freeze substitution methods. CryoAPEX is widely applicable for TEM analysis of any membrane protein that can be genetically tagged.

INTRODUCTION:

Biological studies often include questions of resolving subcellular protein localization within cells and organelles. Immunofluorescence microscopy provides a useful low-resolution view of protein localization, and recent advances in super-resolution imaging are pushing the bounds of resolution for fluorescently tagged proteins1–3. However, electron microscopy (EM) remains the gold standard for imaging high-resolution cellular ultrastructure, though the labeling of proteins is a challenge.

Historically, several EM methods have been used to approach questions of ultrastructural protein localization. One of the most commonly utilized methods is immunoelectron microscopy (IEM), where antigen-specific primary antibodies are used to detect the protein of interest. EM signal is generated by the application of secondary antibodies conjugated with electron-dense particles, most commonly colloidal gold4,5. Alternately, antibodies conjugated with enzymes such as horse radish peroxidase (HRP) can be used to produce an electron-dense precipitate6–8. Two main approaches exist for IEM, termed pre-embedding and post-embedding labeling. In pre-embedding IEM, antibodies are introduced directly into cells, which necessitates light fixation and permeabilization of the cells9–11. Both steps can damage ultrastructure12,13. Development of significantly smaller antibodies consisting of an antibody Fab fragment conjugated with 1.4-nm nanogold allows very gentle permeabilization conditions to be used; however, nanogold is too small for direct visualization under TEM and requires additional enhancement steps to become visible14–16. In post-embedding IEM, antibodies are applied on thin sections of cells which have been fully processed by fixation, dehydration, and embedding in resin17. While this approach avoids the permeabilization step, preserving the epitope of interest throughout sample preparation is challenging18–20. The Tokuyasu method of light fixation followed by freezing, cryo-sectioning, and antibody detection provides improved epitope preservation21,22. However, the technical requirements of cryo-ultramicrotomy, as well as the sub-optimal contrast achieved in the cell, are disadvantages23.

The use of genetically encoded tags eliminates many of the difficulties of IEM related to detection of the protein of interest. A variety of tags are available, including HRP, ferritin, ReAsH, miniSOG, and metallothionein24–32. Each of these has advantages over previous methods, but each also has drawbacks preventing widespread use. These drawbacks range from inactivity of HRP in the cytosol to the large size of the ferritin tag, light sensitivity of ReAsH, and small size and lack of compatibility with cellular staining of metallothionein. Recently, a protein derived from ascorbate peroxidase has been engineered as an EM tag, named APEX233,34. As a peroxidase, APEX2 can catalyze the oxidation of 3,3’ diaminobenzidine (DAB), producing a precipitate that reacts with osmium tetroxide to provide local EM contrast with minimal diffusion from the protein of interest (less than 25 nm)33,35. Unlike traditional HRP-based methods, APEX2 is extremely stable and remains active in all cellular compartments33. Samples can be processed for TEM using traditional EM sample staining and methods that allow good visualization of the surrounding structures33,34,36. Because of its small size, stability, and versatility, APEX2 has emerged as an EM tag with great potential.

Many of the approaches discussed above either cannot be or have not yet been combined with the current state of the art in ultrastructural preservation, cryofixation and low-temperature freeze-substitution. Thus, they suffer from a lack of membrane preservation and/or cell staining to determine accurate protein localization. This necessarily limits the resolution and interpretation of the data that can be obtained. Cryofixation by high pressure freezing (HPF) involves rapid freezing of samples in liquid nitrogen at a high pressure (~2100 bar), which causes vitrification rather than crystallization of aqueous samples, thus preserving cells in a near-native state37–39. HPF is followed by freeze substitution (FS), a low temperature (-90 °C) dehydration in acetone combined with incubation with typical EM stains such as osmium tetroxide and uranyl acetate. HPF and FS together provide a distinct advantage over traditional chemical fixation (a longer process which can lead to artefacts) and alcohol dehydration at room temperature or on ice (which can lead to extraction of lipids and sugars), and thus are desirable to combine with the best EM tags for protein detection.

One reason that HPF/FS has not been combined with APEX2 labeling is that light chemical fixation is a prerequisite for the peroxidase reaction, limiting the diffusion of the DAB reaction product. In APEX2 studies thus far, fixation and peroxidase reaction are followed by traditional EM methods for staining and alcohol dehydration33,36. However, it has been shown that following chemical fixation with HPF/FS provides a distinct advantage in preservation over traditional chemical fixation and alcohol dehydration alone40. The loss of ultrastructural integrity seen in traditional TEM samples appears less connected to fixation than to dehydration, which is typically done using alcohol at room temperature or on ice, and can lead to extraction of lipids and sugars40,41. To develop the cryoAPEX method, we hypothesized that chemical fixation and peroxidase reaction, followed by HPF and FS, would produce an optimal result in terms of ultrastructural preservation.

Here we present the cryoAPEX protocol, which combines APEX2 tagging with cryofixation and freeze substitution methods (Figure 1). This straightforward protocol consists of transfection of an APEX2-tagged protein of interest, chemical fixation of cells, and the peroxidase reaction. HPF and FS are then performed followed by typical resin embedding and thin sectioning. TEM imaging reveals excellent preservation of ultrastructure using this method. Additionally, high-resolution subcellular localization and spatial distribution of an endoplasmic reticulum (ER) lumenal protein were observed. This method is widely useful for detection of membrane protein localization within cells for electron microscopy analysis. In our hands, the method has worked successfully for a variety of cell lines grown in tissue culture, including HEK-293T (human embryonic kidney), HeLa (human cervical cancer), Cos7 (African green monkey kidney fibroblast), and BHK (baby hamster kidney). Detailed instructions are described below using HEK-293T cells.

PROTOCOL:

- Cell culture and transfection

  - Seed HEK-293T cells on a 60 mm diameter or larger tissue culture dish and grow to 60%–90% confluence in a cell culture incubator at 37 °C and 5% CO2.

  - Transfect cells with APEX2-tagged mammalian expression plasmids using transfection reagent (see Table of Materials) according to the manufacturer’s directions.

  - At 12-15 h post-transfection, wash cells once with phosphate buffered saline (PBS). Remove cells from the dish by gentle washing with PBS. A dissociation reagent such as trypsin may be used if required for a given cell type. Centrifuge at 500 x g for 5 min to form a pellet.

- Chemical fixation and peroxidase reaction

  - Carefully remove the supernatant and resuspend the pellet in 2 mL of 2% glutaraldehyde (v/v) in 0.1 M sodium cacodylate buffer, pH 7.4, at room temperature. Place sample on ice and incubate for 30 min. Pellet the sample at 500 x g for 5 min at 4 °C. From this point until step 2.3.3, keep the sample and solutions on ice, and perform centrifugation at 4 °C.

CAUTION: Both glutaraldehyde and sodium cacodylate buffer (containing arsenic) are toxic. Proper safety procedures and personal protective equipment should be used during handling. Solutions containing glutaraldehyde and/or sodium cacodylate buffer should be disposed of as hazardous chemical waste.

  - Wash the pellet 3x for 5 min with 2 mL of 0.1 M sodium cacodylate buffer. For these as well as subsequent washes, gently resuspend the cell pellet in the required solution, then centrifuge for 5 min at 500 x g and carefully remove and discard the supernatant. Care should be taken with the repeated pelleting and resuspension steps, in order to minimize sample loss.

  - Carry out the peroxidase reaction

    - Prepare a fresh solution containing 1 mg/mL of 3,3’-diaminobenzidine tetrahydrochloride (DAB) in 0.1 M sodium cacodylate buffer. Dissolve the DAB by vigorous vortexing for 5–10 min.

CAUTION: DAB is toxic and a potential carcinogen and should be handled with proper safety procedures and personal protective equipment. Solutions containing DAB should be treated as hazardous chemical waste.

    - Wash pellet by resuspending in 3 mL of DAB solution followed by pelleting at 500 x g for 5 min.

    - Resuspend the pellet in 3 mL DAB solution to which hydrogen peroxide has been added to achieve a final concentration of 5.88 mM. Incubate for 30 min at room temp. The pellet becomes visibly brown-colored indicating the presence of the insoluble DAB reaction product.

NOTE: The DAB incubation time may need to be optimized for each sample. The color change can be monitored on the light microscope. In our experience, a 15–45 minute incubation is adequate for most proteins. Hydrogen peroxide should be obtained from a freshly opened bottle or one that has been kept well-sealed after opening.

    - Pellet the cells, then wash 2x for 5 min with 0.1 M sodium cacodylate buffer, followed by one wash in Dulbecco’s modified Eagle’s medium (DMEM) or cell media of choice.

  - Resuspend the cell pellet in 500 µL of a cryo-protectant solution of DMEM (or other cell media of choice) containing 10% fetal bovine serum and 15% bovine serum albumin. Pellet again, slightly increasing the centrifuge speed from 500 x g if required to achieve a pellet in the thick cryo-protectant solution. Discard the majority of the supernatant, ensuring that enough liquid is left so that the pellet will not dry out. Transport the cell pellet to the high pressure freezing instrument.

- High pressure freezing

  - Fill the high-pressure freezer reservoir with liquid nitrogen (LN2) and start the pump to fill the sample chamber with LN2.

CAUTION: Use proper safety procedures and personal protective equipment when working with liquid nitrogen.

NOTE: These steps are specific to the Leica EMPACT2 high pressure freezer.

  - Wick away any remaining liquid from the cell pellet using the corner of a laboratory wipe or paper towel. Enough liquid should remain that the pellet forms a paste similar in consistency to toothpaste. It should be thin enough to be aspirated into a 20 µL pipet tip.

  - Aspirate 2-3 µL of the cell pellet and deposit it onto a membrane carrier. Fill the well of the membrane carrier completely, so that the surface tension creates a slight dome on top, but the liquid does not spill out of the well. No air bubbles should be present.

  - Slide the membrane carrier into the cartridge and secure. Place the cartridge into the HPF machine that has been prepped and primed, and press Start to freeze.

  - Inspect the temperature vs. time and pressure vs. time graphs to verify that the pressure reached 2100 bar and the temperature reached -196 °C within 200 ms, and both parameters remained steady for the 600 ms of measurement.

  - Repeat steps 3.3 to 3.5 until the cell pellet has been used or the desired number of samples has been frozen.

  - Keeping the cartridges immersed in LN2, remove each membrane carrier from its cartridge, place into a plastic capsule, and place the plastic capsule into a cryo-vial full of LN2.

NOTE: The protocol may be paused here. The cryo-vials with samples can be stored in a LN2 dewar in cryo-canes or cryo-boxes.

- Freeze substitution

CAUTION: Use proper safety procedures and personal protective equipment when working with liquid nitrogen. Additionally, many of the chemicals utilized in step 4 are toxic, including tannic acid, osmium tetroxide, and uranyl acetate. These chemicals must be handled according to proper safety procedures and disposed of as hazardous chemical waste.

  - Fill the automated freeze substitution unit with LN2. Bring the temperature to -90 °C.

  - Prepare FS Mix 1 and begin FS.

    - In a chemical hood, prepare a solution of 0.2% tannic acid (w/v) and 5% DI water in acetone and aliquot 1 mL per sample into cryo-vials. Place into LN2 to freeze.

    - Place the FS Mix 1 vials and the cryo-vials containing the frozen cell pellets into the FS unit’s sample chamber. Transfer the inner capsule containing the membrane carrier from the LN2 vial into the corresponding vial containing FS Mix 1.

    - Start a FS protocol with its first step being 24 h at -90°C. After the 24 h, pause the FS, and wash the samples 3x for 5 min with acetone that has been cooled to -90 °C.

  - Prepare FS Mix 2 and complete FS

CAUTION: Osmium tetroxide is a highly toxic and oxidizing chemical that should only be handled by trained individuals according to established safety protocols. Protocols for the storage and disposal of osmium-containing solutions must be followed, as well as labeling of lab areas where osmium tetroxide is in use. Osmium tetroxide should be handled in a chemical hood with personal protective equipment including eye protection, a lab coat providing full arm protection, double Nitrile gloves, and an optional respirator.

    - In a chemical hood, prepare a solution of 1% osmium tetroxide, 2% uranyl acetate, and 5% DI water in acetone. Aliquot 1 mL per sample into cryo-vials and place in LN2 to freeze.

NOTE: Stock solutions of tannic acid (10% w/v in acetone), osmium tetroxide (10% w/v in acetone) and uranyl acetate (8% w/v in methanol) may be prepared and stored in cryo-vials in a LN2 dewar for ease of preparation of FS Mixes.

    - Place the cryo-vials with FS Mix 2 into the FS unit and transfer the capsules from the third acetone wash into the FS Mix 2 vials. Incubate in FS Mix 2 for 72 h at -90 °C, followed by gradual warming to 0 °C over 12-18 h.

  - Keep the temperature at 0 °C and wash 3x for 30 min with pre-cooled acetone from a freshly opened bottle.

- Resin infiltration and embedding

CAUTION: The resin used here (see Table of Materials) is toxic prior to polymerization, and should be handled with proper safety procedures and personal protective equipment. Any unpolymerized resin should be disposed of as hazardous chemical waste.

  - Infiltrate the samples with increasing concentrations of resin dissolved in acetone from a newly opened bottle. Prepare a mixture of resin components A, B, and D in a plastic beaker according to the manufacturer’s directions, and incubate samples in the following resin concentrations: 2%, 4%, and 8% for 2 h each at 0 °C. Incubate in 15%, 30%, 60%, 90%, and 100% resin for 4 h each at room temperature. Incubate for 4 h in a mixture of components A, B, C, and D.

  - Place the membrane carriers with cell pellet side up into flat embedding molds and fill with resin (A, B, C, and D). Paper labels for the samples can be added to the wells at this time.

  - Polymerize in an oven at 60 °C for 24-36 h.

NOTE: The protocol can be paused after the polymerization.

  - Remove the blocks from the mold and let cool. To remove the membrane carrier, first place the sample in the vertical chuck of the ultramicrotome where it can be visualized with magnification. Separate the membrane carrier from the block by a combination of dabbing liquid nitrogen on the membrane carrier to separate the metal from the plastic, and using a razor blade to chip away the resin around the membrane carrier. When separated, gently lift away the membrane carrier leaving the cell pellet dome on the face of the block.

  - Place the block with the exposed cell pellet facing upward in a flat embedding mold that is slightly deeper than the first mold, and fill with resin. Polymerize at 60 °C for 24–36 h.

NOTE: The protocol can be paused after the polymerization.

- Sectioning

  - Trim the block around the cell pellet using a razor blade. Then place the block in the sample chuck on the sectioning arm of an ultramicrotome. Using a glass or diamond knife, trim the block into a trapezoidal shape closely surrounding the cell pellet.

  - Obtain 90 nm ultrathin sections of the cell pellet using a glass or diamond knife.

  - Pick up a ribbon of sections on a TEM grid. Formvar-coated copper slot grids (1 x 2 mm slot) are useful for imaging serial sections. Dry the grid by blotting the edge on a piece of filter paper, and store in a TEM grid storage box.

NOTE: The protocol can be paused after sectioning.

- TEM imaging

  - Mount the grid on the TEM holder and place into the microscope. We routinely use a Tecnai T12 at 80 kV for screening cryoAPEX samples. Acquire images of cells and subcellular structures of interest with APEX2 labeling.

  - If desired, obtain additional membrane contrast by the use of lead post-staining. See figure 2 for comparison of non-post-stained samples (Figure 2I–K) and lead post-stained samples (Figure 2A–H).

    - Float dry grids section-side down on a drop of dilute sodium chloride solution (~1.5 mM), 2x for 1 min each, then 1x for 10 min.

    - Float grids on a drop of Sato’s lead solution for 1 min. Wash by floating on sodium chloride solution 3x for 1 min, then on DI water 3x for 1 min. Blot excess liquid from the grids and store in a grid box.

CAUTION: Lead is a toxic chemical and should be handled with proper safety procedures and personal protective equipment. Solutions containing lead should be disposed of as hazardous chemical waste.

  - Image post-stained samples on the TEM.

NOTE: In traditional sample preparation for TEM, the lead contrasting step is performed prior to TEM imaging. However, it is recommended that for cryoAPEX samples, imaging is carried out first on non-contrasted samples. This ensures that the signal from the tag can be easily located by its strong contrast with the more lightly stained cellular structures. For many samples, no further staining will be required; however, if additional membrane contrast is desired, lead post-staining can be performed (Step 7.2) and the sample re-imaged.

REPRESENTATIVE RESULTS:

In order to compare the ultrastructural preservation using the cryoAPEX method with traditional fixation and dehydration, we prepared samples in which an endoplasmic reticulum membrane (ERM; ER membrane) peptide was tagged with APEX2 and transfected into HEK-293T cells. ERM-APEX2 localizes to the cytoplasmic face of the ER and remodels the ER structure into morphologically distinct structures known as organized smooth ER (OSER)34,42,43. OSER morphology includes regions of smooth, parallel, densely stacked membranes which serve as an optimal region to compare ultrastructural preservation. Preparation of the sample by traditional APEX methods resulted in clear labeling of OSER structures (Figure 2A–D). Upon inspection at high magnification, the stacked membranes appeared ruffled and non-uniform gaps were present between concentric membrane densities, indicating poor membrane preservation and lipid extraction (Figure 2D). The sample prepared by cryoAPEX also had clearly defined labeling of OSER structures; however, the membranes were smooth and parallel, and little to no lipid extraction was seen (Figure 2E–H). The results from cryoAPEX were of similar high quality preservation to those obtained from a sample which underwent HPF/FS without the additional chemical fixation and APEX2/DAB reaction steps (Figure 2I–K).

In addition to visually appreciable membrane preservation, the cryoAPEX method preserves the protein of interest such that aspects of protein distribution patterns may be observed in some cases. To illustrate this point, we used another ER-localized protein, huntingtin yeast interacting protein E (HYPE). HYPE is a membrane protein located on the luminal face of the ER membrane 44–47. HYPE-APEX2 constructs were overexpressed in HEK-293T cells. TEM analysis of 90 nm thin sections revealed that HYPE was present throughout the peripheral ER as well as the nuclear envelope (Figure 3A,B). Additionally, the HYPE density was able to be resolved into regularly spaced foci along the lumenal ER membrane (Figure 3C, arrows). HYPE distribution and foci were also visible in a sample prepared with traditional fixation and dehydration; however, extensive membrane disruption and extraction were present, making the sample suboptimal (Figure 3D,E).

To demonstrate the robust organellar specificity and applicability of the cryoAPEX method for a range of tagged proteins, we performed APEX2 labeling using three cellular markers. Mitochondria were labeled using mito-V5-APEX234. This marker of the mitochondrial matrix provided specific staining of mitochondria only (Figure 4A). Likewise, we assessed plasma membrane labeling using CAAX-APEX234, which produced distinct staining of the plasma membrane only (Figure 4C). No labeling was observed in intracellular organelles (Figure 4C). Additionally, we created a new construct as a marker for the Golgi lumen by fusing the first 118 amino acids of the mouse isoform of α-mannosidase with the APEX2 gene48. The resulting MannII-APEX2 was transiently transfected into cells which were subsequently prepared by the cryoAPEX method. Stained Golgi stacks were clearly distinguishable from the surrounding organelles (Figure 4B). Individual stacks, cisternae, and some vesicles were labeled, typical of Golgi staining (Figure 4B). Altogether, these markers demonstrate that the cryoAPEX method provides specific labeling of membrane proteins within various organelles at high enough resolution to distinguish them from surrounding sub-cellular structures.

FIGURE LEGENDS:

Figure 1. Schematic of the essential steps in the CryoAPEX protocol. (A) Cells are grown and transfected with an APEX2 plasmid. (B) Cells are pelleted and fixed with glutaraldehyde, followed by (C) incubation with DAB and hydrogen peroxide to produce the peroxidase reaction product. (D) The pellet is cryofixed by HPF, (E) freeze substituted with heavy metals and acetone, and (F) embedded in resin. Thin sections are collected on the microtome. (G) TEM imaging is performed and additional contrast may be added by post-staining.

Figure 2. Comparison of OSER membrane preservation using traditional chemical fixation, cryoAPEX, and HPF/FS. The reorganized ER morphology in chemically fixed, DAB reacted ERM–APEX2-expressing cells that were processed via traditional chemical fixation and alcohol dehydration (A–D) or by cryoAPEX (E–H) was compared to ERM–APEX2 expressing cells that were cryofixed live and without the DAB reaction (I–K). The live cryofixed cells represent the best attainable ultrastructural preservation and serve here as the metric for evaluating membrane preservation obtained via the two APEX-based detection protocols (A–H). The evenly-spaced parallel lamellar stacking of the ER derived membranes obtained by cryoAPEX (exemplified in panels G and H), as opposed to the ruffled membranes obtained by traditional methods (panels C and D), highlights the superior membrane preservation obtained by cryoAPEX. This figure has been modified from Sengupta et al. 201948.

Figure 3. Protein localization of an APEX2-tagged ER membrane protein can be resolved into periodic foci. (A) An image of a thin section of a HEK-293T cell expressing HYPE–APEX2 and processed by cryoAPEX reveals staining of the ER in a well-preserved (dense) cytoplasmic background (B,C). Higher magnification images of a small section of the peripheral ER (demarcated by yellow box in A and shown in B, with further magnification of red box in B shown in C) exhibits periodic foci of APEX2-generated density (B, red box and C, white arrowheads showing periodicity between the HYPE foci). (D) Image of a thin section of a cell expressing HYPE-APEX2 and prepared by traditional chemical fixation and dehydration shows specific staining of the cortical ER and the nuclear envelope (red arrows). (E) At a higher magnification, periodic HYPE-specific foci were apparent within stretches of the ER (yellow box and white arrow heads in the inset), despite extensive membrane disruption, indicated by red arrows. NE = nuclear envelope. This figure has been modified from Sengupta et al. 201948.

Figure 4. Organelle markers show specificity of the signal obtained from APEX2-tagged proteins. APEX2-tagged protein constructs designed to localize to the mitochondrial matrix (mito-V5-APEX2; shown in A), or the Golgi lumen (α-mannII-APEX2; shown in B), or the plasma membrane (CAAX-APEX2; shown in C) were transiently expressed in HEK293 cells and the samples processed by cryoAPEX. Each construct yielded organelle specific densities. Magnified views of two sections (yellow or red boxes) from the cells expressing α-mannIIAPEX2 (panel B) or CAAX-APEX2 (panel C) are shown. This figure has been modified from Sengupta et al. 201948.

DISCUSSION:

The cryoAPEX protocol presented here provides a robust method to characterize the localization of membrane proteins within the cellular environment. Not only does the use of a genetically encoded APEX2 tag provide precise localization of a protein of interest, but the use of cryofixation and low-temperature dehydration provides excellent preservation and staining of the surrounding cellular ultrastructure. Combined, these approaches are a powerful tool for localizing a protein with high precision within its subcellular context.

The crux of the advancement of this method is the fact that the loss of ultrastructure experienced after preparation by traditional TEM methods comes primarily from the dehydration step rather than the fixation step40. It was previously believed that peroxidase-based methods were incompatible with HPF/FS because they require chemical fixation prior to the peroxidase reaction. To work around this, a protocol named CryoCHEM was recently developed in which samples are initially cryofixed, followed by rehydration and the peroxidase reaction49. This approach provides excellent target localization with significant improvements in sample staining and preservation. It has been shown to be useful for tissue samples and in cases where correlative fluorescence and electron microscopy is desired. In parallel to cryoCHEM, our method combines glutaraldehyde fixation with HPF and FS. CryoAPEX offers a streamlined protocol that works effectively even for small cellular samples.

Access to high pressure freezing and freeze substitution instruments is crucial to the cryoAPEX method. These instruments and skills are increasingly common in EM facilities. Even if HPF and FS equipment are not readily available, the chemically fixed sample is stable enough for a short amount of time to be transported modest distances40. We have found that samples can be stored after the DAB reaction at 4 °C for at least 48 hours prior to HPF without significant loss of quality. Another critical aspect of the cryoAPEX protocol is the inclusion of controls, which are essential for a robust experiment and convincing results. Samples prepared by transient transfection with efficiency less than 100% will contain negative control cells as well as labeled cells within the same sample. If using cell lines with stable expression of APEX2, a separate negative control should be prepared by transfection of cells with the non-APEX2 labeled protein of interest. Several constructs that can serve as organellar controls are available through Addgene, and published images are available in this and other publications that can be used for verification33,34,36,48. In-depth discussion of experimental design and verification of new APEX2 fusion constructs has been provided by Martell et al.36

While cryoAPEX is broadly useful for the detection of membrane proteins, some limitations exist. Although APEX2 is a small 28 kDa protein, some proteins may not be able to incorporate the tag33,34. APEX2 is not considered useful for labeling soluble proteins in the cytosol, due to the diffuse reaction product33,36. Additionally, the detection of small quantities of protein poses a challenge due to the presence of staining in the surrounding cell. Preparation by HPF and FS preserves cellular components which are extracted by traditional fixation and dehydration. This leads to overall darker staining in the cell, potentially competing with low levels of APEX2 labeling.

The cryoAPEX technique is widely applicable to many proteins, with a limited number of steps that may require optimization. First, due to individual variability among proteins, the protein expression level and/or DAB reaction time may need to be adjusted in order for the signal to be visualized above the background staining of the cell. Helpful information and protocols for validation of new APEX2 fusion constructs and optimization of the expression and DAB staining are provided by Martell et al.36 From a cellular staining perspective, the FS protocol and/or chemicals may need to be adjusted for optimal visualization of different organelle membranes, within different cell types, tissues, or organisms50–54. In our experience, the FS conditions presented here have worked well for a variety of mammalian cell lines.

The hybrid approach of cryoAPEX has the potential to be applied to many other genetic labeling techniques. Replacing traditional alcohol dehydration with HPF/FS is expected to greatly improve the ultrastructural preservation and the protein localization information. Utilizing sapphire discs as a cell substrate to fix cells as a monolayer improves the preservation of the cell periphery, including the cytoskeleton and cell-cell contacts. Minor modifications to the protocol would be required to use sapphire discs. APEX technology can be used to detect green fluorescent protein (GFP) tagged proteins via a GFP-binding peptide35. This indirect method of detection opens up the potential to utilize APEX technology for the myriad proteins already tagged with GFP. The recently-introduced split APEX2 will be advantageous for proximity and interaction studies55. Additionally, existing HRP-based methods can be combined with HPF/FS to improve cellular preservation. One example is fluorescent indicator and peroxidase for precipitation with EM resolution (FLIPPER), in which individual cell markers have been fused with both a fluorescent tag and HRP, providing lumenal markers for Golgi or ER56. Use of improved peroxidase substrates in place of DAB is also possible with this method, including substrates which are optimized for RNA labeling 57. CryoAPEX also provides in-cell labeling and ultrastructural preservation necessary for three dimensional analysis of protein distribution through electron tomography, and potentially at high volumes through SBF-SEM or FIB-SEM48,58.

Overall, CryoAPEX is a robust method with wide applicability. In principle, it can be applied to any membrane protein, whether within the lumenal space of an organelle, on the cytoplasmic face, within vesicles, on the cell’s plasma membrane or even in the extracellular space. For this vast range of membrane proteins, the cryoAPEX method provides the potential to see the localization and distribution of a protein with accuracy within its subcellular context.

ACKNOWLEDGMENTS:

The protocol described here stems from a publication by Sengupta et al., Journal of Cell Science, 132 (6), jcs222315 (2019)48. This work is supported by grants R01GM10092 (to S.M.) and AI081077 (R.V.S.) from the National Institutes of Health, CTSI-106564 (to S.M.) from Indiana Clinical and Translational Sciences Institute, and PI4D-209263 (to S.M.) from the Purdue University Institute for Inflammation, Immunology, and Infectious Disease.

DISCLOSURES:

The authors declare no conflict of interest.

REFERENCES:

1.	Huang, B., Bates, M., Zhuang, X. Super-Resolution Fluorescence Microscopy. Annual Review of Biochemistry. 78, 993–1016 (2009).

2.	Sydor, A. M., Czymmek, K. J., Puchner, E. M., Mennella, V. Super-Resolution Microscopy : From Single Molecules to Supramolecular Assemblies. Trends in Cell Biology. 25, 730–748 (2015).

3.	Vangindertael, J. et al. An introduction to optical super-resolution microscopy for the adventurous biologist. Methods and Applications in Fluorescence. 6, 022003 (2018).

4.	De Mey, J., Moeremans, M., Geuens, G., Nuydens, R., De Brabander, M. High resolution light and electron microscopic localization of tubulin with the IGS (Immuno Gold Staining) method. Cell Biology International Reports. 5, 889–899 (1981).

5.	Faulk, W., Taylor, G. An immunocolloid method for the electron microscope. Immunochemistry. 8, 1081–1083 (1971).

6.	Brown, W. J., Constantinescu, E., Farquhar, M. G. Redistribution of Mannose-6-Phosphate Receptors Induced by Tunicamycin and Chloroquine. The Journal of Cell Biology. 99, 320–326 (1984).

7.	Brown, W. J., Farquhar, M. G. The Mannose-6-phosphate Enzymes Is Concentrated Receptor for Lysosomal in Cis Golgi Cisternae. Cell. 36, 295–307 (1984).

8.	Sternberger, L. A., Hardy, P. H., Cuculis, J. J., Meyer, H. G. The unlabeled antibody enzyme method of immunohistochemistry. The Journal of Histochemistry and Cytochemistry. 18, 315–333 (1970).

9.	Oliver, C. Pre-embedding Labeling Methods. in Immunocytochemical Methods and Protocols (eds. Oliver, C. & Jamur, M. C.). 588, 381–386 (Humana Press, 2010).

10.	Polishchuk, E. V., Polishchuk, R. S. Pre-embedding labeling for subcellular detection of molecules with electron microscopy. Tissue and Cell. 57, 103–110 (2019).

11.	Polishchuk, R. S., Polishchuk, E. V., Luini, A. Visualizing Live Dynamics and Ultrastructure of Intracellular Organelles with Preembedding Correlative Light-Electron Microscopy. in Correlative Light and Electron Microscopy (eds. Mueller-Reichert, T. & Verkade, P.). 111, 21–35 (Elsevier, 2012).

12.	Humbel, B. M., De Jong, M. D. M., Müller, W. H., Verkleij, A. J. Pre-embedding immunolabeling for electron microscopy: An evaluation of permeabilization methods and markers. Microscopy Research and Technique. 42, 43–58 (1998).

13.	Schnell, U., Dijk, F., Sjollema, K. A., Giepmans, B. N. G. Immunolabeling artifacts and the need for live-cell imaging. Nature Methods. 9, 152–158 (2012).

14.	Hainfeld, J. F., Powell, R. D. New Frontiers in Gold Labeling. The Journal of Histochemistry and Cytochemistry. 48, 471–480 (2000).

15.	Hainfeld, J. F., Furuya, F. R. A 1.4-nm Gold Cluster Covalently Attached to Antibodies Improves Immunolabeling. The Journal of Histochemistry and Cytochemistry. 40, 177–184 (1992).

16.	Baschong, W., Stierhof, Y. Preparation, Use, and Enlargement of Ultrasmall Gold Particles in Immunoelectron Microscopy. Microscopy Research and Technique. 42, 66–79 (1998).

17.	Roth, J., Bendayan, M., Orci, L. Ultrastructural loclaization of intracellular antigens by the use of Protein A-gold complex. The Journal of Histochemistry and Cytochemistry. 26, 1074–1081 (1978).

18.	Armbruster, B. L. et al. Specimen preparation for electron microscopy using low temperature embedding resins. Journal of Microscopy. 126, 77–85 (1982).

19.	Fowler, C. B., Leary, T. J. O., Mason, J. T. Modeling formalin fixation and histological processing with ribonuclease A : effects of ethanol dehydration on reversal of formaldehyde cross-links. Laboratory Investigation. 88, 785–791 (2008).

20.	Newman, G. R., Hobot, J. A. Modern Acrylics for Post-embedding Immunostaining Techniques. The Journal of Histochemistry and Cytochemistry. 35, 971–981 (1987).

21.	Tokuyasu, K. T. A technique for ultracryotomy of cell suspensions and tissues. The Journal of Cell Biology. 57, 551–565 (1973).

22.	Tokuyasu, K. T. Application of cryoultramicrotomy to immunocytochemistry. Journal of Microscopy. 143, 139–149 (1986).

23.	Möbius, W., Posthuma, G. Sugar and ice : Immunoelectron microscopy using cryosections according to the Tokuyasu method. Tissue and Cell. 57, 90–102 (2019).

24.	Gaietta, G. et al. Multicolor and Electron Microscopic Imaging of Connexin Trafficking. Science. 296, 503–508 (2002).

25.	Uttamapinant, C. et al. A fluorophore ligase for site-specific protein labeling inside living cells. Proceedings of the National Academy of Sciences of the United States of America. 107, 10914–10919 (2010).

26.	Porstmann, B., Porstmann, T., Nugel, E., Evers, U. Which of the Commonly Used Marker Enzymes Gives the Best Results in Colorimetric and Fluorimetric Enzyme Immunoassays: Horseradish Peroxidase, Alkaline Phosphatase or Beta-Galactosidase. Journal of Immunological Methods. 79, 27–37 (1985).

27.	Shu, X. et al. A Genetically Encoded Tag for Correlated Light and Electron Microscopy of Intact Cells , Tissues , and Organisms. PLoS Biology. 9, e1001041 (2011).

28.	Mercogliano, C. P., DeRosier, D. J. Concatenated metallothionein as a clonable gold label for electron microscopy. Journal of Structural Biology 160, 70–82 (2007).

29.	Wang, Q., Mercogliano, C. P., Löwe, J. A ferritin-based label for cellular electron cryotomography. Structure. 19, 147–54 (2011).

30.	Risco, C. et al. Specific, sensitive, high-resolution detection of protein molecules in eukaryotic cells using metal-tagging transmission electron microscopy. Structure. 20, 759–66 (2012).

31.	Hopkins, C., Gibson, A., Stinchcombe, J., Futter, C. E. Chimeric Molecules Employing Horseradish Peroxidase as Reporter Enzyme for Protein Localization in the Electron Microscope. in Methods in Enzymology (eds. Thorner, J., Emr, S. D. & Abelson, J. N.). 327, 35–45 (2000).

32.	Hoffmann, C. et al. Fluorescent labeling of tetrcysteine-tagged proteins in intact cells. Nature Protocols. 5, 1666–1677 (2010).

33.	Martell, J. D. et al. Engineered ascorbate peroxidase as a genetically encoded reporter for electron microscopy. Nature Biotechnology. 30, 1143–1150 (2012).

34.	Lam, S. S. et al. Directed evolution of APEX2 for electron microscopy and proximity labeling. Nature Methods. 12, (2015).

35.	Ariotti, N. et al. Modular Detection of GFP-Labeled Proteins for Rapid Screening by Electron Microscopy in Cells and Organisms. Developmental Cell. 35, 513–525 (2015).

36.	Martell, J. D., Deerinck, T. J., Lam, S. S., Ellisman, M. H., Ting, A. Y. Electron microscopy using the genetically encoded APEX2 tag in cultured mammalian cells. Nature Protocols. 12, 1792–1816 (2017).

37.	Studer, D., Humbel, B. M., Chiquet, M. Electron microscopy of high pressure frozen samples: Bridging the gap between cellular ultrastructure and atomic resolution. Histochemistry and Cell Biology. 130, 877–889 (2008).

38.	Dahl, R., Staehelin, L. A. High-pressure Freezing for the Preservation of Biological Structure: Theory and Practice. Journal of Electron Microscopy Technique. 13, 165–174 (1989).

39.	McDonald, K. L. High-Pressure Freezing for Preservation of High Resolution Fine Structure and Antigenicity for Immunolabeling. in Electron Microscopy Methods and Protocols (ed. Hajibagheri, N.). 117, 77–97 (Humana Press, 1999).

40.	Sosinsky, G. E. et al. The combination of chemical fixation procedures with high pressure freezing and freeze substitution preserves highly labile tissue ultrastructure for electron tomography applications. Journal of Structural Biology. 161, 359–371 (2008).

41.	Korn, E. D., Weisman, R. A. Loss of lipids during preparation of amoebae for electron microscopy. Biochemica et Biophysica Acta. 116, 309–316 (1966).

42.	Snapp, E. L. et al. Formation of stacked ER cisternae by low affinity protein interactions. Journal of Cell Biology. 163, 257–269 (2003).

43.	Sandig, G. et al. Regulation of endoplasmic reticulum biogenesis in response to cytochrome P450 overproduction. Drug Metabolism Reviews. 31, 393–410 (1999).

44.	Faber, P. W. et al. Huntingtin interacts with a family of WW domain proteins. Human Molecular Genetics. 7, 1463–1474 (1998).

45.	Worby, C. A. et al. Article The Fic Domain : Regulation of Cell Signaling by Adenylylation. Molecular Cell. 34, 93–103 (2009).

46.	Sanyal, A. et al. A Novel Link between Fic (Filamentation Induced by cAMP) - mediated Adenylylation / AMPylation and the Unfolded Protein Response. The Journal of Biological Chemistry. 290, 8482–8499 (2015).

47.	Mattoo, S. et al. Comparative Analysis of Histophilus somni Immunoglobulin-binding Protein A (IbpA) with Other Fic Domain-containing Enzymes Reveals Differences in Substrate and Nucleotide Specificities. The Journal of Biological Chemistry. 286, 32834–32842 (2011).

48.	Sengupta, R., Poderycki, M. J., Mattoo, S. CryoAPEX – an electron tomography tool for subcellular localization of membrane proteins. Journal of Cell Science. 132, jcs222315 (2019).

49.	Tsang, T. K. et al. High-quality ultrastructural preservation using cryofixation for 3D electron microscopy of genetically labeled tissues. eLife. 7, 1–23 (2018).

50.	Giddings, T. H. Freeze-substitution protocols for improved visualization of membranes in high-pressure frozen samples. Journal of Microscopy. 212, 53–61 (2003).

51.	McDonald, K. L., Webb, R. I. Freeze substitution in 3 hours or less. Journal of Microscopy. 243, 227–33 (2011).

52.	McDonald, K. Cryopreparation methods for electron microscopy of selected model systems. Methods in Cell Biology. 79, 23–56 (2007).

53.	Buser, C., Walther, P. Freeze-substitution: the addition of water to polar solvents enhances the retention of structure and acts at temperatures around -60 degrees C. Journal of Microscopy. 230, 268–77 (2008).

54.	Jiménez, N. et al. Tannic acid-mediated osmium impregnation after freeze-substitution : A strategy to enhance membrane contrast for electron tomography. Journal of Structural Biology. 166, 103–106 (2009).

55.	Han, Y. et al. Directed Evolution of Split APEX2 Peroxidase. ACS chemical biology 14, 619–635 (2019).

56.	Kuipers, J., Ham, T. J. Van, Kalicharan, R. D., Schnell, U., Giepmans, B. N. G. FLIPPER, a combinatorial probe for correlated live imaging and electron microscopy, allows identification and quantitative analysis of various cells and organelles. Cell Tissue Research. 360, 61–70 (2015).

57.	Zhou, Y. et al. Expanding APEX2 Substrates for Spatial-specific Labeling of Nucleic Acids and Proteins in Living Cells. Angewandte Chemie (International ed. in English). In Press (2019).

58.	Joesch, M. et al. Reconstruction of genetically identified neurons imaged by serial-section electron microscopy. eLife. 5, 1–13 (2016).