Reply to editorial and reviewers’ comments:

Ms. No.: JoVE60682
Title: "Detection of total reactive oxygen species by 2',7'-Dichlorodihydrofluorescein diacetate staining"

We are grateful for the comments provided by the Editors and the Reviewers. Below is a point-by-point discussion to address the concerns and suggestions by the Editors and the reviewers; our responses are highlighted in blue font.

Please note that novelty is not a requirement for publication and reviewer comments questioning the novelty of the article can be disregarded.

Re: Thank you very much for this kind reminder.

Editorial comments:
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. The JoVE editor will not copy-edit your manuscript and any errors in the submitted revision may be present in the published version.

Re: We have thoroughly proofread the manuscript.

2. Keywords: Please provide at least 6 keywords or phrases.

Re: We have added three more keywords: adherent cells; fluorescence microscope; fluorescence plate reader.

3. Please add a Summary section before the Abstract section to clearly describe the protocol and its applications in complete sentences between 10−50 words: “Here, we present a protocol to …”

Re: We have added a summary section before abstract:

Here, we present a protocol to detect total cellular reactive oxygen species (ROS) using 2',7'-Dichlorodihydrofluorescein diacetate (DCFH-DA). This method can visualize cellular ROS localization with a fluorescence microscope in adherent cells and quantify ROS intensity with a fluorescence plate reader. This protocol is simple, efficient and cost-effective.

4. Introduction: Please revise to include all of the following:
a) A clear statement of the purpose of this method
b) The rationale behind the development and/or use of this method
c) The advantages over alternative methods with references to relevant studies
d) The context of the method in the wider body of published literature
e) Information to help readers decide whether the method described is appropriate for them.

Re: We appreciate the editorial comments.

- The purpose of this method is to determine total cellular ROS in adherent cells using 2',7'-Dichlorodihydrofluorescein diacetate (DCFH-DA) staining.

- The rationale is oxidation of DCFH-DA to 2’-7’dichlorofluorescein (DCF) has been used extensively for total ROS detection including hydroxyl radicals (•OH) and nitrogen dioxide (•NO2).

- Compared with detection of fluorescence with flow cytometry and other alternative methods, the advantages of this method using a fluorescence microscope and a plate reader include clear visible fluorescent images, easy to perform, efficient and cost-effective.

- This method has been widely used to detect cellular ROS for studying various conditions.

- This protocol is used for detecting total ROS for adherent cells, using this method to detect ROS in suspension cells may need some modifications.

5. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials. You may use the generic term followed by “(Table of Materials)” to draw the readers’ attention to specific commercial names. Examples of commercial sounding language in your manuscript are: Cayman Chemical, Invitrogen™ EVOS™, Thermo Fisher Scientific, SpectraMax, Molecular Devices, BioRad, etc.

Re: We have changed commercial language and added company name and catalog number to the table of materials.

6. 1.2: Please provide specific values (e.g., drug used and the incubation time) to be used here. We cannot film a generalized protocol; we need specific settings of a specific experiment.

Re: We have provided specific values in the protocol, “Replace the culture medium with or without 100M ferrous sulfate containing medium and incubate for 24 hours.”

7. 2.1: Please list an approximate volume of stock solution to prepare.

Re: We have changed the sentence to: “Dissolve 4.85 mg DCFH-DA in 1mL DMSO to make a 10mM stock solution.”

8. 4.4: Please list all centrifugation speeds in terms of centrifugal g-force instead of rpm: e.g., 100 x g.

Re: We have changed “14,000 rpm” to “21,130 × g”.

9. Figure 1: Please define the scale bars and error bars in the figure legend.

Re: We have defined the scale bar in the figure legend: 400 M.

10. For in-text references, the corresponding reference numbers should appear as superscripts after the appropriate statement(s) in the text (before punctuation but after closed parenthesis). The references should be numbered in order of appearance.

Re: We have changed it according to the suggestion.

11. Please ensure that the references appear as the following: [Lastname, F.I., LastName, F.I., LastName, F.I. Article Title. Source. Volume (Issue), FirstPage – LastPage (YEAR).] For more than 6 authors, list only the first author then et al. Please do not abbreviate journal titles. See the example below:
Bedford, C.D., Harris, R.N., Howd, R.A., Goff, D.A., Koolpe, G.A. Quaternary salts of 2-[(hydroxyimino)methyl] imidazole. Journal of Medicinal Chemistry. 32 (2), 493-503 (1998).

Re: We have ensured that the format of references are the same as indicated above.

12. Table of Materials: Please revise to include information on all relevant supplies, reagents, equipment and software used, especially those mentioned in the Protocol. Please sort the materials alphabetically by material name.

Re: We have added all relevant supplies in the Table of Materials as a .xls file and sorted the materials alphabetically by material name.

Reviewers' comments:
Reviewer #1:
Manuscript Summary:
Following the dynamic changes in the levels of ROS is very important in many studies, and this manuscript describes a step-by-step protocol for measuring cellular ROS using DCFH-DA.

Major Concerns:
1. Lack of negative control: should include NAC-treated cells as a negative control;

Re: We appreciate this great comment from the reviewer #1. Actually we have published our results with NAC-treated cells in “Toxicol Appl Pharmacol, 2019. 374: p. 77-85.”, so we didn’t include NAC in this protocol to make it straight-forward. We have added this point in our discussion though.

2. Lack of flow cytometry measurement of DCF fluorescence;

Re: The purpose of this manuscript is to describe a cost-effective and easy method to measure cellular ROS. We consider that flow cytometry method would be equivalent or more complicated than a fluorescence plate reader method.

3. Lack of description of the equipment used in Fig 1B.

Re: We have indicated that representative fluorescent images were taken by a fluorescence microscope and intensity quantification were performed on a fluorescence microplate reader. 

Minor Concerns:
The resolution of Fig 1A is too low.

Re: We have provided the figure as a vector image file to ensure high resolution throughout production: (.eps) and ensured that the image is 300 dpi according to instructions from the editor. 

Reviewer #2:
Manuscript Summary:
Authors demonstrated how to quantify oxidative stress by measuring total reactive oxygen species (ROS) using 2',7'-Dichlorodihydrofluorescein diacetate (DCFH-DA) staining in colorectal cancer cell lines as an example.

Major Concerns:
It is an employed method worldwide. In fact, a similar article in JoVE (Danli Wu and Patricia Yotnda, J Vis Exp. 2011; (57): 3357) also demonstrated how to use this kind of probe. The only difference is that they used 6-carboxy-2',7'-dichlorodihydrofluorescein diacetate (also a generic ROS-sensitive molecular probe) instead of 2',7'-Dichlorodihydrofluorescein diacetate used in the present manuscript. Then, I consider that there is no need of a second paper in the same Journal about this method.

Re: We appreciate the comments from Reviewer #2. There are some critical differences between our protocol and the above-mentioned protocol:

1. They used human leukemia cell line, which is a suspension cell line.

2. They treated cells first with DCFH-DA and then incubate drug with H2O2 only for 1h.

3. They used cell culture media with 2% serum.

For #1, we used adherent cell lines.

For #2, We also tried to treat cells with DCFH-DA first and then ferrous sulfate or hemin. Unfortunately, after several hours of drug treatment (1-4h), DCFH-DA’s green fluorescence was decreased significantly. Considering many experiments need to treat the cells for more than 1 hour, we believe our protocol condition would be better fitting widely.

For #3, they used serum at a lower concertation than ours. One advantage of our protocol is that we don’t need to prepare special cell culture medium.

The representative result reported (with hemin treatment) is already published in Kim, H., et al., The interaction of Hemin and Sestrin2 modulates oxidative stress and colon tumor growth. Toxicol Appl Pharmacol, 2019. 374: p. 77-85.

Re: We appreciate the comments from reviewer #2. Now we have deleted the results with hemin treatment and include results with Doxorubicin treatment.

Minor Concerns:
DCFH-DA solution preparation. a) About dilution of the stock solution: "pre-warmed DMEM" is free of serum or not?

Re: "pre-warmed DMEM" contains 10% serum.

DCFH-DA staining. a) Wash with DMEM: free of serum?. b) After removal of the DCFH-DA working solution and washings: authors should indicate that PBS is added in each well.
Imaging taking and intensity measurement. c) Centrifugation must be expressed in g, not rpm.

Re: We appreciate the comments.

a) Wash with DMEM: 10% serum was added to the medium.

b) We have added it according to the reviewer’s suggestion.

c) We have changed the centrifugation speed according to the reviewer’s suggestion.

In the discussion: a) Authors said "But, in our case of using HCT116 and RKO, diluting DCFH-DA stock solution with PBS and fetal bovine serum free DMEM generated high background signal even in non-treated cell". So, they used DMEM with fetal bovine serum? That is it? But the incubation is during 30 min, how this short period without serum could disturb cells and affect the measurement? b) Discussion about detection of superoxide is out of the scope of this protocol. c) Discussion about variations of the protocol would be more interesting.

- Yes, we used DMEM with 10% serum. We are still not sure why the short period incubation with 1x PBS disturbed the cell, but the protocol presented here gave us robust and reproducible results.

- Superoxide is processed by superoxide dismutases to generate H2O2. H2O2 is known for generating hydroxyl radical which is also captured by DCFH-DA. So, we believe our discussion for superoxide is related to this protocol.

c) This is a great point. We have included discussion about controlling variations. As shown in Figure 1, two different batches of experiments could result in different representative images even in untreated control groups. To control the experimental variations, we suggested to treat cells with diluted DCFH-DA working solution as we presented above instead of adding stock solution directly onto the cells. Also, images should be taken at fields with similar cell densities and at the same exposure time. Finally, performing studies for all the comparison groups at the same time would be very important.