## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
0.3mm High Quality Clear Rigid Packaging PVC Film Roll For Vacuum Forming | Sunyo | SY1023 | PVC film / Thickness : 300µm
Acryl(PMMA) film | SEJIN TS | C200 | PMMA film / Thickness : 175µm
Confocal Laser Scanning Microscope: 3D-Topography for Materials Analysis and Testing | Carl Zeiss | LSM 700 | 3D confocal microscope / Supporting Mode : 2D, 2.5D, 3D topography
DAQ board | NATIONAL INSTRUMENTS | USB-6211 | Control board for two stage and impact header / 16 inputs, 16-bit, 250kS/s, Multifunction I/O
DC Power Supply | SMART | RDP-305AU | 3 channel power supply / output voltage : 0~30V, Output current : 0~5A
L511 stage | PI | L511.20SD00 | Z-stage / Travel range : 52mm
Large Digital Hotplate | DAIHAN Scientific | HPLP-C-P | Heatplate / Max Temp : 350ºC
M531 stage | PI | M531.2S1 | X-stage / Travel range : 306mm
Mylar Polyester PET films | CSHyde | 48-2F-36 | PET film / Thickness : 50µm
OPA2541 | BURR-BROWN | OPA2541BM | OP-AMP / Output currents : 5A, output voltage : ±40V

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=